From: 	"Beverly van Buuren" <bvanbuuren@mlml.calstate.edu>

To:	"'Mary Adams'" <madams@waterboards.ca.gov>, <avandervort@mlml.calstate.edu>, <bmphillips@ucdavis.edu>, "'Karen Worcester'" <Kworcester@waterboards.ca.gov>

Date: 	4/30/2007 1:22:10 PM

Subject: 	RE: 1Reg3ToxRes_042407.xls

Correct. Thanks for clarifying that.

I will have Amara send you the new tox. tables. The RT decided to work off

the recommendations from Bryn and Debra. You should look at the tables to

see if they meet your needs. Let's talk more after you look at the tables.

Just FYI...EPA requires all data (regardless of type) to be flagged

estimated if holding times are not met.

-----Original Message-----

From: Mary Adams [mailto:madams@waterboards.ca.gov]

Sent: Monday, April 30, 2007 1:16 PM

To: avandervort@mlml.calstate.edu; bvanbuuren@mlml.calstate.edu;

bmphillips@ucdavis.edu; Karen Worcester

Cc: mkilner@mlml.calstate.edu; sswenson@mlml.calstate.edu;

whagan@mlml.calstate.edu

Subject: RE: 1Reg3ToxRes_042407.xls

So just to clarify....

- The 28 day data (in which the control samples were no acceptable) should

be rejected.

- The 10 day data (which is flagged estimated due to hold time exceedance)

is still to be flagged estimated.

Correct?

For future SWAMP data, could we discuss the holding time and estimated flags

with respect to toxicity data - because if anything we expect the toxicity

to be reduced if the samples are held longer, right?  Are there any examples

where toxins are amplifying in the sample containers over time (with the

exception of fungus or pathogens)?

My agenda here is usability of the data for the 303(d) assessment -

estimated data is not acceptable for the assessment

Thanks everyone for your time and comments

Mary :)

>>> "Beverly van Buuren" <bvanbuuren@mlml.calstate.edu> 4/30/2007 1:01 PM

>>>

Well...the data should be rejected based on the minimum requirements in the

method. So, in our opinion the data should be rejected versus flagged as

estimated.

Amara noted that the new SWAMP tox. MQO tables (by Bryn and Debra Denton

(EPA)) will specifically call out for data to be rejected in this case.

Sorry, we weren't able to look at the data itself on Friday.

Thanks for catching this. -Bev

-----Original Message-----

From: Beverly van Buuren [mailto:bvanbuuren@mlml.calstate.edu]

Sent: Friday, April 27, 2007 2:48 PM

To: 'Mary Adams'; 'avandervort@mlml.calstate.edu'; 'bmphillips@ucdavis.edu';

'Karen Worcester'

Cc: 'mkilner@mlml.calstate.edu'; 'sswenson@mlml.calstate.edu';

'whagan@mlml.calstate.edu'

Subject: RE: 1Reg3ToxRes_042407.xls

Hi Mary,

Rejection of data is based on the samples not meeting method requirements

and/or requirements in the 2002 SWAMP QAMP. In either case, rejection must

be specified by the document for the given failure.

The codes are based on what is in the 2002 QAMP. In this case, I am

assuming** that the information in the 2002 QAMP directs the certification

process to flag the data, but does not specify rejection. Data is not

rejected by SWAMP verification process unless specified by the QAMP for the

particular issue.

Moving forward, the new SWAMP QMP tox. tables have been well vetted by Bryn

and Debra Denton (EPA) so I am confident that in the future everything will

be more structured and understandable.

**I will have someone in our group look into this and get back to you on the

specifics. Megan, can you please do that?

-Bev

-----Original Message-----

From: Mary Adams [mailto:madams@waterboards.ca.gov]

Sent: Tuesday, April 24, 2007 2:12 PM

To: avandervort@mlml.calstate.edu; bmphillips@ucdavis.edu; Karen Worcester

Cc: bvanbuuren@mlml.calstate.edu; mkilner@mlml.calstate.edu;

sswenson@mlml.calstate.edu

Subject: 1Reg3ToxRes_042407.xls

Hi ladies (and Bryn),

Ive got a question for you all related to usability of this toxicity data.

This is data that I would like to use for the 303(d) assessment and I need

to be perfectly clear on the compliance codes for each data point.

I received data from the SWAMP data base with all the associated QA flags

and compliance codes (attached).  Please take a look at the toxicity data

collected in March 2002 (its highlighted in yellow).  There are data here

from two separate tests - a 28 day test and a 10 day test (look in the Time

Point column for this info).

A little background on this data

The initial test (the 28 day test) was set up an the control samples did not

meet the QC criteria (less than 80% survival in the control). As soon as the

lab realized that the control samples were not acceptable we discussed the

next step and decided to set up a 10 day test knowing that this test would

result in the samples exceeding the holding time (as they are flagged - rows

509 - 550 in the QA Code column - "VH")

In the data base the 28 day test data are flagged as

Batch Qual Code - "CN"

and compliance code "Est"

I was wondering if you all though this was appropriate?  Shouldn't this data

be rejected?

Either way it doesn't matter for the 303(d) assessment because you cannot

use estimated data in the listing assessment - that's an argument I will

take up with Craig J. at a  later date.  But, for now I wanted to get your

input on the use of the "Estimated" compliance code for the 28 day test

data.

Thanks for your time

Mary :)

CC:	<mkilner@mlml.calstate.edu>, <sswenson@mlml.calstate.edu>, <whagan@mlml.calstate.edu>