From: 	John Haskins <john@elkhornslough.org>

To:	"Mary Adams" <madams@waterboards.ca.gov>

Date: 	11/20/2007 10:34:28 AM

Subject: 	Re: Elkhorn Data

Hey Mary,

Hope your trip to Cabo was fun!! Sounds nice. Here are my comments on

your comments.

pH

Yeah 10.5 sounds pretty high to me off hand. I would have to look

more specifically at the data to see if there were other sites that

had high pH the same day which would indicate the probe was off. We

could probably set a cutoff too.

Chlorine is something we really don't use much at all. It was

measured in the early stages of the project so I am not really sure

about the specifics of it like if it was a probe, I think it was and

what is a high value, not really sure would have to look more into

that too. sorry I don't have much info on that param.

Tide staff. This is probably the most unreliable measurement. Its

supposed to be in centimeters, they are marked at 10 cm increments.

These are super old now and many you cant distinguish between the

lines cuase there is so much algae build up also they are slanted or

missing entirely. Also different people read the same one

differently. We were trying to use them to get at what the tide was

at the time of sampling but we really need to clean them and do some

general maintenance on them. There is a guy at Moss Landing that has

a program to calculate tide at different sites around the slough so

we may use that if we get to that point.

hope that helps

lets talk next week to figure a time to meet

rock on

Have a great ThanksGiving

John

At 12:16 PM 11/12/2007, you wrote:

>  Hey John Happy Veterans Day - I hope you are taking advantage of

> this perfect weather!!!

>Im going to be in Cabo all this week so I won't be in the office

>until next Monday - but I wanted to ask you a few questions about

>some of the data.

>

>First, pH

>There are several pH measurements above 9 (max pH is 10.5). Are

>there some locations where this makes sense?

>Could you give me a cut off (upper max value) above which I could

>flag the data (i.e. anything above 9.3 is suspect and should be flagged)?

>And, if the notes say "pH suspect" should I flag that pH result and

>not use it?

>

>Next, chlorine

>Most of the results have YSI in the instrument column - is this a

>field measurement taken with a probe?  Is it always a probe

>measurement or do the field crew also send samples to the lab for chlorine?

>Also, some of the results are really high - like 876 at ELK-APS and

>694 as SAL-BRG. Do those make sense or should they be flagged.

>Is there an upper max value that I could use to flag the chlorine data?

>

>And finally one silly question - are all the units of measurements

>for "Tide Staff" in feet?

>

>That's all I have for now and I really appreciate any help you can

>offer. Have a good week and Ill talk to ya soon

>Mary :)

>

>

>

>Mary S. Adams

>Central Coast Ambient Monitoring Program (CCAMP)

>Regional Water Quality Control Board

>895 Aerovista Place, Suite 101

>San Luis Obispo, CA 93401

>(805) 542-4768

>Fax    788-3502

>madams@waterboards.ca.gov

>http://www.ccamp.org

>

>If you have a comment you would like to share regarding the customer

>service of any state employee please visit the following site:

>http://www.calepa.ca.gov/customer/CSForm.asp

>

>* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

>Please note my new email address as of November 5th.

>madams@waterboards.ca.gov

>* * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *