From: 	Alison Gee <alison@elkhornslough.org>

To:	Mary Adams <madams@waterboards.ca.gov>

Date: 	2/1/2008 1:59:52 PM

Subject: 	Re: Data questions (data pre 2005)

Hey Mary,

i am sorry i have not responded to you sooner about this.  i was wanting

to check in with John Haskins about this and he has not yet responded to

my email nor have i seen him this week.  I know he will be around next

week as we have field work to do though.

here is what i know for sure:

let's use the following cut offs for nutrient detection limits for the

volunteer ESNERR data:

Ammonia 0.05 mg/L

Nitrate 0.07 ( 0.015 or 0.02 mg/L as N)

Orther-Phos 0.03 mg/L

these are the current detection limits from the County lab.  we have

significantly better DLs from MLML and UCSC currently.  but the County

lab DLs haven't changed much and they did most of the historical

nutrient analyses.

for the physico-chemical parameters, I know what the current

sensitivities are, but want to check in with John about the historical

data as we used different instruments and he was around back then. i did

note that the sensitivities are listed in our QAPP for nutrients but not

for the field data. i am sending you those two tables from our QAPP

attached.

So, i will try to get with John first thing Monday about the probe

sensitivities for the historical data and hopefully have an answer for

you then!

Have a great weekend!

Kind regards,

-Alison.

Mary Adams wrote:

> Hi Alison, Thank you so much for your time and dedication to the data!  Much Appreciated!!!!

>

> The following is a list of questions I still have for you folks about the data.  If you could send me a message back that

>

> 1) Detection Limits for lab analyses prior to 2005?  Could you provide a typical DL for each analyte so tat I can assume everything less than that value is a Non-detect?

>

> Ammonia as N (our lab is getting as low as 0.02)

> Nitrate (our lab typically reports 0.01)

> Ortho-Phos (our lab typically report 0.02)

>

>

> 2) Detection limits for the probe parameters

> Dissolved Oxygen (mg/l and % sat)

> pH

> Conductivity

> Salinity

> Turbidity

> Temperature

> Chlorophyll a

>

>

> 3) There are several probe measurements that - at a glance- look like outliers or typos.  Could you either verify that these are true numbers  we should accept or simply provide a cut off value fore each parameter.  For example there are DO % sat number as high as 314% .  Is this a number you believe is true or should it be flagged and rejected?  Should I flag and reject all number over 300, over 200 etc.

>

>

> Any guidance you could provide to me  would help me to better use the data.  Im attaching an Excel file with a bunch of probe data that looks like outliers to me.

>

>  I arbitrarily chose cut offs like

> chlorophyll a > 200, green water is usually 25ug/L or higher

> Conductivity > 100mS/cm (isn't ocean water typically 55 uS/cm?)

> DO sat < 10% and > 200% (just because I would question anything my probe said in those ranges)

> Salinity > 70 ppt (ocean water is about 35 ppt and the Salton Sea is less than 50 ppt)

> Turbidity > 1000 NTU - does the probe measure > 1000?

>

>

> Anyway - take a look at the attached - provide comments there if you like or just use it to define "cut off points" for the range of acceptable data.  Thanks so much and  call me if you like - Im on my cell all next week

>

> Thanks :)

>

>

>

>

>

> Mary S. Adams

> Central Coast Ambient Monitoring Program (CCAMP)

> Regional Water Quality Control Board

> 895 Aerovista Place, Suite 101

> San Luis Obispo, CA 93401

> (805) 542-4768

> Fax    788-3502

> madams@waterboards.ca.gov

> http://www.ccamp.org

>

> If you have a comment you would like to share regarding the customer service of any state employee please visit the following site:

> http://www.calepa.ca.gov/customer/CSForm.asp

>

> * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

> Please note my new email address as of November 5th.

> madams@waterboards.ca.gov

> * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * * *

>

>