From: 	Dane Hardin <hardin@amarine.com>

To:	Mary Adams <madams@waterboards.ca.gov>

Date: 	4/24/2007 10:47:42 AM

Subject: 	Re: CCLEAN data report for 303(d) listing

Hi Mary,

I've attached a copy of our QAPP.  Several of your questions are not

addressed by that document, so I will answer all of them here.  Note my

responses in red text.  Let me know if you have any  other questions.

Dane

On 4/23/07 4:14 PM, "Mary Adams" <madams@waterboards.ca.gov> wrote:

> Hi Dane, I am finally diving into the assessment and I have a couple of

> questions for you. I know we have your QAPP here in house - but I don't have

> it at my fingertips.  Could you provide some info for me to cite some in the

> Fact Sheets that will be submitted for the 303(d) report in 2008.

>

> Citation for the QAPP.  Central Coast Long-term Environmental Assessment

Network (CCLEAN). 2005. Quality Assurance Project Plan. Revised September 7,

2005. P.O. Box 8346, Santa Cruz, CA 95061. 78 pages.

>

> Are data evaluated using the Data Quality Objectives in the QAPP and qualified

> accordingly in your data base (i.e. field duplicates are evaluated for

> relative percent difference and flagged accordingly)?  Yes, field duplicates

are evaluated according to DQOs in the QAPP, although the database does not

currently include those qualifications.  The database currently is only

analytical and metadata for all samples, including duplicates.  The field

duplicates have all been submitted blindly to the analytical laboratories, but

field duplicates are not currently linked together in the database.  Also, we

have field duplicates only for stream, river and marine nutrient and pathogen

indicators, benthic infauna, and mussel POPs and pathogen indicators. In most of

these cases, field duplicates are more indicative of environmental heterogeneity

than sample collection and handling variation, so we would be unlikely to reject

any samples that exceed DQOs for RPD.

>

> Are qualified data included in the analysis you have provided (estimated or

> rejected results)?  We use estimated values, but not rejected values.

>

> Are data cited in a peer reviewed report or journal?  The data currently have

not bee reported in a peer reviewed journal, although the report has been

reviewed by scientists at other institutions, but not in a rigorous, peer-review

fashion.

>

> Thanks Dane, I appreciate your time.

> Talk to you soon

> Mary :)

>

>

>

>

>

CC:	Karen Worcester <Kworcester@waterboards.ca.gov>, Shanta Keeling <Skeeling@waterboards.ca.gov>