## DECEMBER 2004
Dec, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Sum
Avg
Max
Min
G Mean

## NOVEMBER 2004
Nov, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Sum
Avg
Max
Min
G Mean

## OCTOBER 2004
Oct, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Sum
Avg
Max
Min
G Mean

## SEPTEMBER 2004
Sep, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Sum
Avg
Max
Min
G Mean

## AUGUST 2004
Aug, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1 | 2.319 | 4.38 | 28 | 0 | 0
2 | 2.326 | 4.46 | 28 | 72 | 190
3 |  |  | 29
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Sum | 4.645
Avg | 2.322 | 4.42 | 29
Max | 2.326 | 4.46 | 29
Min | 2.319 | 4.38 | 28
G Mean

## JULY 2004
Jul, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1 | 2.321 | 4.36 | 18 | 67 | 177 | 75.02 | 7.77 | 7.78 | <1 | <2 | [26 empty] | <3.00 |  | <55.64
2 | 2.163 | 7.00 | 22 | 292 | 701 | 74.48 | 7.81 | 7.81 | [28 empty] | <3.00 |  | <55.64
3 | 2.166 | 4.38 | 20 | 0 | 0 | 73.22 | 7.95 | 7.78 | [28 empty] | <3.00 |  | <55.64
4 | 2.064 | 4.57 | 24 | 0 | 0 | 73.76 | 7.94 | 7.79 | [28 empty] | <3.00 |  | <55.64
5 | 2.226 | 4.54 | 25 | 0 | 0 | 75.74 | 7.66 | 7.76 |  | <2 | [26 empty] | <3.00 |  | <55.64
6 | 2.203 | 4.31 | 28 | 75 | 6 | 74.84 | 7.80 | 7.83 | [28 empty] | <3.00 |  | <55.64
7 | 2.269 | 4.10 | 24 | 152 | 224 | 76.10 | 7.58 | 7.87 |  |  | 172.0 | 13.0 | 246.005 | 92.4 | <0.1 |  |  |  |  | 1240 | 23465 | [15 empty] | <3.00 |  | <55.64
8 | 2.116 | 3.50 | 28 | 57 | 98 | 76.10 | 7.79 | 7.80 | <1 | <2 | [26 empty] | <3.00 |  | <55.64
9 | 2.169 | 3.52 | 41 | 54 | 98 | 71.60 | 7.83 | 7.86 | [28 empty] | <3.00 |  | <55.64
10 | 2.235 | 3.71 | 29 | 0 | 0 | 75.20 | 7.75 | 7.67 | [28 empty] | <3.00 |  | <55.64
11 | 2.324 | 4.12 | 28 | 0 | 0 | 76.28 | 7.68 | 7.66
12 | 2.276 | 3.75 | 24 | 43 | 45 | 74.66 | 7.53 | 7.37 | 1 | 14
13 | 2.172 | 3.88 | 23 | 0 | 0 | 74.84 | 7.70 | 7.80
14 | 2.226 | 3.24 | 29 | 55 | 198 | 71.78 | 7.69 | 7.74 |  |  | 140.0 | 25.0 | 464.121 | 82.1 | <0.1 | 260 | <1.2 | <22 | >99.5
15 | 2.173 | 3.32 | 25 | 382 | 2407 | 75.20 | 7.83 | 7.88
16 | 2.155 | 3.51 | 21 | 165 | 307 | 73.76 | 7.71 | 7.85
17 | 2.277 | 4.16 | 22 | 0 | 0 | 77.00 | 7.88 | 7.68
18 | 2.279 | 4.17 | 24 | 0 | 0 | 76.64 | 7.71 | 7.82
19 | 2.315 | 4.20 | 24 | 148 | 232 | 75.92 | 7.71 | 7.82 | <1 | <2
20 | 2.169 | 4.10 | 43 | 74 | 186 | 80.06 | 7.69 | 7.82 |  |  | 158.5 | 16.8 | 302.998 | 89.4 | <0.1
21 | 2.223 | 3.96 | 25 | 45 | 58 | 75.38 | 7.84 | 7.97
22 | 2.273 | 4.08 | 23 | 156 | 250 | 76.82 | 7.94 | 7.85
23 | 2.104 | 3.49 | 25 | 184 | 270 | 75.20 | 7.95 | 7.95
24 | 2.333 | 4.19 | 25 | 0 | 0 | 77.18 | 7.62 | 7.77
25 | 2.265 | 4.63 | 29 | 0 | 0 | 75.02 | 7.92 | 7.93
26 | 2.254 | 3.95 | 27 | 181 | 252 | 73.22 | 7.67 | 7.54 | [6 empty] | <0.1
27 | 2.301 | 3.88 | 40 | 220 | 362 | 74.30 | 7.83 | 7.82
28 | 2.343 | 4.36 | 28 | 615 | 2387 | 75.92 | 7.89 | 7.91
29 | 2.255 | 3.93 | 31 | 61 | 142 | 74.66 | 7.60 | 7.86
30 | 2.363 | 4.35 | 25 | 0 | 0 | 73.22 | 7.78 | 7.88
31 | 2.400 | 4.62 | 27 | 0 | 0 | 74.30 | 7.85 | 7.86
Sum | 69.412 | [11 empty] | 1013.124 | 264.0
Avg | 2.239 | 4.13 | 27 |  |  | 75.08 | 7.77 | 7.80 |  |  | 156.8 | 18.3 | 337.708 | 88.0 |  | 260 | <1.2 | <22 | >99.5 | 1240 | 23465 | [15 empty] | <3.00 |  | <55.64
Max | 2.400 | 7.00 | 43 |  |  | 80.06 | 7.95 | 7.97 |  |  | 172.0 |  | 464.121 | 92.4 |  | 260 | <1.2 | <22 | >99.5 | 1240 | 23465 | [15 empty] | <3.00 |  | <55.64
Min | 2.064 | 3.24 | 18 |  |  | 71.60 | 7.53 | 7.37 |  |  | 140.0 |  | 246.005 | 82.1 |  | 260 | <1.2 | <22 | >99.5 | 1240 | 23465 | [15 empty] | <3.00 |  | <55.64
G Mean | [8 empty] | <1 | <3

## JUNE 2004
Jun, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1 | 2.385 | 3.90 | 29 | 0 | 0 | 73.04 | 7.71 | 7.56 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
2 | 2.312 | 3.95 | 20 | 0 | 0 | 75.74 | 7.46 | 7.17 | <1 | <2 | 180.0 | 13.0 | 250.667 | 92.8 | <0.1 | 208 | <1.6 | <31 | >99.2 | [17 empty] | 4.00 |  | 75.83
3 | 2.212 | 3.99 | 21 | 0 | 0 | 73.58 | 7.68 | 7.63 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
4 | 2.191 | 4.46 | 20 | 0 | 0 | 73.58 | 7.63 | 7.61 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
5 | 2.381 | 4.56 | 17 | 0 | 0 | 73.94 | 7.22 | 7.19 | [28 empty] | 4.00 |  | 75.83
6 | 2.383 | 4.62 | 22 | 0 | 0 | 75.02 | 7.22 | 7.36 | [28 empty] | 4.00 |  | 75.83
7 | 2.412 | 3.93 | 27 | 0 | 0 | 71.42 | 7.36 | 7.31 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
8 | 2.105 | 3.97 | 22 | 0 | 0 | 72.50 | 7.54 | 7.63 | [28 empty] | 4.00 |  | 75.83
9 | 2.266 | 4.27 | 19 | 0 | 0 | 72.68 | 7.51 | 7.62 | [28 empty] | 4.00 |  | 75.83
10 | 2.360 | 4.79 | 17 | 0 | 0 | 73.04 | 7.60 | 7.64 | <1 | <2 | [26 empty] | 4.00 |  | <65.74
11 | 2.224 | 3.89 | 16 | 0 | 0 | 72.68 | 7.36 | 7.59 |  |  | 181.0 | 9.0 | 166.933 | 95.0 | <0.1 | 208 | <1.7 | <32 | >99.2 | 1200 | 22258 | 455 | 8439 | 133 | 2466.9 | 11.4 | 6.0 | 1.6 | 7.6 | 142 | 8.0 | 11 | 27 | 8.9 | <0.1 | <3.0 | <3.50 | <56 | <65.74
12 | 2.294 | 4.61 | 17 | 0 | 0 | 74.48 | 7.66 | 7.68 | [28 empty] | <3.50 |  | <65.74
13 | 2.374 | 4.46 | 24 | 0 | 0 | 73.94 | 7.29 | 7.57 | [28 empty] | <3.50 |  | <65.74
14 | 2.203 | 4.47 | 27 | 231 | 559 | 74.48 | 7.72 | 7.62 |  | <2 | [26 empty] | <3.50 |  | <65.74
15 | 2.127 | 4.20 | 27 | 0 | 0 | 74.12 | 7.58 | 7.52 | [28 empty] | <3.50 |  | <65.74
16 | 2.231 | 4.09 | 24 | 0 | 0 | 72.68 | 7.41 | 7.70 | [28 empty] | <3.50 |  | <65.74
17 | 2.232 | 3.25 | 19 | 0 | 0 | 75.56 | 7.51 | 7.38 | <1 | 2 | 117.0 | 13.0 | 241.994 | 88.9 | <0.1 | 199 | 34.0 | 633 | 82.9 | [17 empty] | <3.50 |  | <65.74
18 | 2.216 | 3.94 | 20 | 0 | 0 | 73.76 | 7.45 | 7.65 | [28 empty] | <3.50 |  | <65.74
19 | 2.278 | 4.27 | 22 | 0 | 0 | 76.46 | 7.77 | 6.62 | [28 empty] | <3.00 |  | <55.64
20 | 2.268 | 4.12 | 25 | 0 | 0 | 76.64 | 7.69 | 7.41 | [28 empty] | <3.00 |  | <55.64
21 | 2.250 | 3.37 | 22 | 0 | 0 | 73.40 | 7.73 | 7.56 | <1 | 140 | [26 empty] | <3.00 |  | <55.64
22 | 2.202 | 4.28 | 23 | 0 | 0 | 73.40 | 7.57 | 7.61 | [28 empty] | <3.00 |  | <55.64
23 | 2.284 | 7.00 | 22 | 0 | 0 | 73.04 | 7.45 | 7.45 |  |  | 229.0 | 19.0 | 361.923 | 91.7 | 0.1 | 280 | 22.3 | 425 | 92.0 | [17 empty] | <3.00 |  | <55.64
24 | 2.212 | 4.29 | 22 | 0 | 0 | 71.60 | 7.55 | 7.22 | <1 | <2 | [26 empty] | <3.00 |  | <55.64
25 | 2.243 | 4.34 | 20 | 0 | 0 | 73.58 | 7.61 | 7.67 | [28 empty] | <3.00 |  | <55.64
26 | 2.298 | 4.79 | 19 | 0 | 0 | 75.20 | 7.70 | 7.81 | [28 empty] | <3.00 |  | <55.64
27 | 2.269 | 4.24 | 21 | 0 | 0 | 74.30 | 7.66 | 7.77 | [28 empty] | <3.00 |  | <55.64
28 | 2.216 | 4.27 | 28 | 0 | 0 | 75.92 | 7.55 | 7.56 | <1 | <2 | [26 empty] | <3.00 |  | <55.64
29 | 2.187 | 4.84 | 35 | 0 | 0 | 75.02 | 7.53 | 7.69 |  |  | 206.0 | 20.5 | 373.911 | 90.0 | <0.1 | 290 | <3.6 | <66 | >98.8 | [17 empty] | <3.00 |  | <55.64
30 | 2.146 | 3.26 | 21 | 0 | 0 | 74.48 | 7.85 | 7.77 | [28 empty] | <3.00 |  | <55.64
Sum | 67.761 | [11 empty] | 1395.428 | 458.4
Avg | 2.259 | 4.28 | 22 |  |  | 73.98 | 7.55 | 7.52 |  |  | 182.6 | 14.9 | 279.086 | 91.7 |  | 237 | <12.6 | <237 | >94.4 | 1200 | 22258 | 455 | 8439 | 133 | 2466.9 | 11.4 | 6.0 | 1.6 | 7.6 | 142 | 8.0 | 11 | 27 | 8.9 | <0.1 | <3.0 | <3.47 | <56 | <64.73
Max | 2.412 | 7.00 | 35 |  |  | 76.64 | 7.85 | 7.81 |  |  | 229.0 |  | 373.911 | 95.0 |  | 290 | 34.0 | 633 | >99.2 | 1200 | 22258 | 455 | 8439 | 133 | 2466.9 | 11.4 | 6.0 | 1.6 | 7.6 | 142 | 8.0 | 11 | 27 | 8.9 | <0.1 | <3.0 | 4.00 | <56 | 75.83
Min | 2.105 | 3.25 | 16 |  |  | 71.42 | 7.22 | 6.62 |  |  | 117.0 |  | 166.933 | 88.9 |  | 199 | <1.6 | <31 | 82.9 | 1200 | 22258 | [15 empty] | <3.00 |  | <55.64
G Mean | [8 empty] | <1 | <3

## MAY 2004
May, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1 | 2.181 | 4.33 | 24 | 0 | 0 | 75.02 | 7.61 | 7.74 | [28 empty] | 4.00 |  | 71.36
2 | 2.334 | 4.37 | 21 | 0 | 0 | 75.02 | 7.60 | 7.74 | [28 empty] | 4.00 |  | 71.36
3 | 2.291 | 4.19 | 23 | 0 | 0 | 77.72 | 7.54 | 7.64 | 1 | <2 | [26 empty] | 4.00 |  | 71.36
4 | 1.986 | 4.65 | 21 | 0 | 0 | 75.20 | 7.63 | 7.38 |  |  | 109.5 | 14.5 | 240.167 | 86.8 | <0.1 | 209 | 21.7 | 359 | 89.6 | [17 empty] | 4.00 |  | 71.36
5 | 2.262 | 4.07 | 20 | 0 | 0 | 73.94 | 7.44 | 7.49 | [28 empty] | 4.00 |  | 71.36
6 | 2.198 | 4.40 | 22 | 0 | 0 | 73.22 | 7.40 | 7.43 | <1 | <2 | [26 empty] | 4.00 |  | 71.36
7 | 2.229 | 4.31 | 23 | 0 | 0 | 74.66 | 7.30 | 7.69 | [28 empty] | 4.00 |  | 71.36
8 | 2.351 | 4.41 | 21 | 0 | 0 | 72.50 | 7.67 | 7.71 | [28 empty] | 4.00 |  | 71.36
9 | 2.330 | 4.16 | 29 | 0 | 0 | 74.48 | 7.40 | 7.52 | [28 empty] | 4.00 |  | 71.36
10 | 2.286 | 3.69 | 36 | 0 | 0 | 72.32 | 7.54 | 7.57 | <1 | <2 | [26 empty] | 4.00 |  | 71.36
11 | 2.219 | 3.76 | 30 | 0 | 0 | 71.06 | 7.40 | 7.54 | [28 empty] | 4.00 |  | 71.36
12 | 2.241 |  | 23 | 0 | 0 | 71.60 | 7.05 | 7.33 |  |  | 158.5 | 15.0 | 280.349 | 90.5 | <0.1 | 243 | 21.4 | 400 | 91.2 | [17 empty] | 4.00 |  | 71.36
13 | 2.321 | 4.90 | 22 | 0 | 0 | 74.12 | 7.34 | 7.40 | <1 | 2 | [26 empty] | 4.00 |  | 71.36
14 | 2.297 | 4.38 | 27 | 0 | 0 | 72.68 | 7.36 | 7.59
15 | 2.300 | 4.22 | 22 | 0 | 0 | 74.12 | 7.17 | 7.23
16 | 2.366 | 4.29 | 20 | 0 | 0 | 75.38 | 7.51 | 7.20
17 | 2.302 | 4.31 | 21 | 0 | 0 | 73.58 | 7.20 | 7.33 | <1 | <2
18 | 2.177 | 5.53 | 20 | 0 | 0 | 74.30 | 7.54 | 7.57 | <1 | <2
19 | 2.197 | 4.21 | 19 | 0 | 0 | 71.96 | 7.52 | 7.58 | <1 | <2 | [28 empty] | 75.83
20 | 2.273 | 4.42 | 18 | 0 | 0 | 73.58 | 7.29 | 7.46 | <1 | <2 | 194.5 | 11.0 | 208.525 | 94.3 | <0.1 | 210 | 78.0 | 1479 | 62.9 | 1220 | 23127 | 461 | 8739 | 164 | 3108.9 | 3.1 | 5.3 | 1.8 | 7.1 | 134 | 15.0 | 18 | 25 | 9.5 | <0.1 | 4.0 | 4.00 | 76 | 75.83 | 0.70 | 13.3 | 0.6 | 11
21 | 2.195 | 4.55 | 18 | 0 | 0 | 71.06 | 7.51 | 7.50 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
22 | 2.223 | 4.20 | 18 | 0 | 0 | 70.88 | 7.66 | 7.56 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
23 | 2.309 | 4.43 | 25 | 0 | 0 | 73.94 | 7.58 | 7.31 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
24 | 2.269 | 4.49 | 22 | 0 | 0 | 73.04 | 7.55 | 7.60 | <1 | <2 | [26 empty] | 4.00 |  | 75.83 |  |  |  |  | 1.79 | 56.00 | 1.79 | 56.00
25 | 2.378 | 4.21 | 19 | 0 | 0 | 71.60 | 7.54 | 7.53 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
26 | 2.324 | 4.70 | 18 | 0 | 0 | 71.96 | 7.47 | 7.46 | <1 | <2 | 114.0 | 16.0 | 310.115 | 86.0 | <0.1 | 240 | <1.7 | <33 | >99.3 | [17 empty] | 4.00 |  | 75.83
27 | 2.187 | 3.98 | 19 | 0 | 0 | 71.96 | 7.68 | 7.57 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
28 | 2.172 | 4.04 | 20 | 0 | 0 | 73.40 | 7.53 | 7.55 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
29 | 2.340 | 4.76 | 22 | 0 | 0 | 72.86 | 7.42 | 7.61 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
30 | 2.104 | 4.60 | 26 | 0 | 0 | 72.32 | 7.52 | 7.74 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
31 | 2.307 | 4.22 | 23 | 0 | 0 | 72.86 | 7.53 | 7.70 | <1 | <2 | [26 empty] | 4.00 |  | 75.83
Sum | 69.949 | [11 empty] | 1039.156 | 357.6
Avg | 2.256 | 4.36 | 22 |  |  | 73.30 | 7.47 | 7.52 |  |  | 144.1 | 14.1 | 259.789 | 89.4 |  | 226 | <30.7 | <568 | >85.7 | 1220 | 23127 | 461 | 8739 | 164 | 3108.9 | 3.1 | 5.3 | 1.8 | 7.1 | 134 | 15.0 | 18 | 25 | 9.5 | <0.1 | 4.0 | 4.00 | 76 | 73.59 | 0.70 | 13.3 | 0.6 | 11 | 1.79 | 56.00 | 1.79 | 56.00
Max | 2.378 | 5.53 | 36 |  |  | 77.72 | 7.68 | 7.74 |  |  | 194.5 |  | 310.115 | 94.3 |  | 243 | 78.0 | 1479 | >99.3 | 1220 | 23127 | 461 | 8739 | 164 | 3108.9 | 3.1 | 5.3 | 1.8 | 7.1 | 134 | 15.0 | 18 | 25 | 9.5 | <0.1 | 4.0 | 4.00 | 76 | 75.83 | 0.70 | 13.3 | 0.6 | 11 | 1.79 | 56.00 | 1.79 | 56.00
Min | 1.986 | 3.69 | 18 |  |  | 70.88 | 7.05 | 7.20 |  |  | 109.5 |  | 208.525 | 86.0 |  | 209 | <1.7 | <33 | 62.9 | 1220 | 23127 | [15 empty] | 4.00 |  | 71.36
G Mean | [8 empty] | <1 | <2

## APRIL 2004
Apr, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1 | 2.308 | 4.20 | 27 | 90 | 255 | 71.60 | 7.75 | 7.70 | <1 | 2 | 154.5 | 14.3 | 274.294 | 90.8 | <0.1 | 221 | <1.6 | <31 | >99.3 | [17 empty] | 5.00 |  | 92.45
2 | 2.291 | 4.09 | 34 | 0 | 0 | 69.62 | 7.71 | 7.81 | [28 empty] | 5.00 |  | 92.45
3 | 2.414 | 4.42 | 35 | 0 | 0 | 69.44 | 7.66 | 7.90 | [28 empty] | 5.00 |  | 92.45
4 | 2.414 | 4.19 | 35 | 0 | 0 | 70.88 | 7.46 | 7.78 | [28 empty] | 5.00 |  | 92.45
5 | 2.332 | 4.27 | 36 | 0 | 0 | 70.88 | 7.89 | 7.80 | 19 | <2 | [26 empty] | 5.00 |  | 92.45
6 | 2.259 | 3.74 | 29 | 0 | 0 | 69.62 | 8.05 | 7.96 | [28 empty] | 5.00 |  | 92.45
7 | 1.000 | 3.72 | 19 | 0 | 0 | 69.98 | 7.95 | 7.86 | [28 empty] | 5.00 |  | 92.45
8 | 2.120 | 3.70 | 19 | 0 | 0 | 71.24 | 7.91 | 7.63 | 132 | <2 | 164.0 | 14.0 | 247.531 | 91.5 | <0.1 | 190 | 4.5 | 80 | 97.6 | [17 empty] | 5.00 |  | 92.45
9 | 2.178 | 4.26 | 20 | 0 | 0 | 71.96 | 7.54 | 7.79 | [28 empty] | 5.00 |  | 92.45
10 | 2.254 | 4.06 | 22 | 0 | 0 | 69.80 | 7.76 | 7.76 | [28 empty] | 5.00 |  | 92.45
11 | 2.088 | 4.17 | 22 | 0 | 0 | 71.96 | 7.93 | 7.83 | [28 empty] | 5.00 |  | 92.45
12 | 2.209 | 4.03 | 21 | 0 | 0 | 71.42 | 7.87 | 7.84 | 3 | <2 | [26 empty] | 5.00 |  | 92.45
13 | 2.139 | 3.76 | 23 | 0 | 0 | 70.16 | 7.63 | 7.75 | [28 empty] | 5.00 |  | 85.42
14 | 2.139 | 3.94 | 22 | 0 | 0 | 70.88 | 7.55 | 7.74 |  |  | 255.5 | 13.8 | 245.290 | 94.6 | <0.1 | 300 | <1.8 | <32 | >99.4 | 1270 | 22656 | 450 | 8028 | 153 | 2729.4 | 16.0 | 4.6 | 1.9 | 6.5 | 116 | 8.0 | 24 | 30 | 8.3 | <0.1 | 4.0 | 4.67 | 71 | 85.42
15 | 2.179 | 4.06 | 26 | 0 | 0 | 70.70 | 7.71 | 7.58 | 10 | <2 | [26 empty] | 4.67 |  | 85.42
16 | 2.177 | 4.01 | 22 | 0 | 0 | 71.78 | 7.44 | 7.86 | [28 empty] | 4.67 |  | 85.42
17 | 2.158 | 4.00 | 22 | 0 | 0 | 68.00 | 7.98 | 7.89 | [28 empty] | 4.50 |  | 82.49
18 | 2.215 | 4.12 | 23 | 0 | 0 | 70.16 | 7.89 | 7.65 | [28 empty] | 4.50 |  | 82.49
19 | 2.212 | 4.15 | 22 | 0 | 0 | 70.70 | 7.75 | 7.57 | <1 | <2 | [26 empty] | 4.50 |  | 82.49
20 | 2.142 | 4.16 | 22 | 0 | 0 | 71.96 | 7.91 | 7.97 | [28 empty] | 4.50 |  | 82.49
21 | 2.280 | 3.90 | 21 | 0 | 0 | 71.60 | 7.81 | 7.78 |  |  | 191.0 | 13.5 | 256.705 | 92.9 | <0.1 | 350 | <1.7 | <32 | >99.5 | [17 empty] | 4.50 |  | 82.49
22 | 2.210 | 3.73 | 20 | 0 | 0 | 72.32 | 7.59 | 7.70 | <1 | <2 | [26 empty] | 4.50 |  | 82.49
23 | 2.232 | 4.00 | 20 | 0 | 0 | 71.60 | 7.54 | 7.72 | [28 empty] | 4.00 |  | 71.36
24 | 2.245 | 4.00 | 23 | 0 | 0 | 71.96 | 8.11 | 7.90 | [28 empty] | 4.00 |  | 71.36
25 | 2.306 | 4.18 | 21 | 0 | 0 | 72.86 | 8.08 | 8.04 | [28 empty] | 4.00 |  | 71.36
26 | 2.161 | 3.74 | 22 | 0 | 0 | 73.40 | 7.67 | 7.51 | <1 | <2 | [26 empty] | 4.00 |  | 71.36
27 | 2.245 | 4.06 | 19 | 0 | 0 | 74.48 | 7.68 | 7.75 | [28 empty] | 4.00 |  | 71.36
28 | 2.231 | 3.93 | 19 | 0 | 0 | 72.86 | 7.44 | 7.64 | [28 empty] | 4.00 |  | 71.36
29 | 2.058 | 3.81 | 18 | 0 | 0 | 71.78 | 7.54 | 7.43 | 430 | 170 | 161.0 | 12.7 | 217.979 | 92.1 | <0.1 | 380 | 43.0 | 738 | 88.7 | [17 empty] | 4.00 |  | 71.36
30 | 2.182 | 3.54 | 19 | 0 | 0 | 71.42 | 7.54 | 7.64 | [28 empty] | 4.00 |  | 71.36
Sum | 65.378 | [11 empty] | 1241.800 | 461.9
Avg | 2.179 | 4.00 | 23 |  |  | 71.23 | 7.74 | 7.76 |  |  | 185.2 | 13.6 | 248.360 | 92.4 |  | 288 | <10.5 | <183 | >96.9 | 1270 | 22656 | 450 | 8028 | 153 | 2729.4 | 16.0 | 4.6 | 1.9 | 6.5 | 116 | 8.0 | 24 | 30 | 8.3 | <0.1 | 4.0 | 4.60 | 71 | 83.89
Max | 2.414 | 4.42 | 36 |  |  | 74.48 | 8.11 | 8.04 |  |  | 255.5 |  | 274.294 | 94.6 |  | 380 | 43.0 | 738 | >99.5 | 1270 | 22656 | 450 | 8028 | 153 | 2729.4 | 16.0 | 4.6 | 1.9 | 6.5 | 116 | 8.0 | 24 | 30 | 8.3 | <0.1 | 4.0 | 5.00 | 71 | 92.45
Min | 1.000 | 3.54 | 18 |  |  | 68.00 | 7.44 | 7.43 |  |  | 154.5 |  | 217.979 | 90.8 |  | 190 | <1.6 | <31 | 88.7 | 1270 | 22656 | [15 empty] | 4.00 |  | 71.36
G Mean | [8 empty] | <7 | <3

## MARCH 2004
Mar, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1 | 2.337 | 3.47 | 29 | 0 | 0 | 66.02 | 7.95 | 8.05 | <2 | <2 | [26 empty] | 4.00 |  | 83.07
2 | 2.248 | 3.78 | 31 | 0 | 0 | 65.30 | 7.86 | 8.02 |  |  | 216.0 | 24.0 | 449.960 | 88.9 | <0.1 | 338 | 63.0 | 1181 | 81.4 | [17 empty] | 4.00 |  | 83.07
3 | 2.176 | 3.56 | 28 | 0 | 0 | 67.46 | 7.75 | 8.05 | [28 empty] | 4.00 |  | 83.07
4 | 2.151 | 4.39 | 26 | 0 | 0 | 68.18 | 7.85 | 8.00 | <1 | <2 | [26 empty] | 4.00 |  | 83.07
5 | 2.150 | 3.58 | 24 | 0 | 0 | 68.54 | 7.85 | 8.13 | [28 empty] | 4.00 |  | 83.07
6 | 2.264 | 4.94 | 35 | 0 | 0 | 65.84 | 8.00 | 7.90 | [28 empty] | 4.00 |  | 83.07
7 | 2.217 | 4.77 | 34 | 0 | 0 | 67.28 | 7.83 | 7.92 | [28 empty] | 4.00 |  | 83.07
8 | 2.225 | 4.08 | 34 | 0 | 0 | 68.54 | 8.13 | 7.96 | <1 | <2 | [26 empty] | 4.00 |  | 83.07
9 | 2.122 | 3.65 | 27 | 0 | 0 | 68.54 | 7.76 | 7.97 | [28 empty] | 4.00 |  | 83.07
10 | 2.275 | 4.05 | 26 | 0 | 0 | 71.42 | 7.99 | 8.17 |  |  | 216.0 | 14.0 | 265.629 | 93.5 | <0.1 | 381 | 32.0 | 607 | 91.6 | [17 empty] | 4.00 |  | 83.07
11 | 2.141 | 4.16 | 26 | 0 | 0 | 68.90 | 7.99 | 7.92 | <1 | <2 | [26 empty] | 4.00 |  | 83.07
12 | 2.198 | 4.29 | 25 | 0 | 0 | 70.88 | 7.77 | 7.92 | [28 empty] | 4.00 |  | 83.07
13 | 2.513 | 4.75 | 25 | 0 | 0 | 69.44 | 8.17 | 7.87 | [28 empty] | 4.00 |  | 83.07
14 | 2.379 | 4.16 | 26 | 0 | 0 | 69.26 | 7.97 | 7.84 | [28 empty] | 4.00 |  | 83.07
15 | 2.286 | 3.63 | 26 | 0 | 0 | 70.52 | 7.82 | 7.84 | >2419 | >1600 | [26 empty] | 4.00 |  | 83.07
16 | 2.186 | 3.78 | 29 | 0 | 95 | 70.88 | 7.81 | 7.95 | [28 empty] | 4.00 |  | 83.07
17 | 2.156 | 3.87 | 30 | 0 | 0 | 72.14 | 7.82 | 7.94 | [28 empty] | 4.00 |  | 87.17
18 | 2.189 | 3.82 | 26 | 0 | 0 | 69.44 | 7.96 | 7.97 | <1 | <2 | 116.0 | 21.0 | 383.381 | 81.9 | <0.1 | 299 | 27.4 | 500 | 90.8 | 1400 | 25559 | 488 | 8909 | 153 | 2793.2 | 21.0 | 1.3 | 1.4 | 2.6 | 48 | 11.0 | 32 | 35 | 9.2 | <0.1 | 5.0 | 4.50 | 91 | 87.17
19 | 2.245 | 3.68 | 22 | 55 | 99 | 70.70 | 7.86 | 7.98 | [28 empty] | 4.50 |  | 87.17
20 | 2.222 | 3.87 | 21 | 0 | 0 | 69.44 | 8.48 | 8.01 | [28 empty] | 4.50 |  | 87.17
21 | 2.260 | 4.04 | 21 | 0 | 0 | 71.06 | 8.09 | 7.91 | [28 empty] | 4.50 |  | 87.17
22 | 2.350 | 3.33 | 21 | 0 | 0 | 72.32 | 7.85 | 7.82 | 3 | <2 | [26 empty] | 4.50 |  | 87.17
23 | 2.369 | 3.73 | 20 | 0 | 0 | 70.70 | 8.02 | 7.96 | [28 empty] | 4.50 |  | 89.32
24 | 2.245 | 3.90 | 21 | 0 | 0 | 70.88 | 7.89 | 7.89 |  | <2 | 153.0 | 13.0 | 243.403 | 91.5 | <0.1 | 260 | 23.3 | 436 | 91.0 | [16 empty] | 5.0 | 5.00 | 94 | 92.45
25 | 2.371 | 4.05 | 22 | 0 | 0 | 70.70 | 7.91 | 7.82 | 4 | <2 |  | 20.0 |  |  |  |  | 20.0 |  |  | 1360 | 26893 | 486 | 9610 | 170 | 3361.6 | 17.0 | 2.9 | 1.6 | 4.5 | 89 | 8.0 | 25 |  | 8.1 | <0.1 |  | 5.00 |  | 92.45 | 0.70 | 13.8 | 0.5 | 10
26 | 2.417 | 4.12 | 28 | 0 | 0 | 71.60 | 8.19 | 7.90 | [28 empty] | 5.00 |  | 92.45
27 | 2.311 | 4.26 | 26 | 0 | 0 | 69.98 | 8.13 | 7.86 | [28 empty] | 5.00 |  | 92.45
28 | 2.353 | 4.32 | 29 | 0 | 0 | 71.42 | 8.04 | 7.79 | [28 empty] | 5.00 |  | 92.45
29 | 2.315 | 3.92 | 27 | 0 | 0 | 70.34 | 7.78 | 7.92 | <1 | <2 | [26 empty] | 5.00 |  | 92.45
30 | 2.252 | 4.18 | 20 | 0 | 0 | 71.24 | 7.84 | 7.93 | [28 empty] | 5.00 |  | 92.45
31 | 2.308 | 4.20 | 27 | 0 | 420 | 70.16 | 7.88 | 7.88 | [28 empty] | 5.00 |  | 92.45
Sum | 70.231 | [11 empty] | 1342.373 | 355.8
Avg | 2.266 | 4.01 | 26 |  |  | 69.65 | 7.94 | 7.94 |  |  | 175.3 | 18.4 | 335.593 | 89.0 |  | 320 | 33.1 | 681 | 88.7 | 1380 | 26226 | 487 | 9260 | 162 | 3077.4 | 19.0 | 2.1 | 1.5 | 3.6 | 69 | 9.5 | 29 | 35 | 8.6 | <0.1 | 5.0 | 4.35 | 92 | 86.48 | 0.70 | 13.8 | 0.5 | 10
Max | 2.513 | 4.94 | 35 |  |  | 72.32 | 8.48 | 8.17 |  |  | 216.0 |  | 449.960 | 93.5 |  | 381 | 63.0 | 1181 | 91.6 | 1400 | 26893 | 488 | 9610 | 170 | 3361.6 | 21.0 | 2.9 | 1.6 | 4.5 | 89 | 11.0 | 32 | 35 | 9.2 | <0.1 | 5.0 | 5.00 | 94 | 92.45 | 0.70 | 13.8 | 0.5 | 10
Min | 2.122 | 3.33 | 20 |  |  | 65.30 | 7.75 | 7.79 |  |  | 116.0 |  | 243.403 | 81.9 |  | 260 | 20.0 | 436 | 81.4 | 1360 | 25559 | [15 empty] | 4.00 |  | 83.07
G Mean | [8 empty] | 3 | 4

## FEBRUARY 2004
Feb, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1 | 2.164 | 4.28 | 41 | 4 | 0 | 64.76 | 8.01 | 7.39 | [28 empty] | 4.00 |  | 72.36
2 | 2.461 | 5.39 | 47 | 0 | 0 | 69.62 | 7.60 | 7.70 | <1 | <2 | [26 empty] | 4.00 |  | 72.36
3 | 2.161 | 3.61 | 32 | 1 | 0 | 64.40 | 7.78 | 7.85 | [28 empty] | 4.00 |  | 72.36
4 | 2.058 | 3.47 | 29 | 0 | 0 | 65.48 | 7.72 | 7.68 |  |  | 302.0 | 31.0 | 532.075 | 89.7 | <0.1 | 890 | 132.0 | 2266 | 85.2 | [17 empty] | 4.00 |  | 72.36
5 | 2.068 | 3.77 | 28 | 0 | 0 | 64.94 | 7.75 | 7.73 | <1 | <0 | [26 empty] | 4.00 |  | 72.36
6 | 2.089 | 3.54 | 30 | 0 | 0 | 65.48 | 7.56 | 7.84 | [28 empty] | 4.00 |  | 72.36
7 | 2.153 | 4.17 | 28 | 0 | 0 | 63.68 | 7.91 | 7.86 | [28 empty] | 4.00 |  | 72.36
8 | 2.143 | 4.30 | 33 | 0 | 0 | 64.76 | 7.78 | 7.92 | [28 empty] | 4.00 |  | 72.36
9 | 2.157 | 3.78 | 35 | 14 | 0 | 62.60 | 8.00 | 7.91 | 3 | 2 | [26 empty] | 4.00 |  | 72.36
10 | 2.091 | 4.46 | 38 | 0 | 0 | 61.70 | 7.89 | 7.98 | [28 empty] | 4.00 |  | 72.36
11 | 2.005 | 4.29 | 45 | 32 | 2 | 64.22 | 8.01 | 7.94 | [28 empty] | 4.00 |  | 72.36
12 | 2.072 | 4.17 | 42 | 0 | 1080 | 65.12 | 7.89 | 8.01 | <0 | <0 | [26 empty] | 4.00 |  | 72.36
13 | 2.007 | 4.24 | 42 | 846 | 2958 | 62.60 | 8.01 | 7.98 |  |  | 211.0 | 27.0 | 451.936 | 87.2 | <0.1 | 345 | 81.0 | 1356 | 76.5 | [17 empty] | 4.00 |  | 72.36
14 | 2.131 | 4.47 | 32 | 18 | 0 | 62.24 | 8.31 | 7.87
15 | 2.212 | 4.94 | 30 | 0 | 0 | 63.68 | 8.32 | 7.79
16 | 2.337 | 4.61 | 35 | 0 | 583 | 65.48 | 8.11 | 7.81
17 | 2.222 | 3.86 | 35 | 0 | 0 | 66.20 | 7.94 | 7.95 | <1 | <2
18 | 2.514 | 4.07 | 37 | 0 | 0 | 65.84 | 8.12 | 8.01
19 | 2.253 | 4.15 | 38 | 0 | 1800 | 65.48 | 8.00 | 7.90 | <1 | <2 | 239.5 | 25.0 | 469.750 | 89.6 | <0.1 | 267 | 66.0 | 1240 | 75.3
20 | 2.266 | 4.16 | 38 | 0 | 0 | 68.54 | 7.94 | 8.00
21 | 2.415 | 5.20 | 33 | 0 | 0 | 66.02 | 8.02 | 7.84
22 | 2.814 | 5.49 | 40 | 0 | 0 | 64.22 | 7.98 | 7.94 | [30 empty] | 83.07
23 | 2.490 | 4.16 | 40 | 0 | 0 | 66.38 | 8.04 | 8.06 | 3 | <2 | 167.5 | 16.0 | 332.266 | 90.4 | 0.2 | 270 | 53.0 | 1101 | 80.4 | 1050 | 21805 | 375 | 7787 | 144 | 2990.4 | 27.0 | 0.6 | 0.9 | 1.5 | 32 | 10.0 | 37 | 38 | 8.8 | <0.1 | 4.0 | 4.00 | 83 | 83.07 | 0.70 | 14.5 | 0.3 | 6 | 1.79 | 56.00 | 5.56 | 18.00
24 | 2.319 | 4.31 | 40 | 0 | 0 | 65.48 | 7.82 | 7.99 | [28 empty] | 4.00 |  | 83.07
25 | 2.949 | 4.47 | 40 | 0 | 0 | 66.38 | 7.90 | 8.02 | [28 empty] | 4.00 |  | 83.07
26 | 2.864 | 5.85 | 31 | 0 | 0 | 65.48 | 7.84 | 7.96 | <2 | <2 | [26 empty] | 4.00 |  | 83.07
27 | 2.249 | 4.31 | 43 | 0 | 0 | 66.56 | 7.79 | 8.08 | [28 empty] | 4.00 |  | 83.07
28 | 2.321 | 5.03 | 36 | 0 | 0 | 64.22 | 8.24 | 7.99 | [28 empty] | 4.00 |  | 83.07
29 | 2.252 | 4.73 | 32 | 0 | 0 | 65.48 | 8.22 | 7.93 | [28 empty] | 4.00 |  | 83.07
Sum | 66.237 | [11 empty] | 1786.028 | 356.9
Avg | 2.284 | 4.39 | 36 |  |  | 65.07 | 7.95 | 7.89 |  |  | 230.0 | 24.8 | 446.507 | 89.2 |  | 443 | 83.0 | 1491 | 79.3 | 1050 | 21805 | 375 | 7787 | 144 | 2990.4 | 27.0 | 0.6 | 0.9 | 1.5 | 32 | 10.0 | 37 | 38 | 8.8 | <0.1 | 4.0 | 4.00 | 83 | 76.44 | 0.70 | 14.5 | 0.3 | 6 | 1.79 | 56.00 | 5.56 | 18.00
Max | 2.949 | 5.85 | 47 |  |  | 69.62 | 8.32 | 8.08 |  |  | 302.0 |  | 532.075 | 90.4 |  | 890 | 132.0 | 2266 | 85.2 | 1050 | 21805 | 375 | 7787 | 144 | 2990.4 | 27.0 | 0.6 | 0.9 | 1.5 | 32 | 10.0 | 37 | 38 | 8.8 | <0.1 | 4.0 | 4.00 | 83 | 83.07 | 0.70 | 14.5 | 0.3 | 6 | 1.79 | 56.00 | 5.56 | 18.00
Min | 2.005 | 3.47 | 28 |  |  | 61.70 | 7.56 | 7.39 |  |  | 167.5 |  | 332.266 | 87.2 |  | 267 | 53.0 | 1101 | 75.3 | 1050 | 21805 | [15 empty] | 4.00 |  | 72.36
G Mean | [8 empty] | <0 | <0

## JANUARY 2004
Jan, 2004 Santa Paula | EFFLUENT Flow MGD Metered Daily | EFFLUENT Flow Max MGD Daily | EFFLUENT Turbidity NTU Avg Daily Reading Monthly Limit 44 NTU | EFFLUENT CL2 >.1up to & including .3mg/L Sec / Day Daily Limit 15 min. | EFFLUENT CL2 >.3 mg/L SEC / Day Daily Limit 1 min. | EFFLUENT Temperature Degrees F Daily | INFLUENT Ph S.U. Daily Grab | EFFLUENT Ph S.U. Daily 9 SU Max 6 SU Min | EFFLUENT E-COLI MPN Bi Weekly 235/100ml single sample 126/100ml geometric mean | EFFLUENT Fecal Coliform-MPN Bi Weekly 400/100ml single sample 200/100ml geometric mean | INFLUENT TSS MG/L WEEKLY Composite | EFFLUENT TSS mg/L Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT TSS lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT TSS % REMOVAL >65% | EFFLUENT Sett Solids ML/L WEEKLY 0.3 Max Day | INFLUENT Bod 5 Day MG/L Weekly Composite | EFFLUENT BOD MG/L- Weekly sample 65 weekly limit 45 monthly limit | EFFLUENT BOD lbs/day Weekly sample 1380 weekly limit 960 monthly limit | EFFLUENT BOD % REMOVAL >65% | EFFLUENT TDS MG/L MONTHLY 1500 Max D | EFFLUENT TDS LBS MONTHLY 31900 Max D | EFFLUENT Sulfate MG/L MONTHLY 650 Max D | EFFLUENT Sulfate LBS MONTHLY 13820 Max D | EFFLUENT Chloride MG/L MONTHLY 220 Max D | EFFLUENT Chloride LBS MONTHLY 4680 Max D | EFFLUENT Ammonia MG/L MONTHLY | EFFLUENT Nitrate MG/L MONTHLY | EFFLUENT Nitrite MG/L MONTHLY | EFFLUENT NO2+NO3 MG/L Daily Max 14 TSO | EFFLUENT No2 + No3 LBS MONTHLY Daily Max 300 TSO | EFFLUENT Organic Nitrogen MG/L MONTHLY | EFFLUENT TKN MG/L MONTHLY | EFFLUENT Total Nitrogen MG/L MONTHLY | EFFLUENT Phosphate MG/L MONTHLY | EFFLUENT MBAS MG/L MONTHLY | EFFLUENT O&G MG/L MONTHLY 15-Max D 10-Avg 30 D | EFFLUENT O&G 30 DAY ROLLING AVG MG/L | EFFLUENT O&G LBS MONTHLY 213 Max D 319 30D Avg | EFFLUENT O&G 30 DAY ROLLING AVG LBS | EFFLUENT Boron MG/L QUARTERLY 1.5 Max D | EFFLUENT Boron Lbs QUARTERLY 31.9 Max D | EFFLUENT Fluoride MG/L QUARTERLY 1.6 Max D | EFFLUENT Fluoride Lbs QUARTERLY 34 Max D | EFFLUENT CHRONIC SURVIVAL TUc QUARTERLY | EFFLUENT CHRONIC SURVIVAL % QUARTERLY | EFFLUENT CHRONIC REPRODUCTION TUc QUARTERLY | EFFLUENT CHRONIC REPRODUCTION % QUARTERLY
1 | 1.886 | 3.29 | 35 | 0 | 0 | 60.98 | 8.23 | 7.86 | <1 | <2 | [26 empty] | 5.00 |  | 83.48
2 | 2.023 | 3.54 | 33 | 0 | 0 | 64.40 | 7.92 | 7.91 | [28 empty] | 5.00 |  | 83.48
3 | 2.147 | 4.24 | 29 | 0 | 0 | 64.04 | 8.06 | 7.90 | [28 empty] | 5.00 |  | 83.48
4 | 2.094 | 4.04 | 30 | 0 | 0 | 63.14 | 8.04 | 7.81 | [28 empty] | 5.00 |  | 83.48
5 | 2.007 | 3.64 | 29 | 0 | 0 |  | 7.72 | 7.92 | <1 | <2 | [15 empty] | 15.4 | [10 empty] | 5.00 |  | 83.48
6 | 1.975 | 3.22 | 33 | 0 | 0 | [31 empty] | 5.00 |  | 83.48
7 | 1.980 | 3.24 | 34 | 341 | 147 | 62.96 | 7.63 | 7.83 |  |  | 284.0 | 20.0 | 330.264 | 93.0 | 0.1 | 340 | 18.5 | 305 | 94.6 | [6 empty] | 26.0 | [10 empty] | 5.00 |  | 83.48
8 | 1.972 | 3.48 | 30 | 0 | 0 | 63.50 | 7.85 | 7.94 | <1 | <2 | [15 empty] | 26.0 | [10 empty] | 5.00 |  | 83.48
9 | 1.936 | 3.50 | 29 | 95 | 77 | 63.68 | 7.78 | 7.93 | [17 empty] | 20.0 | [10 empty] | 5.00 |  | 83.48
10 | 2.150 | 4.06 | 26 | 0 | 0 | 65.30 | 8.04 | 7.96
11 | 2.071 | 3.87 | 32 | 0 | 0 | 66.56 | 8.06 | 7.93
12 | 2.024 | 3.32 | 33 | 0 | 0 | 65.48 | 7.56 | 7.76 | 28 | <2
13 | 2.016 | 3.91 | 29 | 0 | 0 | 65.48 | 7.95 | 7.91
14 | 1.994 | 3.76 | 28 | 0 | 0 | 67.10 | 8.07 | 7.96 | [30 empty] | 72.36
15 | 2.169 | 4.13 | 28 | 0 | 0 | 66.92 | 7.80 | 7.86 | <1 | <2 | 220.0 | 20.0 | 361.789 | 90.9 | 0.2 | 244 | 47.0 | 850 | 80.7 | 1330 | 24059 | 492 | 8900 | 186 | 3364.6 | 24.0 | 1.5 | 0.7 | 2.2 | 40 | 11.0 | 35 | 38 | 9.7 | <0.1 | 4.0 | 4.00 | 72 | 72.36
16 | 2.121 | 3.65 | 31 | 0 | 0 | 64.94 | 7.68 | 7.61 | [28 empty] | 4.00 |  | 72.36
17 | 2.086 | 4.02 | 30 | 0 | 0 | 64.94 | 8.16 | 7.90 | [28 empty] | 4.00 |  | 72.36
18 | 2.030 | 4.04 | 33 | 0 | 0 | 64.94 | 8.11 | 7.88 | [28 empty] | 4.00 |  | 72.36
19 | 2.181 | 3.92 | 32 | 0 | 0 | 64.94 | 8.19 | 7.92 | <1 | <2 | 180.0 | 20.0 | 363.791 | 88.9 | 0.1 | 288 | 31.0 | 564 | 89.2 | [17 empty] | 4.00 |  | 72.36
20 | 2.027 | 3.40 | 35 | 0 | 0 | 64.58 | 8.05 | 7.83 | [28 empty] | 4.00 |  | 72.36
21 | 2.177 | 3.51 | 34 | 0 | 0 | 65.66 | 8.00 | 7.92 | [28 empty] | 4.00 |  | 72.36
22 | 2.133 | 3.39 | 39 | 0 | 0 | 64.04 | 8.17 | 7.80 | <1 | <2 | [26 empty] | 4.00 |  | 72.36
23 | 2.037 | 3.40 | 31 | 0 | 0 | 65.48 | 8.05 | 7.81 | [28 empty] | 4.00 |  | 72.36
24 | 2.107 | 4.00 | 37 | 0 | 0 | 63.68 | 8.03 | 7.79 | [28 empty] | 4.00 |  | 72.36
25 | 2.137 | 4.57 | 40 | 0 | 0 | 64.94 | 7.97 | 7.19 | [28 empty] | 4.00 |  | 72.36
26 | 2.137 | 3.41 | 34 | 0 | 0 | 65.12 | 7.93 | 7.93 | <1 | <2 | [26 empty] | 4.00 |  | 72.36
27 | 2.017 | 3.66 | 39 | 0 | 0 | 66.38 | 7.76 | 7.62 | [28 empty] | 4.00 |  | 72.36
28 | 2.139 | 3.73 | 45 | 0 | 0 | 67.28 | 7.65 | 7.72 | [28 empty] | 4.00 |  | 72.36
29 | 2.049 | 3.35 | 50 | 0 | 0 | 66.56 | 7.71 | 7.76 | <1 | <2 | 520.0 | 30.0 | 512.660 | 94.2 | <0.1 | 310 | 53.0 | 906 | 82.9 | [17 empty] | 4.00 |  | 72.36
30 | 2.132 | 3.49 | 42 | 0 | 0 | 66.56 | 7.99 | 7.82 | [28 empty] | 4.00 |  | 72.36
31 | 2.193 | 4.45 | 30 | 0 | 0 | 66.74 | 8.03 | 7.88 | [28 empty] | 4.00 |  | 72.36
Sum | 64.147 | [11 empty] | 1568.504 | 367.0
Avg | 2.069 | 3.72 | 34 |  |  | 65.05 | 7.94 | 7.83 |  |  | 301.0 | 22.5 | 392.126 | 91.7 |  | 296 | 37.4 | 656 | 86.9 | 1330 | 24059 | 492 | 8900 | 186 | 3364.6 | 22.3 | 1.5 | 0.7 | 2.2 | 40 | 11.0 | 35 | 38 | 9.7 | <0.1 | 4.0 | 4.35 | 72 | 76.07
Max | 2.193 | 4.57 | 50 |  |  | 67.28 | 8.23 | 7.96 |  |  | 520.0 |  | 512.660 | 94.2 |  | 340 | 53.0 | 906 | 94.6 | 1330 | 24059 | 492 | 8900 | 186 | 3364.6 | 26.0 | 1.5 | 0.7 | 2.2 | 40 | 11.0 | 35 | 38 | 9.7 | <0.1 | 4.0 | 5.00 | 72 | 83.48
Min | 1.886 | 3.22 | 26 |  |  | 60.98 | 7.56 | 7.19 |  |  | 180.0 |  | 330.264 | 88.9 |  | 244 | 18.5 | 305 | 80.7 | 1330 | 24059 | [15 empty] | 4.00 |  | 72.36
G Mean | [8 empty] | <1 | <2