## R-3 DECEMBER 2004
Dec, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY
2004-12-01
2004-12-02
2004-12-03
2004-12-04
2004-12-05
2004-12-06
2004-12-07
2004-12-08
2004-12-09
2004-12-10
2004-12-11
2004-12-12
2004-12-13
2004-12-14 | 27.1446 | 53.42 | 8.01 | 4.7 | 8.41 | 66 | 2 | <0.1 | >1600
2004-12-15
2004-12-16
2004-12-17
2004-12-18
2004-12-19
2004-12-20
2004-12-21
2004-12-22
2004-12-23
2004-12-24
2004-12-25
2004-12-26
2004-12-27
2004-12-28
2004-12-29
2004-12-30
2004-12-31
Avg | 27.1446 | 53.42 | 8.01 | 4.7 | 8.41 | 66 | 2 | <0.1 | >1600
Max | 27.1446 | 53.42 | 8.01 | 4.7 | 8.41 | 66 | 2 | <0.1 | >1600
Min | 27.1446 | 53.42 | 8.01 | 4.7 | 8.41 | 66 | 2 | <0.1 | >1600

## R-3 NOVEMBER 2004
Santa Paula River 3 November 2004 | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY | Nov, 2004 Santa Paula | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | Nov, 2004 Santa Paula | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY
2004-11-01 | [9 empty] | 2004-11-01 | [9 empty] | 2004-11-01
2004-11-02 | [9 empty] | 2004-11-02 | [9 empty] | 2004-11-02
2004-11-03 | [9 empty] | 2004-11-03 | [9 empty] | 2004-11-03
2004-11-04 | [9 empty] | 2004-11-04 | [9 empty] | 2004-11-04
2004-11-05 | [9 empty] | 2004-11-05 | [9 empty] | 2004-11-05
2004-11-06 | [9 empty] | 2004-11-06 | [9 empty] | 2004-11-06
2004-11-07 | [9 empty] | 2004-11-07 | [9 empty] | 2004-11-07
2004-11-08 | [9 empty] | 2004-11-08 | [9 empty] | 2004-11-08
2004-11-09 | [9 empty] | 2004-11-09 | [9 empty] | 2004-11-09
2004-11-10 | [9 empty] | 2004-11-10 | [9 empty] | 2004-11-10
2004-11-11 | [9 empty] | 2004-11-11 | [9 empty] | 2004-11-11
2004-11-12 | [9 empty] | 2004-11-12 | [9 empty] | 2004-11-12
2004-11-13 | [9 empty] | 2004-11-13 | [9 empty] | 2004-11-13
2004-11-14 | [9 empty] | 2004-11-14 | [9 empty] | 2004-11-14
2004-11-15 | 33.6076 | 55.94 | 8.02 | 2.9 | 9.09 | 72 | 1.9 | <0.1 | >1600 | 2004-11-15 | <0.1 | 1.5 | 0.23 | 0.5 | 1 | 2.8 | <0.1 | 0.6 | 2 | 2004-11-15 | 1180 | <3 | 579
2004-11-16 | [9 empty] | 2004-11-16 | [9 empty] | 2004-11-16
2004-11-17 | [9 empty] | 2004-11-17 | [9 empty] | 2004-11-17
2004-11-18 | [9 empty] | 2004-11-18 | [9 empty] | 2004-11-18
2004-11-19 | [9 empty] | 2004-11-19 | [9 empty] | 2004-11-19
2004-11-20 | [9 empty] | 2004-11-20 | [9 empty] | 2004-11-20
2004-11-21 | [9 empty] | 2004-11-21 | [9 empty] | 2004-11-21
2004-11-22 | [9 empty] | 2004-11-22 | [9 empty] | 2004-11-22
2004-11-23 | [9 empty] | 2004-11-23 | [9 empty] | 2004-11-23
2004-11-24 | [9 empty] | 2004-11-24 | [9 empty] | 2004-11-24
2004-11-25 | [9 empty] | 2004-11-25 | [9 empty] | 2004-11-25
2004-11-26 | [9 empty] | 2004-11-26 | [9 empty] | 2004-11-26
2004-11-27 | [9 empty] | 2004-11-27 | [9 empty] | 2004-11-27
2004-11-28 | [9 empty] | 2004-11-28 | [9 empty] | 2004-11-28
2004-11-29 | [9 empty] | 2004-11-29 | [9 empty] | 2004-11-29
2004-11-30 | [9 empty] | 2004-11-30 | [9 empty] | 2004-11-30
Avg | 33.6076 | 55.94 | 8.02 | 2.9 | 9.09 | 72 | 1.9 | <0.1 | >1600 | Avg | <0.1 | 1.5 | 0.23 | 0.5 | 1 | 2.8 | <0.1 | 0.6 | 2 | Avg | 1180 | <3 | 579
Max | 33.6076 | 55.94 | 8.02 | 2.9 | 9.09 | 72 | 1.9 | <0.1 | >1600 | Max | <0.1 | 1.5 | 0.23 | 0.5 | 1 | 2.8 | <0.1 | 0.6 | 2 | Max | 1180 | <3 | 579
Min | 33.6076 | 55.94 | 8.02 | 2.9 | 9.09 | 72 | 1.9 | <0.1 | >1600 | Min | <0.1 | 1.5 | 0.23 | 0.5 | 1 | 2.8 | <0.1 | 0.6 | 2 | Min | 1180 | <3 | 579

## R-3 OCTOBER 2004
Oct, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY
2004-10-01
2004-10-02
2004-10-03
2004-10-04
2004-10-05
2004-10-06
2004-10-07
2004-10-08
2004-10-09
2004-10-10
2004-10-11
2004-10-12
2004-10-13 | 46.5336 | 64.22 | 7.93 | 2.3 | 6.46 | 76 | 9 | <0.1 | >1600
2004-10-14
2004-10-15
2004-10-16
2004-10-17
2004-10-18
2004-10-19
2004-10-20
2004-10-21
2004-10-22
2004-10-23
2004-10-24
2004-10-25
2004-10-26
2004-10-27
2004-10-28
2004-10-29
2004-10-30
2004-10-31
Avg | 46.5336 | 64.22 | 7.93 | 2.3 | 6.46 | 76 | 9 | <0.1 | >1600
Max | 46.5336 | 64.22 | 7.93 | 2.3 | 6.46 | 76 | 9 | <0.1 | >1600
Min | 46.5336 | 64.22 | 7.93 | 2.3 | 6.46 | 76 | 9 | <0.1 | >1600

## R-3 SEPTEMBER 2004
Sep, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY
2004-09-01
2004-09-02
2004-09-03
2004-09-04
2004-09-05
2004-09-06
2004-09-07
2004-09-08
2004-09-09
2004-09-10
2004-09-11
2004-09-12
2004-09-13
2004-09-14 | 2.8437 | 69 | 7.71 | 4.1 | 3.2 | 114 | 4.5 | <0.1 | >1600
2004-09-15
2004-09-16
2004-09-17
2004-09-18
2004-09-19
2004-09-20
2004-09-21
2004-09-22
2004-09-23
2004-09-24
2004-09-25
2004-09-26
2004-09-27
2004-09-28
2004-09-29
2004-09-30
Avg | 2.8437 | 69 | 7.71 | 4.1 | 3.2 | 114 | 4.5 | <0.1 | >1600
Max | 2.8437 | 69 | 7.71 | 4.1 | 3.2 | 114 | 4.5 | <0.1 | >1600
Min | 2.8437 | 69 | 7.71 | 4.1 | 3.2 | 114 | 4.5 | <0.1 | >1600

## R-3 AUGUST 2004
Aug, 2004 Santa Paula River 3 | R3 Flow MGD MONTHLY | R3 Water Temp Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coliform MPN/#/100ML MONTHLY | Aug, 2004 Santa Paula River 3 | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | Aug, 2004 Santa Paula River 3 | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY | R3 Arsenic MG/L SEMI- ANNUAL | R3 Cadmium MG/L SEMI- ANNUAL | R3 Chromium MG/L SEMI- ANNUAL | R3 Copper MG/L SEMI- ANNUAL | R3 Nickel MG/L SEMI- ANNUAL | R3 Lead MG/L SEMI- ANNUAL | Aug, 2004 Santa Paula River 3 | R3 Zinc MG/L SEMI- ANNUAL | R3 CHRONIC SURVIVAL TUc ANNUAL | R3 CHRONIC %SURVIVAL % ANNUAL | R3 CHRONIC REPRODUCTION TUc ANNUAL | R3 CHRONIC REPRODUCTION % ANNUAL
2004-08-01 | [9 empty] | 2004-08-01 | [9 empty] | 2004-08-01 | [9 empty] | 2004-08-01
2004-08-02 | [9 empty] | 2004-08-02 | [9 empty] | 2004-08-02 | [9 empty] | 2004-08-02
2004-08-03 | [9 empty] | 2004-08-03 | [9 empty] | 2004-08-03 | [9 empty] | 2004-08-03
2004-08-04 | [9 empty] | 2004-08-04 | [9 empty] | 2004-08-04 | [9 empty] | 2004-08-04
2004-08-05 | [9 empty] | 2004-08-05 | [9 empty] | 2004-08-05 | [9 empty] | 2004-08-05
2004-08-06 | [9 empty] | 2004-08-06 | [9 empty] | 2004-08-06 | [9 empty] | 2004-08-06
2004-08-07 | [9 empty] | 2004-08-07 | [9 empty] | 2004-08-07 | [9 empty] | 2004-08-07
2004-08-08 | [9 empty] | 2004-08-08 | [9 empty] | 2004-08-08 | [9 empty] | 2004-08-08
2004-08-09 | [9 empty] | 2004-08-09 | [9 empty] | 2004-08-09 | [9 empty] | 2004-08-09 |  | 1 | 100 | 1 | 100
2004-08-10 | [9 empty] | 2004-08-10 | [9 empty] | 2004-08-10 | [9 empty] | 2004-08-10
2004-08-11 | 3.7485 | 72 | 7.89 | 6.7 | 5 | 104 | 2.1 | <0.1 | 130 | 2004-08-11 | <0.1 | 0.5 | 0.79 | 0.8 | 1.9 | 3.1 | <0.1 | 1.4 | 5.5 | 2004-08-11 | 1340 | <3 | 715 | <0.002 | <0.0002 | <0.0002 | 0.002 | 0.002 | 0.0002 | 2004-08-11 | <0.01
2004-08-12 | [9 empty] | 2004-08-12 | [9 empty] | 2004-08-12 | [9 empty] | 2004-08-12
2004-08-13 | [9 empty] | 2004-08-13 | [9 empty] | 2004-08-13 | [9 empty] | 2004-08-13
2004-08-14 | [9 empty] | 2004-08-14 | [9 empty] | 2004-08-14 | [9 empty] | 2004-08-14
2004-08-15 | [9 empty] | 2004-08-15 | [9 empty] | 2004-08-15 | [9 empty] | 2004-08-15
2004-08-16 | [9 empty] | 2004-08-16 | [9 empty] | 2004-08-16 | [9 empty] | 2004-08-16
2004-08-17 | [9 empty] | 2004-08-17 | [9 empty] | 2004-08-17 | [9 empty] | 2004-08-17
2004-08-18 | [9 empty] | 2004-08-18 | [9 empty] | 2004-08-18 | [9 empty] | 2004-08-18
2004-08-19 | [9 empty] | 2004-08-19 | [9 empty] | 2004-08-19 | [9 empty] | 2004-08-19
2004-08-20 | [9 empty] | 2004-08-20 | [9 empty] | 2004-08-20 | [9 empty] | 2004-08-20
2004-08-21 | [9 empty] | 2004-08-21 | [9 empty] | 2004-08-21 | [9 empty] | 2004-08-21
2004-08-22 | [9 empty] | 2004-08-22 | [9 empty] | 2004-08-22 | [9 empty] | 2004-08-22
2004-08-23 | [9 empty] | 2004-08-23 | [9 empty] | 2004-08-23 | [9 empty] | 2004-08-23
2004-08-24 | [9 empty] | 2004-08-24 | [9 empty] | 2004-08-24 | [9 empty] | 2004-08-24
2004-08-25 | [9 empty] | 2004-08-25 | [9 empty] | 2004-08-25 | [9 empty] | 2004-08-25
2004-08-26 | [9 empty] | 2004-08-26 | [9 empty] | 2004-08-26 | [9 empty] | 2004-08-26
2004-08-27 | [9 empty] | 2004-08-27 | [9 empty] | 2004-08-27 | [9 empty] | 2004-08-27
2004-08-28 | [9 empty] | 2004-08-28 | [9 empty] | 2004-08-28 | [9 empty] | 2004-08-28
2004-08-29 | [9 empty] | 2004-08-29 | [9 empty] | 2004-08-29 | [9 empty] | 2004-08-29
2004-08-30 | [9 empty] | 2004-08-30 | [9 empty] | 2004-08-30 | [9 empty] | 2004-08-30
2004-08-31 | [9 empty] | 2004-08-31 | [9 empty] | 2004-08-31 | [9 empty] | 2004-08-31
Sum | 3.7485 | 72 | 7.89 | 6.7 | 5 | 104 | 2.1 | <0.1 | 130 | Sum | <0.1 | 0.5 | 0.79 | 0.8 | 1.9 | 3.1 | <0.1 | 1.4 | 5.5 | Sum | 1340 | <3 | 715 | <0.002 | <0.0002 | <0.0002 | 0.002 | 0.002 | 0.0002 | Sum | <0.01 | 1 | 100 | 1 | 100
Avg | 3.7485 | 72 | 7.89 | 6.7 | 5 | 104 | 2.1 | <0.1 | 130 | Avg | <0.1 | 0.5 | 0.79 | 0.8 | 1.9 | 3.1 | <0.1 | 1.4 | 5.5 | Avg | 1340 | <3 | 715 | <0.002 | <0.0002 | <0.0002 | 0.002 | 0.002 | 0.0002 | Avg | <0.01 | 1 | 100 | 1 | 100
Max | 3.7485 | 72 | 7.89 | 6.7 | 5 | 104 | 2.1 | <0.1 | 130 | Max | <0.1 | 0.5 | 0.79 | 0.8 | 1.9 | 3.1 | <0.1 | 1.4 | 5.5 | Max | 1340 | <3 | 715 | <0.002 | <0.0002 | <0.0002 | 0.002 | 0.002 | 0.0002 | Max | <0.01 | 1 | 100 | 1 | 100
Min | 3.7485 | 72 | 7.89 | 6.7 | 5 | 104 | 2.1 | <0.1 | 130 | Min | <0.1 | 0.5 | 0.79 | 0.8 | 1.9 | 3.1 | <0.1 | 1.4 | 5.5 | Min | 1340 | <3 | 715 | <0.002 | <0.0002 | <0.0002 | 0.002 | 0.002 | 0.0002 | Min | <0.01 | 1 | 100 | 1 | 100

## R-3 JULY 2004
Jul, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY | R3 Arsenic MG/L SEMI- ANNUAL | R3 Cadmium MG/L SEMI- ANNUAL | R3 Chromium MG/L SEMI- ANNUAL | R3 Copper MG/L SEMI- ANNUAL | R3 Nickel MG/L SEMI- ANNUAL | R3 Lead MG/L SEMI- ANNUAL | R3 Zinc MG/L SEMI- ANNUAL | R3 CHRONIC SURVIVAL TUc ANNUAL | R3 CHRONIC %SURVIVAL % ANNUAL | R3 CHRONIC REPRODUCTION TUc ANNUAL | R3 CHRONIC REPRODUCTION % ANNUAL
1
2
3
4
5
6
7 | 7.7556 | 69.98 | 7.79 | 2.6 | 5.23 | 94 | 2.01 | <0.1
8
9 | [8 empty] | 220
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Sum |  | 69.98 | 7.79 | 2.6 | 5.23 | 94 | 2.01 | <0.1 | 220
Avg | 7.7556 | 69.98 | 7.79 | 2.6 | 5.23 | 94 | 2.01 | <0.1 | 220
Max |  | 69.98 | 7.79 | 2.6 | 5.23 | 94 | 2.01 | <0.1 | 220
Min |  | 69.98 | 7.79 | 2.6 | 5.23 | 94 | 2.01 | <0.1 | 220

## R-3 JUNE 2004
Jun, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY | R3 Arsenic MG/L SEMI- ANNUAL | R3 Cadmium MG/L SEMI- ANNUAL | R3 Chromium MG/L SEMI- ANNUAL | R3 Copper MG/L SEMI- ANNUAL | R3 Nickel MG/L SEMI- ANNUAL | R3 Lead MG/L SEMI- ANNUAL | R3 Zinc MG/L SEMI- ANNUAL | R3 CHRONIC SURVIVAL TUc ANNUAL | R3 CHRONIC %SURVIVAL % ANNUAL | R3 CHRONIC REPRODUCTION TUc ANNUAL | R3 CHRONIC REPRODUCTION % ANNUAL
1
2
3
4
5
6
7
8
9
10
11 | 12.9260 | 68.00 | 7.63 | <1.7 | 3.78 | 93 | 1.00 | <0.1 | 123
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Sum |  | 68.00 | 7.63 | <1.7 | 3.78 | 93 | 1.00 | <0.1 | 123
Avg | 12.9260 | 68.00 | 7.63 | <1.7 | 3.78 | 93 | 1.00 | <0.1 | 123
Max |  | 68.00 | 7.63 | <1.7 | 3.78 | 93 | 1.00 | <0.1 | 123
Min |  | 68.00 | 7.63 | <1.7 | 3.78 | 93 | 1.00 | <0.1 | 123

## R-3 MAY 2004
May, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY | R3 Arsenic MG/L SEMI- ANNUAL | R3 Cadmium MG/L SEMI- ANNUAL | R3 Chromium MG/L SEMI- ANNUAL | R3 Copper MG/L SEMI- ANNUAL | R3 Nickel MG/L SEMI- ANNUAL | R3 Lead MG/L SEMI- ANNUAL | R3 Zinc MG/L SEMI- ANNUAL | R3 CHRONIC SURVIVAL TUc ANNUAL | R3 CHRONIC %SURVIVAL % ANNUAL | R3 CHRONIC REPRODUCTION TUc ANNUAL | R3 CHRONIC REPRODUCTION % ANNUAL
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20 | 11.6671 | 62.24 | 7.55 | 2.0 | 5.45 | 91 | 0.70 | <0.1 | 111 | <0.1 | 1.4 | 0.48 | 0.4 | 0.9 | 2.8 | <0.1 | 0.8000 | 1.5 | 1340 | <3 | 638
21
22
23
24
25
26
27
28
29
30
31
Sum |  | 62.24 | 7.55 | 2.0 | 5.45 | 91 | 0.70 | <0.1 | 111 | <0.1 | 1.4 | 0.48 | 0.4 | 0.9 | 2.8 | <0.1 | 0.8000 | 1.5 | 1340 | <3 | 638
Avg | 11.6671 | 62.24 | 7.55 | 2.0 | 5.45 | 91 | 0.70 | <0.1 | 111 | <0.1 | 1.4 | 0.48 | 0.4 | 0.9 | 2.8 | <0.1 | 0.8000 | 1.5 | 1340 | <3 | 638
Max |  | 62.24 | 7.55 | 2.0 | 5.45 | 91 | 0.70 | <0.1 | 111 | <0.1 | 1.4 | 0.48 | 0.4 | 0.9 | 2.8 | <0.1 | 0.8000 | 1.5 | 1340 | <3 | 638
Min |  | 62.24 | 7.55 | 2.0 | 5.45 | 91 | 0.70 | <0.1 | 111 | <0.1 | 1.4 | 0.48 | 0.4 | 0.9 | 2.8 | <0.1 | 0.8000 | 1.5 | 1340 | <3 | 638

## R-3 APRIL 2004
Apr, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY | R3 Arsenic MG/L SEMI- ANNUAL | R3 Cadmium MG/L SEMI- ANNUAL | R3 Chromium MG/L SEMI- ANNUAL | R3 Copper MG/L SEMI- ANNUAL | R3 Nickel MG/L SEMI- ANNUAL | R3 Lead MG/L SEMI- ANNUAL | R3 Zinc MG/L SEMI- ANNUAL | R3 CHRONIC SURVIVAL TUc ANNUAL | R3 CHRONIC %SURVIVAL % ANNUAL | R3 CHRONIC REPRODUCTION TUc ANNUAL | R3 CHRONIC REPRODUCTION % ANNUAL
1
2
3
4
5
6
7
8
9
10
11
12
13
14 | 21.9742 | 65.48 | 8.25 | <1.8 | 17.56 | 68 | 1.55 | <0.1 | 240
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
Sum |  | 65.48 | 8.25 | <1.8 | 17.56 | 68 | 1.55 | <0.1 | 240
Avg | 21.9742 | 65.48 | 8.25 | <1.8 | 17.56 | 68 | 1.55 | <0.1 | 240
Max |  | 65.48 | 8.25 | <1.8 | 17.56 | 68 | 1.55 | <0.1 | 240
Min |  | 65.48 | 8.25 | <1.8 | 17.56 | 68 | 1.55 | <0.1 | 240

## R-3 MARCH 2004
Mar, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY | R3 Arsenic MG/L SEMI- ANNUAL | R3 Cadmium MG/L SEMI- ANNUAL | R3 Chromium MG/L SEMI- ANNUAL | R3 Copper MG/L SEMI- ANNUAL | R3 Nickel MG/L SEMI- ANNUAL | R3 Lead MG/L SEMI- ANNUAL | R3 Zinc MG/L SEMI- ANNUAL | R3 CHRONIC SURVIVAL TUc ANNUAL | R3 CHRONIC %SURVIVAL % ANNUAL | R3 CHRONIC REPRODUCTION TUc ANNUAL | R3 CHRONIC REPRODUCTION % ANNUAL
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18 | 84.0190 | 70.52 | 8.22 | 1.2 | 11.10 | 53 | 4.10 | <0.1 | >1600
19
20
21
22
23
24
25
26
27
28
29
30
31
Sum |  | 70.52 | 8.22 | 1.2 | 11.10 | 53 | 4.10 | <0.1 | >1600
Avg | 84.0190 | 70.52 | 8.22 | 1.2 | 11.10 | 53 | 4.10 | <0.1 | >1600
Max |  | 70.52 | 8.22 | 1.2 | 11.10 | 53 | 4.10 | <0.1 | >1600
Min |  | 70.52 | 8.22 | 1.2 | 11.10 | 53 | 4.10 | <0.1 | >1600

## R-3 FEBRUARY 2004
Feb, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY | R3 Arsenic MG/L SEMI- ANNUAL | R3 Cadmium MG/L SEMI- ANNUAL | R3 Chromium MG/L SEMI- ANNUAL | R3 Copper MG/L SEMI- ANNUAL | R3 Nickel MG/L SEMI- ANNUAL | R3 Lead MG/L SEMI- ANNUAL | R3 Zinc MG/L SEMI- ANNUAL | R3 CHRONIC SURVIVAL TUc ANNUAL | R3 CHRONIC %SURVIVAL % ANNUAL | R3 CHRONIC REPRODUCTION TUc ANNUAL | R3 CHRONIC REPRODUCTION % ANNUAL
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23 | 275.9701 | 51.26 | 8.07 | 9.1 | 9.88 | 22 | 2848.00 | <0.1 | >1600 | 7.0 | 1.5 | <0.10 | 0.3 | 2.5 | 4.0 | <0.1 | 0.5000 | 1953.0 | 375 | <3 | 207 | 0.02 | 0.009 | 0.13 | 0.09 | 0.12 | 0.07 | 0.46
24
25
26
27
28
29
Sum |  | 51.26 | 8.07 | 9.1 | 9.88 | 22 | 2848.00 | <0.1 | >1600 | 7.0 | 1.5 | <0.10 | 0.3 | 2.5 | 4.0 | <0.1 | 0.5000 | 1953.0 | 375 | <3 | 207 | 0.02 | 0.009 | 0.13 | 0.09 | 0.12 | 0.07 | 0.46
Avg | 275.9701 | 51.26 | 8.07 | 9.1 | 9.88 | 22 | 2848.00 | <0.1 | >1600 | 7.0 | 1.5 | <0.10 | 0.3 | 2.5 | 4.0 | <0.1 | 0.5000 | 1953.0 | 375 | <3 | 207 | 0.02 | 0.009 | 0.13 | 0.09 | 0.12 | 0.07 | 0.46
Max |  | 51.26 | 8.07 | 9.1 | 9.88 | 22 | 2848.00 | <0.1 | >1600 | 7.0 | 1.5 | <0.10 | 0.3 | 2.5 | 4.0 | <0.1 | 0.5000 | 1953.0 | 375 | <3 | 207 | 0.02 | 0.009 | 0.13 | 0.09 | 0.12 | 0.07 | 0.46
Min |  | 51.26 | 8.07 | 9.1 | 9.88 | 22 | 2848.00 | <0.1 | >1600 | 7.0 | 1.5 | <0.10 | 0.3 | 2.5 | 4.0 | <0.1 | 0.5000 | 1953.0 | 375 | <3 | 207 | 0.02 | 0.009 | 0.13 | 0.09 | 0.12 | 0.07 | 0.46

## R-3 JANUARY 2004
Jan, 2004 Santa Paula | R3 Flow MGD MONTHLY | R3 Temp Water Degrees F MONTHLY | R3 Ph S.U. MONTHLY | R3 Bod 5 Day MG/L MONTHLY | R3 Dissolved Oxygen MG/L MONTHLY | R3 Chloride MG/L MONTHLY | R3 Turbidity NTU MONTHLY | R3 Cl2 Residual MG/L MONTHLY | R3 Tot Coli MPN #/100ML MONTHLY | R3 Sett Solids ML/L QUARTERLY | R3 Nitrate-N MG/L QUARTERLY | R3 Nitrite- N MG/L QUARTERLY | R3 Ammonia-N MG/L QUARTERLY | R3 Tkn MG/L QUARTERLY | R3 Total Nitrogen MG/L QUARTERLY | R3 MBAS MG/L QUARTERLY | R3 Phosphate MG/L QUARTERLY | R3 Suspended Solids MG/L QUARTERLY | R3 Dissolved Solids MG/L QUARTERLY | R3 Oil &Grease MG/L QUARTERLY | R3 Sulfate MG/L QUARTERLY | R3 Arsenic MG/L SEMI- ANNUAL | R3 Cadmium MG/L SEMI- ANNUAL | R3 Chromium MG/L SEMI- ANNUAL | R3 Copper MG/L SEMI- ANNUAL | R3 Nickel MG/L SEMI- ANNUAL | R3 Lead MG/L SEMI- ANNUAL | R3 Zinc MG/L SEMI- ANNUAL | R3 CHRONIC SURVIVAL TUc ANNUAL | R3 CHRONIC %SURVIVAL % ANNUAL | R3 CHRONIC REPRODUCTION TUc ANNUAL | R3 CHRONIC REPRODUCTION % ANNUAL
1
2
3
4
5
6
7
8
9
10
11
12
13
14 | 53.6429 | 54.50 | 8.22 | <1.7 | 9.84 | 64 | 9.47 | <0.1 | 1600
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
Sum |  | 54.50 | 8.22 | <1.7 | 9.84 | 64 | 9.47 | <0.1 | 1600
Avg | 53.6429 | 54.50 | 8.22 | <1.7 | 9.84 | 64 | 9.47 | <0.1 | 1600
Max |  | 54.50 | 8.22 | <1.7 | 9.84 | 64 | 9.47 | <0.1 | 1600
Min |  | 54.50 | 8.22 | <1.7 | 9.84 | 64 | 9.47 | <0.1 | 1600