## Feb 2005 Final
COUNTY SANITATION DISTRICTS OF LOS ANGELES COUNTY
JOINT WATER POLLUTION CONTROL PLANT
MONITORING REPORT
FEBRUARY 2005
(All samples collected on February 8 and 9, 2005)
WQCB ORDER NO. 97-090, NPDES NO. CA0053813
MONITORING AND REPORTING PROGRAM NO. 1758
QUARTERLY OFF-SHORE WATER QUALITY SURVEY
AMMONIA NITROGEN (MG/L N)
| STATION | REP | SURFACE |  | STATION | REP | 15 M |  | STATION | REP | 30 M |  | STATION | REP | 45 M
| 2504 |  | < | 0.02 | 2504 |  | < | 0.02 | 2504 |  | < | 0.02 | 2505 |  | < | 0.02
| 2505 |  | < | 0.02 | 2505 |  | < | 0.02 | 2505 |  | < | 0.02 | 2506 |  | < | 0.02
| 2506 |  | < | 0.02 | 2506 |  | < | 0.02 | 2506 |  |  | 0.07 | 2605 |  | < | 0.02
| 2604 |  | < | 0.02 | 2604 |  | < | 0.02 | 2604 |  | < | 0.02 | 2606 |  | < | 0.02
| 2605 |  | < | 0.02 | 2605 |  | < | 0.02 | 2605 |  | < | 0.02 | 2704 |  | < | 0.02
| 2606 |  | < | 0.02 | 2606 |  | < | 0.02 | 2606 |  | < | 0.02 | 2705 |  | < | 0.02
| 2704 |  | < | 0.02 | 2704 |  | < | 0.02 | 2704 |  |  | 0.19 | 2706 |  | < | 0.02
| 2705 |  | < | 0.02 | 2705 |  | < | 0.02 | 2705 |  | < | 0.02 | 2803 |  | < | 0.02
| 2706 |  | < | 0.02 | 2706 |  |  | 0.1 | 2706 |  |  | 0.09 | 2804 |  | < | 0.02
| 2802 |  |  | 0.07 | 2802 |  | < | 0.02 | 2802 |  |  | 0.06 | 2903 |  | < | 0.02
| 2803 |  | < | 0.02 | 2803 |  |  | 0.02 | 2803 |  |  | 0.04 | 2904 |  | < | 0.02
| 2804 |  | < | 0.02 | 2804 |  | < | 0.02 | 2804 |  |  | 0.02 | 3003 |  | < | 0.02
| 2902 |  |  | 0.06 | 2902 |  | < | 0.02 | 2902 |  |  | 0.03 | 3004 |  | < | 0.02
| 2903 |  | < | 0.02 | 2903 |  | < | 0.02 | 2903 |  |  | 0.13 | 3053 |  |  | 0.11
| 2904 |  | < | 0.02 | 2904 |  | < | 0.02 | 2904 |  | < | 0.02 | 3054 |  | < | 0.02
| 3002 |  | < | 0.02 | 3002 |  | < | 0.02 | 3002 |  | < | 0.02 | 3103 |  | < | 0.02
| 3003 |  | < | 0.02 | 3003 |  | < | 0.02 | 3003 |  | < | 0.02 | 3104 |  |  | 0.04
| 3004 |  |  | 0.02 | 3004 |  |  | 0.12 | 3004 |  | < | 0.02
| 3052 |  | < | 0.02 | 3052 |  | < | 0.02 | 3052 |  |  | 0.03
| 3053 |  | < | 0.02 | 3053 |  | < | 0.02 | 3053 |  | < | 0.02
| 3054 |  |  | 0.06 | 3054 |  |  | 0.03 | 3054 |  |  | 0.04
| 3102 |  | < | 0.02 | 3102 |  | < | 0.02 | 3102 |  | < | 0.02
| 3103 |  | < | 0.02 | 3103 |  |  | 0.02 | 3103 |  |  | 0.02
| 3104 |  | < | 0.02 | 3104 |  | < | 0.02 | 3104 |  | < | 0.02
Average*: |  |  | < | 0.025417 |  |  | < | 0.027917 |  |  | < | 0.040833 |  |  | < | 0.026471
Maximum: |  |  |  | 0.07 |  |  |  | 0.12 |  |  |  | 0.19 |  |  |  | 0.11
Minimum: |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.02
Overall Average: | [7 empty] | < | 0.030159
*
na This station too shallow to sample at 45m
NOTE: California Ocean Plan limits are 6 mg/L ammonia-nitrogen for acute toxicity and 0.60 mg/L for chronic toxicity (6-month median).
Average values for all samples at each depth, surface, 15 m, 30 m, and 45 m.
Method Detection Limit (MDL) = 0.004 mg/L.
When calculating average values, the reporting limit of 0.02 mg/L is used for values reported as < 0.02 mg/L.

## May 2005 Final
COUNTY SANITATION DISTRICTS OF LOS ANGELES COUNTY
JOINT WATER POLLUTION CONTROL PLANT
MONITORING REPORT
MAY 2005
(All samples collected on May 3 and 4, 2005)
WQCB ORDER NO. 97-090, NPDES NO. CA0053813
MONITORING AND REPORTING PROGRAM NO. 1758
QUARTERLY OFF-SHORE WATER QUALITY SURVEY
AMMONIA NITROGEN (MG/L N)
| STATION | REP | SURFACE |  | STATION | REP | 15 M |  | STATION | REP | 30 M |  | STATION | REP | 45 M
| 2504 |  | < | 0.02 | 2504 |  | < | 0.02 | 2504 |  |  | 0.02 | 2505 |  | < | 0.02
| 2505 |  |  | 0.06 | 2505 |  | < | 0.02 | 2505 |  |  | 0.05 | 2506 |  | < | 0.02
| 2506 |  | < | 0.02 | 2506 |  | < | 0.02 | 2506 |  | < | 0.02 | 2605 |  |  | 0.03
| 2604 |  | < | 0.02 | 2604 |  |  | 0.04 | 2604 |  |  | 0.06 | 2606 |  | < | 0.02
| 2605 |  |  | 0.03 | 2605 |  | < | 0.02 | 2605 |  |  | 0.05 | 2704 |  |  | 0.04
| 2606 |  | < | 0.02 | 2606 |  | < | 0.02 | 2606 |  | < | 0.02 | 2705 |  |  | 0.07
| 2704 |  | < | 0.02 | 2704 |  |  | 0.06 | 2704 |  |  | 0.03 | 2706 |  | < | 0.02
| 2705 |  | < | 0.02 | 2705 |  | < | 0.02 | 2705 |  |  | 0.04 | 2803 |  |  | 0.02
| 2706 |  | < | 0.02 | 2706 |  | < | 0.02 | 2706 |  | < | 0.02 | 2804 |  |  | 0.08
| 2802 |  | < | 0.02 | 2802 |  | < | 0.02 | 2802 |  |  | 0.04 | 2903 |  |  | 0.22
| 2803 |  |  | 0.03 | 2803 |  | < | 0.02 | 2803 |  |  | 0.04 | 2904 |  |  | 0.19
| 2804 |  | < | 0.02 | 2804 |  | < | 0.02 | 2804 |  |  | 0.04 | 3003 |  |  | 0.12
| 2902 |  | < | 0.02 | 2902 |  | < | 0.02 | 2902 |  |  | 0.07 | 3004 |  | < | 0.02
| 2903 |  | < | 0.02 | 2903 |  |  | 0.04 | 2903 |  |  | 0.11 | 3053 |  |  | 0.03
| 2904 |  | < | 0.02 | 2904 |  | < | 0.02 | 2904 |  |  | 0.03 | 3054 |  | < | 0.02
| 3002 |  | < | 0.02 | 3002 |  |  | 0.05 | 3002 |  |  | 0.16 | 3103 |  |  | 0.05
| 3003 |  | < | 0.02 | 3003 |  |  | 0.03 | 3003 |  |  | 0.14 | 3104 |  | < | 0.02
| 3004 |  | < | 0.02 | 3004 |  | < | 0.02 | 3004 |  | < | 0.02
| 3052 |  |  | 0.02 | 3052 |  |  | 0.09 | 3052 |  |  | 0.1
| 3053 |  |  | 0.02 | 3053 |  |  | 0.11 | 3053 |  |  | 0.17
| 3054 |  | < | 0.02 | 3054 |  | < | 0.02 | 3054 |  |  | 0.03
| 3102 |  |  | 0.02 | 3102 |  |  | 0.07 | 3102 |  |  | 0.13
| 3103 |  |  | 0.04 | 3103 |  |  | 0.04 | 3103 |  |  | 0.11
| 3104 |  | < | 0.02 | 3104 |  |  | 0.04 | 3104 |  | < | 0.02
Average*: |  |  | < | 0.023333 |  |  | < | 0.035417 |  |  | < | 0.063333 |  |  | < | 0.058235
Maximum: |  |  |  | 0.06 |  |  |  | 0.11 |  |  |  | 0.17 |  |  |  | 0.22
Minimum: |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.02
Overall Average: | [7 empty] | < | 0.04508
*
na This station too shallow to sample at 45m
NOTE: California Ocean Plan limits are 6 mg/L ammonia-nitrogen for acute toxicity and 0.60 mg/L for chronic toxicity (6-month median).
Average values for all samples at each depth, surface, 15 m, 30 m, and 45 m.
Method Detection Limit (MDL) = 0.004 mg/L.
When calculating average values, the reporting limit of 0.02 mg/L is used for values reported as < 0.02 mg/L.

## Aug 2005 Final
COUNTY SANITATION DISTRICTS OF LOS ANGELES COUNTY
JOINT WATER POLLUTION CONTROL PLANT
MONITORING REPORT
AUGUST 2005
(All samples collected on August 2 and 3, 2005)
WQCB ORDER NO. 97-090, NPDES NO. CA0053813
MONITORING AND REPORTING PROGRAM NO. 1758
QUARTERLY OFF-SHORE WATER QUALITY SURVEY
AMMONIA NITROGEN (MG/L N)
| STATION | REP | SURFACE |  | STATION | REP | 15 M |  | STATION | REP | 30 M |  | STATION | REP | 45 M
| 2504 |  | < | 0.02 | 2504 |  | < | 0.02 | 2504 |  | < | 0.02 | 2505 |  | < | 0.02
| 2505 |  | < | 0.02 | 2505 |  | < | 0.02 | 2505 |  | < | 0.02 | 2506 |  | < | 0.02
| 2506 |  | < | 0.02 | 2506 |  | < | 0.02 | 2506 |  | < | 0.02 | 2605 |  | < | 0.02
| 2604 |  | < | 0.02 | 2604 |  | < | 0.02 | 2604 |  | < | 0.02 | 2606 |  | < | 0.02
| 2605 |  | < | 0.02 | 2605 |  | < | 0.02 | 2605 |  | < | 0.02 | 2704 |  | < | 0.02
| 2606 |  | < | 0.02 | 2606 |  | < | 0.02 | 2606 |  | < | 0.02 | 2705 |  | < | 0.02
| 2704 |  | < | 0.02 | 2704 |  | < | 0.02 | 2704 |  | < | 0.02 | 2706 |  | < | 0.02
| 2705 |  | < | 0.02 | 2705 |  | < | 0.02 | 2705 |  | < | 0.02 | 2803 |  | < | 0.02
| 2706 |  | < | 0.02 | 2706 |  | < | 0.02 | 2706 |  | < | 0.02 | 2804 |  | < | 0.02
| 2802 |  | < | 0.02 | 2802 |  | < | 0.02 | 2802 |  | < | 0.02 | 2903 |  |  | 0.06
| 2803 |  | < | 0.02 | 2803 |  | < | 0.02 | 2803 |  | < | 0.02 | 2904 |  | < | 0.02
| 2804 |  | < | 0.02 | 2804 |  | < | 0.02 | 2804 |  | < | 0.02 | 3003 |  | < | 0.02
| 2902 |  | < | 0.02 | 2902 |  | < | 0.02 | 2902 |  |  | 0.05 | 3004 |  | < | 0.02
| 2903 |  | < | 0.02 | 2903 |  | < | 0.02 | 2903 |  |  | 0.16 | 3053 |  | < | 0.02
| 2904 |  | < | 0.02 | 2904 |  | < | 0.02 | 2904 |  | < | 0.02 | 3054 |  | < | 0.02
| 3002 |  | < | 0.02 | 3002 |  | < | 0.02 | 3002 |  |  | 0.16 | 3103 |  |  | 0.05
| 3003 |  | < | 0.02 | 3003 |  | < | 0.02 | 3003 |  |  | 0.13 | 3104 |  |  | 0.09
| 3004 |  | < | 0.02 | 3004 |  | < | 0.02 | 3004 |  | < | 0.02
| 3052 |  | < | 0.02 | 3052 |  |  | 0.02 | 3052 |  |  | 0.17
| 3053 |  | < | 0.02 | 3053 |  | < | 0.02 | 3053 |  | < | 0.02
| 3054 |  | < | 0.02 | 3054 |  | < | 0.02 | 3054 |  | < | 0.02
| 3102 |  | < | 0.02 | 3102 |  | < | 0.02 | 3102 |  |  | 0.03
| 3103 |  | < | 0.02 | 3103 |  | < | 0.02 | 3103 |  |  | 0.06
| 3104 |  | < | 0.02 | 3104 |  | < | 0.02 | 3104 |  |  | 0.14
Average*: |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.050833 |  |  | < | 0.028235
Maximum: |  |  | < | 0.02 |  |  |  | 0.02 |  |  |  | 0.17 |  |  |  | 0.09
Minimum: |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.02
Overall Average: | [7 empty] | < | 0.029767
*
na This station too shallow to sample at 45m
NOTE: California Ocean Plan limits are 6 mg/L ammonia-nitrogen for acute toxicity and 0.60 mg/L for chronic toxicity (6-month median).
Average values for all samples at each depth, surface, 15 m, 30 m, and 45 m.
Method Detection Limit (MDL) = 0.004 mg/L.
When calculating average values, the reporting limit of 0.02 mg/L is used for values reported as < 0.02 mg/L.

## Nov 2005 Final
COUNTY SANITATION DISTRICTS OF LOS ANGELES COUNTY
JOINT WATER POLLUTION CONTROL PLANT
MONITORING REPORT
NOVEMBER 2005
(All samples collected on November 1 and 2, 2005)
WQCB ORDER NO. 97-090, NPDES NO. CA0053813
MONITORING AND REPORTING PROGRAM NO. 1758
QUARTERLY OFF-SHORE WATER QUALITY SURVEY
AMMONIA NITROGEN (MG/L N)
| STATION | REP | SURFACE |  | STATION | REP | 15 M |  | STATION | REP | 30 M |  | STATION | REP | 45 M
| 2504 |  | < | 0.02 | 2504 |  | < | 0.02 | 2504 |  |  | 0.03 | 2505 |  | < | 0.02
| 2505 |  | < | 0.02 | 2505 |  | < | 0.02 | 2505 |  | < | 0.02 | 2506 |  | < | 0.02
| 2506 |  | < | 0.02 | 2506 |  | < | 0.02 | 2506 |  | < | 0.02 | 2605 |  | < | 0.02
| 2604 |  | < | 0.02 | 2604 |  |  | 0.05 | 2604 |  |  | 0.06 | 2606 |  | < | 0.02
| 2605 |  | < | 0.02 | 2605 |  | < | 0.02 | 2605 |  |  | 0.02 | 2704 |  | < | 0.02
| 2606 |  | < | 0.02 | 2606 |  | < | 0.02 | 2606 |  |  | 0.06 | 2705 |  | < | 0.02
| 2704 |  | < | 0.02 | 2704 |  |  | 0.07 | 2704 |  | < | 0.02 | 2706 |  | < | 0.02
| 2705 |  | < | 0.02 | 2705 |  | < | 0.02 | 2705 |  | < | 0.02 | 2803 |  | < | 0.02
| 2706 |  | < | 0.02 | 2706 |  | < | 0.02 | 2706 |  | < | 0.02 | 2804 |  |  | 0.03
| 2802 |  | < | 0.02 | 2802 |  | < | 0.02 | 2802 |  |  | 0.07 | 2903 |  |  | 0.23
| 2803 |  | < | 0.02 | 2803 |  | < | 0.02 | 2803 |  | < | 0.02 | 2904 |  |  | 0.02
| 2804 |  | < | 0.02 | 2804 |  | < | 0.02 | 2804 |  | < | 0.02 | 3003 |  |  | 0.07
| 2902 |  | < | 0.02 | 2902 |  | < | 0.02 | 2902 |  |  | 0.05 | 3004 |  | < | 0.02
| 2903 |  | < | 0.02 | 2903 |  | < | 0.02 | 2903 |  |  | 0.21 | 3053 |  | < | 0.02
| 2904 |  | < | 0.02 | 2904 |  | < | 0.02 | 2904 |  | < | 0.02 | 3054 |  | < | 0.02
| 3002 |  | < | 0.02 | 3002 |  | < | 0.02 | 3002 |  | < | 0.02 | 3103 |  | < | 0.02
| 3003 |  | < | 0.02 | 3003 |  | < | 0.02 | 3003 |  | < | 0.02 | 3104 |  |  | 0.03
| 3004 |  | < | 0.02 | 3004 |  | < | 0.02 | 3004 |  | < | 0.02
| 3052 |  | < | 0.02 | 3052 |  | < | 0.02 | 3052 |  | < | 0.02
| 3053 |  | < | 0.02 | 3053 |  | < | 0.02 | 3053 |  | < | 0.02
| 3054 |  | < | 0.02 | 3054 |  | < | 0.02 | 3054 |  | < | 0.02
| 3102 |  | < | 0.02 | 3102 |  | < | 0.02 | 3102 |  | < | 0.02
| 3103 |  | < | 0.02 | 3103 |  | < | 0.02 | 3103 |  | < | 0.02
| 3104 |  | < | 0.02 | 3104 |  | < | 0.02 | 3104 |  | < | 0.02
Average*: |  |  | < | 0.02 |  |  | < | 0.023333 |  |  | < | 0.035 |  |  | < | 0.036471
Maximum: |  |  | < | 0.02 |  |  |  | 0.07 |  |  |  | 0.21 |  |  |  | 0.23
Minimum: |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.02 |  |  | < | 0.02
Overall Average: | [7 empty] | < | 0.028701
*
na This station too shallow to sample at 45m
NOTE: California Ocean Plan limits are 6 mg/L ammonia-nitrogen for acute toxicity and 0.60 mg/L for chronic toxicity (6-month median).
Average values for all samples at each depth, surface, 15 m, 30 m, and 45 m.
Method Detection Limit (MDL) = 0.004 mg/L.
When calculating average values, the reporting limit of 0.02 mg/L is used for values reported as < 0.02 mg/L.