2003 LACSD and US EPA Toxicity Evaluation in the San Gabriel River Watershed

Single receiving water grab samples from ten locations in the San Gabriel River watershed, including two locations from Walnut Creek were collected in August, September, and October were collected and tested using Ceriodaphnia dubia and Pimephales promelas. Baseline chronic toxicity testing was conducted on each sample using “Short-term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Waters to Freshwater Organisms, Fourth Edition, October 2002 (EPA-821-R-02-013). All tests were conducted concurrently with reference toxicant tests and results from this concurrent reference toxicant testing as well as maintained culturing records were used to assess the health and sensitivity of the test organisms relative to previously conducted tests. Minimum test acceptability criteria and other parameters maintained for each test are contained in the table below:

| Parameter | Ceriodaphnia dubia | Pimephales promelas |
| --- | --- | --- |
| Organism Source | In-house Culture | Aquatic Bio Systems |
| Age at Initiation | <24 hours and released within 8 hours of each other | <24 hours |
| Test Duration | Until 60% or more of the surviving control females have three broods | 7 days |
| Concentrations Tested | Control and 100% receiving water | Control and 100% receiving water |
| Solution Renewal | Daily | Daily |
| Control Water | Reconstituted DI water | Reconstituted DI water |
| No. of Replicates | 10 | 4 |
| Organisms per Replicate | 1 | 10 |
| Endpoints | Survival and Reproduction | Survival and Growth |
| Test Acceptability | 80% or greater survival in the controls. 15 or more young per surviving female. 60% or more of surviving control females have three broods within 8 days. PMSD of the reproduction endpoint did not exceed 47%. | 80% or greater survival in the controls. Average dry weight per surviving organism equal or greater than 0.25 mg. 60% or more of surviving control females have three broods within 8 days. PMSD of the growth endpoint did not exceed 30%. |