Hyperion Treatment Plant

Receiving Water Monitoring Requirements for

Order R4-2005-0020

One-Mile Monitoring

Additional Offshore Stations – Water Quality Monitoring Requirements

Per the Monitoring and Reporting Program of Order No. R4-2005-0020, additional offshore sampling, at surface and depth, was conducted three times during 2008 at station A-2 and two additional stations, A2-1 (50 meters upcoast) and A2-2 (50 meters downcoast), whenever there was any discharge to the 1-mile Outfall (Discharge Serial No. 001).

Water quality monitoring is required as follows:

| Parameter | Unit | Type of Sample | Sample Frequency |
| --- | --- | --- | --- |
| Total chlorine residual | ug/L | Grab | Once per discharge day |
| Fecal coliform(or E. coli) | MPN/100mL or CFU/100ml | Surface & bottom grab | Once per discharge day |
| Total coliform | MPN/100mL or CFU/100ml | Surface & bottom grab | Once per discharge day |
| Enterococcus | CFU/100ml | Surface & bottom grab | Once per discharge day |