## Dominguez Estuary Ammonia
Sampled By | Water Body | Sample Location | Latitude | Longitude | Date | Sample Time | pH | Temperature (˚C) | Ammonia (NH3) Result (mg N/L) | Qualifier | MDL (mg/L) | i | pKa | 4-day Water Quality Criteria | Exceedance? | Notes
City of Los Angeles | Dominguez Channel Estuary | Henry Ford Ave. | 33° 45' 39" N | 118° 14' 24" W | 2009-07-01 | 0:00 | 7.6 | 25.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.6303 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Sepulveda Blvd. @ Alameda St. | 33° 48' 22" N | 118° 13' 40" W | 2009-07-01 | 0:00 | 7.63 | 23.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.7634 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 223rd St. @ Wilmington Ave. | 33° 49' 28" N | 118° 14' 32" W | 2009-07-01 | 0:00 | 7.65 | 24.1 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.59 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 190th St. @ Figueroa St. | 33° 51' 43" N | 118° 17' 03" W | 2009-07-01 | 0:00 | 7.56 | 24.9 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.8372 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Henry Ford Ave. | 33° 45' 39" N | 118° 14' 24" W | 2009-07-08 | 0:00 | 7.72 | 24.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.3389 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Sepulveda Blvd. @ Alameda St. | 33° 48' 22" N | 118° 13' 40" W | 2009-07-08 | 0:00 | 7.71 | 24.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.3693 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 223rd St. @ Wilmington Ave. | 33° 49' 28" N | 118° 14' 32" W | 2009-07-08 | 0:00 | 7.69 | 24.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.4321 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 190th St. @ Figueroa St. | 33° 51' 43" N | 118° 17' 03" W | 2009-07-08 | 0:00 | 7.53 | 24.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 2.0545 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Henry Ford Ave. | 33° 45' 39" N | 118° 14' 24" W | 2009-07-15 | 0:00 | 7.74 | 25.1 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.2081 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Sepulveda Blvd. @ Alameda St. | 33° 48' 22" N | 118° 13' 40" W | 2009-07-15 | 0:00 | 7.75 | 24.9 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.1986 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 223rd St. @ Wilmington Ave. | 33° 49' 28" N | 118° 14' 32" W | 2009-07-15 | 0:00 | 7.81 | 25.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.0186 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 190th St. @ Figueroa St. | 33° 51' 43" N | 118° 17' 03" W | 2009-07-15 | 0:00 | 7.68 | 26.9 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.2126 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Henry Ford Ave. | 33° 45' 39" N | 118° 14' 24" W | 2009-07-22 | 0:00 | 7.76 | 25.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.1387 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Sepulveda Blvd. @ Alameda St. | 33° 48' 22" N | 118° 13' 40" W | 2009-07-22 | 0:00 | 7.73 | 25.4 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.2088 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 223rd St. @ Wilmington Ave. | 33° 49' 28" N | 118° 14' 32" W | 2009-07-22 | 0:00 | 7.62 | 25 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.593 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 190th St. @ Figueroa St. | 33° 51' 43" N | 118° 17' 03" W | 2009-07-22 | 0:00 | 7.66 | 27.9 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.1794 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Henry Ford Ave. | 33° 45' 39" N | 118° 14' 24" W | 2009-07-29 | 0:00 | 7.75 | 21 | 0.16 |  | 0.05 | 0.2013 | 9.2684 | 1.5915 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Sepulveda Blvd. @ Alameda St. | 33° 48' 22" N | 118° 13' 40" W | 2009-07-29 | 0:00 | 7.62 | 24.5 | 0.16 |  | 0.05 | 0.2013 | 9.2684 | 1.6522 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 223rd St. @ Wilmington Ave. | 33° 49' 28" N | 118° 14' 32" W | 2009-07-29 | 0:00 | 7.73 | 26 | 0.16 |  | 0.05 | 0.2013 | 9.2684 | 1.1574 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 190th St. @ Figueroa St. | 33° 51' 43" N | 118° 17' 03" W | 2009-07-29 | 0:00 | 7.61 | 26.8 | 0.23 |  | 0.05 | 0.2013 | 9.2684 | 1.4289 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Henry Ford Ave. | 33° 45' 39" N | 118° 14' 24" W | 2009-08-05 | 0:00 | 7.75 | 21.9 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.4905 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Sepulveda Blvd. @ Alameda St. | 33° 48' 22" N | 118° 13' 40" W | 2009-08-05 | 0:00 | 7.69 | 22.4 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.6449 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 223rd St. @ Wilmington Ave. | 33° 49' 28" N | 118° 14' 32" W | 2009-08-05 | 0:00 | 7.71 | 25.2 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.2826 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 190th St. @ Figueroa St. | 33° 51' 43" N | 118° 17' 03" W | 2009-08-05 | 0:00 | 7.78 | 26.9 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 0.9704 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Henry Ford Ave. | 33° 45' 39" N | 118° 14' 24" W | 2009-08-13 | 0:00 | 7.74 | 25.5 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.1736 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | Sepulveda Blvd. @ Alameda St. | 33° 48' 22" N | 118° 13' 40" W | 2009-08-13 | 0:00 | 7.76 | 23.6 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.2879 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 223rd St. @ Wilmington Ave. | 33° 49' 28" N | 118° 14' 32" W | 2009-08-13 | 0:00 | 7.84 | 24.5 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 1.0094 | No | Salinity assumed at 10 ppt
City of Los Angeles | Dominguez Channel Estuary | 190th St. @ Figueroa St. | 33° 51' 43" N | 118° 17' 03" W | 2009-08-13 | 0:00 | 7.82 | 25.3 | <0.05 | ND | 0.05 | 0.2013 | 9.2684 | 0.99625 | No | Salinity assumed at 10 ppt
SWAMP | Dominguez Channel Estuary | 405DCMAIN |  |  | 2003-08-05 | 0:00 | 8 | 25 | 0.164 |  |  | 0.2013 | 9.2684 | 0.68447 | No | Temperature and pH were estimated to typical values in order to calculate criteria because temperature and pH data were not recorded during sampling; Salinity assumed at 10 ppt
SWAMP | Dominguez Channel Estuary | 405DCAVLN |  |  | 2003-08-05 | 0:00 | 8 | 25 | 0.158 |  |  | 0.2013 | 9.2684 | 0.68447 | No | Temperature and pH were estimated to typical values in order to calculate criteria because temperature and pH data were not recorded during sampling; Salinity assumed at 10 ppt
SWAMP | Dominguez Channel Estuary | 405DCWLTN |  |  | 2003-08-05 | 0:00 | 8 | 25 | 0.108 |  |  | 0.2013 | 9.2684 | 0.68447 | No | Temperature and pH were estimated to typical values in order to calculate criteria because temperature and pH data were not recorded during sampling; Salinity assumed at 10 ppt
SWAMP | Dominguez Channel Estuary | 405DCAMDA |  |  | 2003-08-05 | 0:00 | 8 | 25 | 0.103 |  |  | 0.2013 | 9.2684 | 0.68447 | No | Temperature and pH were estimated to typical values in order to calculate criteria because temperature and pH data were not recorded during sampling; Salinity assumed at 10 ppt
SWAMP | Dominguez Channel Estuary | 405DCSVDA |  |  | 2003-08-05 | 0:00 | 8 | 25 | 0.085 |  |  | 0.2013 | 9.2684 | 0.68447 | No | Temperature and pH were estimated to typical values in order to calculate criteria because temperature and pH data were not recorded during sampling; Salinity assumed at 10 ppt
SWAMP | Dominguez Channel Estuary | 405DCANHM |  |  | 2003-08-05 | 0:00 | 8 | 25 | 0.062 |  |  | 0.2013 | 9.2684 | 0.68447 | No | Temperature and pH were estimated to typical values in order to calculate criteria because temperature and pH data were not recorded during sampling; Salinity assumed at 10 ppt