## Poe-2003
Poe Project 2003
FERC 2107
Deployment | Type | Pod No. | In-Date | Batteries
Poe - 1A | Seamon Mini | D821 | 2003-05-29 | 20.3%
Poe - 5 | Seamon Mini | D832 | 2003-05-30 | 22.5%
Mill Creek | Seamon Mini | D824 | 2003-05-29 | 20.1%
Flea Valley | Seamon Mini | D823 | 2003-05-29 | 20.2%
Poe - 2A | Seamon Mini | D822 | 2003-05-29 | 20.2%
Poe - 6 | Seamon Mini | D786 | 2003-05-30 | 19.6%
Poe - 3 | Seamon Mini | D785 | 2003-05-30 | 19.6%
Poe - 7 | Seamon Mini | D543 | 2003-06-05 | 18%
Manufactures Specs
Recorder | Model | Accuracy | Resolution
Hungrun | Seamon Mini | ±0.1°C | ±0.025°C

## NFFR-2003
2003 Calibration Verification
| Conducted by: | Tim Sagraves |  | Date: | 2003-05-12
| Location: | Paradise field lab
| ASTM Instrument: | ATSM Mercury thermometer
verified with Seamon Mini D832
[6 empty] | 2003 Calibarion Accuracy - Water Bath | [8 empty] | Overall | Op Range
Deployment | Type | Pod No. | In-Date | Batteries |  | ASTM | Pod | Acc | ASTM | Pod | Acc | ASTM | Pod | Acc | Mean | Mean
Butt Valley PH | DP112 | 3682 | 2003-05-23 | New Alk |  | 16.5 | 16.6 | 0.1 | 8.6 | 8.7 | 0.1 | 28.9 | 29.2 | 0.3 | 0.16667 | 0.1
Caribou No1. PH | DP112 | 6215 | 2003-05-23 | New Alk |  | 16.5 | 16.4 | -0.1 | 8.6 | 8.5 | -0.1 | 28.9 | 28.9 | 0 | -0.066667 | -0.1
Caribou No2. PH | DP112 | 6277 | 2003-05-23 | New Alk |  | 16.5 | 16.6 | 0.1 | 8.6 | 8.7 | 0.1 | 28.9 | 28.9 | 0 | 0.066667 | 0.1
Belden PH | DP112 | 6752 | 2003-05-23 | New Alk |  | 16.5 | 16.6 | 0.1 | 8.6 | 8.7 | 0.1 | 28.9 | 29.2 | 0.3 | 0.16667 | 0.1
Rock Crk PH | DP112 | 6748 | 2003-05-23 | New Alk |  | 16.5 | 16.5 | 0 | 8.6 | 8.7 | 0.1 | 28.9 | 28.9 | 0 | 0.033333 | 0.05
Cresta PH | DP112 | 6741 | 2003-05-29 | New Alk |  | 16.5 | 16.7 | 0.2 | 8.6 | 8.8 | 0.2 | 28.9 | 29.2 | 0.3 | 0.23333 | 0.2
Poe PH | DP112 | 6643 | 2003-05-30 | New Alk |  | 16.5 | 16.6 | 0.1 | 8.6 | 8.6 | 0 | 28.9 | 29.2 | 0.3 | 0.13333 | 0.05
[15 empty] | 0.10476 | 0.071429
2003 Calibarion Accuracy - Water Bath
Deployment | Type | Pod No. | In-Date | Batteries |  | ASTM | Pod | Acc | ASTM | Pod | Acc | ASTM | Pod | Acc | Mean | Mean
NF1 | CR510 | 2326 | 2003-06-12 | Gell 33ah |  | 16.5 | 16.5 | 0 | 8.6 | 8.7 | 0.1 | 28.9 | 28.8 | -0.1 | 5.9212e-16 | 0.05
HB1 | CR510 | 8573 | 2003-05-28 | Gell 33ah |  | 16.5 | 16.4 | -0.1 | 8.6 | 8.7 | 0.1 | 28.9 | 28.9 | 0 | -5.9212e-16 | -8.8818e-16
BC3 | CR510 | 8452 | 2003-05-28 | Gell 33ah |  | 16.5 | 16.4 | -0.1 | 8.6 | 8.5 | -0.1 | 28.9 | 29 | 0.1 | -0.033333 | -0.1
NF4 | CR510 | 4132 | 2003-05-28 | Gell 33ah |  | 16.5 | 16.4 | -0.1 | 8.6 | 8.6 | 0 | 28.9 | 28.8 | -0.1 | -0.066667 | -0.05
YC1 | CR510 | 2325 | 2003-06-12 | Gell 33ah |  | 16.5 | 16.6 | 0.1 | 8.6 | 8.6 | 0 | 28.9 | 28.8 | -0.1 | 1.1842e-15 | 0.05
MilkRanch | CR510 | 3809 | 2003-05-29 | Gell 33ah |  | 16.5 | 16.5 | 0 | 8.6 | 8.6 | 0 | 28.9 | 28.8 | -0.1 | -0.033333 | 0
Bucks | CR510 | 2324 | 2003-05-29 | Gell 33ah |  | 16.5 | 16.6 | 0.1 | 8.6 | 8.7 | 0.1 | 28.9 | 28.9 | 0 | 0.066667 | 0.1
Grizzly | CR510 | 8572 | 2003-06-12 | Gell 33ah |  | 16.5 | 16.5 | 0 | 8.6 | 8.5 | -0.1 | 28.9 | 28.9 | 0 | -0.033333 | -0.05
[15 empty] | -0.014286 | -0.0071429
No post deployment verification performed, all units verified during operation using insitu instrumentation (YSI30). No drift in
thermistor observed.
Manufactures Specs
Recorder | Model | Accuracy | Resolution
Omnidata | DP112 | ±0.2°C | ±0.1°C
Campbell | CR510 | ±0.1°C | ±0.1°C