Table A4-2.  Listing of selected trace elements with regression correlation coefficients (R2) for correlation plots of observed versus reported values of analysis of standard reference materials.

| Element | R2 |  | Element | R2 |
| --- | --- | --- | --- | --- |
| Al | 0.9995 |  | Mo | 0.9998 |
| As | 0.9996 |  | Ni | 0.9980 |
| B | 0.9903 |  | Pb | 0.9999 |
| Ba | 0.9986 |  | Sb | 1.000 |
| Be | 1.000 |  | Se | 0.9955 |
| Cd | 0.9999 |  | Sr | 0.9998 |
| Co | 0.9996 |  | Tl | 0.9989 |
| Cr | 0.9995 |  | U | 0.9965 |
| Cu | 0.9974 |  | V | 0.9998 |
| Li | 0.9997 |  | Zn | 0.9994 |
| Mn | 0.9881 |  |  |  |