## FieldData, B, Se, TSS, TOC, Bac
Site Code | Date | Time | Temp (C) | Temp (F) | Field EC (umhos) | Lab EC (umhos) | pH | Dissolved Oxygen (mg/L) | Boron (mg/L) | Se (ug/L) | TSS (mg/L) | Turbidity (ntu) | TOC (mg/L) | Total Coli MPN | E. Coli MPN
Water Year 2001
SJC506 | 2000-10-24 | 11:00 | 15.8 |  | 984 | 990 | 8.2 |  | 0.7 |  | 36 |  | 1.8
SJC506 | 2000-11-28 | 12:40 | 10 |  | 802 | 807 | 8.2 |  | 0.4 |  | 21 |  | 1.4
SJC506 | 2000-12-27 | 10:40 | 8.4 |  | 824 | 832 | 6.9 |  | 0.4 |  | 14 |  | 1.6
SJC506 | 2001-01-23 | 10:30 | 9.3 |  | 949 | 947 | 7.7 |  | 0.5 |  | 23 |  | 3.1
SJC506 | 2001-02-20 | 10:49 | 11.6 |  | 718 | 721 | 8.2 |  | 0.4 |  | 22 |  | 1.5
SJC506 | 2001-03-27 | 10:47 | 18.6 |  | 1190 | 1210 | 8 |  | 0.7 |  | 38 |  | NA
SJC506 | 2001-04-24 | 12:15 | 20.1 |  | 498 | 501 | 6.5 |  | 0.3 |  | 27 |  | 3.2
SJC506 | 2001-05-29 | 11:50 | 22.2 |  | 768 | 773 | 7.5 |  | 0.4 |  | 44 |  | 4.7
SJC506 | 2001-06-26 | 11:30 | 23 |  | 941 |  | 7.6 | 5.2 |  |  | 32 |  | 4.5
SJC506 | 2001-07-24 | 9:50 | 23.9 |  | 816 |  | 7.7 | 6.7 |  |  |  |  | 5.7
SJC506 | 2001-08-28 | 11:10 | 25.4 |  | 875 |  | 8 | 8.5 | 0.4 |  | 20 |  | 8.5
SJC506 | 2001-09-25 | 10:58 | 22.6 |  | 754 |  | 7.8 | 9.4 | 0.3 |  | NA |  | 9.8
Water Year 2002
SJC506 | 2001-10-23 | 10:22 | 18.1 |  | 852 |  | 7.8 | 8.1 | 0.5 |  |  |  | 17
SJC506 | 2001-11-27 | 10:23 | 11.8 |  | 808 |  | 7.3 | 8.5 | 0.4
SJC506 | 2001-12-26 | 11:10 | 10.3 |  | 1200 |  | 8 | NA | 0.7
SJC506 | 2002-01-29 | 9:47 | 8.4 |  | 1140 |  | 8 | 11.3 | 0.6
SJC506 | 2002-02-26 | 9:22 | 14.8 |  | 1070 |  | 7.8 | 10 |  |  |  |  | NA
SJC506 | 2002-03-26 | 11:02 | 15.6 |  | 1040 |  | 7.8 | 10.8 | 0.6 |  |  |  | 3
SJC506 | 2002-04-23 | 11:20 | 19 |  | 1080 |  | 7.9 | 7.6 | 0.6 |  |  |  | NA
SJC506 | 2002-05-28 | 9:45 | 20.5 |  | 617 |  | 8.1 | 12 | 0.3 |  |  |  | 8.9
SJC506 | 2002-06-18 | 10:26 | 23.1 |  | 827 |  | 7.6 | 5.3 | 0.5 |  |  |  | 3.8
SJC506 | 2002-07-31 | 10:29 | 24.4 |  | 889 |  | 8.3 | 6.3 |  |  |  | 55.9 |  | >2419.6 | 59
SJC506 | 2002-08-27 | 10:35 | 23.8 |  | 932 | 941 | NA | NA |  |  |  |  | 5
SJC506 | 2002-09-24 | 10:55 | 23.9 |  | 899 |  | 7.5 | 3.3 | 0.5 |  |  |  | 4.3
Water Year 2003
SJC506 | 2002-10-15 | 9:45 | 19.2 |  | 1070 |  | 8 | 8.9 |  |  |  | 22 |  | >2419.6 | 40
SJC506 | 2002-10-29 | 11:02 | 16.3 |  | 693 |  | 7.9 | 7.2 | 0.5 | 0.6 |  | 24.7 | 2.8
SJC506 | 2002-11-19 | 9:51 | 13.1 |  | 883 |  | 7.7 | 7.7 | 0.5 |  |  |  | 4.1
SJC506 | 2002-12-17 | 9:29 | 11.4 |  | 952 |  | 7.8 | 9.3 |  |  |  | 37.2 | 3.6
SJC506 | 2003-01-15 | 9:36 | 12.6 |  | 1110 |  | 7.7 | 8.9 |  |  |  | 26.6 |  | >2419.6 | 120
SJC506 | 2003-01-28 | 9:54 | 13 |  | 1140 |  | 7.6 | 10.1 |  |  |  | 33.3
SJC506 | 2003-03-25 | 9:30 | 16 |  | 1230 |  | 7.8 | 12.6 | 0.9 |  |  | 30.2 | 4
SJC506 | 2003-04-22 | 9:06 | 14.9 |  | 793 |  | 7.7 | 9.9 | 0.6 |  |  | 33.9 | 4.3 | 980 | 108
SJC506 | 2003-05-27 | 10:14 | 22.3 |  | 617 |  | 8.5 | 10.9 | 0.3 |  |  | 32 | NA
SJC506 | 2003-06-24 | 10:22 | 21 |  | 694 |  | 8.1 | 9.3 | 0.4 |  |  | 50.9 | NA
SJC506 | 2003-07-29 | 8:00 | 26.6 |  | 727 |  | 7.7 | 6.6 |  |  |  | 42.8 |  | >2419.6 | 197
SJC506 | 2003-08-26 | 9:57 | 26.3 |  | 771 |  | 8 | 5.7 |  |  |  | 46.5 |  | >2419.6 | 57
SJC506 | 2003-09-23 | 9:55 | 23.4 |  | 785 |  | 7.9 | 9 |  |  |  | 26.8 |  | >2419.6 | 50
Water Year 2004
SJC506 | 2003-10-28 | 10:38 | 18.9 |  | 572 |  | 7.8 | 8.3 |  |  |  | 20.6 |  | >2419.6 | 70
SJC506 | 2003-11-18 | 10:05 | 15.6 |  | 864 |  | 7.8 | 8.8 |  |  |  | 19.3 |  | >2419.6 | 50
SJC506 | 2004-01-28 | 9:28 | 10.1 |  | 1090 |  | 7.7 | 14.4 |  |  |  | 53 |  | >2419.6 | 50
SJC506 | 2004-02-24 | 10:00 | 13.2 |  | 837 |  | 7.6 | 8.7 |  |  |  | 41.7 |  | 1414 | 75
SJC506 | 2004-03-24 | 8:47 | 16.9 |  | 769 |  | 8 | 10.2 |  |  |  | 32.1 |  | 1203 | 46
SJC506 | 2004-04-28 | 8:44 | 20.8 |  | 773 |  | 7.5 | 11 |  |  |  | 32.4 |  | >2419.6 | 59
SJC506 | 2004-05-26 | 10:05 | 19.7 |  | 767 |  | 8.2 | 11.4 |  |  |  | 30.7 |  | >2419.6 | 58
SJC506 | 2004-06-23 | 8:46 | 21.2 |  | 745 |  | 7.7 | 7.2 |  |  |  | NA |  | >2419.6 | 46
SJC506 | 2004-07-28 | 9:40 | 25.8 |  | 833 |  | 8.1 | 7.3 |  |  |  | NA |  | >2419.6 | 29
SJC506 | 2004-08-25 | 9:37 | 23 |  | 830 |  | 7.6 | 6.2 |  |  |  | NA |  | >2419.6 | 25
SJC506 | 2004-09-29 | 9:40 | 20.4 |  | 943 |  | 7.4 | 8.3 |  |  |  | NA |  | >2419.6 | 28
Water Year 2005
SJC506 | 2004-10-27 | 9:38 | 15.4 |  | 979 |  | 7.5 | 7.6 |  |  |  |  | 4.6 | >2419.6 | 119
SJC506 | 2004-11-22 | 10:29 | 11.6 |  | 1140 |  | 7.6 | 9.4 |  |  |  |  | 5.6 | >2419.6 | 48
SJC506 | 2004-12-28 | 9:25 | 8.9 |  | 1020 |  | 7.6 | 12.6 |  |  |  |  | 4 | >2419.6 | 214
SJC506 | 2005-01-26 | 9:37 | 9.7 |  | 776 |  | 7.6 | 9.1 |  |  |  |  | 8.3 | >2419.6 | 93
SJC506 | 2005-02-23 | 9:07 | 13.5 |  | 650 |  | 7.5 | 8.2 |  |  |  |  | 9.9 | 770 | 345
SJC506 | 2005-03-29 | 10:19 | 13.9 |  | 324 |  | 7.4 | 9.2 |  |  |  |  | 6.5 | 2420 | 167
SJC506 | 2005-04-26 | 10:03 | 15.2 |  | 438 |  | 7.4 | 10.6 |  |  |  |  | NA | >2419.6 | 69
SJC506 | 2005-05-24 | 9:21 | 17.6 |  | 150 |  | 7.5 | 8.8 |  |  |  |  | NA | >2419.6 | 261
SJC506 | 2005-06-28 | 9:21 | 19.6 |  | 449 |  | 7.1 | 8.3 |  |  |  |  | 3.9 | >2419.6 | 59
SJC506 | 2005-07-26 | 9:23 | 25.4 |  | 465 |  | 7.4 | 7.2 |  |  |  |  | NA | >2419.6 | 88
SJC506 | 2005-08-23 | 9:24 | 23.3 |  | 628 |  | 7.4 | 6.8 |  |  |  |  | 3.5 | >2419.6 | 79
SJC506 | 2005-09-27 | 10:04 | 20.1 |  | 570 |  | 7.5 | 10.6 |  |  |  |  | 3.3 | >2419.6 | 63
Water Year 2006
SJC506 | 2005-10-25 | 9:30 | 17.8 |  | 608 |  | 7.7 | 8.6 |  |  |  |  | 2.9 | >2419.6 | 125
SJC506 | 2005-11-29 | 8:45 | 10.4 |  | 823 |  | 6.9 | 10.3 |  |  |  |  | 3.2 | >2419.6 | 104

## DO
Site Code | Date | Time | Temp (C) | Dissolved Oxygen (mg/L)
SJC506 | 2002-09-24 | 10:55 | 23.9 | 3.3
SJC506 | 2001-06-26 | 11:30 | 23 | 5.2
SJC506 | 2002-06-18 | 10:26 | 23.1 | 5.3
SJC506 | 2003-08-26 | 9:57 | 26.3 | 5.7
SJC506 | 2004-08-25 | 9:37 | 23 | 6.2
SJC506 | 2002-07-31 | 10:29 | 24.4 | 6.3
SJC506 | 2003-07-29 | 8:00 | 26.6 | 6.6
SJC506 | 2001-07-24 | 9:50 | 23.9 | 6.7
SJC506 | 2005-08-23 | 9:24 | 23.3 | 6.8
SJC506 | 2002-10-29 | 11:02 | 16.3 | 7.2
SJC506 | 2004-06-23 | 8:46 | 21.2 | 7.2
SJC506 | 2005-07-26 | 9:23 | 25.4 | 7.2
SJC506 | 2004-07-28 | 9:40 | 25.8 | 7.3
SJC506 | 2002-04-23 | 11:20 | 19 | 7.6
SJC506 | 2004-10-27 | 9:38 | 15.4 | 7.6
SJC506 | 2002-11-19 | 9:51 | 13.1 | 7.7
SJC506 | 2001-10-23 | 10:22 | 18.1 | 8.1
SJC506 | 2005-02-23 | 9:07 | 13.5 | 8.2
SJC506 | 2003-10-28 | 10:38 | 18.9 | 8.3
SJC506 | 2004-09-29 | 9:40 | 20.4 | 8.3
SJC506 | 2005-06-28 | 9:21 | 19.6 | 8.3
SJC506 | 2001-08-28 | 11:10 | 25.4 | 8.5
SJC506 | 2001-11-27 | 10:23 | 11.8 | 8.5
SJC506 | 2005-10-25 | 9:30 | 17.8 | 8.6
SJC506 | 2004-02-24 | 10:00 | 13.2 | 8.7
SJC506 | 2003-11-18 | 10:05 | 15.6 | 8.8
SJC506 | 2005-05-24 | 9:21 | 17.6 | 8.8
SJC506 | 2002-10-15 | 9:45 | 19.2 | 8.9
SJC506 | 2003-01-15 | 9:36 | 12.6 | 8.9
SJC506 | 2003-09-23 | 9:55 | 23.4 | 9
SJC506 | 2005-01-26 | 9:37 | 9.7 | 9.1
SJC506 | 2005-03-29 | 10:19 | 13.9 | 9.2
SJC506 | 2002-12-17 | 9:29 | 11.4 | 9.3
SJC506 | 2003-06-24 | 10:22 | 21 | 9.3
SJC506 | 2001-09-25 | 10:58 | 22.6 | 9.4
SJC506 | 2004-11-22 | 10:29 | 11.6 | 9.4
SJC506 | 2003-04-22 | 9:06 | 14.9 | 9.9
SJC506 | 2002-02-26 | 9:22 | 14.8 | 10
SJC506 | 2003-01-28 | 9:54 | 13 | 10.1
SJC506 | 2004-03-24 | 8:47 | 16.9 | 10.2
SJC506 | 2005-11-29 | 8:45 | 10.4 | 10.3
SJC506 | 2005-04-26 | 10:03 | 15.2 | 10.6
SJC506 | 2005-09-27 | 10:04 | 20.1 | 10.6
SJC506 | 2002-03-26 | 11:02 | 15.6 | 10.8
SJC506 | 2003-05-27 | 10:14 | 22.3 | 10.9
SJC506 | 2004-04-28 | 8:44 | 20.8 | 11
SJC506 | 2002-01-29 | 9:47 | 8.4 | 11.3
SJC506 | 2004-05-26 | 10:05 | 19.7 | 11.4
SJC506 | 2002-05-28 | 9:45 | 20.5 | 12
SJC506 | 2003-03-25 | 9:30 | 16 | 12.6
SJC506 | 2004-12-28 | 9:25 | 8.9 | 12.6
SJC506 | 2004-01-28 | 9:28 | 10.1 | 14.4
SJC506 | 2001-12-26 | 11:10 | 10.3 | NA
SJC506 | 2002-08-27 | 10:35 | 23.8 | NA
SJC506 | 2000-10-24 | 11:00 | 15.8
SJC506 | 2000-11-28 | 12:40 | 10
SJC506 | 2000-12-27 | 10:40 | 8.4
SJC506 | 2001-01-23 | 10:30 | 9.3
SJC506 | 2001-02-20 | 10:49 | 11.6
SJC506 | 2001-03-27 | 10:47 | 18.6
SJC506 | 2001-04-24 | 12:15 | 20.1
SJC506 | 2001-05-29 | 11:50 | 22.2

## Minerals
Site Code | Date | Chloride (mg/L) | Sulfate (mg/L) | Hardness (mg/L) | Calcium (mg/L) | Magnesium (mg/L) | TDS (mg/L) | Carbonate (mg/L) | Bicarbonate (mg/L) | Total Alkalinity (mg/L) | Sodium (mg/L)
Water Year 2001
SJC506 | 2000-10-24 | 130 | 110 | 220 | 45 | 27 | 580 | <1 | 190 | 150 | 110
SJC506 | 2000-11-28 | 100 | 86 | 180 | 39 | 21 | 460 | <1 | 140 | 120 | 92
SJC506 | 2000-12-27 | 100 | 95 | 180 | 39 | 21 | 490 | <1 | 140 | 120 | 93
SJC506 | 2001-01-23 | 120 | 120 | 200 | 43 | 23 | 450 | <1 | 160 | 130 | 110
SJC506 | 2001-02-20 | 8 | 100 | 160 | 35 | 18 | 420 | <1 | 120 | 100 | 81
SJC506 | 2001-03-27 | 160 | 180 | 260 | 55 | 30 | NA | <1 | 180 | 150 | 140
SJC506 | 2001-04-24 | 61 | 65 | 110 | 25 | 13 | 280 | <1 | 84 | 69 | 48
SJC506 | 2001-05-29 | 100 | 92 | 180 | 38 | 20 | 400 | 16 | 84 | 100 | 79
SJC506 | 2001-08-28 | 110 | 100 | 190 | 41 | 21 | 510 | <1 | 150 | 130 | 97
SJC506 | 2001-09-25 | 100 | 84 | 180 | 39 | 20 | NA | <1 | 140 | 120 | 84
Water Year 2002
SJC506 | 2001-10-23 | 120 | 97 | 200 | 42 | 22 | NA | <1 | 150 | 130 | 10
SJC506 | 2001-11-27 | 120 | 94 | 190 | 40 | 22 | 490 | <1 | 130 | 150 | 100
SJC506 | 2001-12-26 | 180 | 160 | 280 | 57 | 32 | 720 | <1 | 190 | 160 | 140
SJC506 | 2002-01-29 | 160 | 150 | 260 | 56 | 30 | 680 | <1 | 190 | 150 | 140
SJC506 | 2002-03-26 | 150 | 150 | 230 | 48 | 26 | 590 | <1.0 | 160 | 130 | 120
SJC506 | 2002-04-23 | 160 | 150 | 260 | 54 | 29 | 610 | <1.0 | 160 | 130 | 130
SJC506 | 2002-05-28 | 80 | 76 | 150 | 33 | 16 | NA | <1.0 | 110 | 87 | 65
SJC506 | 2002-06-18 | 120 | 110 | 220 | 48 | 24 | NA | <1.0 | 160 | NA | 110
SJC506 | 2002-09-24 | 130 | 100 | 210 | 46 | 24 | NA | <1.0 | 170 | 140 | 110
Water Year 2003
SJC506 | 2002-10-29 | 96 | 87 | 170 | 36 | 19 | 470 | <1.0 | 130 | 110 | 84
SJC506 | 2002-11-19 | 130 | 100 | 200 | 42 | 22 | 530 | <1.0 | 160 | 130 | 110
SJC506 | 2003-03-25 | 160 | 180 | 280 | 59 | 32
SJC506 | 2003-04-22 | 110 | 120 | 190 | 39 | 22
SJC506 | 2003-05-27 | 80 | 76 | 140 | 32 | 16
SJC506 | 2003-06-24 | 94 | 82 | 160 | 36 | 18
Water Year 2004-2006
No Data Collected

## Nutrients, BOD
Site Code | Date | Nitrate (mg/L) | TKN (mg/L) | Ammonia-N (mg/L) | Phosphorus (mg/L) | Ortho-phosphate-P (mg/L) | Potassium (mg/L) | BOD 5-Day (mg/L) | BOD 10-Day (mg/L)
Water Year 2001
SJC506 | 2000-10-24 | 9.3 | <2 |  | 0.2 | <1 | 5.2 | 3.4 | 5.7
SJC506 | 2000-11-28 | 7.1 | <2 |  | 0.2 | <1 | 4.8 | 1.7 | 3.2
SJC506 | 2000-12-27 | 8.3 | <2 |  | 0.2 | <1 | 5.4 | 1.2 | 2.5
SJC506 | 2001-01-23 | 8.1 | <2 |  | 0.2 | <1 | 6.2 | 1.5 | 2.9
SJC506 | 2001-02-20 | 10 | <2 |  | 0.2 | 0.2 | 5.4 | 1.6 | 3.2
SJC506 | 2001-03-27 | 8.7 | <2 |  | 0.3 | <1 | 7.8 | 3.3 | 5.3
SJC506 | 2001-04-24 | 4.8 | <2 |  | 0.2 | <1 | 3.4 | 1.9 | 3.4
SJC506 | 2001-05-29 | 5.1 | 2.1 |  | 0.3 | <1 | 5.3 | 6.1 | 10.4
SJC506 | 2001-06-26 | 5.9 | <2 |  | 0.7 | <1 | 8.1 | 5.2 | 8.0
SJC506 | 2001-08-28 | 7.7 | <2 |  | 0.3 | <1 | 5.7
SJC506 | 2001-09-25 | 8.3 | <2 |  | 0.2 | <1 | 5.5
Water Year 2002
SJC506 | 2001-10-23 | 7.4 | <2 |  | 0.3 | <1 | 6.7 | 4.5 | 6.8
SJC506 | 2001-11-27 | NA | NA |  | NA | 0.2 | 5.7 | 1.6 | 2.9
SJC506 | 2001-12-26 | NA | NA |  | 0.2 | NA | 4.6 | 2.2 | 4.5
SJC506 | 2002-01-29 | NA | 1.2 |  | 0.2 | 0.2 | 7.6 | 2.9 | 3.7
SJC506 | 2002-02-26 | NA | NA |  | 0.2 | 0.1 | 4.4 | 2.2 | 3.4
SJC506 | 2002-03-26 | NA | 1.0 |  | 0.3 | 0.1 | 4.1 | 2.9 | 4.8
SJC506 | 2002-04-23 | NA | NA |  | NA | NA | 5.9 | 5.4 | 9.0
SJC506 | 2002-05-28 | NA | NA |  | NA | 0.1 | 4.4 | 3.3 | 5.7
SJC506 | 2002-06-18 | NA | 1.1 |  | NA | 0.2 | 5.9 | 3.1 | 6.2
SJC506 | 2002-08-27 | NA | 1.1 |  | 0.2 | 0.1 | NA | 4.6 | 7.8
SJC506 | 2002-09-24 | NA | NA |  | 0.2 | 0.1 | 5.0 | 5.8 | 9.6
Water Year 2003
SJC506 | 2002-10-29 | NA | 0.6 |  | 0.3 | 0.2 | 3.0 | 1.9 | 3.3
SJC506 | 2002-11-19 | NA | 1.2 |  | 0.2 | 0.1 | 4.5 | 1.9 | 3.9
SJC506 | 2002-12-17 | NA | 1.3 |  | 0.2 | 0.2 | 3.9 | 1.9 | 3.7
SJC506 | 2003-01-28 | NA | 1.2 |  | 0.4 | 0.2 | 3.6 | 1.2 | 2.6
Water Year 2004-2006
No Data Collected

## Trace Metals
Site Code | Date | Total Arsenic (ug/L) | Total Cadmium (ug/L) | Total Cd criteria | Total Chromium (ug/L) | Total Cr criteria | Total Copper (ug/L) | Total Cu criteria | Total Lead (ug/L) | Total Pb criteria | Total Nickel (ug/L) | Total Ni criteria | Total Zinc (ug/L) | Total Zn criteria | Total Mercury (ug/L) | Dissolved Arsenic (ug/L) | Dissolved Cadmium (ug/L) | Dissolved Cd criteria | Dissolved Chromium (ug/L) | Dissolved Cr criteria | Dissolved Copper (ug/L) | Dissolved Cu criteria | Dissolved Lead (ug/L) | Dissolved Pb criteria | Dissolved Nickel (ug/L) | Dissolved Ni criteria | Dissolved Zinc (ug/L) | Dissolved Zn criteria | Dissolved Mercury (ug/L) | Site Code | Date | Hardness (mg/L)
Water Year 2001 | [29 empty] | Water Year 2001
SJC506 | 2000-10-24 |  |  |  | 1.8 | 394.8007 | 2.8 | 18.2992 | <5 |  | <5 |  | 3.7 | 233.6959 | [15 empty] | SJC506 | 2000-10-24 | 220
SJC506 | 2000-11-28 |  |  |  | 1.8 | 334.9669 | 2.4 | 15.4156 | <5 |  | <5 |  | 3.6 | 197.1554 |  |  |  |  | <1 |  | <1 | 14.799 | <5 |  | <5 |  | <2 | 194.3952 |  | SJC506 | 2000-11-28 | 180
SJC506 | 2000-12-27 |  |  |  | <1 | 334.9669 | 1.8 | 15.4156 | <5 |  | <5 |  | 2.6 | 197.1554 |  |  |  |  | <1 |  | <1 | 14.799 | <5 |  | <5 |  | <2 | 194.3952 |  | SJC506 | 2000-12-27 | 180
SJC506 | 2001-01-23 |  |  |  | 1.4 | 365.155 | 2.6 | 16.8679 | <5 |  | <5 |  | 2.9 | 215.5654 |  |  |  |  | <1 |  | <1 | 16.1932 | <5 |  | <5 |  | <2 | 212.5475 |  | SJC506 | 2001-01-23 | 200
SJC506 | 2001-02-20 |  |  |  | 1.5 | 304.1641 | 2.6 | 13.9396 | <5 |  | <5 |  | 3.4 | 178.4297 |  |  |  |  | <1 |  | 1.3 | 13.382 | <5 |  | <5 |  | <2 | 175.9317 |  | SJC506 | 2001-02-20 | 160
SJC506 | 2001-03-27 |  |  |  | 2.5 | 452.6858 | 3.9 | 21.107 | <5 |  | 5.2 | 117.0659 | 6.4 | 269.2299 |  |  |  |  | <1 |  | 1.7 | 20.2627 | <5 |  | <5 |  | <2 | 265.4607 |  | SJC506 | 2001-03-27 | 260
SJC506 | 2001-04-24 |  |  |  | 1.8 | 223.7867 | 2.7 | 10.1205 | <5 |  | <5 |  | 3.7 | 129.8938 |  |  |  |  | <1 |  | 1.0 | 9.7157 | <5 |  | <5 |  | <2 | 128.0753 |  | SJC506 | 2001-04-24 | 110
SJC506 | 2001-05-29 |  |  |  | 1.7 | 334.9669 | 3.4 | 15.4156 | <5 |  | <5 |  | 4.7 | 197.1554 |  |  |  |  | <1 |  | 1.3 | 14.799 | <5 |  | <5 |  | <2 | 194.3952 |  | SJC506 | 2001-05-29 | 180
SJC506 | 2001-06-26 | 3.8 | <1 |  | 1.9 |  | 3.1 |  | <5 |  | <5 |  | 4.2 |  | <0.2 | 3.7 | <1 |  | <1 |  | <1 |  | <5 |  | <5 |  | <2 |  | <0.2
SJC506 | 2001-07-24 | NA | NA |  | 1.4 |  | 2.1 |  | <5 |  | <5 |  | 4.8 |  | NA | NA | NA |  | NA |  | NA |  | NA |  | NA |  | NA |  | NA
SJC506 | 2001-08-28 | 3.0 | <1 | 4.0754 | <1 | 350.1329 | 1.9 | 16.1445 | <5 |  | <5 |  | 2.4 | 206.3974 |  | 2.9 | <1 | 3.5951 | <1 |  | <1 | 15.4988 | <5 |  | <5 |  | <2 | 203.5078 |  | SJC506 | 2001-08-28 | 190
SJC506 | 2001-09-25 | <4 | <0.1 |  | <1 | 334.9669 | 2.0 | 15.4156 | <5 |  | <5 |  | <2 | 197.1554 | <0.2 | <4 | <0.1 |  | <1 |  | 2.2 | 14.799 | <5 |  | <5 |  | 11 | 194.3952 | <0.2 | SJC506 | 2001-09-25 | 180
Water Year 2002 | [29 empty] | Water Year 2002
SJC506 | 2001-10-23 | <4 | <0.1 |  | <1 | 365.155 | 2.5 | 16.8679 | <5 |  | <5 |  | 3.8 | 215.5654 | NA | <4 | <0.1 |  | <1 |  | 1.4 | 16.1932 | <5 |  | <5 |  | <2 | 212.5475 | NA | SJC506 | 2001-10-23 | 200
SJC506 | 2001-11-27 | <4 | <0.1 |  | <1 | 350.1329 | 1.8 | 16.1445 | <5 |  | <5 |  | 10 | 206.3974 | <0.2 | <4 | <0.1 |  | <1 |  | 1.3 | 15.4988 | <5 |  | <5 |  | 8.1 | 203.5078 | <0.2 | SJC506 | 2001-11-27 | 190
SJC506 | 2001-12-26 | <4 | <0.1 |  | 2.7 | 481.0122 | 4.2 | 22.4868 | <5 |  | <5 |  | 9.8 | 286.6773 | <0.2 | <4 | <0.1 |  | <1 |  | 2.3 | 21.5873 | <5 |  | <5 |  | 6.0 | 282.6638 | <0.2 | SJC506 | 2001-12-26 | 280
SJC506 | 2002-01-29 | <4 | <0.1 |  | <1 | 452.6858 | <1 | 21.107 | <5 |  | <5 |  | 4.0 | 269.2299 | <0.2 | <4 | <0.1 |  | <1 |  | <1 | 20.2627 | <5 |  | <5 |  | <2 | 265.4607 | <0.2 | SJC506 | 2002-01-29 | 260
SJC506 | 2002-03-26 | <4.0 | <0.1 |  | 1.5 | 409.4386 | 2.9 | 19.0076 | <5.0 |  | 13 | 105.5321 | 5.4 | 242.6657 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 2.0 | 18.2473 | <5.0 |  | <5.0 |  | 3.8 | 239.2683 | <0.2 | SJC506 | 2002-03-26 | 230
SJC506 | 2002-04-23 | 4.0 | <0.1 |  | <1.0 | 452.6858 | 1.2 | 21.107 | <5.0 |  | <5.0 |  | <2.0 | 269.2299 | <0.2 | 5.3 | <0.1 |  | <1.0 |  | 1.5 | 20.2627 | <5.0 |  | <5.0 |  | <2.0 | 265.4607 | <0.2 | SJC506 | 2002-04-23 | 260
SJC506 | 2002-05-28 | <4.0 | <0.1 |  | 1.6 | 288.5044 | 4.5 | 13.1917 | <5.0 |  | <5.0 |  | 3.7 | 168.9345 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 3.0 | 12.664 | <5.0 |  | <5.0 |  | <2.0 | 166.5695 | <0.2 | SJC506 | 2002-05-28 | 150
SJC506 | 2002-06-18 | <4.0 | <0.1 |  | <1.0 | 394.8007 | 2.6 | 18.2992 | <5.0 |  | <5.0 |  | 4.3 | 233.6959 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | <1.0 | 17.5672 | <5.0 |  | <5.0 |  | <2.0 | 230.4241 | <0.2 | SJC506 | 2002-06-18 | 220
SJC506 | 2002-09-24 | <4.0 | <0.1 |  | <1.0 | 380.0417 | 5.4 | 17.586 | <5.0 |  | <5.0 |  | 4.1 | 224.6636 | <0.2 | 4.2 | <0.1 |  | <1.0 |  | 2.6 | 16.8826 | <5.0 |  | <5.0 |  | <2.0 | 221.5183 | <0.2 | SJC506 | 2002-09-24 | 210
Water Year 2003 | [29 empty] | Water Year 2003
SJC506 | 2002-10-29 | <4.0 | <0.1 |  | 1.8 | 319.6475 | 3.5 | 14.6808 | <5.0 |  | <5.0 |  | 2.8 | 187.8346 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 1.7 | 14.0936 | <5.0 |  | <5.0 |  | <2.0 | 185.205 | <0.2 | SJC506 | 2002-10-29 | 170
SJC506 | 2002-11-19 | <4.0 | <0.1 |  | <1.0 | 365.155 | 1.9 | 16.8679 | <5.0 |  | <5.0 |  | 2.4 | 215.5654 | <0.2 | <4.0 | <0.1 |  | <1.0 |  | <1.0 | 16.1932 | <5.0 |  | <5.0 |  | <2.0 | 212.5475 | <0.2 | SJC506 | 2002-11-19 | 200
SJC506 | 2003-03-25 | 4.0 | <0.1 |  | 1.8 | 481.0122 | 2.7 | 22.4868 | <5.0 |  | <5.0 |  | 3.0 | 286.6773 | <0.2 | [14 empty] | SJC506 | 2003-03-25 | 280
SJC506 | 2003-04-22 | <4.0 | <0.1 |  | <1.0 | 350.1329 | 2.4 | 16.1445 | <5.0 |  | <5.0 |  | <2.0 | 206.3974 | <0.2 | [14 empty] | SJC506 | 2003-04-22 | 190
SJC506 | 2003-05-27 | <4.0 | <0.1 |  | 1.3 | 272.6544 | 3.3 | 12.4365 | <5.0 |  | <5.0 |  | 2.9 | 159.3421 | <0.2 | [14 empty] | SJC506 | 2003-05-27 | 140
SJC506 | 2003-06-24 | <4.0 | <0.1 |  | 2.1 | 304.1641 | 3.3 | 13.9396 | <5.0 |  | <5.0 |  | 4.1 | 178.4297 | <0.2 | [14 empty] | SJC506 | 2003-06-24 | 160
Water Year 2004-2006 | [29 empty] | Water Year 2004-2006
No Data Collected | [29 empty] | No Data Collected