## FieldData, B, Se, TSS, TOC, Bac
Site Code | Date | Time | Temp (C) | Temp (F) | Field EC (umhos) | Lab EC (umhos) | pH | Dissolved Oxygen (mg/L) | Boron (mg/L) | Se (ug/L) | TSS (mg/L) | Turbidity (ntu) | TOC (mg/L) | Total Coli MPN | E. Coli MPN
Water Year 2001
SJC503 | 2000-10-24 | 10:00 | 11.2 |  | 293 | 297 | 7.2 |  | <0.05 |  | 9 |  | 12
SJC503 | 2000-11-29 | 7:15 | 8.3 |  | 295 | 296 | 5.4 |  | 0.08 |  | NA |  | 12
SJC503 | 2000-12-27 | 8:45 | 5.5 |  | 340 | 346 | 7.7 |  | 0.07 |  | 6
SJC503 | 2001-01-24 | 8:15 | 7.6 |  | 302 | 285 | 8.8 |  | 0.05 |  | 17 |  | 23
SJC503 | 2001-02-10 | 15:15 | 11.2 |  | 275 | 280 | 8.6 |  | 0.05 |  | 52 |  | 23
SJC503 | 2001-02-11 | 3:45 | 7 |  | 331 | 338 | 7.8 |  | <0.05 |  | 22 |  | 21
SJC503 | 2001-02-11 | 3:45 | 7 |  | 331 | 338 | 7.8
SJC503 | 2001-02-21 | 9:00 | 10.6 |  | 304 | 303 | 8.8 |  | <0.05 |  | 130 |  | NA
SJC503 | 2001-03-28 | 8:05 | 14.5 |  | 69 | 71 | 6.6 |  | <0.05 |  | 31 |  | NA
SJC503 | 2001-04-25 | 7:10 | 17.2 |  | 90 | 101 | 7.3 |  | <0.05 |  | 20 |  | 2.8
SJC503 | 2001-05-30 | 7:30 | 19 |  | 113 | 115 | 7.4 |  | <0.05 |  | 24 |  | 6
SJC503 | 2001-06-06 | 7:45 | 19 |  | 176 | 180 | 5.9 | 8
SJC503 | 2001-06-13 | 12:30 | 20.8 |  | 95 | 98 | 8.1 | 8.3
SJC503 | 2001-06-20 | 7:35 | 23.4 |  | 144 | 148 | 7 | 7.2
SJC503 | 2001-06-27 | 7:30 | 20.6 |  | 174 |  | 7.4 | 7.6 | <0.05 |  | 58 |  | 6.2
SJC503 | 2001-07-25 | 7:52 | 22.5 |  | 149 |  | 7.7 | 5.6 |  |  |  |  | 8.8
SJC503 | 2001-08-29 | 7:35 | 20.8 |  | 105 |  | 7.5 | NA | <0.05 |  | NA |  | 6.7
SJC503 | 2001-09-26 | 7:34 | 18.2 |  | 225 |  | 6.5 | 8.2 | <0.05 |  | NA |  | 17
Water Year 2002
SJC503 | 2001-10-24 | 8:11 | 11.1 |  | 321 |  | 6.9 | 8.1 | 0.07
SJC503 | 2001-11-28 | 7:40 | 7.7 |  | 266 |  | 7.6 | 9.4 | <0.05 |  |  |  | NA
SJC503 | 2001-12-26 | 8:32 | 8.9 |  | 287 |  | 7.5 | 9.2 | <0.05 |  |  |  | 28
SJC503 | 2002-01-30 | 8:14 | 1.9 |  | 605 |  | 7.9 | 10.4 | 0.09
SJC503 | 2002-02-27 | 7:30 | 11 |  | 518 |  | 8.9 | 4.6 | 0.09
SJC503 | 2002-03-27 | 7:24 | 12.5 |  | 324 |  | 8.1 | 9.1 | <0.05 |  |  |  | NA
SJC503 | 2002-04-30 | 8:27 | 13.5 |  | 124 |  | 6.9 | 10.3 | <0.05 |  |  |  | NA
SJC503 | 2002-05-29 | 7:32 | 18.9 |  | 143 |  | 7.4 | 7.3 | <0.05 |  |  |  | 6.4
SJC503 | 2002-06-19 | 7:38 | 20.7 |  | 155 |  | 7.5 | 6.9 | <0.05 |  |  |  | NA
SJC503 | 2002-07-31 | 8:52 | 20.8 |  | 129 |  | 7.6 | 6.6 |  |  |  | 38.8 |  | >2419.6 | 411
SJC503 | 2002-08-28 | 8:15 | 20.8 |  | 140 | 146 | 7.1 | NA
SJC503 | 2002-09-25 | 8:02 | 18 |  | 119 |  | 7.3 | 7.6 | <0.05 |  |  |  | NA
Water Year 2003
SJC503 | 2002-10-15 | 12:27 | 17.9 |  | 93 |  | 7.7 | 7.7 |  |  |  | NA |  | >2419.6 | 727
SJC503 | 2002-10-30 | 7:27 | NA |  | NA |  | NA | NA
SJC503 | 2002-11-20 | 7:45 | 9.1 |  | 379 |  | 7.4 | 6.3 | 0.07 |  |  |  | 17
SJC503 | 2002-12-18 | 7:39 | 9.4 |  | 392 |  | 7.4 | 7.9 |  |  |  | 288
SJC503 | 2003-01-15 | 11:35 | 12.6 |  | 487 |  | 7.6 | 7.2 |  |  |  | 79.5 |  | >2419.6 | >2419.6
SJC503 | 2003-01-21 | NA | NA |  | NA |  | NA | NA |  |  |  | NA |  | NA | NA
SJC503 | 2003-01-23 | 13:24 | 14.4 |  | 450 |  | 7.6 | 5.8 |  |  |  | 63.7 |  | >2419.6 | 106
SJC503 | 2003-01-29 | 7:56 | 8.9 |  | 404 |  | 7.4 | 6.1 |  |  |  | 52.5
SJC503 | 2003-02-05 | 14:23 | 9.4 |  | 509 |  | 7.1 | 6.1 |  |  |  | 25.8 |  | >2419.6 | 488
SJC503 | 2003-02-19 | 13:17 | 11.3 |  | 520 |  | 9 | 18.5 |  |  |  | 26 |  | >2419.6 | 411
SJC503 | 2003-03-05 | 12:37 | 16.3 |  | 87 |  | 8.4 | 12.5 |  |  |  | 37.1 |  | >2419.6 | 313
SJC503 | 2003-03-18 | 14:23 | 19.1 |  | 147 |  | 9.3 | 14.4 | <0.05 |  | 26 | 34.8 | NA | >2419.6 | 135
SJC503 | 2003-04-02 | 13:20 | 14.1 |  | 112 |  | 7.8 | 10.8 |  |  | 38 | 48.6 | 4.2 | >2419.6 | 866
SJC503 | 2003-04-16 | 14:31 | 17 |  | 320 |  | 7.7 | 8.6 | 0.07 |  | 33 | 45.6 | 8.9 | >2419.6 | >2419.6
SJC503 | 2003-05-06 | 14:16 | 19.9 |  | 109 |  | 7.7 | 9.6 |  |  | NA | 30.2 | 5.6 | >2419.6 | 435
SJC503 | 2003-05-21 | 14:38 | 22.9 |  | 186 |  | 7.5 | 8.4 | <0.05 |  | NA | 55.7 | 6.9 | >2419.6 | >2419.6
SJC503 | 2003-06-04 | 8:41 | 22.2 |  | 200 |  | 7.4 | 6.5 |  |  | 57 | 58.5 | 11 | >2419.6 | 2420
SJC503 | 2003-06-17 | 8:28 | 20.8 |  | 193 |  | 7.4 | 7.3 | <0.05 |  | 36 | 41.4 | 7.3 | >2419.6 | 980
SJC503 | 2003-06-30 | 7:19 | 21.2 |  | 116 |  | 7.5 | 7 | <0.05 |  | NA | 26 | 4.4 | >2419.6 | 285
SJC503 | 2003-07-23 | 13:24 | 24.5 |  | 200 |  | 7.5 | 7 |  |  |  | 34.8 |  | >2419.6 | >2419.6
SJC503 | 2003-08-05 | 8:03 | 20.8 |  | 119 |  | 7.3 | 8.7 |  |  |  | 64.4 |  | >2419.6 | 219
SJC503 | 2003-08-20 | 8:19 | 21.2 |  | 164 |  | 7.3 | 6.5 |  |  |  | 52 |  | >2419.6 | 78
SJC503 | 2003-09-09 | 12:17 | 19.8 |  | 94 |  | 7.4 | 8.4 |  |  |  | 42.9 |  | >2419.6 | 167
SJC503 | 2003-09-22 | 12:29 | 20.8 |  | 148 |  | 7.4 | 8.4 |  |  |  | 37.3 |  | >2419.6 | 162
Water Year 2004
SJC503 | 2003-10-07 | 13:18 | 20 |  | 124 |  | 7.5 | 8 |  |  |  | 56.3 |  | >2419.6 | 1553
SJC503 | 2003-10-21 | 13:57 | 22 |  | 375 |  | 7.7 | 11.2 |  |  |  | 47.8 |  | >2419.6 | 2420
SJC503 | 2003-11-04 | 13:23 | NA |  | NA |  | NA | NA |  |  |  | NA |  | NA | NA
SJC503 | 2003-11-17 | 12:50 | NA |  | NA |  | NA | NA |  |  |  | NA |  | NA | NA
SJC503 | 2004-01-06 | 7:57 | 4.7 |  | 297 |  | 7.6 | 10.3 |  |  |  | 77.6 |  | >2419.6 | 1203
SJC503 | 2004-01-28 | 11:44 | NA |  | NA |  | NA | NA |  |  |  | NA |  | NA | NA
SJC503 | 2004-02-24 | 12:30 | 16 |  | 461 |  | 7.8 | 9.8 |  |  |  | NA |  | >2419.6 | 435
SJC503 | 2004-03-24 | 10:31 | 15.5 |  | 119 |  | 7.6 | 9.9 |  |  |  | 50.1 |  | >2419.6 | 816
SJC503 | 2004-04-28 | 10:39 | 18.8 |  | 113 |  | 7.6 | 10.8 |  |  |  | 50.2 |  | >2419.6 | 613
SJC503 | 2004-05-26 | 12:41 | 21 |  | 174 |  | 7.9 | 10 |  |  |  | 63 |  | >2419.6 | 272
SJC503 | 2004-06-23 | 12:13 | 23.8 |  | 128 |  | 8.4 | 10.9 |  |  |  | NA |  | >2419.6 | 153
SJC503 | 2004-07-28 | 12:10 | 24.2 |  | 139 |  | 7.8 | 8.7 |  |  |  | NA |  | >2419.6 | 144
SJC503 | 2004-08-25 | 12:33 | 21.2 |  | 92 |  | 7.6 | 8.1 |  |  |  | NA |  | >2419.6 | 161
SJC503 | 2004-09-29 | 12:48 | 19 |  | 138 |  | 7.8 | 8.5 |  |  |  | NA |  | >2419.6 | 1733
Water Year 2005
SJC503 | 2004-10-27 | 12:22 | 13.3 |  | 592 |  | 7.5 | 0.4 |  |  |  |  | 52 | >2419.6 | >2419.6
SJC503 | 2004-11-22 | 13:08 | 8.5 |  | 500 |  | 7.8 | 10.1 |  |  |  |  | 40 | >2419.6 | 980
SJC503 | 2004-12-28 | 11:10 | 9.3 |  | 411 |  | 7.5 | 8.1 |  |  |  |  | 19 | >2419.6 | 82
SJC503 | 2005-01-26 | 11:45 | 11 |  | 313 |  | 7.8 | 8.9 |  |  |  |  | 22 | >2419.6 | 238
SJC503 | 2005-02-23 | 10:58 | 13.6 |  | 520 |  | 7.7 | 7.4 |  |  |  |  | 67 | >2419.6 | 219
SJC503 | 2005-03-29 | 12:40 | 14.7 |  | 375 |  | 7.7 | 8.8 |  |  |  |  | 30 | >2419.6 | 816
SJC503 | 2005-04-26 | 12:49 | 17.8 |  | 260 |  | 7.7 | 9.5 |  |  |  |  | NA | >2419.6 | 579
SJC503 | 2005-05-24 | 11:18 | 20.2 |  | 127 |  | 7.6 | 9.1 |  |  |  |  | NA | 1011 | 525
SJC503 | 2005-06-28 | 11:38 | 21.0 |  | 146 |  | 7.6 | 8.1 |  |  |  |  | 5.3 | >2419.6 | 2420
SJC503 | 2005-07-26 | 11:31 | 23.3 |  | 214 |  | 7.5 | 7.7 |  |  |  |  | NA | >2419.6 | 980
SJC503 | 2005-08-23 | 11:37 | 21.9 |  | 156 |  | 7.3 | 7.6 |  |  |  |  | 7.3 | >2419.6 | 308
SJC503 | 2005-09-27 | 12:29 | 18.6 |  | 113 |  | 7.7 | 11.4 |  |  |  |  | 5.6 | >2419.6 | 435
Water Year 2006
SJC503 | 2005-10-25 | 11:30 | 16.2 |  | 227 |  | 7.8 | 11.4 |  |  |  |  | 6.2 | >2419.6 | 12
SJC503 | 2005-11-29 | 10:28 | NA |  | NA |  | NA | NA |  |  |  |  | NA | NA | NA

## DO
Site Code | Date | Time | Temp (C) | Dissolved Oxygen (mg/L)
SJC503 | 2004-10-27 | 12:22 | 13.3 | 0.4
SJC503 | 2002-02-27 | 7:30 | 11 | 4.6
SJC503 | 2001-07-25 | 7:52 | 22.5 | 5.6
SJC503 | 2003-01-23 | 13:24 | 14.4 | 5.8
SJC503 | 2003-01-29 | 7:56 | 8.9 | 6.1
SJC503 | 2003-02-05 | 14:23 | 9.4 | 6.1
SJC503 | 2002-11-20 | 7:45 | 9.1 | 6.3
SJC503 | 2003-06-04 | 8:41 | 22.2 | 6.5
SJC503 | 2003-08-20 | 8:19 | 21.2 | 6.5
SJC503 | 2002-07-31 | 8:52 | 20.8 | 6.6
SJC503 | 2002-06-19 | 7:38 | 20.7 | 6.9
SJC503 | 2003-06-30 | 7:19 | 21.2 | 7
SJC503 | 2003-07-23 | 13:24 | 24.5 | 7
SJC503 | 2001-06-20 | 7:35 | 23.4 | 7.2
SJC503 | 2003-01-15 | 11:35 | 12.6 | 7.2
SJC503 | 2002-05-29 | 7:32 | 18.9 | 7.3
SJC503 | 2003-06-17 | 8:28 | 20.8 | 7.3
SJC503 | 2005-02-23 | 10:58 | 13.6 | 7.4
SJC503 | 2001-06-27 | 7:30 | 20.6 | 7.6
SJC503 | 2002-09-25 | 8:02 | 18 | 7.6
SJC503 | 2005-08-23 | 11:37 | 21.9 | 7.6
SJC503 | 2002-10-15 | 12:27 | 17.9 | 7.7
SJC503 | 2005-07-26 | 11:31 | 23.3 | 7.7
SJC503 | 2002-12-18 | 7:39 | 9.4 | 7.9
SJC503 | 2001-06-06 | 7:45 | 19 | 8
SJC503 | 2003-10-07 | 13:18 | 20 | 8
SJC503 | 2001-10-24 | 8:11 | 11.1 | 8.1
SJC503 | 2004-08-25 | 12:33 | 21.2 | 8.1
SJC503 | 2004-12-28 | 11:10 | 9.3 | 8.1
SJC503 | 2005-06-28 | 11:38 | 21.0 | 8.1
SJC503 | 2001-09-26 | 7:34 | 18.2 | 8.2
SJC503 | 2001-06-13 | 12:30 | 20.8 | 8.3
SJC503 | 2003-05-21 | 14:38 | 22.9 | 8.4
SJC503 | 2003-09-09 | 12:17 | 19.8 | 8.4
SJC503 | 2003-09-22 | 12:29 | 20.8 | 8.4
SJC503 | 2004-09-29 | 12:48 | 19 | 8.5
SJC503 | 2003-04-16 | 14:31 | 17 | 8.6
SJC503 | 2003-08-05 | 8:03 | 20.8 | 8.7
SJC503 | 2004-07-28 | 12:10 | 24.2 | 8.7
SJC503 | 2005-03-29 | 12:40 | 14.7 | 8.8
SJC503 | 2005-01-26 | 11:45 | 11 | 8.9
SJC503 | 2002-03-27 | 7:24 | 12.5 | 9.1
SJC503 | 2005-05-24 | 11:18 | 20.2 | 9.1
SJC503 | 2001-12-26 | 8:32 | 8.9 | 9.2
SJC503 | 2001-11-28 | 7:40 | 7.7 | 9.4
SJC503 | 2005-04-26 | 12:49 | 17.8 | 9.5
SJC503 | 2003-05-06 | 14:16 | 19.9 | 9.6
SJC503 | 2004-02-24 | 12:30 | 16 | 9.8
SJC503 | 2004-03-24 | 10:31 | 15.5 | 9.9
SJC503 | 2004-05-26 | 12:41 | 21 | 10
SJC503 | 2004-11-22 | 13:08 | 8.5 | 10.1
SJC503 | 2002-04-30 | 8:27 | 13.5 | 10.3
SJC503 | 2004-01-06 | 7:57 | 4.7 | 10.3
SJC503 | 2002-01-30 | 8:14 | 1.9 | 10.4
SJC503 | 2003-04-02 | 13:20 | 14.1 | 10.8
SJC503 | 2004-04-28 | 10:39 | 18.8 | 10.8
SJC503 | 2004-06-23 | 12:13 | 23.8 | 10.9
SJC503 | 2003-10-21 | 13:57 | 22 | 11.2
SJC503 | 2005-09-27 | 12:29 | 18.6 | 11.4
SJC503 | 2005-10-25 | 11:30 | 16.2 | 11.4
SJC503 | 2003-03-05 | 12:37 | 16.3 | 12.5
SJC503 | 2003-03-18 | 14:23 | 19.1 | 14.4
SJC503 | 2003-02-19 | 13:17 | 11.3 | 18.5
SJC503 | 2001-08-29 | 7:35 | 20.8 | NA
SJC503 | 2002-08-28 | 8:15 | 20.8 | NA
SJC503 | 2002-10-30 | 7:27 | NA | NA
SJC503 | 2003-01-21 | NA | NA | NA
SJC503 | 2003-11-04 | 13:23 | NA | NA
SJC503 | 2003-11-17 | 12:50 | NA | NA
SJC503 | 2004-01-28 | 11:44 | NA | NA
SJC503 | 2005-11-29 | 10:28 | NA | NA
SJC503 | 2000-10-24 | 10:00 | 11.2
SJC503 | 2000-11-29 | 7:15 | 8.3
SJC503 | 2000-12-27 | 8:45 | 5.5
SJC503 | 2001-01-24 | 8:15 | 7.6
SJC503 | 2001-02-10 | 15:15 | 11.2
SJC503 | 2001-02-11 | 3:45 | 7
SJC503 | 2001-02-11 | 3:45 | 7
SJC503 | 2001-02-21 | 9:00 | 10.6
SJC503 | 2001-03-28 | 8:05 | 14.5
SJC503 | 2001-04-25 | 7:10 | 17.2
SJC503 | 2001-05-30 | 7:30 | 19

## Minerals
Site Code | Date | Chloride (mg/L) | Sulfate (mg/L) | Hardness (mg/L) | Calcium (mg/L) | Magnesium (mg/L) | TDS (mg/L) | Carbonate (mg/L) | Bicarbonate (mg/L) | Total Alkalinity (mg/L) | Sodium (mg/L)
Water Year 2001
SJC503 | 2000-10-24 | 16 | 7 | 110 | 24 | 12 | 200 | <1 | 140 | 110 | 12
SJC503 | 2000-11-29 | 20 | 11 | 84 | 18 | 9 | 240 | <1 | 120 | 100 | 15
SJC503 | 2000-12-27 | 25 | 6 | 110 | 25 | 11 | 230 | <1 | 150 | 120 | 16
SJC503 | 2001-01-24 | 17 | 20 | 76 | 17 | 8 | 230 | <1 | 300 | 250 | 13
SJC503 | 2001-02-10 | 20 | 12 | 79 | 18 | 9 | 380 | <1 | 90 | 80 | 14
SJC503 | 2001-02-11 | 17 | 16 | 100 | 24 | 11 | 160 | <1 | 130 | 110 | 14
SJC503 | 2001-02-21 | 17 | 9 | 82 | 18 | 9 | 270 | <1 | 120 | 100 | 12
SJC503 | 2001-03-28 | 3 | 4 | 28 | 6 | 3 | 54 | <1 | 34 | 28 | 3
SJC503 | 2001-04-25 | 4 | NA | 36 | 8 | 4 | NA | <1 | 38 | 38 | 3
SJC503 | 2001-05-30 | 3 | 4 | 44 | 11 | 4 | NA | <1 | 44 | 44 | 5
SJC503 | 2001-06-27 | 7 | 6 | 68 | 16 | 7 | 120 | <1 | 78 | 64 | 7
SJC503 | 2001-08-29 | 3 | 4 | 45 | 9 | 5 | 77 | <1.0 | 50 | 41 | 4
SJC503 | 2001-09-26 | NA | NA | 61 | 14 | 6 | NA | <1 | 93 | 77 | 7
Water Year 2002
SJC503 | 2001-10-24 | 15 | 13 | 120 | 27 | 13 | 220 | <1 | 140 | 120 | 15
SJC503 | 2001-11-28 | 18 | 13 | 71 | 15 | 8 | 320 | <1 | 84 | 69 | 11
SJC503 | 2001-12-26 | 18 | 12 | 72 | 15 | 8 | 270 | <1 | 100 | 84 | 13
SJC503 | 2002-01-30 | 38 | 14 | 160 | 34 | 17 | 410 | <1 | 250 | 200 | 25
SJC503 | 2002-02-27 | 41 | 12 | 160 | 37 | 16 | NA | <1.0 | 228 | 187 | 27
SJC503 | 2002-03-27 | 8 | 21 | 130 | 30 | 14 | 190 | <1.0 | 120 | 100 | 11
SJC503 | 2002-04-30 | 4 | 4 | 47 | 11 | 5 | NA | <1.0 | 55 | 45 | 5
SJC503 | 2002-05-29 | 4 | 4 | 54 | 13 | 5 | NA | <1.0 | 61 | 50 | 6
SJC503 | 2002-06-19 | 5 | 6 | 63 | 15 | 6 | NA | <1.0 | 67 | 55 | 7
SJC503 | 2002-09-25 | 4 | 5 | 44 | 11 | 4 | NA | <1.0 | 39 | 32 | 5
Water Year 2003
SJC503 | 2002-11-20 | 28 | 15 | 120 | 26 | 12 | 280 | <1.0 | 140 | 110 | 17
SJC503 | 2003-03-18 | 6 | 5 | 47 | 11 | 5
SJC503 | 2003-04-16 | 8 | 9 | 120 | 28 | 12
SJC503 | 2003-05-21 | 6 | 6 | 68 | 16 | 7
SJC503 | 2003-06-17 | 6 | 6 | 74 | 18 | 7
SJC503 | 2003-06-30 | 4 | 4 | 46 | 11 | 4
Water Year 2004-2006
No data collected

## Nutrients, BOD
Site Code | Date | Nitrate (mg/L) | TKN (mg/L) | Ammonia-N (mg/L) | Phosphorus (mg/L) | Ortho-phosphate-P (mg/L) | Potassium (mg/L) | BOD 5-Day (mg/L) | BOD 10-Day (mg/L)
Water Year 2001
SJC503 | 2000-10-24 | 3.6 | 2.1 |  | 1.1 | 1.3 | 16 | 2.4 | 5.4
SJC503 | 2000-11-29 | 3.9 | NA |  | 0.5 | 1.2 | 23 | 7.1 | 13.5
SJC503 | 2000-12-27 | 2.1 | <2 |  | 1.0 | 1.8 | 21 | 3.0 | 6.2
SJC503 | 2001-01-24 | 10 | 3.3 |  | 0.7 | 1.4 | 25 | 6.0 | 11.7
SJC503 | 2001-02-10 | 7.3 | <2 |  | 0.3 | <1 | 24 | 7.9 | 15.0
SJC503 | 2001-02-11 | 10 | 3.2 |  | 1.0 | 1.0 | 28
SJC503 | 2001-02-21 | 6.3 | 8.7 |  | 1.1 | 2.1 | 31 | 8.3 | 16.8
SJC503 | 2001-03-28 | <2 | <2 |  | 0.2 | <1 | 2.4 | 1.5 | 2.2
SJC503 | 2001-04-25 | <2 | <2 |  | 0.3 | <1 | 3.7 | 2.0 | 3.5
SJC503 | 2001-05-30 | 3.4 | <2 |  | 0.3 | <1 | 3.4 | 2.4 | 3.5
SJC503 | 2001-06-27 | 7.4 | <2 |  | 0.5 | <1 | 6.0 | 2.8 | 4.8
SJC503 | 2001-08-29 | 2.8 | <2 |  | 0.6 | <1 | NA
SJC503 | 2001-09-26 | 3.4 | 5.5 |  | 0.8 | <1 | 13
Water Year 2002
SJC503 | 2001-10-24 | 4.6 | <2 |  | 0.9 | <1 | 14 | 2.3 | 5.5
SJC503 | 2001-11-28 | NA | 4.3 |  | NA | 1.3 | 30 | 7.9 | 16.1
SJC503 | 2001-12-26 | NA | 4.4 |  | 2.0 | 1.5 | 33 | 8.1 | 16.3
SJC503 | 2002-01-30 | NA | 12 |  | 4.5 | 2.7 | 53 | 8.2 | 16.4
SJC503 | 2002-02-27 | NA | 5.2 |  | 2.0 | 1.2 | NA | 8.2 | 16.5
SJC503 | 2002-03-27 | NA | 1.2 |  | NA | 0.2 | 5.6 | 1.8 | 2.8
SJC503 | 2002-04-30 | NA | NA |  | 0.6 | 0.5 | NA | 8.2 | 13.3
SJC503 | 2002-05-29 | NA | 1.5 |  | NA | 0.6 | 6.8 | 5.6 | 8.0
SJC503 | 2002-06-19 | NA | 1.1 |  | 0.5 | NA | 5.9 | 3.3 | 5.2
SJC503 | 2002-08-28 | NA | 0.7 |  | 0.9 | 0.8 | 4.8 | 1.3 | 2.4
SJC503 | 2002-09-25 | NA | NA |  | 0.4 | 0.4 | 4.9 | 2.6 | 3.9
Water Year 2003
SJC503 | 2002-11-20 | NA | 5.6 |  | 1.8 | 1.2 | 29
SJC503 | 2002-12-18 | NA | 17 |  | 4.4 | <0.03 | 42 | 8.1 | 16.5
SJC503 | 2003-01-29 | NA | NA |  | 4.8 | 2.8 | 36 | 7.7 | 16.1
Water Year 2004-2006
No data collected

## Trace Metals
Site Code | Date | Total Arsenic (ug/L) | Total Cadmium (ug/L) | Total Cd criteria | Total Chromium (ug/L) | Total Cr criteria | Total Copper (ug/L) | Total Cu criteria | Total Lead (ug/L) | Total Pb criteria | Total Nickel (ug/L) | Total Ni criteria | Total Zinc (ug/L) | Total Zn criteria | Total Mercury (ug/L) | Dissolved Arsenic (ug/L) | Dissolved Cadmium (ug/L) | Dissolved Cd criteria | Dissolved Chromium (ug/L) | Dissolved Cr criteria | Dissolved Copper (ug/L) | Dissolved Cu criteria | Dissolved Lead (ug/L) | Dissolved Pb criteria | Dissolved Nickel (ug/L) | Dissolved Ni criteria | Dissolved Zinc (ug/L) | Dissolved Zn criteria | Dissolved Mercury (ug/L) | Site Code | Date | Hardness (mg/L)
Water Year 2001 | [29 empty] | Water Year 2001
SJC503 | 2000-10-24 |  |  |  | 2.1 | 223.7867 | 7.9 | 10.1205 | <5 | 3.592 | <5 | 56.5433 | 6.8 | 129.8938 | [15 empty] | SJC503 | 2000-10-24 | 110
SJC503 | 2000-11-29 |  |  |  | 1.6 | 179.4397 | 29 | 8.0376 | <5 |  | <5 | 45.0094 | 8.3 | [5 empty] | <1 | 154.3181 | 24 | 7.7161 | <5 | 2.0805 | <5 | 44.8744 | 2.5 | 101.9143 |  | SJC503 | 2000-11-29 | 84
SJC503 | 2000-12-27 |  |  |  | <1 | 223.7867 | 11 | 10.1205 | <5 |  | <5 | 56.5433 | 5.5 | [5 empty] | <1 |  | 9.9 | 9.7157 | <5 |  | <5 |  | 2.5 | 128.0753 |  | SJC503 | 2000-12-27 | 110
SJC503 | 2001-01-24 |  |  |  | 2.0 | 165.318 | 22 | 7.3788 | <5 |  | 5.7 | 41.3553 | 11 | [5 empty] | <1 |  | 17 | 7.0837 | <5 |  | 5.1 | 41.2312 | 4.9 | 93.6282 |  | SJC503 | 2001-01-24 | 76
SJC503 | 2001-02-10 |  |  |  | 3.8 | 170.6437 | 24 | 7.627 | <5 |  | 8.0 | 42.7322 | 16 | [5 empty] | <1 |  | 18 | 7.3219 | <5 |  | 5.4 | 42.604 | 5.3 | 96.7504 |  | SJC503 | 2001-02-10 | 79
SJC503 | 2001-02-11 |  |  |  | 1.6 | 206.9825 | 19 | 9.3289 | <5 |  | 5.5 | 52.163 | 9.6 | [5 empty] | <1 |  | 16 | 8.9558 | <5 |  | <5 |  | 4.4 | 118.139 |  | SJC503 | 2001-02-11 | 100
SJC503 | 2001-02-21 |  |  |  | 4.4 | 175.933 | 37 | 7.8738 | <5 |  | 7.1 | 44.1011 | 44 | [5 empty] | 1.3 | 151.3024 | 15 | 7.5589 | <5 |  | <5 |  | 14 | 99.8545 |  | SJC503 | 2001-02-21 | 82
SJC503 | 2001-03-28 |  |  |  | 1.2 | 72.972 | 4.2 | 3.1436 | <5 |  | <5 | 17.7688 | 7.5 | [5 empty] | <1 |  | 2.0 | 3.0179 | <5 |  | <5 |  | 2.5 | 40.1763 |  | SJC503 | 2001-03-28 | 28
SJC503 | 2001-04-25 |  |  |  | <1 | 89.649 | 4.2 | 3.8966 | <5 |  | <5 | 21.9783 | 5.8 | [5 empty] | <1 |  | 2.1 | 3.7408 | <5 |  | <5 |  | 3.8 | 49.7105 |  | SJC503 | 2001-04-25 | 36
SJC503 | 2001-05-30 |  |  |  | <1 | 105.6626 | 3.2 | 4.6255 | <5 |  | <5 | 26.045 | 6.7 | [5 empty] | <1 |  | 2.0 | 4.4405 | <5 |  | <5 |  | 3.8 | 58.9238 |  | SJC503 | 2001-05-30 | 44
SJC503 | 2001-07-25 |  |  |  | <1 | 150.9241 | 5.8 | 6.7098 | <5 |  | <5 | 37.6414 | 4.3 | [8 empty] | 6.4414 | [5 empty] | 85.2075 |  | SJC503 | 2001-06-27 | 68
SJC503 | 2001-08-29 | <2 | <1 | 1.3152 | 2.8 | 107.6254 | 6.2 | 4.7152 | <5 |  | <5 | 26.5449 | 13 |  |  | <2 | <1 | 1.2395 | <1 |  | 4.1 | 4.5266 | <5 |  | <5 |  | 6.9 | 60.0565 |  | SJC503 | 2001-08-29 | 45
SJC503 | 2001-09-26 | <4 | <0.1 |  | 3.1 | 138.0762 | 35 | 6.115 | <5 |  | <5 | 34.3362 | 23 |  | <0.2 | <4 | <0.1 |  | <1 |  | 13 | 5.8704 | <5 |  | <5 |  | 22 | 77.7147 |  | SJC503 | 2001-09-26 | 61
Water Year 2002 | [29 empty] | Water Year 2002
SJC503 | 2001-10-24 | <4.0 | <0.1 |  | NA | 240.3162 | 7.6 | 10.9016 | <5.0 |  | <5.0 | 60.8625 | 2.5 |  | <0.2 | <4.0 | <0.1 |  | NA |  | 6.9 | 10.4656 | <5.0 |  | <5.0 |  | <2.0 | 137.8744 | <0.2 | SJC503 | 2001-10-24 | 120
SJC503 | 2001-11-28 | <4.0 | <0.1 |  | 4.5 | 156.3559 | 16 | 6.962 | <5.0 |  | 8.3 | 39.0416 | 21 |  | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 9.4 | 6.6835 | <5.0 |  | 5.6 | 38.9245 | NA | 88.3821 | <0.2 | SJC503 | 2001-11-28 | 71
SJC503 | 2001-12-26 | <4 | <0.1 |  | 3.4 | 158.1572 | 27 | 7.0457 | <5 |  | 6.7 | 39.5063 | 24 |  | <0.2 | <4 | <0.1 |  | <1 |  | 15 | 6.7638 | <5 |  | <5 |  | 13 | 89.4357 | <0.2 | SJC503 | 2001-12-26 | 72
SJC503 | 2002-01-30 | <4 | 0.1 | 3.5609 | <1 | 304.1641 | 31 | 13.9396 | <5 |  | 7.9 | 77.6333 | 24 |  | <0.2 | <4 | <0.1 |  | <1 |  | 16 | 13.382 | <5 |  | <5 |  | 8.8 | 175.9317 | <0.2 | SJC503 | 2002-01-30 | 160
[30 empty] | SJC503 | 2002-02-27 | 160
SJC503 | 2002-03-27 | <4.0 | <0.1 |  | 2.4 | 256.598 | 4.4 | 11.6733 | <5.0 |  | 9.5 | 65.1267 | 12 |  | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 2.6 | 11.2064 | <5.0 |  | <5.0 |  | 4.8 | 147.5494 | <0.2 | SJC503 | 2002-03-27 | 130
SJC503 | 2002-04-30 | <4.0 | <0.1 |  | <1.0 | 111.5275 | 3.4 | 4.8937 | <5.0 |  | <5.0 | 27.5396 | 5.6 |  | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 2.1 | 4.698 | <5.0 |  | <5.0 |  | 3.9 | 62.3106 | <0.2 | SJC503 | 2002-04-30 | 47
SJC503 | 2002-05-29 | <4.0 | <0.1 |  | 2.0 | 124.958 | NA | 5.5101 | <5.0 |  | <5.0 | 30.9719 | 13 |  | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 3.5 | 5.2897 | <5.0 |  | <5.0 |  | 4.1 | 70.0891 | <0.2 | SJC503 | 2002-05-29 | 54
SJC503 | 2002-06-19 | <4.0 | <0.1 |  | 1.7 | 141.773 | 5.6 | 6.2859 | <5.0 |  | <5.0 | 35.2862 | 8.4 |  | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 2.7 | 6.0345 | <5.0 |  | <5.0 |  | 4.4 | 79.8683 | <0.2 | SJC503 | 2002-06-19 | 63
SJC503 | 2002-09-25 | <4.0 | <0.1 |  | 1.7 | 105.6626 | NA | 4.6255 | <5.0 |  | <5.0 | 26.045 | 8.1 |  | <0.2 | <4.0 | <0.1 |  | <1.0 |  | NA | 4.4405 | <5.0 |  | <5.0 |  | <2.0 | 58.9238 | <0.2 | SJC503 | 2002-09-25 | 44
Water Year 2003 | [29 empty] | Water Year 2003
SJC503 | 2002-11-20 | <4.0 | <0.1 |  | 1.9 | 240.3162 | 11 | 10.9016 | <5.0 |  | NA | 60.8625 | NA |  | <0.2 | <4.0 | <0.1 |  | <1.0 |  | 7.5 | 10.4656 | <5.0 |  | 6.2 | 60.68 | 7.0 | 137.8744 | <0.2 | SJC503 | 2002-11-20 | 120
SJC503 | 2003-03-18 | <4.0 | <0.1 |  | 1.6 | 111.5275 | 7.8 | 4.8937 | <5.0 |  | <5.0 | 27.5396 | 9.3 |  | <0.2 | [14 empty] | SJC503 | 2003-03-18 | 47
SJC503 | 2003-04-16 | <4.0 | <0.1 |  | 1.7 | 240.3162 | 14 | 10.9016 | <5.0 |  | <5.0 | 60.8625 | 14 |  | <0.2 | [14 empty] | SJC503 | 2003-04-16 | 120
SJC503 | 2003-05-21 | <4.0 | <0.1 |  | 2.5 | 150.9241 | 6.6 | 6.7098 | <5.0 |  | <5.0 | 37.6414 | 8.3 |  | <0.2 | [14 empty] | SJC503 | 2003-05-21 | 68
SJC503 | 2003-06-17 | <4.0 | <0.1 |  | 1.4 | 161.7463 | 4.7 | 7.2126 | <5.0 |  | <5.0 | 40.4327 | 6.6 |  | <0.2 | [14 empty] | SJC503 | 2003-06-17 | 74
SJC503 | 2003-06-30 | <4.0 | <0.1 |  | <1.0 | 109.5803 | 3.5 | 4.8046 | <5.0 |  | <5.0 | 27.0431 | 6.7 |  | <0.2 | [14 empty] | SJC503 | 2003-06-30 | 46
Water Year 2004-2006 | [29 empty] | Water Year 2004-2006
No data collected | [29 empty] | No data collected

## Bioassay
|  | 96h Acute Fathead Minnow (% Survival) |  | 48h Acute Ceriodaphnia Dubia (% Survival) |  | Algae Cell Growth |  |  | Chronic Fathead Minnow - 7day |  |  |  |  | Chronic Ceriodaphnia Dubia - 6 day
Site Code | Date | Result | Control | Result | Control | Result (million/ml) | Control (million/ml) | MDD(%) | Result (% Survival) | Control (% Survival) | Avg Dry Weight Result (mg) | Avg Dry Weight Control (mg) | Growth MDD(%) | Result (% Survival) | Control (% Survival) | Avg # Young / Adult Result | Avg # Young / Adult Control | Repro MDD(%)
Water Year 2001
SJC503 | 2001-06-19 | 100 | 100 | 100 | 90
Water Year 2002
No Data Collected
Water Year 2003
No Data Collected
Water Year 2004
No Data Collected
Water Year 2005
SJC503 | 2004-11-22 | 100 | 100 | 100 | 100
SJC503 | 2004-12-28 | 100 | 100 | 100 | 100
SJC503 | 2005-01-26 | 95 | 97.5 | 0* | 100
SJC503 | 2005-02-23 | 100 | 100 | 100 | 100
SJC503 | 2005-03-29 | 100 | 100 | 100 | 100
SJC503 | 2005-04-26 | 90 | 100
SJC503 | 2005-05-24 | 85* | 100 | 100 | 100
SJC503 | 2005-06-28 | 95 | 100 | 100 | 100
SJC503 | 2005-07-26 | 100 | 100 | 100 | 100
SJC503 | 2005-08-23 | 97.5 | 100 | 100 | 100
SJC503 | 2005-09-27 | 100 | 100 | 100 | 100
Water Year 2006
SJC503 | 2005-10-25 | 100 | 97.5 | 100 | 100
* Significantly reduced from the lab control.
** Significantly greater than the lab control.
^ Fish were from a "forced hatch," duplicate failed QA.
1 Duplicate sample for the set was low - 77% recovery.
2 Testing for the Fathead minnow was initiated when samples were approx. 48h old due to untimely shipping of fish by fish supplier.
3 Samples qualified, but duplicate sample recovery for the set was high - 126% (53.8%/42.5%)