Attachment F

PG&E’s Comments on the Lower Bear River Reservoir Listing for Copper

WATER SEGMENT:  Lower Bear River Reservoir

POLLUTANT:  Copper

STATUS OF 303(d) LISTING:  Listed on the Proposed CWA Section 303(d) List of Water Quality Limited Segments Table (Revised October 25, 2006); however, the SWRCB’s November 2006 fact sheet recommends Do Not List for this pollutant.

SWRCB STAFF BASIS:  After review of the available data and information, State Water Resource Control Board (SWRCB) staff conclude that the water body-pollutant combination should not be placed on the section 303(d) list because applicable water quality standards are being met (Final November 2006 Fact Sheet).

PG&E’S RECOMMENDATION:  Do Not List

PG&E COMMENTS:  Available water quality data support the conclusion of Do Not List.  An email dated October 23, 2006 was sent to C. Wilson (SWRCB) explaining the proposed listing was incorrect.  The listing of the Lower Bear River Reservoir was based upon the use of historical water quality data that did not meet the SWRCB’s sampling criteria of section 6.1.5.5 of the listing policy.  A response email sent by C. Wilson (SWRCB) on October 24, 2006, states agreement with the incorrect use of the historical data and concurs that the water body should not be listed on the 303(d) list. A copy of the original email and response were included in the Central Valley Regional Board Enclosed Report Reference List for 303(d) Solicitation of Data as Table 1, Item 5 delivered to the Regional Board on February 28, 2007.