## Operator10® Document
River Information
2/1/2008 through 2/29/2008 |  |  |  | Printed 6/23/2010 15:29
Feb 2008 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Fri
02 Sat
03 Sun
04 Mon
05 Tue
06 Wed | 10.96 | 10 | 51.8 |  | 51.98 | 5.1 | 5.2
07 Thu
08 Fri
09 Sat
10 Sun
11 Mon
12 Tue
13 Wed | 10.02 | 9.17 | 59 |  | 60.44 | 1.8 | 1.9
14 Thu
15 Fri
16 Sat
17 Sun
18 Mon
19 Tue
20 Wed | 10.13 | 9.95 | 52.7 |  | 53.42 | 4.4 | 4.3
21 Thu
22 Fri
23 Sat
24 Sun
25 Mon
26 Tue
27 Wed | 11.27 | 11.18 | 53.96 |  | 54.32 | 15 | 14.7
28 Thu
29 Fri
Sum | 42.38 | 40.3 | 217.46 |  | 220.16 | 26.3 | 26.1
Avg | 10.6 | 10.07 | 54.37 |  | 55.04 | 6.6 | 6.5
Max | 11.27 | 11.18 | 59 |  | 60.44 | 15 | 14.7
Min | 10.02 | 9.17 | 51.8 |  | 51.98 | 1.8 | 1.9
Count | 4
Page 1
River Information
2/1/2008 through 2/29/2008 |  |  |  | Printed 6/23/2010 15:29
Feb 2008 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Fri
02 Sat
03 Sun
04 Mon
05 Tue
06 Wed | 6.75 | 6.73
07 Thu
08 Fri
09 Sat
10 Sun
11 Mon
12 Tue
13 Wed | 8.03 | 7.54
14 Thu
15 Fri
16 Sat
17 Sun
18 Mon
19 Tue
20 Wed | 7.24 | 7.38
21 Thu
22 Fri
23 Sat
24 Sun
25 Mon
26 Tue
27 Wed | 7.14 | 7.09
28 Thu
29 Fri
Sum | 29.16 | 28.74
Avg | 7.29 | 7.19
Max | 8.03 | 7.54
Min | 6.75 | 6.73
Count
Page 2
River Information
2/1/2008 through 2/29/2008 |  |  |  | Printed 6/23/2010 15:29
Feb 2008 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Fri | [5 empty] | 19.59 | 10
02 Sat | [5 empty] | 18.43 | 10
03 Sun | [5 empty] | 35.03 | 19
04 Mon | [5 empty] | 15.72 | 9
05 Tue | [5 empty] | 16.52 | 10
06 Wed |  |  | 81.5 |  | 86.6 | 16.52 | 10
07 Thu | [5 empty] | 14.65 | 8
08 Fri | [5 empty] | 7.48 | 4
09 Sat | [5 empty] | 8.34 | 5
10 Sun | [5 empty] | 8.34 | 5
11 Mon | [5 empty] | 1.82 | 1
12 Tue | [5 empty] | 1.54 | 1
13 Wed |  |  | 160.5 |  | 207 | 1.27 | 1
14 Thu | [5 empty] | 4.84 | 3
15 Fri | [5 empty] | 7.38 | 4
16 Sat | [5 empty] | 7.38 | 5
17 Sun | [5 empty] | 3.47 | 2
18 Mon | [5 empty] | 4.38 | 3
19 Tue | [5 empty] | 7.05 | 4
20 Wed |  |  | 74.4 |  | 91 | 10.32 | 6
21 Thu | [5 empty] | 10.32 | 6
22 Fri | [5 empty] | 11.06 | 7
23 Sat | [5 empty] | 11.15 | 7
24 Sun | [5 empty] | 34.97 | 20
25 Mon | [5 empty] | 12.6 | 8
26 Tue | [5 empty] | 9.93 | 7
27 Wed |  |  | 69.7 |  | 78.5 | 20.85 | 15
28 Thu | [5 empty] | 27.43 | 20
29 Fri | [5 empty] | 27.43 | 19
Sum |  |  | 386.1 |  | 463.1 | 375.81 | 226
Avg |  |  | 96.5 |  | 115.8 | 12.959 | 8
Max |  |  | 160.5 |  | 207 | 35.03 | 20
Min |  |  | 69.7 |  | 78.5 | 1.27 | 1
Count
Page 3