## Operator10® Document
River Information
10/1/2008 through 10/31/2008 |  |  |  | Printed 6/23/2010 15:30
Oct 2008 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Wed | 9.29 | 9.12 | 66.2 |  | 66.74 | 1.7 | 1.8
02 Thu
03 Fri
04 Sat
05 Sun
06 Mon
07 Tue
08 Wed | 10.1 | 10.1 | 63.68 |  | 64.04 | 2.4 | 2.4
09 Thu
10 Fri
11 Sat
12 Sun
13 Mon
14 Tue
15 Wed | 9.24 | 9.1 | 59.18 |  | 59.72 | 5.8 | 5.5
16 Thu
17 Fri
18 Sat
19 Sun
20 Mon
21 Tue
22 Wed | 8.63 | 10.11 | 57.56 |  | 57.2 | 1.7 | 1.6
23 Thu
24 Fri
25 Sat
26 Sun
27 Mon
28 Tue
29 Wed | 12.8 | 10.71 | 55.04 |  | 59.18 | 1 | 1.3
30 Thu
31 Fri
Sum | 50.06 | 49.14 | 301.66 |  | 306.88 | 12.6 | 12.6
Avg | 10.01 | 9.83 | 60.33 |  | 61.38 | 2.5 | 2.5
Max | 12.8 | 10.71 | 66.2 |  | 66.74 | 5.8 | 5.5
Min | 8.63 | 9.1 | 55.04 |  | 57.2 | 1 | 1.3
Count | 5
Page 1
River Information
10/1/2008 through 10/31/2008 |  |  |  | Printed 6/23/2010 15:30
Oct 2008 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Wed | 7.25 | 7.11
02 Thu
03 Fri
04 Sat
05 Sun
06 Mon
07 Tue
08 Wed | 7.04 | 6.91
09 Thu
10 Fri
11 Sat
12 Sun
13 Mon
14 Tue
15 Wed | 7.42 | 7.14
16 Thu
17 Fri
18 Sat
19 Sun
20 Mon
21 Tue
22 Wed | 7.36 | 7.11
23 Thu
24 Fri
25 Sat
26 Sun
27 Mon
28 Tue
29 Wed | 7.43 | 6.95
30 Thu
31 Fri
Sum | 36.5 | 35.22
Avg | 7.3 | 7.04
Max | 7.43 | 7.14
Min | 7.04 | 6.91
Count
Page 2
River Information
10/1/2008 through 10/31/2008 |  |  |  | Printed 6/23/2010 15:30
Oct 2008 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Wed |  |  | 42.9 |  | 63.1 | 10.04 | 10
02 Thu | [5 empty] | 11.21 | 11
03 Fri | [5 empty] | 12.97 | 12
04 Sat | [5 empty] | 19.78 | 18
05 Sun | [5 empty] | 19.78 | 18
06 Mon | [5 empty] | 14.61 | 14
07 Tue | [5 empty] | 11.71 | 11
08 Wed |  |  | 45.6 |  | 59.8 | 11.96 | 12
09 Thu | [5 empty] | 11.96 | 12
10 Fri | [5 empty] | 8.8 | 8
11 Sat | [5 empty] | 5.02 | 5
12 Sun | [5 empty] | 4.08 | 4
13 Mon | [5 empty] | 4.14 | 4
14 Tue | [5 empty] | 4.14 | 4
15 Wed |  |  | 67.6 |  | 76.6 | 4.31 | 4
16 Thu | [5 empty] | 5.21 | 5
17 Fri | [5 empty] | 5.21 | 5
18 Sat | [5 empty] | 2.38 | 2
19 Sun | [5 empty] | 1.51 | 1
20 Mon | [5 empty] | 1.51 | 1
21 Tue | [5 empty] | 1.31 | 1
22 Wed |  |  | 67.8 |  | 115.6 | 0.88 | 1
23 Thu | [5 empty] | 1.31 | 2
24 Fri | [5 empty] | 1.31 | 1
25 Sat | [5 empty] | 1.27 | 1
26 Sun | [5 empty] | 0.81 | 1
27 Mon | [5 empty] | 0 | 0
28 Tue | [5 empty] | 0 | 0
29 Wed |  |  | 92.6 |  | 193.3 | 0 | 0
30 Thu | [5 empty] | 0.95 | 1
31 Fri | [5 empty] | 1.59 | 1
Sum |  |  | 316.5 |  | 508.4 | 179.76 | 172
Avg |  |  | 63.3 |  | 101.7 | 5.7987 | 6
Max |  |  | 92.6 |  | 193.3 | 19.78 | 18
Min |  |  | 42.9 |  | 59.8 | 0 | 0
Count
Page 3