## Operator10® Document
River Information
9/1/2007 through 9/30/2007 |  |  |  | Printed 6/23/2010 15:26
Sep 2007 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Sat
02 Sun
03 Mon
04 Tue
05 Wed | 8.3 | 8.49 | 65.66 |  | 66.02 | 1.6 | 1.7
06 Thu
07 Fri
08 Sat
09 Sun
10 Mon
11 Tue
12 Wed | 8.92 | 8.4 | 66.56 |  | 67.1 | 1.3 | 1.3
13 Thu
14 Fri
15 Sat
16 Sun
17 Mon
18 Tue
19 Wed | 9.29 | 8.89 | 64.4 |  | 64.76 | 1 | 1.1
20 Thu
21 Fri
22 Sat
23 Sun
24 Mon
25 Tue
26 Wed | 8.57 | 8.46 | 64.4 |  | 64.76 | 1.4 | 1.5
27 Thu
28 Fri
29 Sat
30 Sun
Sum | 35.08 | 34.24 | 261.02 |  | 262.64 | 5.3 | 5.6
Avg | 8.77 | 8.56 | 65.26 |  | 65.66 | 1.3 | 1.4
Max | 9.29 | 8.89 | 66.56 |  | 67.1 | 1.6 | 1.7
Min | 8.3 | 8.4 | 64.4 |  | 64.76 | 1 | 1.1
Count | 4
Page 1
River Information
9/1/2007 through 9/30/2007 |  |  |  | Printed 6/23/2010 15:26
Sep 2007 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Sat
02 Sun
03 Mon
04 Tue
05 Wed | 7.07 | 6.96
06 Thu
07 Fri
08 Sat
09 Sun
10 Mon
11 Tue
12 Wed | 6.64 | 6.68
13 Thu
14 Fri
15 Sat
16 Sun
17 Mon
18 Tue
19 Wed | 7.02 | 7.02
20 Thu
21 Fri
22 Sat
23 Sun
24 Mon
25 Tue
26 Wed | 6.83 | 6.97
27 Thu
28 Fri
29 Sat
30 Sun
Sum | 27.56 | 27.63
Avg | 6.89 | 6.91
Max | 7.07 | 7.02
Min | 6.64 | 6.68
Count
Page 2
River Information
9/1/2007 through 9/30/2007 |  |  |  | Printed 6/23/2010 15:26
Sep 2007 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Sat | [5 empty] | 19 | 19
02 Sun | [5 empty] | 18.93 | 19
03 Mon | [5 empty] | 18.51 | 18
04 Tue | [5 empty] | 17.85 | 15
05 Wed |  |  | 41.8 |  | 56.1 | 17.85 | 18
06 Thu | [5 empty] | 13.04 | 19
07 Fri | [5 empty] | 9.55 | 17
08 Sat | [5 empty] | 14.94 | 13
09 Sun | [5 empty] | 14.94 | 13
10 Mon | [5 empty] | 14.67 | 13
11 Tue | [5 empty] | 14.86 | 14
12 Wed |  |  | 42.9 |  | 60.1 | 14.86 | 14
13 Thu | [5 empty] | 14.76 | 14
14 Fri | [5 empty] | 15.22 | 15
15 Sat | [5 empty] | 15.22 | 14
16 Sun | [5 empty] | 13.94 | 13
17 Mon | [5 empty] | 13.81 | 13
18 Tue | [5 empty] | 13.88 | 13
19 Wed |  |  | 41.5 |  | 56.4 | 14.45 | 13
20 Thu | [5 empty] | 15.55 | 14
21 Fri | [5 empty] | 15.55 | 14
22 Sat | [5 empty] | 14.03 | 13
23 Sun | [5 empty] | 12.86 | 12
24 Mon | [5 empty] | 12.97 | 12
25 Tue | [5 empty] | 17.55 | 16
26 Wed |  |  | 43.4 |  | 60.9 | 17.55 | 16
27 Thu | [5 empty] | 13.6 | 13
28 Fri | [5 empty] | 13.29 | 12
29 Sat | [5 empty] | 13.48 | 12
30 Sun | [5 empty] | 13.48 | 13
Sum |  |  | 169.6 |  | 233.5 | 450.19 | 433
Avg |  |  | 42.4 |  | 58.4 | 15.0063 | 14
Max |  |  | 43.4 |  | 60.9 | 19 | 19
Min |  |  | 41.5 |  | 56.1 | 9.55 | 12
Count
Page 3