## Operator10® Document
River Information
8/1/2009 through 8/31/2009 |  |  |  | Printed 6/23/2010 15:33
Aug 2009 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Sat
02 Sun
03 Mon
04 Tue
05 Wed | 9.91 | 9.5 | 60.98 |  | 61.34 | 1.6 | 1.6
06 Thu
07 Fri
08 Sat
09 Sun
10 Mon
11 Tue
12 Wed | 9.73 | 9.55 | 62.78 |  | 63.14 | 1.5 | 1.5
13 Thu
14 Fri
15 Sat
16 Sun
17 Mon
18 Tue
19 Wed | 9.54 | 9.29 | 63.5 |  | 63.86 | 1.3 | 1.3
20 Thu
21 Fri
22 Sat
23 Sun
24 Mon
25 Tue
26 Wed | 9.82 | 9.76 | 64.4 |  | 64.58 | 1.6 | 1.6
27 Thu
28 Fri
29 Sat
30 Sun
31 Mon
Sum | 39 | 38.1 | 251.66 |  | 252.92 | 6 | 6
Avg | 9.75 | 9.53 | 62.92 |  | 63.23 | 1.5 | 1.5
Max | 9.91 | 9.76 | 64.4 |  | 64.58 | 1.6 | 1.6
Min | 9.54 | 9.29 | 60.98 |  | 61.34 | 1.3 | 1.3
Count | 4
Page 1
River Information
8/1/2009 through 8/31/2009 |  |  |  | Printed 6/23/2010 15:33
Aug 2009 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Sat
02 Sun
03 Mon
04 Tue
05 Wed | 6.91 | 6.72
06 Thu
07 Fri
08 Sat
09 Sun
10 Mon
11 Tue
12 Wed | 7.09 | 7.13
13 Thu
14 Fri
15 Sat
16 Sun
17 Mon
18 Tue
19 Wed | 7.1 | 6.98
20 Thu
21 Fri
22 Sat
23 Sun
24 Mon
25 Tue
26 Wed | 6.02 | 6.34
27 Thu
28 Fri
29 Sat
30 Sun
31 Mon
Sum | 27.12 | 27.17
Avg | 6.78 | 6.79
Max | 7.1 | 7.13
Min | 6.02 | 6.34
Count
Page 2
River Information
8/1/2009 through 8/31/2009 |  |  |  | Printed 6/23/2010 15:33
Aug 2009 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Sat | [5 empty] | 40.89 | 42
02 Sun | [5 empty] | 40.75 | 42
03 Mon | [5 empty] | 40.34 | 42
04 Tue | [5 empty] | 39.5 | 40
05 Wed |  |  | 30.7 |  | 40.8 | 40.85 | 41
06 Thu | [5 empty] | 42.67 | 42
07 Fri | [5 empty] | 42.67 | 42
08 Sat | [5 empty] | 42.99 | 43
09 Sun | [5 empty] | 44.73 | 40
10 Mon | [5 empty] | 44.73 | 41
11 Tue | [5 empty] | 44.34 | 41
12 Wed |  |  | 30.9 |  | 40.6 | 44.33 | 44
13 Thu | [5 empty] | 43.47 | 45
14 Fri | [5 empty] | 42.57 | 44
15 Sat | [5 empty] | 44.8 | 47
16 Sun | [5 empty] | 44.81 | 48
17 Mon | [5 empty] | 44.81 | 48
18 Tue | [5 empty] | 44.66 | 51
19 Wed |  |  | 30.7 |  | 39.2 | 44.66 | 48
20 Thu | [5 empty] | 43.87 | 46
21 Fri | [5 empty] | 43.38 | 44
22 Sat | [5 empty] | 37.95 | 39
23 Sun | [5 empty] | 35.39 | 38
24 Mon | [5 empty] | 35.26 | 35
25 Tue | [5 empty] | 34.45 | 34
26 Wed |  |  | 32.1 |  | 39.3 | 33.08 | 33
27 Thu | [5 empty] | 33.9 | 35
28 Fri | [5 empty] | 33.9 | 35
29 Sat | [5 empty] | 33.23 | 35
30 Sun | [5 empty] | 33.2 | 31
31 Mon | [5 empty] | 33.55 | 29
Sum |  |  | 124.4 |  | 159.9 | 1249.73 | 1264
Avg |  |  | 31.1 |  | 40 | 40.3139 | 41
Max |  |  | 32.1 |  | 40.8 | 44.81 | 51
Min |  |  | 30.7 |  | 39.2 | 33.08 | 29
Count
Page 3