## Operator10® Document
River Information
9/1/2009 through 9/30/2009 |  |  |  | Printed 6/23/2010 15:34
Sep 2009 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Tue
02 Wed | 9.39 | 9.2 | 65.66 |  | 65.84 | 2.5 | 2.2
03 Thu
04 Fri
05 Sat
06 Sun
07 Mon
08 Tue
09 Wed | 9.22 | 8.71 | 64.58 |  | 65.12 | 1.3 | 1.3
10 Thu
11 Fri
12 Sat
13 Sun
14 Mon
15 Tue
16 Wed | 9.16 | 8.97 | 64.58 |  | 64.94 | 1.3 | 1.3
17 Thu
18 Fri
19 Sat
20 Sun
21 Mon
22 Tue
23 Wed | 9.24 | 8.95 | 64.76 |  | 65.12 | 1 | 1
24 Thu
25 Fri
26 Sat
27 Sun
28 Mon
29 Tue
30 Wed | 10.14 | 10.05 | 61.88 |  | 62.42 | 1.2 | 1.1
Sum | 47.15 | 45.88 | 321.46 |  | 323.44 | 7.3 | 6.9
Avg | 9.43 | 9.18 | 64.29 |  | 64.69 | 1.5 | 1.4
Max | 10.14 | 10.05 | 65.66 |  | 65.84 | 2.5 | 2.2
Min | 9.16 | 8.71 | 61.88 |  | 62.42 | 1 | 1
Count | 5
Page 1
River Information
9/1/2009 through 9/30/2009 |  |  |  | Printed 6/23/2010 15:34
Sep 2009 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Tue
02 Wed | 6.19 | 6.67
03 Thu
04 Fri
05 Sat
06 Sun
07 Mon
08 Tue
09 Wed | 6.83 | 6.58
10 Thu
11 Fri
12 Sat
13 Sun
14 Mon
15 Tue
16 Wed | 7.5 | 7.46
17 Thu
18 Fri
19 Sat
20 Sun
21 Mon
22 Tue
23 Wed | 7.5 | 7.37
24 Thu
25 Fri
26 Sat
27 Sun
28 Mon
29 Tue
30 Wed | 6.6 | 6.93
Sum | 34.62 | 35.01
Avg | 6.92 | 7
Max | 7.5 | 7.46
Min | 6.19 | 6.58
Count
Page 2
River Information
9/1/2009 through 9/30/2009 |  |  |  | Printed 6/23/2010 15:34
Sep 2009 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Tue | [5 empty] | 34.87 | 30
02 Wed |  |  | 32.4 |  | 43.3 | 34.87 | 30
03 Thu | [5 empty] | 32.9 | 28
04 Fri | [5 empty] | 28.6 | 32
05 Sat | [5 empty] | 28.33 | 30
06 Sun | [5 empty] | 28.82 | 31
07 Mon | [5 empty] | 30.77 | 33
08 Tue | [5 empty] | 31.58 | 34
09 Wed |  |  | 35.3 |  | 43.5 | 31.58 | 34
10 Thu | [5 empty] | 20.75 | 22
11 Fri | [5 empty] | 15.56 | 17
12 Sat | [5 empty] | 15.39 | 16
13 Sun | [5 empty] | 16.28 | 16
14 Mon | [5 empty] | 16.28 | 16
15 Tue | [5 empty] | 15.34 | 15
16 Wed |  |  | 46.2 |  | 53 | 14.18 | 15
17 Thu | [5 empty] | 13.88 | 14
18 Fri | [5 empty] | 14.17 | 14
19 Sat | [5 empty] | 14.17 | 15
20 Sun | [5 empty] | 13.62 | 14
21 Mon | [5 empty] | 13.15 | 13
22 Tue | [5 empty] | 13.18 | 13
23 Wed |  |  | 34.8 |  | 45.3 | 13.2 | 14
24 Thu | [5 empty] | 13.2 | 14
25 Fri | [5 empty] | 12.97 | 13
26 Sat | [5 empty] | 11.43 | 11
27 Sun | [5 empty] | 10.73 | 11
28 Mon | [5 empty] | 10.92 | 11
29 Tue | [5 empty] | 11.13 | 11
30 Wed |  |  | 35.9 |  | 46 | 11.25 | 11
Sum |  |  | 184.6 |  | 231.1 | 573.1 | 577
Avg |  |  | 36.9 |  | 46.2 | 19.1033 | 19
Max |  |  | 46.2 |  | 53 | 34.87 | 34
Min |  |  | 32.4 |  | 43.3 | 10.73 | 11
Count
Page 3