## Operator10® Document
River Information
3/1/2007 through 3/31/2007 |  |  |  | Printed 6/23/2010 15:25
Mar 2007 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Thu
02 Fri
03 Sat
04 Sun
05 Mon
06 Tue
07 Wed | 10.42 | 10.02 | 53.6 |  | 54.5 | 1.7 | 1.7
08 Thu
09 Fri
10 Sat
11 Sun
12 Mon
13 Tue
14 Wed | 10.69 | 8.6 | 55.94 |  | 58.1 | 1.3 | 1.4
15 Thu
16 Fri
17 Sat
18 Sun
19 Mon
20 Tue
21 Wed | 10.75 | 8.35 | 54.86 |  | 57.38 | 2 | 1.6
22 Thu
23 Fri
24 Sat
25 Sun
26 Mon
27 Tue
28 Wed | 12.1 | 11.84 | 44.06 |  | 44.6 | 5.1 | 5.2
29 Thu
30 Fri
31 Sat
Sum | 43.96 | 38.81 | 208.46 |  | 214.58 | 10.1 | 9.9
Avg | 10.99 | 9.7 | 52.11 |  | 53.65 | 2.5 | 2.5
Max | 12.1 | 11.84 | 55.94 |  | 58.1 | 5.1 | 5.2
Min | 10.42 | 8.35 | 44.06 |  | 44.6 | 1.3 | 1.4
Count | 4
Page 1
River Information
3/1/2007 through 3/31/2007 |  |  |  | Printed 6/23/2010 15:25
Mar 2007 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Thu
02 Fri
03 Sat
04 Sun
05 Mon
06 Tue
07 Wed | 8 | 7.48
08 Thu
09 Fri
10 Sat
11 Sun
12 Mon
13 Tue
14 Wed | 8.1 | 7.6
15 Thu
16 Fri
17 Sat
18 Sun
19 Mon
20 Tue
21 Wed | 7.78 | 7.35
22 Thu
23 Fri
24 Sat
25 Sun
26 Mon
27 Tue
28 Wed | 7.5 | 7.8
29 Thu
30 Fri
31 Sat
Sum | 31.38 | 30.23
Avg | 7.85 | 7.56
Max | 8.1 | 7.8
Min | 7.5 | 7.35
Count
Page 2
River Information
3/1/2007 through 3/31/2007 |  |  |  | Printed 6/23/2010 15:25
Mar 2007 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Thu | [5 empty] | 34.58 | 33
02 Fri | [5 empty] | 31.09 | 16
03 Sat | [5 empty] | 14.48 | 8
04 Sun | [5 empty] | 12.15 | 7
05 Mon | [5 empty] | 10.68 | 6
06 Tue | [5 empty] | 9.5 | 6
07 Wed |  |  | 169.3 |  | 204 | 7.85 | 5
08 Thu | [5 empty] | 7.85 | 5
09 Fri | [5 empty] | 7.06 | 4
10 Sat | [5 empty] | 6.55 | 4
11 Sun | [5 empty] | 6.44 | 4
12 Mon | [5 empty] | 5.72 | 3
13 Tue | [5 empty] | 5.17 | 3
14 Wed |  |  | 183.1 |  | 238 | 8.87 | 5
15 Thu | [5 empty] | 16.81 | 10
16 Fri | [5 empty] | 21.02 | 13
17 Sat | [5 empty] | 26.51 | 16
18 Sun | [5 empty] | 29.27 | 22
19 Mon | [5 empty] | 29.27 | 25
20 Tue | [5 empty] | 29.2 | 21
21 Wed |  |  | 157.3 |  | 223 | 24.64 | 18
22 Thu | [5 empty] | 11.17 | 9
23 Fri | [5 empty] | 28.03 | 20
24 Sat | [5 empty] | 28.31 | 20
25 Sun | [5 empty] | 28.31 | 21
26 Mon | [5 empty] | 33.31 | 24
27 Tue | [5 empty] | 33.31 | 24
28 Wed |  |  | 51.5 |  | 63.1 | 28.51 | 24
29 Thu | [5 empty] | 28.91 | 23
30 Fri | [5 empty] | 28.91 | 22
31 Sat | [5 empty] | 28.79 | 21
Sum |  |  | 561.2 |  | 728.1 | 622.27 | 443
Avg |  |  | 140.3 |  | 182 | 20.0732 | 14
Max |  |  | 183.1 |  | 238 | 34.58 | 33
Min |  |  | 51.5 |  | 63.1 | 5.17 | 3
Count
Page 3