## Operator10® Document
River Information
5/1/2010 through 5/31/2010 |  |  |  | Printed 6/23/2010 15:35
May 2010 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Sat
02 Sun
03 Mon
04 Tue
05 Wed | 11.75 | 10.59 | 50.36 |  | 51.26 | 2.8 | 2.7
06 Thu
07 Fri
08 Sat
09 Sun
10 Mon
11 Tue
12 Wed | 12.02 | 11.47 | 49.1 |  | 49.46 | 2.6 | 2.6
13 Thu
14 Fri
15 Sat
16 Sun
17 Mon
18 Tue
19 Wed | 12.33 | 12.11 | 50.72 |  | 51.26 | 2.7 | 2.4
20 Thu
21 Fri
22 Sat
23 Sun
24 Mon
25 Tue
26 Wed | 11 | 10.61 | 52.16 |  | 52.34 | 53 | 51.2
27 Thu
28 Fri
29 Sat
30 Sun
31 Mon
Sum | 47.1 | 44.78 | 202.34 |  | 204.32 | 61.1 | 58.9
Avg | 11.78 | 11.2 | 50.59 |  | 51.08 | 15.3 | 14.7
Max | 12.33 | 12.11 | 52.16 |  | 52.34 | 53 | 51.2
Min | 11 | 10.59 | 49.1 |  | 49.46 | 2.6 | 2.4
Count | 4
Page 1
River Information
5/1/2010 through 5/31/2010 |  |  |  | Printed 6/23/2010 15:35
May 2010 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Sat
02 Sun
03 Mon
04 Tue
05 Wed | 7.08 | 6.9
06 Thu
07 Fri
08 Sat
09 Sun
10 Mon
11 Tue
12 Wed | 6.6 | 6.7
13 Thu
14 Fri
15 Sat
16 Sun
17 Mon
18 Tue
19 Wed | 6.8 | 7
20 Thu
21 Fri
22 Sat
23 Sun
24 Mon
25 Tue
26 Wed | 6.7 | 6.9
27 Thu
28 Fri
29 Sat
30 Sun
31 Mon
Sum | 27.18 | 27.5
Avg | 6.8 | 6.88
Max | 7.08 | 7
Min | 6.6 | 6.7
Count
Page 2
River Information
5/1/2010 through 5/31/2010 |  |  |  | Printed 6/23/2010 15:35
May 2010 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Sat | [5 empty] | 19.89 | 13
02 Sun | [5 empty] | 19.82 | 14
03 Mon | [5 empty] | 19.82 | 14
04 Tue | [5 empty] | 11.64 | 8
05 Wed |  |  | 77.1 |  | 95.3 | 14.84 | 11
06 Thu | [5 empty] | 21.42 | 17
07 Fri | [5 empty] | 21.42 | 18
08 Sat | [5 empty] | 21.17 | 18
09 Sun | [5 empty] | 21.33 | 18
10 Mon | [5 empty] | 27.65 | 23
11 Tue | [5 empty] | 27.65 | 22
12 Wed |  |  | 55.6 |  | 60.7 | 28.6 | 23
13 Thu | [5 empty] | 28.6 | 27
14 Fri | [5 empty] | 25.73 | 25
15 Sat | [5 empty] | 23.58 | 22
16 Sun | [5 empty] | 23.4 | 21
17 Mon | [5 empty] | 23.71 | 20
18 Tue | [5 empty] | 23.71 | 20
19 Wed |  |  | 54.4 |  | 64.4 | 21.41 | 18
20 Thu | [5 empty] | 20.02 | 17
21 Fri | [5 empty] | 20.38 | 17
22 Sat | [5 empty] | 20.38 | 18
23 Sun | [5 empty] | 20 | 18
24 Mon | [5 empty] | 18.97 | 17
25 Tue | [5 empty] | 16.71 | 15
26 Wed |  |  | 56.4 |  | 57.8 | 18.73 | 16
27 Thu | [5 empty] | 20.28 | 15
28 Fri | [5 empty] | 20.28 | 15
29 Sat | [5 empty] | 16.94 | 13
30 Sun | [5 empty] | 16.13 | 13
31 Mon | [5 empty] | 15.43 | 13
Sum |  |  | 243.5 |  | 278.2 | 649.64 | 539
Avg |  |  | 60.9 |  | 69.6 | 20.9561 | 17
Max |  |  | 77.1 |  | 95.3 | 28.6 | 27
Min |  |  | 54.4 |  | 57.8 | 11.64 | 8
Count
Page 3