## Operator10® Document
River Information
8/1/2005 through 8/31/2005 |  |  |  | Printed 6/23/2010 15:20
Aug 2005 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Mon
02 Tue
03 Wed | 10 | 9.4 | 58.82 |  | 59.36 | 1.6 | 1.3
04 Thu
05 Fri
06 Sat
07 Sun
08 Mon
09 Tue
10 Wed | 9.78 | 9.4 | 59.54 |  | 59.9 | 1.2 | 1.5
11 Thu
12 Fri
13 Sat
14 Sun
15 Mon
16 Tue
17 Wed | 8.8 | 8.38 | 62.6 |  | 62.96 | 1.3 | 1.5
18 Thu
19 Fri
20 Sat
21 Sun
22 Mon
23 Tue
24 Wed | 9.3 | 9.5 | 64.22 |  | 62.6 | 1.4 | 1.4
25 Thu
26 Fri
27 Sat
28 Sun
29 Mon
30 Tue
31 Wed | 9.16 | 9.13 | 61.7 |  | 62.24 | 1.4 | 1.3
Sum | 47.04 | 45.81 | 306.88 |  | 307.06 | 6.9 | 7
Avg | 9.41 | 9.16 | 61.38 |  | 61.41 | 1.4 | 1.4
Max | 10 | 9.5 | 64.22 |  | 62.96 | 1.6 | 1.5
Min | 8.8 | 8.38 | 58.82 |  | 59.36 | 1.2 | 1.3
Count | 5
Page 1
River Information
8/1/2005 through 8/31/2005 |  |  |  | Printed 6/23/2010 15:20
Aug 2005 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Mon
02 Tue
03 Wed | 7.1 | 7
04 Thu
05 Fri
06 Sat
07 Sun
08 Mon
09 Tue
10 Wed | 6.6 | 6.8
11 Thu
12 Fri
13 Sat
14 Sun
15 Mon
16 Tue
17 Wed | 7.9 | 7.6
18 Thu
19 Fri
20 Sat
21 Sun
22 Mon
23 Tue
24 Wed | 6.7 | 6.9
25 Thu
26 Fri
27 Sat
28 Sun
29 Mon
30 Tue
31 Wed | 7.6 | 7.9
Sum | 35.9 | 36.2
Avg | 7.18 | 7.24
Max | 7.9 | 7.9
Min | 6.6 | 6.8
Count
Page 2
River Information
8/1/2005 through 8/31/2005 |  |  |  | Printed 6/23/2010 15:20
Aug 2005 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Mon
02 Tue
03 Wed |  |  | 168 |  | 240
04 Thu
05 Fri
06 Sat
07 Sun
08 Mon
09 Tue
10 Wed
11 Thu
12 Fri
13 Sat
14 Sun
15 Mon
16 Tue
17 Wed |  |  | 33.2 |  | 49.2
18 Thu
19 Fri
20 Sat
21 Sun
22 Mon
23 Tue
24 Wed |  |  | 34.8 |  | 49.9
25 Thu
26 Fri
27 Sat
28 Sun
29 Mon
30 Tue
31 Wed |  |  | 34.8 |  | 51.2
Sum |  |  | 270.8 |  | 390.3
Avg |  |  | 67.7 |  | 97.6
Max |  |  | 168 |  | 240
Min |  |  | 33.2 |  | 49.2
Count
Page 3