## Operator10® Document
River Information
5/1/2006 through 5/31/2006 |  |  |  | Printed 6/23/2010 15:22
May 2006 | Rvr up 00300 Diss Oxygen MG/L Daily | Rvr dwn 00300 Diss Oxygen MG/L Daily | Rvr up 00011 Temp Water F Degrees F Daily+Formula |  | Rvr dwn 00011 Temp Water F Degrees F Daily+Formula | Rvr up T0800 TURBIDITY NTU Daily | Rvr dwn T0800 TURBIDITY NTU Daily
01 Mon
02 Tue
03 Wed | 10.7 | 10.1 | 53.6 |  | 53.78 | 15.7 | 14.4
04 Thu
05 Fri
06 Sat
07 Sun
08 Mon
09 Tue
10 Wed | 11.84 | 11.02 | 52.7 |  | 52.88 | 12.8 | 11.8
11 Thu
12 Fri
13 Sat
14 Sun
15 Mon
16 Tue
17 Wed | 10.57 | 10.56 | 54.32 |  | 55.04 | 11.5 | 10.2
18 Thu
19 Fri
20 Sat
21 Sun
22 Mon
23 Tue
24 Wed | 10.64 | 9.58 | 55.04 |  | 54.32 | 5.4 | 5.3
25 Thu
26 Fri
27 Sat
28 Sun
29 Mon
30 Tue
31 Wed | 10.87 | 10.27 | 53.6 |  | 54.14 | 3 | 2.9
Sum | 54.62 | 51.53 | 269.26 |  | 270.16 | 48.4 | 44.6
Avg | 10.92 | 10.31 | 53.85 |  | 54.03 | 9.7 | 8.9
Max | 11.84 | 11.02 | 55.04 |  | 55.04 | 15.7 | 14.4
Min | 10.57 | 9.58 | 52.7 |  | 52.88 | 3 | 2.9
Count | 5
Page 1
River Information
5/1/2006 through 5/31/2006 |  |  |  | Printed 6/23/2010 15:22
May 2006 | Rvr up 00400 pH Field S.U. Daily | Rvr dwn 00400 pH Field S.U. Daily | Rvr up 50060 Cl2 Residual MG/L Daily |  | Rvr dwn 50060 Cl2 Residual MG/L Daily | Rvr up 00610 Nh3 N Ammonia MG/L Daily | Rvr dwn 00610 Nh3 N Ammonia MG/L Daily
01 Mon
02 Tue
03 Wed | 7.8 | 7.5
04 Thu
05 Fri
06 Sat
07 Sun
08 Mon
09 Tue
10 Wed | 7.4 | 7.2
11 Thu
12 Fri
13 Sat
14 Sun
15 Mon
16 Tue
17 Wed | 7.79 | 7.37
18 Thu
19 Fri
20 Sat
21 Sun
22 Mon
23 Tue
24 Wed | 7.73 | 7.52
25 Thu
26 Fri
27 Sat
28 Sun
29 Mon
30 Tue
31 Wed | 7.3 | 6.9
Sum | 38.02 | 36.49
Avg | 7.6 | 7.3
Max | 7.8 | 7.52
Min | 7.3 | 6.9
Count
Page 2
River Information
5/1/2006 through 5/31/2006 |  |  |  | Printed 6/23/2010 15:22
May 2006 | Rvr up Un Nh3 Un-ionized ammonia mg/l Daily | Rvr dwn Un Nh3 Un-ionized ammonia mg/l Daily | Rvr up 00094 EC Cond. Field 25 UMHO Daily |  | Rvr dwn 00094 EC Cond. Field 25 UMHO Daily | Rvr up 50050 Flow Mgd MGD Daily | Rvr up Q inch Creek Flow Inches IN/D Daily
01 Mon | [5 empty] | 36.8 | 16
02 Tue | [5 empty] | 20.1 | 9
03 Wed |  |  | 99 |  | 120.2 | 23 | 10
04 Thu | [5 empty] | 22.1 | 10
05 Fri | [5 empty] | 22.1 | 10
06 Sat | [5 empty] | 22.1 | 11
07 Sun | [5 empty] | 22.1 | 14
08 Mon | [5 empty] | 22.1 | 15
09 Tue | [5 empty] | 22.1 | 17
10 Wed |  |  | 81 |  | 97 | 22.1 | 18
11 Thu | [5 empty] | 28.44 | 19
12 Fri | [5 empty] | 26.37 | 18
13 Sat | [5 empty] | 26.37 | 18
14 Sun | [5 empty] | 24 | 17
15 Mon | [5 empty] | 33.16 | 22
16 Tue | [5 empty] | 36.19 | 24
17 Wed |  |  | 62 |  | 78.5 | 36.8 | 24
18 Thu | [5 empty] | 40.9 | 30
19 Fri | [5 empty] | 22.1 | 17
20 Sat | [5 empty] | 52.87 | 41
21 Sun | [5 empty] | 67.09 | 46
22 Mon | [5 empty] | 57 | 52
23 Tue | [5 empty] | 57.7 | 38
24 Wed |  |  | 66.4 |  | 86.4 | 39.56 | 25
25 Thu | [5 empty] | 39.5 | 25
26 Fri | [5 empty] | 40.91 | 25
27 Sat | [5 empty] | 48.22 | 31
28 Sun | [5 empty] | 57.66 | 40
29 Mon | [5 empty] | 57.66 | 40
30 Tue | [5 empty] | 57.66 | 40
31 Wed |  |  | 60 |  | 75 | 36.9 | 21
Sum |  |  | 368.4 |  | 457.1 | 1121.66 | 740
Avg |  |  | 73.7 |  | 91.4 | 36.1826 | 24
Max |  |  | 99 |  | 120.2 | 67.09 | 52
Min |  |  | 60 |  | 75 | 20.1 | 9
Count
Page 3