## metals
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704 Sampled
Annual Report: 126 Priority Pollutants R-001 |  |  |  | 2010-07-08 | 2009 | [6 empty] | 2008
2010 | Parameter | Result | Units | MDL |  |  | 2009 | [7 empty] | 2008 |  | MDL
R-001 | Antimony, Total | N/D | ug/L | 0.1 | R-001 | Antimony, Total | N/D | ug/L | 0.1 | 0.5 | EPA 200.8 | 1 | Antimony | ug/l | ND |  | 0.6
R-001 | Arsenic, Total | 1.3 | ug/L | 0.1 | R-001 | Arsenic, Total | 1.3 | ug/L | 0.1 | 0.5 | EPA 200.8 | 2 | Arsenic | ug/l | 0.4 | J | 0.6
R-001 | Beryllium, Total | N/D | ug/L | 0.1 | R-001 | Beryllium, Total | N/D | ug/L | 0.1 | 0.5 | EPA 200.8 | 3 | Beryllium | ug/l | ND |  | 0.6
[12 empty] | 4 | Cadmium | ug/l | ND |  | 0.31
R-001 | Cadmium, Total Recoverable | N/D | ug/L | 0.06 | R-001 | Cadmium, Total Recoverable | N/D | ug/L | 0.06 | 0.25 | EPA 200.8 | 5a | Chromium | ug/l | 1.0 |  | 0.6
R-001 | Chromium (III) | 0.9 | ug/L | 0.1 | R-001 | Chromium (III) | 0.9 | ug/L | 0.1 | 5 | EPA 200.8 | 5b | Chromium, Hexavalent | ug/l | ND |  | 5
R-001 | Chromium (VI) | N/D | ug/L | 2 | R-001 | Chromium (VI) | N/D | ug/L | 2 | 100 | SM3500-Cr |  | Chromium, Trivalent | ug/l | ND |  | 5.0
R-001 | Copper, Total Recoverable | 2.6 | ug/L | 0.1 | R-001 | Copper, Total Recoverable | 2.6 | ug/L | 0.1 | 0.5 | EPA 200.8 | 6 | Copper | ug/l | 1.4 |  | 0.6
R-001 | Lead, Total | 0.2 | ug/L | 0.1 | R-001 | Lead, Total | 0.2 | ug/L | 0.1 | 0.5 | EPA 200.8 | 7 | Lead | ug/l | ND | QR-04 | 0.6
R-001 | Mercury, Total | 0.97 | ng/L | 0.2 | R-001 | Mercury, Total | 0.97 | ng/L | 0.2 | 0.5 | EPA 200.8 | 8 | Mercury | ng/l | 5.45 |  | 0.50
R-001 | Nickel, Total | 1.6 | ug/L | 0.2 | R-001 | Nickel, Total | 1.6 | ug/L | 0.2 | 1 | EPA 200.8 | 9 | Nickel | ug/l | 1.1 | J, QR-04 | 1.2
R-001 | Selenium, Total | N/D | ug/L | 0.2 | R-001 | Selenium, Total | N/D | ug/L | 0.2 | 2 | EPA 200.8 | 10 | Selenium | ug/l | ND |  | 2.5
R-001 | Silver, Total | N/D | ug/L | 0.5 | R-001 | Silver, Total | N/D | ug/L | 0.5 | 0.5 | EPA 200.8 | 11 | Silver | ug/l | 0.12 | J | 0.62
R-001 | Thallium, Total Recoverable | N/D | ug/L | 0.2 | R-001 | Thallium, Total Recoverable | N/D | ug/L | 0.2 | 1 | EPA 200.8 | 12 | Thallium | ug/l | ND |  | 1.2
R-001 | Zinc, Total | 5.7 | ug/L | 0.5 | R-001 | Zinc, Total | 5.7 | ug/L | 0.5 | 2 | EPA 200.8 | 13 | Zinc | ug/l | 4.5 |  | 2.5
R-001 | Cyanide, Total (as CN) | N/D | ug/L | 2 | R-001 | Cyanide, Total (as CN) | N/D | ug/L | 2 | 5 | SM4500CNE | 14 | Cyanide - Total | ug/l | ND |  | 5

## 2010
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report | [5 empty] | Year: 2010
Operation Report: RIVER MONITERING R-001 Annual Report
Monthly Average | Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec. | Average
Temperture centigrade | Jan.: 9.7; Feb.: 9.9; Mar.: 9.9; Apr.: 10.4; May: 10.8 | 10.14
D.O. mg/l | Jan.: 10.9; Feb.: 9.9; Mar.: 10.7; Apr.: 12.3; May: 11.4 | 11.04
Tubidity ntu | Jan.: 2.6; Feb.: 5.7; Mar.: 16.1; Apr.: 2.1; May: 2.2 | 5.74
pH | Jan.: 7.85; Feb.: 8.06; Mar.: 7.85; Apr.: 8.4; May: 8.12 | 8.056
Visual | Jan.: CLR; Feb.: murky; Mar.: murky; Apr.: CLR; May: CLR
Hardness mg/l CaCo3 | Jan.: 50; Feb.: 50; Mar.: 35; Apr.: 48 | 45.75
Electrical Cond. umho/cm | Jan.: 136; Feb.: 112; Mar.: 93; Apr.: 119 | 115
TDS mg/l | Jan.: 106; Apr.: 75 | 90.5
Zinc TR ug/l | Jan.: 4.4; Apr.: 11.4 | 7.9
Cadmuim TR ug/l | Jan.: 0; Apr.: 0 | 0
Copper TR ug/l | Jan.: 2; Apr.: 4.1 | 3.05
Ammonia mg/l | [12 empty] | #DIV/0!
Sulfide mg/l | [12 empty] | #DIV/0!
May EC of 794 umho/cm out of normal range
Operation Report: RIVER MONITERING R-002 Annual Report
Monthly Average | Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec. | Average
Temperture centegrade | Jan.: 9.6; Feb.: 9.9; Mar.: 9.9; Apr.: 10.4; May: 10.8 | 10.12
D.O. mg/l | Jan.: 10.7; Feb.: 9.9; Mar.: 11; Apr.: 12.2; May: 11.4 | 11.04
Tubidity ntu | Jan.: 3; Feb.: 5.7; Mar.: 15.7; Apr.: 2.1; May: 2 | 5.7
PH | Jan.: 7.91; Feb.: 7.97; Mar.: 7.94; Apr.: 8.4; May: 8.17 | 8.078
Visual | Jan.: CLR.; Feb.: murky; Mar.: murky; Apr.: CLR.; May: CLR
Zinc TR ug/l | Jan.: 4.5; Apr.: 10.2 | 7.35
Zinc Dissolved ug/l | Jan.: 3.1; Apr.: 4.5 | 3.8
Copper TR ug/l | Jan.: 2.5; Apr.: 4 | 3.25
Copper Dissolved ug/l | Jan.: 1.3; Apr.: 2.5 | 1.9
Data enterd as zero had a lab result of ND

## 2010 R-001 126 pp
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704 Sampled
Annual Report: 126 Priority Pollutants R-001 |  |  |  | 2010-07-08 |  |  |  | 2009 | [6 empty] | 2008
Monitoring Location ID | Parameter | Result | Units | MDL | ML | Method | Comment
R-001 | Antimony, Total | N/D | ug/L | 0.1 | 0.5 | EPA 200.8 |  | R-001 | Antimony, Total | N/D | ug/L | 0.1 | 0.5 | EPA 200.8 | 1 | Antimony | ug/l | ND |  | 5 | 0.1 | 0.6 | EPA 200.8
R-001 | Arsenic, Total | 1.3 | ug/L | 0.1 | 0.5 | EPA 200.8 |  | R-001 | Arsenic, Total | 1.3 | ug/L | 0.1 | 0.5 | EPA 200.8 | 2 | Arsenic | ug/l | 0.4 | J | 1 | 0.1 | 0.6 | EPA 200.8
R-001 | Beryllium, Total | N/D | ug/L | 0.1 | 0.5 | EPA 200.8 |  | R-001 | Beryllium, Total | N/D | ug/L | 0.1 | 0.5 | EPA 200.8 | 3 | Beryllium | ug/l | ND |  | 1 | 0.1 | 0.6 | EPA 200.8
R-001 | Cadmium, Total Recoverable | N/D | ug/L | 0.06 | 0.25 | EPA 200.8 |  | R-001 | Cadmium, Total Recoverable | N/D | ug/L | 0.06 | 0.25 | EPA 200.8 | 4 | Cadmium | ug/l | ND |  | 0.25 | 0.06 | 0.31 | EPA 200.8
R-001 | Chromium (III) | 0.9 | ug/L | 0.1 | 5 | EPA 200.8 |  | R-001 | Chromium (III) | 0.9 | ug/L | 0.1 | 5 | EPA 200.8 | 5a | Chromium | ug/l | 1.0 |  | 2 | 0.1 | 0.6 | EPA 200.8
R-001 | Chromium (VI) | N/D | ug/L | 2 | 100 | SM3500-Cr |  | R-001 | Chromium (VI) | N/D | ug/L | 2 | 100 | SM3500-Cr | 5b | Chromium, Hexavalent | ug/l | ND |  | 5 | 2 | 5 | SM 3500-Cr
R-001 | Copper, Total Recoverable | 2.6 | ug/L | 0.1 | 0.5 | EPA 200.8 |  | R-001 | Copper, Total Recoverable | 2.6 | ug/L | 0.1 | 0.5 | EPA 200.8 |  | Chromium, Trivalent | ug/l | ND |  |  |  | 5.0 | EPA 200.8
R-001 | Lead, Total | 0.2 | ug/L | 0.1 | 0.5 | EPA 200.8 |  | R-001 | Lead, Total | 0.2 | ug/L | 0.1 | 0.5 | EPA 200.8 | 6 | Copper | ug/l | 1.4 |  | 0.5 | 0.1 | 0.6 | EPA 200.8
R-001 | Mercury, Total | 0.97 | ng/L | 0.2 | 0.5 | EPA 200.8 |  | R-001 | Mercury, Total | 0.97 | ng/L | 0.2 | 0.5 | EPA 200.8 | 7 | Lead | ug/l | ND | QR-04 | 0.5 | 0.1 | 0.6 | EPA 200.8
R-001 | Nickel, Total | 1.6 | ug/L | 0.2 | 1 | EPA 200.8 |  | R-001 | Nickel, Total | 1.6 | ug/L | 0.2 | 1 | EPA 200.8 | 8 | Mercury | ng/l | 5.45 |  | 0.5 | 0.20 | 0.50 | EPA 1631E
R-001 | Selenium, Total | N/D | ug/L | 0.2 | 2 | EPA 200.8 |  | R-001 | Selenium, Total | N/D | ug/L | 0.2 | 2 | EPA 200.8 | 8 | Mercury Field Blank | ng/l | ND |  | 0.5 | 0.20 | 0.50 | EPA 1631E
R-001 | Silver, Total | N/D | ug/L | 0.5 | 0.5 | EPA 200.8 |  | R-001 | Silver, Total | N/D | ug/L | 0.5 | 0.5 | EPA 200.8 | 9 | Nickel | ug/l | 1.1 | J, QR-04 | 5 | 0.2 | 1.2 | EPA 200.8
R-001 | Thallium, Total Recoverable | N/D | ug/L | 0.2 | 1 | EPA 200.8 |  | R-001 | Thallium, Total Recoverable | N/D | ug/L | 0.2 | 1 | EPA 200.8 | 10 | Selenium | ug/l | ND |  | 5 | 0.5 | 2.5 | EPA 200.8
R-001 | Zinc, Total | 5.7 | ug/L | 0.5 | 2 | EPA 200.8 |  | R-001 | Zinc, Total | 5.7 | ug/L | 0.5 | 2 | EPA 200.8 | 11 | Silver | ug/l | 0.12 | J | 1 | 0.12 | 0.62 | EPA 200.8
R-001 | Cyanide, Total (as CN) | N/D | ug/L | 2 | 5 | SM4500CNE |  | R-001 | Cyanide, Total (as CN) | N/D | ug/L | 2 | 5 | SM4500CNE | 12 | Thallium | ug/l | ND |  | 1 | 0.2 | 1.2 | EPA 200.8
R-001 | Asbestos | N/D | Fibers/L | 0.4 | 1.5 | EPA100.2 | [8 empty] | 13 | Zinc | ug/l | 4.5 |  | 10 | 0.5 | 2.5 | EPA 200.8
R-001 | 2,3,7,8-TCDD (Dioxin) | N/D | pg/L | 0.032 | 1.08 | EPA1613 | [8 empty] | 14 | Cyanide - Total | ug/l | ND |  | 5 | 2 | 5 | SM 4500CN E
R-001 | Acrolein | N/D | ug/L | 0.5 | 5.0 | EPA624
R-001 | Acrylonitrile | N/D | ug/L | 0.4 | 2.0 | EPA624
R-001 | Benzene | N/D | ug/L | 0.09 | 1.0 | EPA624
R-001 | Bromoform | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Carbon Tetrachloride | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Chlorobenzene | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | Chlorodibromomethane | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | Chloroethane | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | 2-Chloroethylvinyl Ether | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Chloroform | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Dichlorobromomethane | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,1-Dichloroethane | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,2-Dichloroethane | N/D | ug/L | 0.07 | 1.0 | EPA624
R-001 | 1,1-Dichloroethylene | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,2-Dichloropropane | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,3-Dichloropropylenes, Sum | N/D | ug/L | 0.05 | 0.5 | EPA624
R-001 | Ethylbenzene | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | Methyl Bromide | N/D | ug/L | 0.2 | 1.0 | EPA624
R-001 | Methyl Chloride | N/D | ug/L | 0.04 | 2.0 | EPA624
R-001 | Methylene Chloride | N/D | ug/L | 0.2 | 1.0 | EPA624
R-001 | 1,1,2,2-Tetrachloroethane | N/D | ug/L | 0.05 | 1.0 | EPA624
R-001 | Tetrachloroethylene | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Toluene | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,2-Dichloroethylenes, Sum | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,1,1-Trichloroethane | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | 1,1,2-Trichloroethane | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Trichloroethylene | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Vinyl Chloride | N/D | ug/L | 0.08 | 1 | EPA624
R-001 | 2-Chlorophenol | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | 2,4-Dichlorophenol | N/D | ug/L | 0.2 | 2 | EPA625
R-001 | 2,4-Dimethylphenol | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | 2-Methyl-4,6-Dinitrophenol | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | 2,4-Dinitrophenol | N/D | ug/L | 0.1 | 5 | EPA625 | 11
R-001 | 2-Nitrophenol | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | 4-Nitrophenol | N/D | ug/L | 0.04 | 1 | EPA625
R-001 | 3-Methyl-4-Chlorophenol | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Pentachlorophenol | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Phenols, Total | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | 2,4,6-Trichlorophenol | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Acenaphthene | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Acenaphthylene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Anthracene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Benzidine | N/D | ug/L | 2 | 5 | EPA625
R-001 | Benzo(a)anthracene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Benzo(a)pyrene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Benzo(b)fluoranthene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Benzo(ghi)perylene | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | Benzo(k)fluoranthene | N/D | ug/L | 0.2 | 5 | EPA625
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704 Sampled
Annual Report: 126 Priority Pollutants R-001 |  |  |  | 2009-07-08
Monitoring Location ID | Parameter | Result | Units | MDL | ML | Method | Comment
R-001 | Bis (2-Chloroethoxy) Methane | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Bis (2-Chloroethyl) Ether | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Bis (2-Chloroisopropyl) Ether | N/D | ug/L | 0.2 | 2 | EPA625
R-001 | Bis (2-Ethylhexyl) Phthalate | N/D | ug/L | 0.9 | 5 | EPA625
R-001 | 4-Bromophenyl Phenyl Ether | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Butylbenzyl Phthalate | N/D | ug/L | 0.08 | 5 | EPA625
R-001 | 2-Chloronaphthalene | N/D | ug/L | 0.2 | 2 | EPA625
R-001 | 4-Chlorophenyl Phenyl Ether | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Chrysene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Dibenzo(a,h)anthracene | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | 1,2-Dichlorobenzene | N/D | ug/L | 0.2 | 2 | EPA625
R-001 | 1,3-Dichlorobenzene | N/D | ug/L | 0.1 | 1 | EPA625
R-001 | 1,4-Dichlorobenzene | N/D | ug/L | 0.1 | 1 | EPA625
R-001 | 3,3-Dichlorobenzidine | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | Diethyl Phthalate | N/D | ug/L | 0.1 | 2 | EPA625
R-001 | Dimethyl Phthalate | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Di-n-butyl Phthalate | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | 2,4-Dinitrotoluene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | 2,6-Dinitrotoluene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Di-n-octyl Phthalate | N/D | ug/L | 0.07 | 5 | EPA625
R-001 | 1,2-Diphenylhydrazine | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Fluoranthene | N/D | ug/L | 0.1 | 1 | EPA625
R-001 | Fluorene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Hexachlorobenzene | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Hexachlorobutadiene | N/D | ug/L | 0.1 | 1 | EPA625
R-001 | Hexachlorocyclopentadiene | N/D | ug/L | 0.6 | 2 | EPA625
R-001 | Hexachloroethane | N/D | ug/L | 0.5 | 1 | EPA625
R-001 | Indeno (1,2,3-cd) Pyrene | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | Isophorone | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Naphthalene | N/D | ug/L | 0.06 | 1 | EPA625
R-001 | Nitrobenzene | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | N-Nitrosodimethylamine | N/D | ug/L | 0.5 | 2 | EPA625
R-001 | N-Nitrosodi-n-Propylamine | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | N-Nitrosodiphenylamine | N/D | ug/L | 0.1 | 2 | EPA625
R-001 | Phenanthrene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Pyrene | N/D | ug/L | 0.06 | 5 | EPA625
R-001 | 1,2,4-Trichlorobenzene | N/D | ug/L | 0.1 | 2 | EPA625
R-001 | Aldrin | N/D | ug/L | 0.003 | 0.005 | EPA608
R-001 | alpha-BHC | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | beta-BHC | N/D | ug/L | 0.002 | 0.005 | EPA608
R-001 | gamma-BHC | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | delta-BHC | N/D | ug/L | 0.002 | 0.005 | EPA608
R-001 | Chlordane | N/D | ug/L | 0.002 | 0.050 | EPA608
R-001 | 4,4-DDT | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | 4,4-DDE | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | 4,4-DDD | N/D | ug/L | 0.002 | 0.020 | EPA608
R-001 | Dieldrin | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | alpha-Endosulfan | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | beta-Endosulfan | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | Endosulfan Sulfate | N/D | ug/L | 0.002 | 0.020 | EPA608
R-001 | Endrin | N/D | ug/L | 0.003 | 0.010 | EPA608
R-001 | Endrin Aldehyde | N/D | ug/L | 0.005 | 0.010 | EPA608
R-001 | Heptachlor | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | Heptachlor Epoxide | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | PCB-1016 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1221 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1232 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1242 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1248 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1254 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1260 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | Toxaphene | N/D | ug/L | 0.020 | 0.500 | EPA608
13

## 2010 River Pesticides
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report | Year: 2010
Chorinated Hydrocarbon Pesticides:
Date 7/8/09 | R-001 |  |  |  |  | R-002
Monthly Average | Jan. | Aprl | July | Oct. | Average | Jan. | Aprl | July | Oct. | Average
alpha-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
beta-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
gamma-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
delta-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
Aldrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Chlordane (tech) | ND | ND | ND | ND |  | ND | ND | ND | ND
Dieldrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan I | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan II | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan sulfate | ND | ND | ND | ND |  | ND | ND | ND | ND
Endrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Endrin aldehyde | ND | ND | ND | ND |  | ND | ND | ND | ND
Heptachlor | ND | ND | ND | ND |  | ND | ND | ND | ND
Heptachlor epoxide | ND | ND | ND | ND |  | ND | ND | ND | ND
Methoxychlor | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDT | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDE | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDD | ND | ND | ND | ND |  | ND | ND | ND | ND
Toxaphene | ND | ND | ND | ND |  | ND | ND | ND | ND
7

## 2010 R-001 Standard Minerals
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report
2010
Operation Report: R-001 STANDARD MINERALS
R-001
Date 7/8/09 |  | Results | MDL | ML
Boron ug/l |  |  | 2.5 | 12.5
Calcuim mg/l |  |  | 0.2 | 1
Iron ug/l |  |  | 4 | 12
Magnesium mg/l |  |  | 0.2 | 1
Potasium mg/l |  |  | 0.2 | 1
Sodium mg/l |  |  | 0.2 | 1
Chroride mg/l |  |  | 0.08 | 0.04
Manganese ug/l |  |  | 0.1 | 0.6
Phosphorus mg/l |  |  | 0.02 | 0.05
Hardness mg/l |  |  | 5 | 10
Total Alkalinity mg/l |  |  | 1 | 5
Bicarbonate mg/l |  |  | 1 | 5
Carbonate mg/l |  |  | 1 | 5
Hydroxide mg/l |  |  | 1 | 5
Sulfate
Cations
Anions
%RPD
Blue: | Indicates DNQ (Est. Conc.)
8

## 2009
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report | [5 empty] | Year: 2009
Operation Report: RIVER MONITERING R-001 Annual Report
Monthly Average | Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec. | Average
Temperture centigrade | 9.6 | 9.3 | 9.5 | 10.4 | 11.3 | 12.7 | 13.5 | 12.6 | 12.9 | 12.9 | 14.4 | 11.7 | 11.7333
D.O. mg/l | 11.2 | 11.3 | 11 | 11.7 | 10.7 | 11.7 | 10.9 | 10.3 | 10.5 | 10.1 | 9.76 | 10.6 | 10.8133
Tubidity ntu | 3.2 | 1.7 | 24 | 7.4 | 8.4 | 3.4 | 2.3 | 2.6 | 1.85 | 3.4 | 3.3 | 27.9 | 7.4542
pH | 7.5 | 7.37 | 7.54 | 8.16 | 7.62 | 6.83 | 7.3 | 7.79 | 7.48 | 7.3 | 8 | 7.92 | 7.5675
Visual | CLR | CLR | murky | CLR | CLR | CLR | CLR | CLR | CLR | CLR | CLR | Cldy
Hardness mg/l CaCo3 | 60 | 53 | 37 | 47 | 56 | 73 | 47 | 75 | 48 | 50 | 56 | 55 | 54.75
Electrical Cond. umho/cm | 136 | 137 | 100 | 124 | 108 | 118 | 116 | 122 | 118 | 118 | 125 | 143 | 122.0833
TDS mg/l | Jan.: 95; Apr.: 81; July: 83; Oct.: 81 | 85
Zinc TR ug/l | Jan.: 2.8; Apr.: 12; July: 5.7; Oct.: 4.8 | 6.325
Cadmuim TR ug/l | Jan.: 0; Apr.: 0; July: 0; Oct.: 0 | 0
Copper TR ug/l | Jan.: 2.1; Apr.: 5.2; July: 0; Oct.: 1.6 | 2.225
Ammonia mg/l | July: 0.09 | 0.09
Sulfide mg/l | July: 0 | 0
May EC of 794 umho/cm out of normal range
Operation Report: RIVER MONITERING R-002 Annual Report
Monthly Average | Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec. | Average
Temperture centegrade | 9.6 | 7.6 | 9.5 | 10.5 | 11.3 | 12.8 | 13.5 | 12.6 | 12.9 | 12.9 | 14.4 | 11.5 | 11.5917
D.O. mg/l | 11.2 | 11.3 | 10.8 | 11.8 | 10.6 | 11.7 | 11.3 | 10.8 | 10.6 | 10.1 | 9.8 | 10.5 | 10.875
Tubidity ntu | 2.4 | 7.6 | 24 | 7.5 | 8 | 3.5 | 2.5 | 2.6 | 2 | 2.1 | 2.8 | 16.6 | 6.8
PH | 7.32 | 7.25 | 7.62 | 8.35 | 0 | 6.81 | 7.4 | 7.8 | 7.61 | 7.4 | 8.09 | 7.97 | 6.9683
Visual | CLR. | CLR. | murky | CLR. | CLR. | CLR | CLR | CLR | CLR | CLR | CLR | Cldy
Zinc TR ug/l | Jan.: 3.3; Apr.: 11.1; July: 5.5; Oct.: 8 | 6.975
Zinc Dissolved ug/l | Jan.: 1.2; Apr.: 4.9; July: 3.9; Oct.: 3 | 3.25
Copper TR ug/l | Jan.: 2.2; Apr.: 4.8; July: 2.7; Oct.: 1.4 | 2.775
Copper Dissolved ug/l | Jan.: 1.5; Apr.: 3; July: 2; Oct.: 1.2 | 1.925
Data enterd as zero had a lab result of ND

## 2009 R-001 126 PP
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704 Sampled
Annual Report: 126 Priority Pollutants EFF-001/ R-001 |  |  |  | 2009-07-08
Monitoring Location ID | Parameter | Result | Units | MDL | ML | Method | Comment
EFF-001 | Bis (2-Chloroethoxy) Methane | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Bis (2-Chloroethyl) Ether | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | Bis (2-Chloroisopropyl) Ether | N/D | ug/L | 1 | 2 | EPA625
EFF-001 | Bis (2-Ethylhexyl) Phthalate | N/D | ug/L | 2 | 5 | EPA625
EFF-001 | 4-Bromophenyl Phenyl Ether | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Butylbenzyl Phthalate | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | 2-Chloronaphthalene | N/D | ug/L | 1 | 2 | EPA625
EFF-001 | 4-Chlorophenyl Phenyl Ether | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Chrysene | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Dibenzo(a,h)anthracene | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | 1,2-Dichlorobenzene | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | 1,3-Dichlorobenzene | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | 1,4-Dichlorobenzene | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | 3,3-Dichlorobenzidine | N/D | ug/L | 1 | 2 | EPA625
EFF-001 | Diethyl Phthalate | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Dimethyl Phthalate | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Di-n-butyl Phthalate | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | 2,4-Dinitrotoluene | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | 2,6-Dinitrotoluene | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Di-n-octyl Phthalate | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | 1,2-Diphenylhydrazine | N/D | ug/L | 0.2 | 1 | EPA625
EFF-001 | Fluoranthene | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | Fluorene | N/D | ug/L | 2 | 5 | EPA625
EFF-001 | Hexachlorobenzene | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | Hexachlorobutadiene | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | Hexachlorocyclopentadiene | N/D | ug/L | 1 | 2 | EPA625
EFF-001 | Hexachloroethane | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | Indeno (1,2,3-cd) Pyrene | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Isophorone | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | Naphthalene | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | Nitrobenzene | N/D | ug/L | 0.5 | 1 | EPA625
EFF-001 | N-Nitrosodimethylamine | N/D | ug/L | 0.1 | 2 | EPA625
EFF-001 | N-Nitrosodi-n-Propylamine | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | N-Nitrosodiphenylamine | N/D | ug/L | 1 | 2 | EPA625
EFF-001 | Phenanthrene | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | Pyrene | N/D | ug/L | 1 | 5 | EPA625
EFF-001 | 1,2,4-Trichlorobenzene | N/D | ug/L | 1 | 2 | EPA625
EFF-001 | Aldrin | N/D | ug/L | 0.003 | 0.005 | EPA608
EFF-001 | alpha-BHC | N/D | ug/L | 0.002 | 0.010 | EPA608
EFF-001 | beta-BHC | N/D | ug/L | 0.002 | 0.005 | EPA608
EFF-001 | gamma-BHC | N/D | ug/L | 0.002 | 0.010 | EPA608
EFF-001 | delta-BHC | N/D | ug/L | 0.002 | 0.005 | EPA608
EFF-001 | Chlordane | N/D | ug/L | 0.002 | 0.050 | EPA608
EFF-001 | 4,4-DDT | N/D | ug/L | 0.002 | 0.010 | EPA608
EFF-001 | 4,4-DDE | N/D | ug/L | 0.002 | 0.010 | EPA608
EFF-001 | 4,4-DDD | N/D | ug/L | 0.002 | 0.020 | EPA608
EFF-001 | Dieldrin | N/D | ug/L | 0.002 | 0.010 | EPA608
EFF-001 | alpha-Endosulfan | N/D | ug/L | 0.002 | 0.010 | EPA608
EFF-001 | beta-Endosulfan | N/D | ug/L | 0.002 | 0.010 | EPA608
EFF-001 | Endosulfan Sulfate | N/D | ug/L | 0.002 | 0.020 | EPA608
EFF-001 | Endrin | N/D | ug/L | 0.003 | 0.010 | EPA608
EFF-001 | Endrin Aldehyde | N/D | ug/L | 0.005 | 0.010 | EPA608
EFF-001 | Heptachlor | N/D | ug/L | 0.002 | 0.010 | EPA608
EFF-001 | Heptachlor Epoxide | N/D | ug/L | 0.002 | 0.010 | EPA608 | 10
EFF-001 | PCB-1016 | N/D | ug/L | 0.100 | 0.500 | EPA608
EFF-001 | PCB-1221 | N/D | ug/L | 0.100 | 0.500 | EPA608
EFF-001 | PCB-1232 | N/D | ug/L | 0.100 | 0.500 | EPA608
EFF-001 | PCB-1242 | N/D | ug/L | 0.100 | 0.500 | EPA608
EFF-001 | PCB-1248 | N/D | ug/L | 0.100 | 0.500 | EPA608
EFF-001 | PCB-1254 | N/D | ug/L | 0.100 | 0.500 | EPA608
EFF-001 | PCB-1260 | N/D | ug/L | 0.100 | 0.500 | EPA608
EFF-001 | Toxaphene | N/D | ug/L | 0.020 | 0.500 | EPA608
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704 Sampled
Annual Report: 126 Priority Pollutants R-001 |  |  |  | 2009-07-08
Monitoring Location ID | Parameter | Result | Units | MDL | ML | Method | Comment
R-001 | Antimony, Total | N/D | ug/L | 0.1 | 0.5 | EPA 200.8
R-001 | Arsenic, Total | 1.3 | ug/L | 0.1 | 0.5 | EPA 200.8
R-001 | Beryllium, Total | N/D | ug/L | 0.1 | 0.5 | EPA 200.8
R-001 | Cadmium, Total Recoverable | N/D | ug/L | 0.06 | 0.25 | EPA 200.8
R-001 | Chromium (III) | 0.9 | ug/L | 0.1 | 5 | EPA 200.8
R-001 | Chromium (VI) | N/D | ug/L | 2 | 100 | SM3500-Cr
R-001 | Copper, Total Recoverable | 2.6 | ug/L | 0.1 | 0.5 | EPA 200.8
R-001 | Lead, Total | 0.2 | ug/L | 0.1 | 0.5 | EPA 200.8
R-001 | Mercury, Total | 0.97 | ng/L | 0.2 | 0.5 | EPA 200.8
R-001 | Nickel, Total | 1.6 | ug/L | 0.2 | 1 | EPA 200.8
R-001 | Selenium, Total | N/D | ug/L | 0.2 | 2 | EPA 200.8
R-001 | Silver, Total | N/D | ug/L | 0.5 | 0.5 | EPA 200.8
R-001 | Thallium, Total Recoverable | N/D | ug/L | 0.2 | 1 | EPA 200.8
R-001 | Zinc, Total | 5.7 | ug/L | 0.5 | 2 | EPA 200.8
R-001 | Cyanide, Total (as CN) | N/D | ug/L | 2 | 5 | SM4500CNE
R-001 | Asbestos | N/D | Fibers/L | 0.4 | 1.5 | EPA100.2
R-001 | 2,3,7,8-TCDD (Dioxin) | N/D | pg/L | 0.032 | 1.08 | EPA1613
R-001 | Acrolein | N/D | ug/L | 0.5 | 5.0 | EPA624
R-001 | Acrylonitrile | N/D | ug/L | 0.4 | 2.0 | EPA624
R-001 | Benzene | N/D | ug/L | 0.09 | 1.0 | EPA624
R-001 | Bromoform | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Carbon Tetrachloride | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Chlorobenzene | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | Chlorodibromomethane | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | Chloroethane | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | 2-Chloroethylvinyl Ether | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Chloroform | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Dichlorobromomethane | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,1-Dichloroethane | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,2-Dichloroethane | N/D | ug/L | 0.07 | 1.0 | EPA624
R-001 | 1,1-Dichloroethylene | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,2-Dichloropropane | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,3-Dichloropropylenes, Sum | N/D | ug/L | 0.05 | 0.5 | EPA624
R-001 | Ethylbenzene | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | Methyl Bromide | N/D | ug/L | 0.2 | 1.0 | EPA624
R-001 | Methyl Chloride | N/D | ug/L | 0.04 | 2.0 | EPA624
R-001 | Methylene Chloride | N/D | ug/L | 0.2 | 1.0 | EPA624
R-001 | 1,1,2,2-Tetrachloroethane | N/D | ug/L | 0.05 | 1.0 | EPA624
R-001 | Tetrachloroethylene | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Toluene | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,2-Dichloroethylenes, Sum | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | 1,1,1-Trichloroethane | N/D | ug/L | 0.08 | 1.0 | EPA624
R-001 | 1,1,2-Trichloroethane | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Trichloroethylene | N/D | ug/L | 0.1 | 1.0 | EPA624
R-001 | Vinyl Chloride | N/D | ug/L | 0.08 | 1 | EPA624
R-001 | 2-Chlorophenol | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | 2,4-Dichlorophenol | N/D | ug/L | 0.2 | 2 | EPA625
R-001 | 2,4-Dimethylphenol | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | 2-Methyl-4,6-Dinitrophenol | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | 2,4-Dinitrophenol | N/D | ug/L | 0.1 | 5 | EPA625 | 11
R-001 | 2-Nitrophenol | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | 4-Nitrophenol | N/D | ug/L | 0.04 | 1 | EPA625
R-001 | 3-Methyl-4-Chlorophenol | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Pentachlorophenol | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Phenols, Total | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | 2,4,6-Trichlorophenol | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Acenaphthene | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Acenaphthylene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Anthracene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Benzidine | N/D | ug/L | 2 | 5 | EPA625
R-001 | Benzo(a)anthracene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Benzo(a)pyrene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Benzo(b)fluoranthene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Benzo(ghi)perylene | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | Benzo(k)fluoranthene | N/D | ug/L | 0.2 | 5 | EPA625
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704 Sampled
Annual Report: 126 Priority Pollutants R-001 |  |  |  | 2009-07-08
Monitoring Location ID | Parameter | Result | Units | MDL | ML | Method | Comment
R-001 | Bis (2-Chloroethoxy) Methane | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Bis (2-Chloroethyl) Ether | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Bis (2-Chloroisopropyl) Ether | N/D | ug/L | 0.2 | 2 | EPA625
R-001 | Bis (2-Ethylhexyl) Phthalate | N/D | ug/L | 0.9 | 5 | EPA625
R-001 | 4-Bromophenyl Phenyl Ether | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Butylbenzyl Phthalate | N/D | ug/L | 0.08 | 5 | EPA625
R-001 | 2-Chloronaphthalene | N/D | ug/L | 0.2 | 2 | EPA625
R-001 | 4-Chlorophenyl Phenyl Ether | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Chrysene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Dibenzo(a,h)anthracene | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | 1,2-Dichlorobenzene | N/D | ug/L | 0.2 | 2 | EPA625
R-001 | 1,3-Dichlorobenzene | N/D | ug/L | 0.1 | 1 | EPA625
R-001 | 1,4-Dichlorobenzene | N/D | ug/L | 0.1 | 1 | EPA625
R-001 | 3,3-Dichlorobenzidine | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | Diethyl Phthalate | N/D | ug/L | 0.1 | 2 | EPA625
R-001 | Dimethyl Phthalate | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Di-n-butyl Phthalate | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | 2,4-Dinitrotoluene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | 2,6-Dinitrotoluene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Di-n-octyl Phthalate | N/D | ug/L | 0.07 | 5 | EPA625
R-001 | 1,2-Diphenylhydrazine | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Fluoranthene | N/D | ug/L | 0.1 | 1 | EPA625
R-001 | Fluorene | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | Hexachlorobenzene | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Hexachlorobutadiene | N/D | ug/L | 0.1 | 1 | EPA625
R-001 | Hexachlorocyclopentadiene | N/D | ug/L | 0.6 | 2 | EPA625
R-001 | Hexachloroethane | N/D | ug/L | 0.5 | 1 | EPA625
R-001 | Indeno (1,2,3-cd) Pyrene | N/D | ug/L | 0.4 | 5 | EPA625
R-001 | Isophorone | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | Naphthalene | N/D | ug/L | 0.06 | 1 | EPA625
R-001 | Nitrobenzene | N/D | ug/L | 0.2 | 1 | EPA625
R-001 | N-Nitrosodimethylamine | N/D | ug/L | 0.5 | 2 | EPA625
R-001 | N-Nitrosodi-n-Propylamine | N/D | ug/L | 0.2 | 5 | EPA625
R-001 | N-Nitrosodiphenylamine | N/D | ug/L | 0.1 | 2 | EPA625
R-001 | Phenanthrene | N/D | ug/L | 0.1 | 5 | EPA625
R-001 | Pyrene | N/D | ug/L | 0.06 | 5 | EPA625
R-001 | 1,2,4-Trichlorobenzene | N/D | ug/L | 0.1 | 2 | EPA625
R-001 | Aldrin | N/D | ug/L | 0.003 | 0.005 | EPA608
R-001 | alpha-BHC | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | beta-BHC | N/D | ug/L | 0.002 | 0.005 | EPA608
R-001 | gamma-BHC | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | delta-BHC | N/D | ug/L | 0.002 | 0.005 | EPA608
R-001 | Chlordane | N/D | ug/L | 0.002 | 0.050 | EPA608
R-001 | 4,4-DDT | N/D | ug/L | 0.002 | 0.010 | EPA608 | 12
R-001 | 4,4-DDE | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | 4,4-DDD | N/D | ug/L | 0.002 | 0.020 | EPA608
R-001 | Dieldrin | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | alpha-Endosulfan | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | beta-Endosulfan | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | Endosulfan Sulfate | N/D | ug/L | 0.002 | 0.020 | EPA608
R-001 | Endrin | N/D | ug/L | 0.003 | 0.010 | EPA608
R-001 | Endrin Aldehyde | N/D | ug/L | 0.005 | 0.010 | EPA608
R-001 | Heptachlor | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | Heptachlor Epoxide | N/D | ug/L | 0.002 | 0.010 | EPA608
R-001 | PCB-1016 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1221 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1232 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1242 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1248 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1254 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | PCB-1260 | N/D | ug/L | 0.100 | 0.500 | EPA608
R-001 | Toxaphene | N/D | ug/L | 0.020 | 0.500 | EPA608
13

## 2009 R-001&R-002 Pesticides
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report | [5 empty] | Year: 2009
Chorinated Hydrocarbon Pesticides:
Date 7/8/09 | R-001 |  |  |  |  | R-002
Monthly Average | Jan. | Aprl | July | Oct. | Average | Jan. | Aprl | July | Oct. | Average
alpha-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
beta-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
gamma-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
delta-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
Aldrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Chlordane (tech) | ND | ND | ND | ND |  | ND | ND | ND | ND
Dieldrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan I | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan II | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan sulfate | ND | ND | ND | ND |  | ND | ND | ND | ND
Endrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Endrin aldehyde | ND | ND | ND | ND |  | ND | ND | ND | ND
Heptachlor | ND | ND | ND | ND |  | ND | ND | ND | ND
Heptachlor epoxide | ND | ND | ND | ND |  | ND | ND | ND | ND
Methoxychlor | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDT | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDE | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDD | ND | ND | ND | ND |  | ND | ND | ND | ND
Toxaphene | ND | ND | ND | ND |  | ND | ND | ND | ND
7

## 2009 R-001Standard Minerals
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report |  |  |  |  | Year: 2009
Operation Report:, R-001 STANDARD MINERALS
R-001
Date 7/8/09 |  | Results | MDL | ML
Boron ug/l |  | 34.7 | 2.5 | 12.5
Calcuim mg/l |  | 11 | 0.2 | 1
Iron ug/l |  | 116 | 4 | 12
Magnesium mg/l |  | 4.5 | 0.2 | 1
Potasium mg/l |  | 1.35 | 0.2 | 1
Sodium mg/l |  | 5.4 | 0.2 | 1
Chroride mg/l |  | 2.02 | 0.08 | 0.04
Manganese ug/l |  | 4.9 | 0.1 | 0.6
Phosphorus mg/l |  | 0.2 | 0.02 | 0.05
Hardness mg/l |  | 47 | 5 | 10
Total Alkalinity mg/l |  | 53 | 1 | 5
Bicarbonate mg/l |  | 65 | 1 | 5
Carbonate mg/l |  | ND | 1 | 5
Hydroxide mg/l |  | ND | 1 | 5
Sulfate |  | 3.53
Cations |  | 1.17
Anions |  | 1.2
%RPD |  | 2.24
Blue: | Indicates DNQ (Est. Conc.)
8

## 2008
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report | [5 empty] | Year: 2008
Operation Report: RIVER MONITERING R-001 Annual Report
Monthly Average | Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec. | Average
Temperture centigrade | 9.4 | 7.5 | 8.2 | 9.5 | 10.6 | 12 | 14.5 | 13.7 | 14.6 | 14.3 | 13.6 | 12.4 | 11.6917
D.O. mg/l | 10.9 | 11.3 | 10.1 | 11.5 | 11.3 | 9.8 | 11 | 10.9 | 10.5 | 9.3 | 9.25 | 9.7 | 10.4625
Tubidity ntu | 2.9 | 5.1 | 3 | 1.8 | 2.5 | 1.9 | 2.9 | 2.1 | 2 | 1.5 | 2.6 | 2.5 | 2.5667
pH | 7.08 | 7.1 | 6.89 | 7.02 | 6.5 | 7.26 | 7.58 | 7.4 | 7.19 | 7.24 | 7.55 | 7.83 | 7.22
Visual | CLR | murky | CLR | CLR | CLR | CLR | CLR | CLR | CLR | CLR | CLR | CLR
Hardness mg/l CaCo3 | 47 | 44 | 56 | 49 | 48 | 55 | 49 | 43 | 50 | 45 | 45 | 53 | 48.6667
Electrical Cond. umho/cm | 133 | 113 | 135 | 105 |  | 125 | 126 | 120 | 118 | 117 | 120 | 140 | 122.9091
TDS mg/l | Jan.: 79; Apr.: 83; July: 83; Oct.: 72 | 79.25
Zinc TR ug/l | Jan.: 3.3; Apr.: 9.3; July: 4.5; Oct.: 3.7 | 5.2
Cadmuim TR ug/l | Jan.: 0; Apr.: 0; July: 0; Oct.: 0 | 0
Copper TR ug/l | Jan.: 1.3; Apr.: 2.8; July: 1.4; Oct.: 1.3 | 1.7
Ammonia mg/l | July: 0.05 | 0.05
Sulfide mg/l | July: 0.011 | 0.011
May EC of 794 umho/cm out of normal range
Operation Report: RIVER MONITERING R-002 Annual Report
Monthly Average | Jan. | Feb. | Mar. | Apr. | May | June | July | Aug. | Sept. | Oct. | Nov. | Dec. | Average
Temperture centegrade | 9.5 | 7.6 | 8.1 | 9.4 | 10.9 | 12 | 14.3 | 13.6 | 14.6 | 14.3 | 13.6 | 12.4 | 11.6917
D.O. mg/l | 10.3 | 11.3 | 10.6 | 11 | 11.4 | 9 | 11 | 11 | 10.4 | 9.3 | 9.5 | 9.8 | 10.3833
Tubidity ntu | 2.9 | 7.6 | 3.3 | 1.8 | 3 | 1.7 | 2.9 | 2 | 2 | 1.4 | 2.5 | 2.5 | 2.8
PH | 7.32 | 7.25 | 7.11 | 7.09 | 6.2 | 7.21 | 7.61 | 7.4 | 7.24 | 7.35 | 7.73 | 7.83 | 7.2783
Visual | CLR. | murky | CLR. | CLR. | CLR. | CLR | CLR | CLR | CLR | CLR | CLR | CLR
Zinc TR ug/l | Jan.: 1.5; Apr.: 10.6; July: 3.5; Oct.: 3.6 | 4.8
Zinc Dissolved ug/l | Jan.: 4.6; Apr.: 7.3; July: 1.9; Oct.: 2.3 | 4.025
Copper TR ug/l | Jan.: 1.4; Apr.: 2.8; July: 1.5; Oct.: 1.4 | 1.775
Copper Dissolved ug/l | Jan.: 1.4; Apr.: 1.9; July: 1.1; Oct.: 1.3 | 1.425
Data enterd as zero had a lab result of ND

## 2008 R-001 126 PP
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
2008 126 Priority Pollutants
Description: | R001 | Lab ID: | 8070090-02 | Sampled: | 07/02/08 10:00 | Received: | 07/02/08 15:16
CTR # | Analyte | Units | Results | Qualifier | CQL | MDL | RL | Method | Analyzed | Prepared | Batch
1 | Antimony | ug/l | ND |  | 5 | 0.1 | 0.6 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
2 | Arsenic | ug/l | 0.4 | J | 1 | 0.1 | 0.6 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
3 | Beryllium | ug/l | ND |  | 1 | 0.1 | 0.6 | EPA 200.8 | 07/17/08 | 07/14/08 | B8G0390
4 | Cadmium | ug/l | ND |  | 0.25 | 0.06 | 0.31 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
5a | Chromium | ug/l | 1.0 |  | 2 | 0.1 | 0.6 | EPA 200.8 | 07/17/08 | 07/14/08 | B8G0390
5b | Chromium, Hexavalent | ug/l | ND |  | 5 | 2 | 5 | SM 3500-Cr | 07/02/08 | 07/02/08 | B8G0111
| Chromium, Trivalent | ug/l | ND |  |  |  | 5.0 | EPA 200.8 | 07/17/08 | 07/14/08 | [CALC]
6 | Copper | ug/l | 1.4 |  | 0.5 | 0.1 | 0.6 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
7 | Lead | ug/l | ND | QR-04 | 0.5 | 0.1 | 0.6 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
8 | Mercury | ng/l | 5.45 |  | 0.5 | 0.20 | 0.50 | EPA 1631E | 07/09/08 | 07/09/08 | B8G0226
8 | Mercury Field Blank | ng/l | ND |  | 0.5 | 0.20 | 0.50 | EPA 1631E | 07/09/08 | 07/09/08 | B8G0226
9 | Nickel | ug/l | 1.1 | J, QR-04 | 5 | 0.2 | 1.2 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
10 | Selenium | ug/l | ND |  | 5 | 0.5 | 2.5 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
11 | Silver | ug/l | 0.12 | J | 1 | 0.12 | 0.62 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
12 | Thallium | ug/l | ND |  | 1 | 0.2 | 1.2 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
13 | Zinc | ug/l | 4.5 |  | 10 | 0.5 | 2.5 | EPA 200.8 | 07/16/08 | 07/14/08 | B8G0317
14 | Cyanide - Total | ug/l | ND |  | 5 | 2 | 5 | SM 4500CN E | 07/06/08 | 07/06/08 | B8G0137
17 | Acrolein | ug/l | ND |  | 5 | 0.5 | 5.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
18 | Acrylonitrile | ug/l | ND |  | 2 | 0.4 | 2.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
19 | Benzene | ug/l | ND |  | 0.5 | 0.09 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
20 | Bromoform | ug/l | ND |  | 2 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
21 | Carbon tetrachloride | ug/l | ND |  | 0.5 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
22 | Chlorobenzene | ug/l | ND |  | 2 | 0.08 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
23 | Dibromochloromethane | ug/l | ND |  | 0.5 | 0.08 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
24 | Chloroethane | ug/l | ND |  | 2 | 0.08 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
25 | 2-Chloroethylvinyl ether | ug/l | ND |  | 1 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
26 | Chloroform | ug/l | 0.2 | J | 0.5 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
27 | Bromodichloromethane | ug/l | ND |  | 0.5 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
28 | 1,1-Dichloroethane | ug/l | ND |  | 1 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
29 | 1,2-Dichloroethane | ug/l | ND |  | 0.5 | 0.07 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
30 | 1,1-Dichloroethene | ug/l | ND |  | 0.5 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
31 | 1,2-Dichloropropane | ug/l | ND |  | 0.5 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
32 | 1,3-Dichloropropene (total) | ug/l | ND |  | 0.5 | 0.05 | 0.5 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
33 | Ethylbenzene | ug/l | ND |  | 2 | 0.08 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
34 | Bromomethane | ug/l | ND |  | 2 | 0.2 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
35 | Chloromethane | ug/l | 0.2 | J | 2 | 0.04 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
36 | Dichloromethane | ug/l | ND |  | 2 | 0.2 | 2.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
37 | 1,1,2,2-Tetrachloroethane | ug/l | ND |  | 0.5 | 0.05 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
38 | Tetrachloroethene (PCE) | ug/l | ND |  | 0.5 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
39 | Toluene | ug/l | ND |  | 2 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
40 | trans-1,2-Dichloroethene | ug/l | ND |  | 1 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
Description: | R001 | Lab ID: | 8070090-02 | Sampled: | 07/02/08 10:00 | Received: | 07/02/08 15:16
CTR # | Analyte | Units | Results | Qualifier | CQL | MDL | RL | Method | Analyzed | Prepared | Batch
41 | 1,1,1-Trichloroethane (TCA) | ug/l | ND |  | 2 | 0.08 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
42 | 1,1,2-Trichloroethane | ug/l | ND |  | 0.5 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
43 | Trichloroethene (TCE) | ug/l | ND |  | 2 | 0.1 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
44 | Vinyl chloride | ug/l | ND |  | 0.5 | 0.08 | 1.0 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
45 | 2-Chlorophenol | ug/l | ND |  | 2 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
46 | 2,4-Dichlorophenol | ug/l | ND |  | 1 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
47 | 2,4-Dimethylphenol | ug/l | ND |  | 2 | 0.4 | 2 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
48 | 4,6-Dinitro-2-methylphenol | ug/l | ND |  | 10 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
49 | 2,4-Dinitrophenol | ug/l | ND |  | 5 | 0.1 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
50 | 2-Nitrophenol | ug/l | ND |  | 10 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
51 | 4-Nitrophenol | ug/l | ND |  | 10 | 0.04 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
52 | 4-Chloro-3-methylphenol | ug/l | ND |  | 5 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
53 | Pentachlorophenol | ug/l | ND |  | 1 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
54 | Phenol | ug/l | ND |  | 1 | 0.4 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
55 | 2,4,6-Trichlorophenol | ug/l | ND |  | 10 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
56 | Acenaphthene | ug/l | ND |  | 1 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
57 | Acenaphthylene | ug/l | ND |  | 10 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
58 | Anthracene | ug/l | ND |  | 10 | 0.1 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
59 | Benzidine | ug/l | ND |  | 5 | 2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
60 | Benzo (a) anthracene | ug/l | ND |  | 5 | 0.1 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
61 | Benzo (a) pyrene | ug/l | ND |  | 2 | 0.1 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
62 | Benzo (b) fluoranthene | ug/l | ND |  | 10 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
63 | Benzo (g,h,i) perylene | ug/l | ND |  | 5 | 0.4 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
64 | Benzo (k) fluoranthene | ug/l | ND |  | 2 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
65 | Bis(2-chloroethoxy)methane | ug/l | ND |  | 5 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
66 | Bis(2-chloroethyl)ether | ug/l | ND |  | 1 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
67 | Bis(2-chloroisopropyl)ether | ug/l | ND |  | 10 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
68 | Bis(2-ethylhexyl)phthalate | ug/l | ND |  | 5 | 0.9 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
69 | 4-Bromophenyl phenyl ether | ug/l | ND |  | 10 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
70 | Butyl benzyl phthalate | ug/l | ND |  | 10 | 0.08 | 10 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
71 | 2-Chloronaphthalene | ug/l | ND |  | 10 | 0.2 | 2 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
72 | 4-Chlorophenyl phenyl ether | ug/l | ND |  | 5 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
73 | Chrysene | ug/l | ND |  | 5 | 0.1 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
74 | Dibenz (a,h) anthracene | ug/l | ND |  |  | 0.4 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
75 | 1,2-Dichlorobenzene | ug/l | ND |  | 2 | 0.2 | 0.5 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
76 | 1,3-Dichlorobenzene | ug/l | ND |  | 2 | 0.1 | 0.5 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
77 | 1,4-Dichlorobenzene | ug/l | ND |  | 2 | 0.1 | 0.5 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
78 | 3,3´-Dichlorobenzidine | ug/l | ND |  | 5 | 0.4 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
79 | Diethyl phthalate | ug/l | 0.2 | J | 2 | 0.1 | 2 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
80 | Dimethyl phthalate | ug/l | ND |  | 2 | 0.2 | 2 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
81 | Di-n-butyl phthalate | ug/l | ND |  | 10 | 0.1 | 10 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
82 | 2,4-Dinitrotoluene | ug/l | ND |  | 5 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
83 | 2,6-Dinitrotoluene | ug/l | ND |  | 5 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
84 | Di-n-octyl phthalate | ug/l | ND |  | 10 | 0.07 | 10 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
85 | 1,2-Diphenylhydrazine | ug/l | ND |  | 1 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
Description: | R001 | Lab ID: | 8070090-02 | Sampled: | 07/02/08 10:00 | Received: | 07/02/08 15:16
CTR # | Analyte | Units | Results | Qualifier | CQL | MDL | RL | Method | Analyzed | Prepared | Batch
86 | Fluoranthene | ug/l | ND |  | 10 | 0.1 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
87 | Fluorene | ug/l | ND |  | 10 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
88 | Hexachlorobenzene | ug/l | ND |  | 1 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
89 | Hexachlorobutadiene | ug/l | ND |  | 1 | 0.1 | 0.5 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
90 | Hexachlorocyclopentadiene | ug/l | ND |  | 5 | 0.6 | 2 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
91 | Hexachloroethane | ug/l | ND |  | 1 | 0.5 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
92 | Indeno (1,2,3-cd) pyrene | ug/l | ND |  |  | 0.4 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
93 | Isophorone | ug/l | ND |  | 1 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
94 | Naphthalene | ug/l | ND |  | 10 | 0.06 | 0.5 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
95 | Nitrobenzene | ug/l | ND |  | 10 | 0.2 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
96 | N-Nitrosodimethylamine | ug/l | ND |  | 5 | 0.5 | 2 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
97 | N-Nitrosodi-n-propylamine | ug/l | ND |  | 5 | 0.2 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
98 | N-Nitrosodiphenylamine | ug/l | ND |  | 1 | 0.1 | 1 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
99 | Phenanthrene | ug/l | ND |  | 5 | 0.1 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
100 | Pyrene | ug/l | ND |  |  | 0.06 | 5 | EPA 8270 | 07/10/08 | 07/03/08 | B8G0104
101 | 1,2,4-Trichlorobenzene | ug/l | ND |  | 5 | 0.1 | 0.5 | EPA 8260B | 07/08/08 | 07/08/08 | B8G0206
102 | Aldrin | ug/l | ND | QR-05 | 0.005 | 0.003 | 0.005 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
103 | alpha-BHC | ug/l | ND |  | 0.01 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
104 | beta-BHC | ug/l | ND |  | 0.005 | 0.002 | 0.005 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
105 | gamma-BHC (Lindane) | ug/l | ND |  | 0.02 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
106 | delta-BHC | ug/l | ND |  | 0.005 | 0.002 | 0.005 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
107 | Chlordane (tech) | ug/l | ND |  | 0.1 | 0.002 | 0.050 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
108 | 4,4´-DDT | ug/l | ND |  | 0.01 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
109 | 4,4´-DDE | ug/l | ND |  | 0.05 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
110 | 4,4´-DDD | ug/l | ND |  | 0.05 | 0.002 | 0.020 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
111 | Dieldrin | ug/l | ND |  | 0.01 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
112 | Endosulfan I | ug/l | ND |  | 0.02 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
113 | Endosulfan II | ug/l | ND |  | 0.01 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
114 | Endosulfan sulfate | ug/l | ND |  | 0.05 | 0.002 | 0.020 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
115 | Endrin | ug/l | ND |  | 0.01 | 0.003 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
116 | Endrin aldehyde | ug/l | ND |  | 0.01 | 0.005 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
117 | Heptachlor | ug/l | ND |  | 0.01 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
118 | Heptachlor epoxide | ug/l | ND |  | 0.01 | 0.002 | 0.010 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141
119 | PCB-1016 | ug/l | ND |  | 0.5 | 0.100 | 0.500 | EPA 8082 | 07/08/08 | 07/07/08 | B8G0141
120 | PCB-1221 | ug/l | ND |  | 0.5 | 0.100 | 0.500 | EPA 8082 | 07/08/08 | 07/07/08 | B8G0141
121 | PCB-1232 | ug/l | ND |  | 0.5 | 0.100 | 0.500 | EPA 8082 | 07/08/08 | 07/07/08 | B8G0141
122 | PCB-1242 | ug/l | ND |  | 0.5 | 0.100 | 0.500 | EPA 8082 | 07/08/08 | 07/07/08 | B8G0141
123 | PCB-1248 | ug/l | ND |  | 0.5 | 0.100 | 0.500 | EPA 8082 | 07/08/08 | 07/07/08 | B8G0141
124 | PCB-1254 | ug/l | ND |  | 0.5 | 0.100 | 0.500 | EPA 8082 | 07/08/08 | 07/07/08 | B8G0141
125 | PCB-1260 | ug/l | ND |  | 0.5 | 0.100 | 0.500 | EPA 8082 | 07/08/08 | 07/07/08 | B8G0141
126 | Toxaphene | ug/l | ND |  | 0.5 | 0.020 | 0.500 | EPA 8081 | 07/08/08 | 07/07/08 | B8G0141

## 2008 R-001&R-002 Pesticides
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report | Year: 2008
Chorinated Hydrocarbon Pesticides:
|  |  | R-001 |  |  |  |  | R-002
Monthly Average | Jan. | Aprl | July | Oct. | Average | Jan. | Aprl | July | Oct. | Average
alpha-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
beta-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
gamma-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
delta-BHC | ND | ND | ND | ND |  | ND | ND | ND | ND
Aldrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Chlordane (tech) | ND | ND | ND | ND |  | ND | ND | ND | ND
Dieldrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan I | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan II | ND | ND | ND | ND |  | ND | ND | ND | ND
Endosulfan sulfate | ND | ND | ND | ND |  | ND | ND | ND | ND
Endrin | ND | ND | ND | ND |  | ND | ND | ND | ND
Endrin aldehyde | ND | ND | ND | ND |  | ND | ND | ND | ND
Heptachlor | ND | ND | ND | ND |  | ND | ND | ND | ND
Heptachlor epoxide | ND | ND | ND | ND |  | ND | ND | ND | ND
Methoxychlor | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDT | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDE | ND | ND | ND | ND |  | ND | ND | ND | ND
4,4´-DDD | ND | ND | ND | ND |  | ND | ND | ND | ND
Toxaphene | ND | ND | ND | ND |  | ND | ND | ND | ND

## 2008 R-001 Standard Minerals
ANDERSON WATER POLLUTION CONTROL PLANT
Anderson, CA
NPDES: CA0077704
Annual Report
Operation Report: R-001 STANDARD MINERALS
R-001
Date 7/2/08 | Results | MDL | ML
Boron ug/l | 44.4 | 2.5 | 12.5
Calcuim mg/l | 11 | 0.2 | 1
Iron ug/l | 28 | 4 | 12
Magnesium mg/l | 5 | 0.2 | 1
Potasium mg/l | 2 | 0.2 | 1
Sodium mg/l | 7 | 0.2 | 1
Chroride mg/l | 2.33 | 0.08 | 0.04
Manganese ug/l | 2.6 | 0.1 | 0.6
Phosphorus mg/l | DNQ 0.02 | 0.02 | 0.05
Hardness mg/l | 49 | 5 | 10
Total Alkalinity mg/l | 59 | 1 | 5
Bicarbonate mg/l | 72 | 1 | 5
Carbonate mg/l | N/D | 1 | 5
Hydroxide mg/l | N/D | 1 | 5
Alunimium
Nitrate N / NO3 | 0/0
Sulfate | 0
Fluoride | 0
Silica | 0
Cations | 1.32
Anions | 1.25
%RPD | 5.47

## 2007
[5 empty] | August |  | YEAR: | 2007
|  | R1 | [5 empty] | R2
| temp oF | DO | turbidity | visual |  | temp oF | DO | turbidity | visual
January | 49.8 | 11.48 | 3 | murky |  | 49.8 | 11.5 | 2.7 | murky
February | 48.5 | 10.5 | 1.6 | clear |  | 48.6 | 10.5 | 1.5 | clear
March | 48.4 | 11 | 1.3 | surface clear |  | 48.6 | 11 | 1.3 | surface clear
April | 51.3 | 10.2 | 1.4 | clear |  | 51.1 | 10.3 | 1.3 | clear
May | 51.4 | 10.2 | 1.6 | clear |  | 51.3 | 10.4 | 1.5 | clear
June | 52 | 11.4 | 1 | clear |  | 52 | 11.5 | 1 | clear
July | 55 | 10.8 | 1.6 | surface clear |  | 55 | 10.9 | 1.6 | surface clear
August | 51 | 10.7 | 2.2 | clear |  | 52 | 10.8 | 2 | clear
September | 55.2 | 9.65 | 0.9 | clear |  | 55.2 | 9.8 | 1.4 | clear
October | 55.4 | 9.4 | 1.5 | clear |  | 55.4 | 9.5 | 1.6 | clear
November | 58.7 | 8.43 | 1.1 | clear |  | 58.8 | 8.5 | 1 | clear
December | 54.8 | 10.4 | 1.8 | murky |  | 54.7 | 10.4 | 1.7 | murky
Average | 52.625 | 10.3467 | 1.5833 |  |  | 52.7083 | 10.425 | 1.55

## 2006
[5 empty] | August |  | YEAR: | 2006
|  | R1 | [5 empty] | R2
| temp oF | DO | turbidity | visual |  | temp oF | DO | turbidity | visual
January | 47.6 | 11.8 | 6.7 | surface clear |  | 47.6 | 11.8 | 6.2 | surface clear
February | 49.6 | 10.8 | 9.5 | high & muddy |  | 49.4 | 11.5 | 9.5 | high & muddy
March | 48 | 10.7 | 7.1 | high & muddy |  | 47 | 11.2 | 7.2 | high & muddy
April | 48 | 13.25 | 7.1 | high/muddy |  | 48 | 13.37 | 6.8 | high/muddy
May | 51.1 | 12.8 | 6.5 | clear |  | 51 | 12.9 | 6.4 | clear
June | 48.8 | 12.6 | 4.2 | surface clear |  | 12.8 | 48.5 | 4.2 | surface clear
July | 51.6 | 11.6 | 5.6 | clear |  | 51.8 | 11.7 | 5.6 | clear
August | 52 | 11.7 | 3 | surface clear |  | 52.5 | 11.4 | 3 | surface clear
September | 51.9 | 11.9 | 3 | clear |  | 51.8 | 11.7 | 2.9 | clear
October | 52 | 9.7 | 3.1 | surface clear |  | 52 | 10.1 | 3.4 | surface clear
November | 53 | 12 | 2.6 | clear |  | 53 | 12.1 | 2.9 | clear
December | 51.8 | 11.55 | 2.3 | clear |  | 51.8 | 11.48 | 2.5 | clear
Average | 50.45 | 11.7 | 5.0583 |  |  | 47.3917 | 14.8125 | 5.05

## Sheet1
City of Anderson Water Pollution Control Plant