Discharge Point Name

| Monitoring Location Name | Monitoring Location Description (include Latitude and Longitude (when available) |
| --- | --- |
| M-INF | Treatment plant headworks |
| M-001 | Downstream from the last connection through which wastes can be admitted to the outfall (38 º, 43’, 53” N, 121 º, 18’, 58” W ) |
| R-001U | 25 feet upstream from discharge 001 in Miners Ravine |
| R-002D = SMD 3 | 350 feet downstream from discharge 001 in Miners Ravine |
| B-001 | Treatment plant biosolids |
| SPL-001 | Municipal Source Water |