CA 00793316 (Dry Creek, Rock Creek))

R5-2010-0092

Table E-1. Monitoring Station Locations

| Discharge Point Name | Monitoring Location Name | Monitoring Location Description |
| --- | --- | --- |
| -- | INF-001 | A location where a representative sample of the influent into the Facility can be collected. |
| 001 | EFF-001 | Downstream from the last connection through which wastes can be admitted into the outfall. |
| 002 | EFF-002 | Approximately 200 feet upstream of EFF-001. (This discharge location is only to be used when Chlorine Contact Basin No. 3 is offline for maintenance.) |
| -- | RSW-001 | In Rock Creek, 50 feet upstream from both discharge locations. |
| -- | RSW-002 = SMD-1 | In Rock Creek, downstream of both discharge locations and just prior to the confluence of Rock Creek and Dry Creek. |
| -- | RSW-003 | In Dry Creek, just prior to the confluence of Rock Creek and Dry Creek. |
| -- | RSW-004 | In Dry Creek, 150 feet downstream of the confluence of Rock Creek and Dry Creek. |
| -- | BIO-001 | A location where a representative sample of biosolids can be obtained. |
| -- | SPL-001 | A location where a representative sample of the municipal water |