## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Jun, 2008 | [11 empty] | Jun, 2008 | [10 empty] | Jun, 2008
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
06/01/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/01/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/01/08 | ------- | ------- | ------ | No Flow
06/02/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/02/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/02/08 | ------- | ------- | ------ | No Flow
06/03/08 | ------- | ------- | ------- | ------- | ------- | ------- | 1.42 | ------- | ------- | ------- | ------- | 06/03/08 | ------- | ------- | ------- | ------- | ------- | 46.0 | ------- | 0.00050 | ------- | 94.00 | ------- | 06/03/08 | 15.0 | ------- | 0.068 | No Flow
06/04/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/04/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/04/08 | ------- | ------- | ------ | No Flow
06/05/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/05/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/05/08 | ------- | ------- | ------ | No Flow
06/06/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/06/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/06/08 | ------- | ------- | ------ | No Flow
06/07/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/07/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/07/08 | ------- | ------- | ------ | Flow
06/08/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/08/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/08/08 | ------- | ------- | ------ | No Flow
06/09/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/09/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/09/08 | ------- | ------- | ------ | No Flow
06/10/08 | ------- | 5.8 | ------- | 6.77 | ------- | ------- | 1.34 | ------- | ------- | 78.1 | ------- | 06/10/08 | ------- | 694 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/10/08 | 11.0 | ------- | 0.047 | No Flow
06/11/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/11/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/11/08 | ------- | ------- | ------ | No Flow
06/12/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/12/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/12/08 | ------- | ------- | ------ | No Flow
06/13/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/13/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/13/08 | ------- | ------- | ------ | No Flow
06/14/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/14/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/14/08 | ------- | ------- | ------ | No Flow
06/15/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/15/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/15/08 | ------- | ------- | ------ | No Flow
06/16/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/16/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/16/08 | ------- | ------- | ------ | No Flow
06/17/08 | ------- | ------- | ------- | ------- | ------- | ------- | 3.64 | ------- | ------- | ------- | ------- | 06/17/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/17/08 | 17.0 | ------- | 0.094 | No Flow
06/18/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/18/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/18/08 | ------- | ------- | ------ | Flow
06/19/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/19/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/19/08 | ------- | ------- | ------ | Flow
06/20/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/20/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/20/08 | ------- | ------- | ------ | Flow
06/21/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/21/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/21/08 | ------- | ------- | ------ | Flow
06/22/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/22/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/22/08 | ------- | ------- | ------ | Flow
06/23/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/23/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/23/08 | ------- | ------- | ------ | Flow
06/24/08 | 9.4 | 7.3 | 7.16 | 6.95 | -0.21 | 4.72 | 2.70 | -2.02 | 68.4 | 74.1 | 5.8 | 06/24/08 | 49 | 449 | <0.01 | <0.01 | 1,600.0 | 220.0 | 0.0006 | 0.0005 | 19.00 | 63.00 | 2.0 | 06/24/08 | 12.0 | 0.011 | 0.066 | Flow
06/25/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/25/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/25/08 | ------- | ------- | ------ | Flow
06/26/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/26/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/26/08 | ------- | ------- | ------ | Flow
06/27/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/27/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/27/08 | ------- | ------- | ------ | Flow
06/28/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/28/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/28/08 | ------- | ------- | ------ | Flow
06/29/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/29/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/29/08 | ------- | ------- | ------ | Flow
06/30/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/30/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/30/08 | ------- | ------- | ------ | Flow
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum | 9.4 | 5.8 | 7.16 | 6.77 | -0.21 | 4.72 | 1.34 | -2.02 | 68.4 | 74.1 | 5.8 | Minimum | 49 | 449 | <0.01 | <0.01 | 1,600.0 | 46.00 | 0.00060 | 0.000500 | 19.00 | 63.00 | 2.00 | Minimum | 11.0 | 0.0110 | 0.047
Maximum | 9.4 | 7.3 | 7.16 | 6.95 | -0.21 | 4.72 | 3.64 | -2.02 | 68.4 | 78.1 | 5.8 | Maximum | 49 | 694 | <0.01 | <0.01 | 1,600.0 | 220.00 | 0.00060 | 0.000500 | 19.00 | 94.00 | 2.00 | Maximum | 17.0 | 0.0110 | 0.094
Average | 9.4 | 6.6 | 7.16 | 6.86 | -0.21 | 4.72 | 2.28 | -2.02 | 68.4 | 76.1 | 5.8 | Average | 49 | 572 | <0.01 | <0.01 | 1,600.0 | 133.00 | 0.00060 | 0.000500 | 19.00 | 78.50 | 2.00 | Average | 13.8 | 0.0110 | 0.069
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized