## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/28/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/28/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/28/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Jan, 2007 | [11 empty] | Jan, 2007 | [10 empty] | Jan, 2007
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
01/01/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/01/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/01/07 | ------- | ------- | ------ | No Flow
01/02/07 | ------- | 7.5 | ------- | 6.81 | ------- | ------- | 2.00 | ------- | ------- | 62.1 | ------- | 01/02/07 | ------- | 543 | ------- | 6.2 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/02/07 | 8.0 | ------- | 0.020 | No Flow
01/03/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/03/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/03/07 | ------- | ------- | ------ | No Flow
01/04/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/04/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/04/07 | ------- | ------- | ------ | No Flow
01/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/05/07 | ------- | ------- | ------ | No Flow
01/06/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/06/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/06/07 | ------- | ------- | ------ | Flow
01/07/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/07/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/07/07 | ------- | ------- | ------ | -------
01/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/08/07 | ------- | ------- | ------ | -------
01/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/09/07 | ------- | ------- | ------ | -------
01/10/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/10/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/10/07 | ------- | ------- | ------ | -------
01/11/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/11/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/11/07 | ------- | ------- | ------ | -------
01/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/12/07 | ------- | ------- | ------ | -------
01/13/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/13/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/13/07 | ------- | ------- | ------ | -------
01/14/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/14/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/14/07 | ------- | ------- | ------ | No Flow
01/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/15/07 | ------- | ------- | ------ | No Flow
01/16/07 | ------- | 6.9 | ------- | 7.01 | ------- | ------- | 7.63 | ------- | ------- | 57.4 | ------- | 01/16/07 | ------- | 607 | ------- | 8.2 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/16/07 | 9.0 | ------- | 0.029 | No Flow
01/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/17/07 | ------- | ------- | ------ | No Flow
01/18/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/18/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/18/07 | ------- | ------- | ------ | No Flow
01/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/19/07 | ------- | ------- | ------ | No Flow
01/20/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/20/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/20/07 | ------- | ------- | ------ | No Flow
01/21/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/21/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/21/07 | ------- | ------- | ------ | No Flow
01/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/22/07 | ------- | ------- | ------ | No Flow
01/23/07 | ------- | 7.2 | ------- | 6.75 | ------- | ------- | 2.45 | ------- | ------- | 61.3 | ------- | 01/23/07 | ------- | 575 | ------- | 6.7 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/23/07 | 8.0 | ------- | 0.016 | No Flow
01/24/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/24/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/24/07 | ------- | ------- | ------ | No Flow
01/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/25/07 | ------- | ------- | ------ | No Flow
01/26/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/26/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/26/07 | ------- | ------- | ------ | No Flow
01/27/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/27/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/27/07 | ------- | ------- | ------ | No Flow
01/28/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/28/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/28/07 | ------- | ------- | ------ | No Flow
01/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/29/07 | ------- | ------- | ------ | No Flow
01/30/07 | ------- | 7.1 | ------- | 6.78 | ------- | ------- | 3.01 | ------- | ------- | 63.1 | ------- | 01/30/07 | ------- | 674 | ------- | 6.4 | ------- | <1.8 | ------- | 0.0000 | ------- | 110.00 | ------- | 01/30/07 | 18.0 | ------- | 0.043 | No Flow
01/31/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/31/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/31/07 | ------- | ------- | ------ | No Flow
Minimum |  | 6.9 |  | 6.75 |  |  | 2.00 |  |  | 57.4 |  | Minimum |  | 543 |  | 6.2 |  | <1.8 |  | 0.000000 |  | 110.00 |  | Minimum | 8.0 |  | 0.016
Maximum |  | 7.5 |  | 7.01 |  |  | 7.63 |  |  | 63.1 |  | Maximum |  | 674 |  | 8.2 |  | <1.8 |  | 0.000000 |  | 110.00 |  | Maximum | 18.0 |  | 0.043
Average |  | 7.2 |  | 6.84 |  |  | 3.77 |  |  | 61.0 |  | Average |  | 600 |  | 6.9 |  | <1.8 |  | 0.000000 |  | 110.00 |  | Average | 10.8 |  | 0.027
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized