## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Sep, 2008 | [11 empty] | Sep, 2008 | [10 empty] | Sep, 2008
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
09/01/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/01/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/01/08 | ------- | ------- | ------ | -------
09/02/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/02/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/02/08 | ------- | ------- | ------ | -------
09/03/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/03/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/03/08 | ------- | ------- | ------ | -------
09/04/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/04/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/04/08 | ------- | ------- | ------ | -------
09/05/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/05/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/05/08 | ------- | ------- | ------ | -------
09/06/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/06/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/06/08 | ------- | ------- | ------ | -------
09/07/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/07/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/07/08 | ------- | ------- | ------ | No Flow
09/08/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/08/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/08/08 | ------- | ------- | ------ | No Flow
09/09/08 | ------- | 5.8 | ------- | 7.02 | ------- | ------- | 1.43 | ------- | ------- | 81.3 | ------- | 09/09/08 | ------- | 671 | ------- | <0.01 | ------- | 1,600.0 | ------- | 0.0005 | ------- | 89.00 | ------- | 09/09/08 | 13.0 | ------- | 0.110 | No Flow
09/10/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/10/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/10/08 | ------- | ------- | ------ | No Flow
09/11/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/11/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/11/08 | ------- | ------- | ------ | No Flow
09/12/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/12/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/12/08 | ------- | ------- | ------ | No Flow
09/13/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/13/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/13/08 | ------- | ------- | ------ | No Flow
09/14/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/14/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/14/08 | ------- | ------- | ------ | No Flow
09/15/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/15/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/15/08 | ------- | ------- | ------ | No Flow
09/16/08 | ------- | 6.4 | ------- | 6.96 | ------- | ------- | 1.23 | ------- | ------- | 79.9 | ------- | 09/16/08 | ------- | 665 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/16/08 | 12.0 | ------- | 0.082 | No Flow
09/17/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/17/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/17/08 | ------- | ------- | ------ | No Flow
09/18/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/18/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/18/08 | ------- | ------- | ------ | No Flow
09/19/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/19/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/19/08 | ------- | ------- | ------ | No Flow
09/20/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/20/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/20/08 | ------- | ------- | ------ | No Flow
09/21/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/21/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/21/08 | ------- | ------- | ------ | No Flow
09/22/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/22/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/22/08 | ------- | ------- | ------ | No Flow
09/23/08 | ------- | 7.5 | ------- | 6.97 | ------- | ------- | 1.95 | ------- | ------- | 76.8 | ------- | 09/23/08 | ------- | 612 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/23/08 | 13.0 | ------- | 0.083 | No Flow
09/24/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/24/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/24/08 | ------- | ------- | ------ | No Flow
09/25/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/25/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/25/08 | ------- | ------- | ------ | No Flow
09/26/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/26/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/26/08 | ------- | ------- | ------ | No Flow
09/27/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/27/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/27/08 | ------- | ------- | ------ | No Flow
09/28/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/28/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/28/08 | ------- | ------- | ------ | No Flow
09/29/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/29/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/29/08 | ------- | ------- | ------ | No Flow
09/30/08 | ------- | 6.6 | ------- | 6.94 | ------- | ------- | 1.70 | ------- | ------- | 79.2 | ------- | 09/30/08 | ------- | 679 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/30/08 | 12.0 | ------- | 0.079 | No Flow
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum |  | 5.8 |  | 6.94 |  |  | 1.23 |  |  | 76.8 |  | Minimum |  | 612 |  | <0.01 |  | 1,600.00 |  | 0.000500 |  | 89.00 |  | Minimum | 12.0 |  | 0.079
Maximum |  | 7.5 |  | 7.02 |  |  | 1.95 |  |  | 81.3 |  | Maximum |  | 679 |  | <0.01 |  | 1,600.00 |  | 0.000500 |  | 89.00 |  | Maximum | 13.0 |  | 0.110
Average |  | 6.6 |  | 6.97 |  |  | 1.58 |  |  | 79.3 |  | Average |  | 657 |  | <0.01 |  | 1,600.00 |  | 0.000500 |  | 89.00 |  | Average | 12.5 |  | 0.089
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized