## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Jan, 2010 | [11 empty] | Jan, 2010 | [10 empty] | Jan, 2010
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
01/01/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/01/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/01/10 | ------- | ------- | ------ | No Flow
01/02/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/02/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/02/10 | ------- | ------- | ------ | No Flow
01/03/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/03/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/03/10 | ------- | ------- | ------ | -------
01/04/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/04/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/04/10 | ------- | ------- | ------ | -------
01/05/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/05/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/05/10 | ------- | ------- | ------ | -------
01/06/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/06/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/06/10 | ------- | ------- | ------ | -------
01/07/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/07/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/07/10 | ------- | ------- | ------ | -------
01/08/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/08/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/08/10 | ------- | ------- | ------ | -------
01/09/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/09/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/09/10 | ------- | ------- | ------ | -------
01/10/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/10/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/10/10 | ------- | ------- | ------ | No Flow
01/11/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/11/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/11/10 | ------- | ------- | ------ | -------
01/12/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/12/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/12/10 | ------- | ------- | ------ | -------
01/13/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/13/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/13/10 | ------- | ------- | ------ | -------
01/14/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/14/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/14/10 | ------- | ------- | ------ | -------
01/15/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/15/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/15/10 | ------- | ------- | ------ | No Flow
01/16/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/16/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/16/10 | ------- | ------- | ------ | No Flow
01/17/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/17/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/17/10 | ------- | ------- | ------ | No Flow
01/18/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/18/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/18/10 | ------- | ------- | ------ | Flow
01/19/10 | 7.9 | 5.5 | 7.04 | 7.03 | -0.01 | 22.60 | 3.32 | -19.28 | 49.5 | 62.6 | 13.1 | 01/19/10 | 549 | 640 | <0.01 | <0.01 | >=1600 | 79.0 | 0.0029 | 0.0003 | 19.00 | 83.00 | 0.58 | 01/19/10 | 15.0 | 0.0014 | 0.029 | Flow
01/20/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/20/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/20/10 | ------- | ------- | ------ | Flow
01/21/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/21/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/21/10 | ------- | ------- | ------ | Flow
01/22/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/22/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/22/10 | ------- | ------- | ------ | Flow
01/23/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/23/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/23/10 | ------- | ------- | ------ | No Flow
01/24/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/24/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/24/10 | ------- | ------- | ------ | No Flow
01/25/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/25/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/25/10 | ------- | ------- | ------ | No Flow
01/26/10 | ------- | 7.1 | ------- | 6.70 | ------- | ------- | 2.73 | ------- | ------- | 64.2 | ------- | 01/26/10 | ------- | 663 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/26/10 | 19.0 | ------- | 0.039 | No Flow
01/27/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/27/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/27/10 | ------- | ------- | ------ | No Flow
01/28/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/28/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/28/10 | ------- | ------- | ------ | No Flow
01/29/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/29/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/29/10 | ------- | ------- | ------ | No Flow
01/30/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/30/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/30/10 | ------- | ------- | ------ | No Flow
01/31/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/31/10 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 01/31/10 | ------- | ------- | ------ | No Flow
Minimum | 7.9 | 5.5 | 7.04 | 6.70 | -0.01 | 22.60 | 2.73 | -19.28 | 49.5 | 62.6 | 13.1 | Minimum | 549 | 640 | <0.01 | <0.01 | >=1600 | 79.00 | 0.00290 | 0.000300 | 19.00 | 83.00 | 0.58 | Minimum | 15.0 | 0.0014 | 0.029
Maximum | 7.9 | 7.1 | 7.04 | 7.03 | -0.01 | 22.60 | 3.32 | -19.28 | 49.5 | 64.2 | 13.1 | Maximum | 549 | 663 | <0.01 | <0.01 | >=1600 | 79.00 | 0.00290 | 0.000300 | 19.00 | 83.00 | 0.58 | Maximum | 19.0 | 0.0014 | 0.039
Average | 7.9 | 6.3 | 7.04 | 6.87 | -0.01 | 22.60 | 3.03 | -19.28 | 49.5 | 63.4 | 13.1 | Average | 549 | 652 | <0.01 | <0.01 | >=1600 | 79.00 | 0.00290 | 0.000300 | 19.00 | 83.00 | 0.58 | Average | 17.0 | 0.0014 | 0.034
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized