## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/28/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/28/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/28/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Nov, 2006 | [11 empty] | Nov, 2006 | [10 empty] | Nov, 2006
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
11/01/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/01/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/01/06 | ------- | ------- | ------ | No Flow
11/02/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/02/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/02/06 | ------- | ------- | ------ | No Flow
11/03/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/03/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/03/06 | ------- | ------- | ------ | No Flow
11/04/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/04/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/04/06 | ------- | ------- | ------ | No Flow
11/05/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/05/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/05/06 | ------- | ------- | ------ | No Flow
11/06/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/06/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/06/06 | ------- | ------- | ------ | No Flow
11/07/06 | ------- | 6.4 | ------- | 6.65 | ------- | ------- | 2.22 | ------- | ------- | 71.4 | ------- | 11/07/06 | ------- | 709 | ------- | 6.3 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/07/06 | 9.6 | ------- | 0.028 | No Flow
11/08/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/08/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/08/06 | ------- | ------- | ------ | No Flow
11/09/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/09/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/09/06 | ------- | ------- | ------ | No Flow
11/10/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/10/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/10/06 | ------- | ------- | ------ | No Flow
11/11/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/11/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/11/06 | ------- | ------- | ------ | No Flow
11/12/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/12/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/12/06 | ------- | ------- | ------ | No Flow
11/13/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/13/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/13/06 | ------- | ------- | ------ | No Flow
11/14/06 | ------- | 7.0 | ------- | 6.74 | ------- | ------- | 7.36 | ------- | ------- | 70.9 | ------- | 11/14/06 | ------- | 701 | ------- | 6.5 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/14/06 | 19.0 | ------- | 0.057 | No Flow
11/15/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/15/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/15/06 | ------- | ------- | ------ | No Flow
11/16/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/16/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/16/06 | ------- | ------- | ------ | No Flow
11/17/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/17/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/17/06 | ------- | ------- | ------ | No Flow
11/18/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/18/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/18/06 | ------- | ------- | ------ | No Flow
11/19/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/19/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/19/06 | ------- | ------- | ------ | No Flow
11/20/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/20/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/20/06 | ------- | ------- | ------ | No Flow
11/21/06 | ------- | 7.2 | ------- | 6.64 | ------- | ------- | 3.98 | ------- | ------- | 69.6 | ------- | 11/21/06 | ------- | 627 | ------- | 6.6 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/21/06 | 13.0 | ------- | 0.029 | No Flow
11/22/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/22/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/22/06 | ------- | ------- | ------ | No Flow
11/23/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/23/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/23/06 | ------- | ------- | ------ | No Flow
11/24/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/24/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/24/06 | ------- | ------- | ------ | No Flow
11/25/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/25/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/25/06 | ------- | ------- | ------ | No Flow
11/26/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/26/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/26/06 | ------- | ------- | ------ | No Flow
11/27/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/27/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/27/06 | ------- | ------- | ------ | No Flow
11/28/06 | ------- | 7.3 | ------- | 6.78 | ------- | ------- | 4.20 | ------- | ------- | 64.6 | ------- | 11/28/06 | ------- | 673 | ------- | 6.4 | ------- | <1.8 | ------- | 0.0005 | ------- | 100.00 | ------- | 11/28/06 | 18.0 | ------- | 0.045 | No Flow
11/29/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/29/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/29/06 | ------- | ------- | ------ | No Flow
11/30/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/30/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/30/06 | ------- | ------- | ------ | No Flow
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum |  | 6.4 |  | 6.64 |  |  | 2.22 |  |  | 64.6 |  | Minimum |  | 627 |  | 6.3 |  | <1.8 |  | 0.000500 |  | 100.00 |  | Minimum | 9.6 |  | 0.028
Maximum |  | 7.3 |  | 6.78 |  |  | 7.36 |  |  | 71.4 |  | Maximum |  | 709 |  | 6.6 |  | <1.8 |  | 0.000500 |  | 100.00 |  | Maximum | 19.0 |  | 0.057
Average |  | 7.0 |  | 6.70 |  |  | 4.44 |  |  | 69.1 |  | Average |  | 678 |  | 6.5 |  | <1.8 |  | 0.000500 |  | 100.00 |  | Average | 14.9 |  | 0.040
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized