## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/28/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/28/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/28/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Jul, 2007 | [11 empty] | Jul, 2007 | [10 empty] | Jul, 2007
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
07/01/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/01/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/01/07 | ------- | ------- | ------ | Flow
07/02/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/02/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/02/07 | ------- | ------- | ------ | Flow
07/03/07 | 6.1 | 5.9 | 6.59 | 6.84 | 0.25 | 3.42 | 1.53 | -1.89 | 74.5 | 78.6 | 4.1 | 07/03/07 | 74 | 630 | <0.01 | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | 0.0 | 07/03/07 | 11.0 | 0.00 | 0.056 | Flow
07/04/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/04/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/04/07 | ------- | ------- | ------ | No Flow
07/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/05/07 | ------- | ------- | ------ | Flow
07/06/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/06/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/06/07 | ------- | ------- | ------ | Flow
07/07/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/07/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/07/07 | ------- | ------- | ------ | Flow
07/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/08/07 | ------- | ------- | ------ | Flow
07/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/09/07 | ------- | ------- | ------ | Flow
07/10/07 | 9.4 | 4.5 | 6.96 | 6.69 | -0.27 | 4.85 | 1.66 | -3.19 | 73.9 | 80.4 | 6.5 | 07/10/07 | 69 | 650 | <0.01 | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | 0.00 | 07/10/07 | 14.0 | 0.000 | 0.054 | Flow
07/11/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/11/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/11/07 | ------- | ------- | ------ | Flow
07/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/12/07 | ------- | ------- | ------ | Flow
07/13/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/13/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/13/07 | ------- | ------- | ------ | Flow
07/14/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/14/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/14/07 | ------- | ------- | ------ | Flow
07/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/15/07 | ------- | ------- | ------ | Flow
07/16/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/16/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/16/07 | ------- | ------- | ------ | Flow
07/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/17/07 | ------- | ------- | ------ | Flow
07/18/07 | 8.0 | 5.2 | 7.54 | 7.01 | -0.53 | 4.95 | 1.55 | -3.40 | 74.8 | 78.4 | 3.6 | 07/18/07 | 55 | 471 | <0.01 | <0.01 | 220.0 | 49.0 | 0.0001 | 0.0003 | 29.00 | 86.00 | 0.0 | 07/18/07 | 13.0 | 0.00 | 0.290 | Flow
07/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/19/07 | ------- | ------- | ------ | Flow
07/20/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/20/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/20/07 | ------- | ------- | ------ | Flow
07/21/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/21/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/21/07 | ------- | ------- | ------ | Flow
07/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/22/07 | ------- | ------- | ------ | Flow
07/23/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/23/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/23/07 | ------- | ------- | ------ | Flow
07/24/07 | 7.5 | 5.8 | 6.62 | 6.90 | 0.28 | 4.46 | 1.45 | -3.01 | 77.9 | 80.6 | 2.7 | 07/24/07 | 82 | 560 | <0.01 | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | 0.0 | 07/24/07 | 10.0 | 0.000 | 0.063 | Flow
07/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/25/07 | ------- | ------- | ------ | Flow
07/26/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/26/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/26/07 | ------- | ------- | ------ | Flow
07/27/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/27/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/27/07 | ------- | ------- | ------ | No Flow
07/28/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/28/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/28/07 | ------- | ------- | ------ | No Flow
07/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/29/07 | ------- | ------- | ------ | No Flow
07/30/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/30/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/30/07 | ------- | ------- | ------ | No Flow
07/31/07 | ------- | 4.9 | ------- | 6.69 | ------- | ------- | 1.48 | ------- | ------- | 83.1 | ------- | 07/31/07 | ------- | 339 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/31/07 | 13.0 | ------- | 0.054 | No Flow
Minimum | 6.1 | 4.5 | 6.59 | 6.69 | -0.53 | 3.42 | 1.45 | -3.40 | 73.9 | 78.4 | 2.7 | Minimum | 55 | 339 | <0.01 | <0.01 | 220.0 | 49.00 | 0.00010 | 0.000300 | 29.00 | 86.00 | 0.00 | Minimum | 10.0 | 0.0000 | 0.054
Maximum | 9.4 | 5.9 | 7.54 | 7.01 | 0.28 | 4.95 | 1.66 | -1.89 | 77.9 | 83.1 | 6.5 | Maximum | 82 | 650 | <0.01 | <0.01 | 220.0 | 49.00 | 0.00010 | 0.000300 | 29.00 | 86.00 | 0.00 | Maximum | 14.0 | 0.0000 | 0.290
Average | 7.8 | 5.3 | 6.93 | 6.83 | -0.07 | 4.42 | 1.53 | -2.87 | 75.3 | 80.2 | 4.2 | Average | 70 | 530 | <0.01 | <0.01 | 220.0 | 49.00 | 0.00010 | 0.000300 | 29.00 | 86.00 | 0.00 | Average | 12.2 | 0.0000 | 0.103
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized