## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Jul, 2008 | [11 empty] | Jul, 2008 | [10 empty] | Jul, 2008
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
07/01/08 | 9.3 | 5.6 | 7.25 | 6.92 | -0.33 | 2.90 | 2.58 | -0.32 | 70.7 | 78.3 | 7.6 | 07/01/08 | 46 | 565 | <0.01 | <0.01 | 540.0 | 49.0 | 0.0003 | 0.00020 | 18.00 | 73.00 | <1.0 | 07/01/08 | 16.0 | 0.01 | 0.097 | Flow
07/02/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/02/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/02/08 | ------- | ------- | ------ | Flow
07/03/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/03/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/03/08 | ------- | ------- | ------ | No Flow
07/04/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/04/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/04/08 | ------- | ------- | ------ | No Flow
07/05/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/05/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/05/08 | ------- | ------- | ------ | No Flow
07/06/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/06/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/06/08 | ------- | ------- | ------ | No Flow
07/07/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/07/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/07/08 | ------- | ------- | ------ | Flow
07/08/08 | 11.0 | 6.6 | 6.91 | 6.91 | 0.00 | 6.77 | 2.82 | -3.95 | 75.2 | 80.8 | 5.6 | 07/08/08 | 50 | 464 | <0.01 | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | <1.0 | 07/08/08 | 11.0 | 0.00500 | 0.071 | Flow
07/09/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/09/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/09/08 | ------- | ------- | ------ | Flow
07/10/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/10/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/10/08 | ------- | ------- | ------ | Flow
07/11/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/11/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/11/08 | ------- | ------- | ------ | Flow
07/12/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/12/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/12/08 | ------- | ------- | ------ | No Flow
07/13/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/13/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/13/08 | ------- | ------- | ------ | Flow
07/14/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/14/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/14/08 | ------- | ------- | ------ | Flow
07/15/08 | 8.3 | 6.8 | 6.83 | 6.81 | -0.02 | 6.86 | 3.54 | -3.32 | 76.3 | 79.0 | 2.7 | 07/15/08 | 47 | 658 | <0.01 | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | <1.0 | 07/15/08 | 16.0 | 0.004 | 0.077 | Flow
07/16/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/16/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/16/08 | ------- | ------- | ------ | Flow
07/17/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/17/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/17/08 | ------- | ------- | ------ | Flow
07/18/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/18/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/18/08 | ------- | ------- | ------ | Flow
07/19/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/19/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/19/08 | ------- | ------- | ------ | Flow
07/20/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/20/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/20/08 | ------- | ------- | ------ | Flow
07/21/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/21/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/21/08 | ------- | ------- | ------ | Flow
07/22/08 | 8.8 | 5.0 | 7.05 | 6.91 | -0.14 | 10.40 | 1.78 | -8.62 | 73.2 | 77.2 | 4.0 | 07/22/08 | 53 | 601 | <0.01 | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | 3.1 | 07/22/08 | 15.0 | 0.021 | 0.085 | Flow
07/23/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/23/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/23/08 | ------- | ------- | ------ | Flow
07/24/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/24/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/24/08 | ------- | ------- | ------ | Flow
07/25/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/25/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/25/08 | ------- | ------- | ------ | Flow
07/26/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/26/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/26/08 | ------- | ------- | ------ | Flow
07/27/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/27/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/27/08 | ------- | ------- | ------ | Flow
07/28/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/28/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/28/08 | ------- | ------- | ------ | Flow
07/29/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/29/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/29/08 | ------- | ------- | ------ | Flow
07/30/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/30/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/30/08 | ------- | ------- | ------ | Flow
07/31/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/31/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 07/31/08 | ------- | ------- | ------ | Flow
Minimum | 8.3 | 5.0 | 6.83 | 6.81 | -0.33 | 2.90 | 1.78 | -8.62 | 70.7 | 77.2 | 2.7 | Minimum | 46 | 464 | <0.01 | <0.01 | 540.0 | 49.00 | 0.00030 | 0.000200 | 18.00 | 73.00 | <1.0 | Minimum | 11.0 | 0.0040 | 0.071
Maximum | 11.0 | 6.8 | 7.25 | 6.92 | 0.00 | 10.40 | 3.54 | -0.32 | 76.3 | 80.8 | 7.6 | Maximum | 53 | 658 | <0.01 | <0.01 | 540.0 | 49.00 | 0.00030 | 0.000200 | 18.00 | 73.00 | 3.10 | Maximum | 16.0 | 0.0210 | 0.097
Average | 9.4 | 6.0 | 7.01 | 6.89 | -0.12 | 6.73 | 2.68 | -4.05 | 73.9 | 78.8 | 5.0 | Average | 49 | 572 | <0.01 | <0.01 | 540.0 | 49.00 | 0.00030 | 0.000200 | 18.00 | 73.00 | 1.53 | Average | 14.5 | 0.0103 | 0.083
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized