## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Nov, 2009 | [11 empty] | Nov, 2009 | [10 empty] | Nov, 2009
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
11/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/01/09 | ------- | ------- | ------ | No Flow
11/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/02/09 | ------- | ------- | ------ | No Flow
11/03/09 | ------- | 6.8 | ------- | 6.94 | ------- | ------- | 1.15 | ------- | ------- | 73.0 | ------- | 11/03/09 | ------- | 716 | ------- | <0.01 | ------- | 7.8 | ------- | 0.00019 | ------- | 91.00 | ------- | 11/03/09 | 17.0 | ------- | 0.087 | No Flow
11/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/04/09 | ------- | ------- | ------ | No Flow
11/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/05/09 | ------- | ------- | ------ | No Flow
11/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/06/09 | ------- | ------- | ------ | No Flow
11/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/07/09 | ------- | ------- | ------ | No Flow
11/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/08/09 | ------- | ------- | ------ | No Flow
11/09/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/09/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/09/09 | ------- | ------- | ------ | No Flow
11/10/09 | ------- | 6.7 | ------- | 6.83 | ------- | ------- | 1.28 | ------- | ------- | 70.2 | ------- | 11/10/09 | ------- | 667 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/10/09 | 17.0 | ------- | 0.056 | No Flow
11/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/11/09 | ------- | ------- | ------ | No Flow
11/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/12/09 | ------- | ------- | ------ | No Flow
11/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/13/09 | ------- | ------- | ------ | No Flow
11/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/14/09 | ------- | ------- | ------ | No Flow
11/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/15/09 | ------- | ------- | ------ | No Flow
11/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/16/09 | ------- | ------- | ------ | No Flow
11/17/09 | ------- | 6.9 | ------- | 7.17 | ------- | ------- | 2.54 | ------- | ------- | 68.7 | ------- | 11/17/09 | ------- | 691 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/17/09 | 18.0 | ------- | 0.130 | No Flow
11/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/18/09 | ------- | ------- | ------ | No Flow
11/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/19/09 | ------- | ------- | ------ | No Flow
11/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/20/09 | ------- | ------- | ------ | No Flow
11/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/21/09 | ------- | ------- | ------ | No Flow
11/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/22/09 | ------- | ------- | ------ | No Flow
11/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/23/09 | ------- | ------- | ------ | No Flow
11/24/09 | ------- | 6.6 | ------- | 6.96 | ------- | ------- | 2.36 | ------- | ------- | 68.2 | ------- | 11/24/09 | ------- | 724 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/24/09 | 18.0 | ------- | 0.080 | No Flow
11/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/25/09 | ------- | ------- | ------ | No Flow
11/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/26/09 | ------- | ------- | ------ | No Flow
11/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/27/09 | ------- | ------- | ------ | No Flow
11/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/28/09 | ------- | ------- | ------ | No Flow
11/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/29/09 | ------- | ------- | ------ | No Flow
11/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/30/09 | ------- | ------- | ------ | No Flow
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum |  | 6.6 |  | 6.83 |  |  | 1.15 |  |  | 68.2 |  | Minimum |  | 667 |  | <0.01 |  | 7.80 |  | 0.000190 |  | 91.00 |  | Minimum | 17.0 |  | 0.056
Maximum |  | 6.9 |  | 7.17 |  |  | 2.54 |  |  | 73.0 |  | Maximum |  | 724 |  | <0.01 |  | 7.80 |  | 0.000190 |  | 91.00 |  | Maximum | 18.0 |  | 0.130
Average |  | 6.8 |  | 6.98 |  |  | 1.83 |  |  | 70.0 |  | Average |  | 700 |  | <0.01 |  | 7.80 |  | 0.000190 |  | 91.00 |  | Average | 17.5 |  | 0.088
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized