## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Apr, 2008 | [11 empty] | Apr, 2008 | [10 empty] | Apr, 2008
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
04/01/08 | ------- | 6.8 | ------- | 6.69 | ------- | ------- | 4.81 | ------- | ------- | 65.8 | ------- | 04/01/08 | ------- | 610 | ------- | <0.01 | ------- | 2.0 | ------- | 0.00060 | ------- | 78.00 | ------- | 04/01/08 | 9.8 | ------- | 0.027 | No Flow
04/02/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/02/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/02/08 | ------- | ------- | ------ | No Flow
04/03/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/03/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/03/08 | ------- | ------- | ------ | No Flow
04/04/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/04/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/04/08 | ------- | ------- | ------ | No Flow
04/05/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/05/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/05/08 | ------- | ------- | ------ | No Flow
04/06/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/06/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/06/08 | ------- | ------- | ------ | No Flow
04/07/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/07/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/07/08 | ------- | ------- | ------ | No Flow
04/08/08 | ------- | 7.4 | ------- | 6.89 | ------- | ------- | 4.55 | ------- | ------- | 67.6 | ------- | 04/08/08 | ------- | 733 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/08/08 | 15.0 | ------- | 0.055 | No Flow
04/09/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/09/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/09/08 | ------- | ------- | ------ | No Flow
04/10/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/10/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/10/08 | ------- | ------- | ------ | No Flow
04/11/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/11/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/11/08 | ------- | ------- | ------ | No Flow
04/12/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/12/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/12/08 | ------- | ------- | ------ | No Flow
04/13/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/13/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/13/08 | ------- | ------- | ------ | No Flow
04/14/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/14/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/14/08 | ------- | ------- | ------ | No Flow
04/15/08 | ------- | 5.4 | ------- | 7.08 | ------- | ------- | 2.60 | ------- | ------- | 68.0 | ------- | 04/15/08 | ------- | 668 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/15/08 | 12.0 | ------- | 0.070 | No Flow
04/16/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/16/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/16/08 | ------- | ------- | ------ | No Flow
04/17/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/17/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/17/08 | ------- | ------- | ------ | No Flow
04/18/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/18/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/18/08 | ------- | ------- | ------ | No Flow
04/19/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/19/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/19/08 | ------- | ------- | ------ | No Flow
04/20/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/20/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/20/08 | ------- | ------- | ------ | No Flow
04/21/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/21/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/21/08 | ------- | ------- | ------ | No Flow
04/22/08 | ------- | 6.9 | ------- | 7.15 | ------- | ------- | 2.88 | ------- | ------- | 67.1 | ------- | 04/22/08 | ------- | 685 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/22/08 | 11.0 | ------- | 0.074 | No Flow
04/23/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/23/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/23/08 | ------- | ------- | ------ | No Flow
04/24/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/24/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/24/08 | ------- | ------- | ------ | No Flow
04/25/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/25/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/25/08 | ------- | ------- | ------ | No Flow
04/26/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/26/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/26/08 | ------- | ------- | ------ | -------
04/27/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/27/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/27/08 | ------- | ------- | ------ | -------
04/28/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/28/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/28/08 | ------- | ------- | ------ | -------
04/29/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/29/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/29/08 | ------- | ------- | ------ | -------
04/30/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/30/08 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/30/08 | ------- | ------- | ------ | -------
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum |  | 5.4 |  | 6.69 |  |  | 2.60 |  |  | 65.8 |  | Minimum |  | 610 |  | <0.01 |  | 2.00 |  | 0.000600 |  | 78.00 |  | Minimum | 9.8 |  | 0.027
Maximum |  | 7.4 |  | 7.15 |  |  | 4.81 |  |  | 68.0 |  | Maximum |  | 733 |  | <0.01 |  | 2.00 |  | 0.000600 |  | 78.00 |  | Maximum | 15.0 |  | 0.074
Average |  | 6.6 |  | 6.95 |  |  | 3.71 |  |  | 67.1 |  | Average |  | 674 |  | <0.01 |  | 2.00 |  | 0.000600 |  | 78.00 |  | Average | 12.0 |  | 0.057
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized