## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Jun, 2009 | [11 empty] | Jun, 2009 | [10 empty] | Jun, 2009
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
06/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/01/09 | ------- | ------- | ------ | No Flow
06/02/09 | ------- | 5.8 | ------- | 6.63 | ------- | ------- | 2.21 | ------- | ------- | 77.2 | ------- | 06/02/09 | ------- | 677 | ------- | <0.01 | ------- | 240.0 | ------- | 0.00044 | ------- | 93.00 | ------- | 06/02/09 | 8.5 | ------- | 0.025 | No Flow
06/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/03/09 | ------- | ------- | ------ | No Flow
06/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/04/09 | ------- | ------- | ------ | No Flow
06/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/05/09 | ------- | ------- | ------ | No Flow
06/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/06/09 | ------- | ------- | ------ | No Flow
06/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/07/09 | ------- | ------- | ------ | No Flow
06/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/08/09 | ------- | ------- | ------ | No Flow
06/09/09 | ------- | 5.7 | ------- | 6.73 | ------- | ------- | 2.19 | ------- | ------- | 75.9 | ------- | 06/09/09 | ------- | 666 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/09/09 | 8.5 | ------- | 0.030 | No Flow
06/10/09 | 7.5 | 6.2 | 7.21 | 6.89 | -0.32 | 10.00 | 4.13 | -5.87 | 68.2 | 74.7 | 6.5 | 06/10/09 | 56 | 618 | <0.01 | <0.01 | >=1600 | 1,600.0 | 0.00082 | 0.00029 | 21.00 | 85.00 | 0.48 | 06/10/09 | 12.0 | 0.008 | 0.059 | Flow
06/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/11/09 | ------- | ------- | ------ | Flow
06/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/12/09 | ------- | ------- | ------ | Flow
06/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/13/09 | ------- | ------- | ------ | Flow
06/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/14/09 | ------- | ------- | ------ | -------
06/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/15/09 | ------- | ------- | ------ | -------
06/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/16/09 | ------- | ------- | ------ | -------
06/17/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/17/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/17/09 | ------- | ------- | ------ | -------
06/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/18/09 | ------- | ------- | ------ | -------
06/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/19/09 | ------- | ------- | ------ | -------
06/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/20/09 | ------- | ------- | ------ | -------
06/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/21/09 | ------- | ------- | ------ | -------
06/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/22/09 | ------- | ------- | ------ | -------
06/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/23/09 | ------- | ------- | ------ | -------
06/24/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/24/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/24/09 | ------- | ------- | ------ | -------
06/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/25/09 | ------- | ------- | ------ | -------
06/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/26/09 | ------- | ------- | ------ | -------
06/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/27/09 | ------- | ------- | ------ | -------
06/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/28/09 | ------- | ------- | ------ | -------
06/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/29/09 | ------- | ------- | ------ | -------
06/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 06/30/09 | ------- | ------- | ------ | -------
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum | 7.5 | 5.7 | 7.21 | 6.63 | -0.32 | 10.00 | 2.19 | -5.87 | 68.2 | 74.7 | 6.5 | Minimum | 56 | 618 | <0.01 | <0.01 | >=1600 | 240.00 | 0.00082 | 0.000290 | 21.00 | 85.00 | 0.48 | Minimum | 8.5 | 0.0080 | 0.025
Maximum | 7.5 | 6.2 | 7.21 | 6.89 | -0.32 | 10.00 | 4.13 | -5.87 | 68.2 | 77.2 | 6.5 | Maximum | 56 | 677 | <0.01 | <0.01 | >=1600 | 1,600.00 | 0.00082 | 0.000440 | 21.00 | 93.00 | 0.48 | Maximum | 12.0 | 0.0080 | 0.059
Average | 7.5 | 5.9 | 7.21 | 6.75 | -0.32 | 10.00 | 2.84 | -5.87 | 68.2 | 75.9 | 6.5 | Average | 56 | 654 | <0.01 | <0.01 | >=1600 | 920.00 | 0.00082 | 0.000365 | 21.00 | 89.00 | 0.48 | Average | 9.7 | 0.0080 | 0.038
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized