## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/28/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/28/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/28/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Nov, 2007 | [11 empty] | Nov, 2007 | [10 empty] | Nov, 2007
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
11/01/07 | ------- | 6.7 | ------- | 7.10 | ------- | ------- | 2.80 | ------- | ------- | 70.2 | ------- | 11/01/07 | ------- | 708 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/01/07 | 20.0 | ------- | 0.130 | No Flow
11/02/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/02/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/02/07 | ------- | ------- | ------ | No Flow
11/03/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/03/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/03/07 | ------- | ------- | ------ | No Flow
11/04/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/04/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/04/07 | ------- | ------- | ------ | No Flow
11/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/05/07 | ------- | ------- | ------ | No Flow
11/06/07 | ------- | 7.0 | ------- | 7.14 | ------- | ------- | 1.52 | ------- | ------- | 71.6 | ------- | 11/06/07 | ------- | 720 | ------- | <0.01 | ------- | 2.0 | ------- | 0.000500 | ------- | 94.00 | ------- | 11/06/07 | 19.0 | ------- | 0.150 | No Flow
11/07/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/07/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/07/07 | ------- | ------- | ------ | No Flow
11/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/08/07 | ------- | ------- | ------ | No Flow
11/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/09/07 | ------- | ------- | ------ | No Flow
11/10/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/10/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/10/07 | ------- | ------- | ------ | No Flow
11/11/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/11/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/11/07 | ------- | ------- | ------ | No Flow
11/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/12/07 | ------- | ------- | ------ | No Flow
11/13/07 | ------- | 6.2 | ------- | 7.21 | ------- | ------- | 1.14 | ------- | ------- | 68.2 | ------- | 11/13/07 | ------- | 627 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/13/07 | 9.9 | ------- | 0.078 | No Flow
11/14/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/14/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/14/07 | ------- | ------- | ------ | No Flow
11/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/15/07 | ------- | ------- | ------ | No Flow
11/16/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/16/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/16/07 | ------- | ------- | ------ | No Flow
11/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/17/07 | ------- | ------- | ------ | No Flow
11/18/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/18/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/18/07 | ------- | ------- | ------ | No Flow
11/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/19/07 | ------- | ------- | ------ | No Flow
11/20/07 | ------- | 6.4 | ------- | 6.77 | ------- | ------- | 2.69 | ------- | ------- | 69.1 | ------- | 11/20/07 | ------- | 660 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/20/07 | 14.0 | ------- | 0.042 | No Flow
11/21/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/21/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/21/07 | ------- | ------- | ------ | No Flow
11/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/22/07 | ------- | ------- | ------ | No Flow
11/23/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/23/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/23/07 | ------- | ------- | ------ | No Flow
11/24/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/24/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/24/07 | ------- | ------- | ------ | No Flow
11/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/25/07 | ------- | ------- | ------ | No Flow
11/26/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/26/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/26/07 | ------- | ------- | ------ | No Flow
11/27/07 | ------- | 6.8 | ------- | 6.94 | ------- | ------- | 2.14 | ------- | ------- | 65.8 | ------- | 11/27/07 | ------- | 657 | ------- | <0.01 | ------- | ------- | ------- | 0.0005 | ------- | 88.00 | ------- | 11/27/07 | 13.0 | ------- | 0.050 | No Flow
11/28/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/28/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/28/07 | ------- | ------- | ------ | No Flow
11/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/29/07 | ------- | ------- | ------ | No Flow
11/30/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/30/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 11/30/07 | ------- | ------- | ------ | No Flow
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum |  | 6.2 |  | 6.77 |  |  | 1.14 |  |  | 65.8 |  | Minimum |  | 627 |  | <0.01 |  | 2.00 |  | 0.000500 |  | 88.00 |  | Minimum | 9.9 |  | 0.042
Maximum |  | 7.0 |  | 7.21 |  |  | 2.80 |  |  | 71.6 |  | Maximum |  | 720 |  | <0.01 |  | 2.00 |  | 0.000500 |  | 94.00 |  | Maximum | 20.0 |  | 0.150
Average |  | 6.6 |  | 7.03 |  |  | 2.06 |  |  | 69.0 |  | Average |  | 674 |  | <0.01 |  | 2.00 |  | 0.000500 |  | 91.00 |  | Average | 15.2 |  | 0.090
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized