## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | May, 2009 | [11 empty] | May, 2009 | [10 empty] | May, 2009
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
05/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/01/09 | ------- | ------- | ------ | No Flow
05/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/02/09 | ------- | ------- | ------ | Flow
05/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/03/09 | ------- | ------- | ------ | No Flow
05/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/04/09 | ------- | ------- | ------ | No Flow
05/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/05/09 | ------- | ------- | ------ | -------
05/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/06/09 | ------- | ------- | ------ | -------
05/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/07/09 | ------- | ------- | ------ | -------
05/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/08/09 | ------- | ------- | ------ | -------
05/09/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/09/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/09/09 | ------- | ------- | ------ | -------
05/10/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/10/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/10/09 | ------- | ------- | ------ | -------
05/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/11/09 | ------- | ------- | ------ | -------
05/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/12/09 | ------- | ------- | ------ | -------
05/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/13/09 | ------- | ------- | ------ | -------
05/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/14/09 | ------- | ------- | ------ | -------
05/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/15/09 | ------- | ------- | ------ | -------
05/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/16/09 | ------- | ------- | ------ | -------
05/17/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/17/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/17/09 | ------- | ------- | ------ | No Flow
05/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/18/09 | ------- | ------- | ------ | No Flow
05/19/09 | ------- | 6.1 | ------- | 6.64 | ------- | ------- | 3.46 | ------- | ------- | 82.4 | ------- | 05/19/09 | ------- | 644 | ------- | <0.01 | ------- | 540.0 | ------- | 0.0003 | ------- | 92.00 | ------- | 05/19/09 | 5.4 | ------- | 0.020 | No Flow
05/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/20/09 | ------- | ------- | ------ | No Flow
05/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/21/09 | ------- | ------- | ------ | No Flow
05/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/22/09 | ------- | ------- | ------ | No Flow
05/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/23/09 | ------- | ------- | ------ | No Flow
05/24/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/24/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/24/09 | ------- | ------- | ------ | No Flow
05/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/25/09 | ------- | ------- | ------ | No Flow
05/26/09 | ------- | 5.8 | ------- | 6.88 | ------- | ------- | 3.30 | ------- | ------- | 77.2 | ------- | 05/26/09 | ------- | 682 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/26/09 | 9.1 | ------- | 0.048 | No Flow
05/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/27/09 | ------- | ------- | ------ | No Flow
05/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/28/09 | ------- | ------- | ------ | No Flow
05/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/29/09 | ------- | ------- | ------ | No Flow
05/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/30/09 | ------- | ------- | ------ | Flow
05/31/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/31/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 05/31/09 | ------- | ------- | ------ | No Flow
Minimum |  | 5.8 |  | 6.64 |  |  | 3.30 |  |  | 77.2 |  | Minimum |  | 644 |  | <0.01 |  | 540.00 |  | 0.000300 |  | 92.00 |  | Minimum | 5.4 |  | 0.020
Maximum |  | 6.1 |  | 6.88 |  |  | 3.46 |  |  | 82.4 |  | Maximum |  | 682 |  | <0.01 |  | 540.00 |  | 0.000300 |  | 92.00 |  | Maximum | 9.1 |  | 0.048
Average |  | 6.0 |  | 6.76 |  |  | 3.38 |  |  | 79.8 |  | Average |  | 663 |  | <0.01 |  | 540.00 |  | 0.000300 |  | 92.00 |  | Average | 7.3 |  | 0.034
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized