## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/28/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/28/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/28/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Oct, 2006 | [11 empty] | Oct, 2006 | [10 empty] | Oct, 2006
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
10/01/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/01/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/01/06 | ------- | ------- | ------ | No Flow
10/02/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/02/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/02/06 | ------- | ------- | ------ | No Flow
10/03/06 | ------- | 5.5 | ------- | 6.88 | ------- | ------- | 2.53 | ------- | ------- | 74.8 | ------- | 10/03/06 | ------- | 550 | ------- | 7.7 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/03/06 | 12.0 | ------- | 0.050 | No Flow
10/04/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/04/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/04/06 | ------- | ------- | ------ | No Flow
10/05/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/05/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/05/06 | ------- | ------- | ------ | No Flow
10/06/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/06/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/06/06 | ------- | ------- | ------ | No Flow
10/07/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/07/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/07/06 | ------- | ------- | ------ | No Flow
10/08/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/08/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/08/06 | ------- | ------- | ------ | No Flow
10/09/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/09/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/09/06 | ------- | ------- | ------ | No Flow
10/10/06 | ------- | 7.2 | ------- | 6.63 | ------- | ------- | 2.42 | ------- | ------- | 73.9 | ------- | 10/10/06 | ------- | 552 | ------- | 8.9 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/10/06 | 15.0 | ------- | 0.030 | No Flow
10/11/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/11/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/11/06 | ------- | ------- | ------ | No Flow
10/12/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/12/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/12/06 | ------- | ------- | ------ | No Flow
10/13/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/13/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/13/06 | ------- | ------- | ------ | No Flow
10/14/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/14/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/14/06 | ------- | ------- | ------ | No Flow
10/15/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/15/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/15/06 | ------- | ------- | ------ | No Flow
10/16/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/16/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/16/06 | ------- | ------- | ------ | No Flow
10/17/06 | ------- | 5.8 | ------- | 7.05 | ------- | ------- | 2.26 | ------- | ------- | 72.0 | ------- | 10/17/06 | ------- | 645 | ------- | 8.0 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/17/06 | 17.0 | ------- | 0.110 | No Flow
10/18/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/18/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/18/06 | ------- | ------- | ------ | No Flow
10/19/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/19/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/19/06 | ------- | ------- | ------ | No Flow
10/20/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/20/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/20/06 | ------- | ------- | ------ | No Flow
10/21/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/21/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/21/06 | ------- | ------- | ------ | No Flow
10/22/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/22/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/22/06 | ------- | ------- | ------ | No Flow
10/23/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/23/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/23/06 | ------- | ------- | ------ | No Flow
10/24/06 | ------- | 5.7 | ------- | 6.94 | ------- | ------- | 2.84 | ------- | ------- | 71.2 | ------- | 10/24/06 | ------- | 787 | ------- | 7.9 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/24/06 | 9.6 | ------- | 0.090 | No Flow
10/25/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/25/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/25/06 | ------- | ------- | ------ | No Flow
10/26/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/26/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/26/06 | ------- | ------- | ------ | No Flow
10/27/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/27/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/27/06 | ------- | ------- | ------ | No Flow
10/28/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/28/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/28/06 | ------- | ------- | ------ | No Flow
10/29/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/29/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/29/06 | ------- | ------- | ------ | No Flow
10/30/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/30/06 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 10/30/06 | ------- | ------- | ------ | No Flow
10/31/06 | ------- | 6.0 | ------- | 6.78 | ------- | ------- | 3.17 | ------- | ------- | 69.3 | ------- | 10/31/06 | ------- | 660 | ------- | 5.7 | ------- | <1.8 | ------- | 0.0004 | ------- | 98.00 | ------- | 10/31/06 | 9.1 | ------- | 0.050 | No Flow
Minimum |  | 5.5 |  | 6.63 |  |  | 2.26 |  |  | 69.3 |  | Minimum |  | 550 |  | 5.7 |  | <1.8 |  | 0.000400 |  | 98.00 |  | Minimum | 9.1 |  | 0.030
Maximum |  | 7.2 |  | 7.05 |  |  | 3.17 |  |  | 74.8 |  | Maximum |  | 787 |  | 8.9 |  | <1.8 |  | 0.000400 |  | 98.00 |  | Maximum | 17.0 |  | 0.110
Average |  | 6.0 |  | 6.86 |  |  | 2.64 |  |  | 72.2 |  | Average |  | 639 |  | 7.6 |  | <1.8 |  | 0.000400 |  | 98.00 |  | Average | 12.5 |  | 0.066
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized