## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/28/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/28/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/28/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Dec, 2007 | [11 empty] | Dec, 2007 | [10 empty] | Dec, 2007
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
12/01/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/01/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/01/07 | ------- | ------- | ------ | No Flow
12/02/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/02/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/02/07 | ------- | ------- | ------ | No Flow
12/03/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/03/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/03/07 | ------- | ------- | ------ | No Flow
12/04/07 | ------- | 6.7 | ------- | 6.99 | ------- | ------- | 2.06 | ------- | ------- | 64.2 | ------- | 12/04/07 | ------- | 692 | ------- | <0.01 | ------- | 2.0 | ------- | 0.0005 | ------- | 85.00 | ------- | 12/04/07 | 17.0 | ------- | 0.069 | No Flow
12/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/05/07 | ------- | ------- | ------ | No Flow
12/06/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/06/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/06/07 | ------- | ------- | ------ | No Flow
12/07/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/07/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/07/07 | ------- | ------- | ------ | No Flow
12/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/08/07 | ------- | ------- | ------ | No Flow
12/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/09/07 | ------- | ------- | ------ | No Flow
12/10/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/10/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/10/07 | ------- | ------- | ------ | No Flow
12/11/07 | ------- | 6.9 | ------- | 7.21 | ------- | ------- | 2.66 | ------- | ------- | 62.6 | ------- | 12/11/07 | ------- | 688 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/11/07 | 16.0 | ------- | 0.098 | No Flow
12/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/12/07 | ------- | ------- | ------ | No Flow
12/13/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/13/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/13/07 | ------- | ------- | ------ | No Flow
12/14/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/14/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/14/07 | ------- | ------- | ------ | No Flow
12/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/15/07 | ------- | ------- | ------ | No Flow
12/16/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/16/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/16/07 | ------- | ------- | ------ | No Flow
12/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/17/07 | ------- | ------- | ------ | No Flow
12/18/07 | ------- | 7.4 | ------- | 6.93 | ------- | ------- | 4.00 | ------- | ------- | 64.9 | ------- | 12/18/07 | ------- | 670 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/18/07 | 17.0 | ------- | 0.062 | No Flow
12/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/19/07 | ------- | ------- | ------ | No Flow
12/20/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/20/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/20/07 | ------- | ------- | ------ | No Flow
12/21/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/21/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/21/07 | ------- | ------- | ------ | Flow
12/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/22/07 | ------- | ------- | ------ | Flow
12/23/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/23/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/23/07 | ------- | ------- | ------ | No Flow
12/24/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/24/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/24/07 | ------- | ------- | ------ | Flow
12/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/25/07 | ------- | ------- | ------ | No Flow
12/26/07 | ------- | 7.7 | ------- | 7.49 | ------- | ------- | 2.75 | ------- | ------- | 63.0 | ------- | 12/26/07 | ------- | 699 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/26/07 | 26.0 | ------- | 0.320 | No Flow
12/27/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/27/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/27/07 | ------- | ------- | ------ | No Flow
12/28/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/28/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/28/07 | ------- | ------- | ------ | No Flow
12/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/29/07 | ------- | ------- | ------ | No Flow
12/30/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/30/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/30/07 | ------- | ------- | ------ | No Flow
12/31/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/31/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 12/31/07 | ------- | ------- | ------ | No Flow
Minimum |  | 6.7 |  | 6.93 |  |  | 2.06 |  |  | 62.6 |  | Minimum |  | 670 |  | <0.01 |  | 2.00 |  | 0.000500 |  | 85.00 |  | Minimum | 16.0 |  | 0.062
Maximum |  | 7.7 |  | 7.49 |  |  | 4.00 |  |  | 64.9 |  | Maximum |  | 699 |  | <0.01 |  | 2.00 |  | 0.000500 |  | 85.00 |  | Maximum | 26.0 |  | 0.320
Average |  | 7.2 |  | 7.16 |  |  | 2.87 |  |  | 63.7 |  | Average |  | 687 |  | <0.01 |  | 2.00 |  | 0.000500 |  | 85.00 |  | Average | 19.0 |  | 0.137
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized