## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Apr, 2009 | [11 empty] | Apr, 2009 | [10 empty] | Apr, 2009
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
04/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/01/09 | ------- | ------- | ------ | No Flow
04/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/02/09 | ------- | ------- | ------ | No Flow
04/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/03/09 | ------- | ------- | ------ | No Flow
04/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/04/09 | ------- | ------- | ------ | No Flow
04/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/05/09 | ------- | ------- | ------ | No Flow
04/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/06/09 | ------- | ------- | ------ | No Flow
04/07/09 | ------- | 6.0 | ------- | 6.61 | ------- | ------- | 3.00 | ------- | ------- | 71.1 | ------- | 04/07/09 | ------- | 677 | ------- | <0.01 | ------- | 13.0 | ------- | 0.0005 | ------- | 86.00 | ------- | 04/07/09 | 11.0 | ------- | 0.024 | No Flow
04/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/08/09 | ------- | ------- | ------ | No Flow
04/09/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/09/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/09/09 | ------- | ------- | ------ | No Flow
04/10/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/10/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/10/09 | ------- | ------- | ------ | No Flow
04/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/11/09 | ------- | ------- | ------ | No Flow
04/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/12/09 | ------- | ------- | ------ | No Flow
04/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/13/09 | ------- | ------- | ------ | No Flow
04/14/09 | ------- | 6.0 | ------- | 6.96 | ------- | ------- | 4.06 | ------- | ------- | 70.0 | ------- | 04/14/09 | ------- | 677 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/14/09 | 13.0 | ------- | 0.062 | No Flow
04/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/15/09 | ------- | ------- | ------ | No Flow
04/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/16/09 | ------- | ------- | ------ | No Flow
04/17/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/17/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/17/09 | ------- | ------- | ------ | No Flow
04/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/18/09 | ------- | ------- | ------ | No Flow
04/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/19/09 | ------- | ------- | ------ | No Flow
04/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | 3.78 | ------- | ------- | ------- | ------- | 04/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/20/09 | ------- | ------- | ------ | No Flow
04/21/09 | ------- | 5.5 | ------- | 6.85 | ------- | ------- | ------- | ------- | ------- | 73.2 | ------- | 04/21/09 | ------- | 704 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/21/09 | 13.0 | ------- | 0.055 | No Flow
04/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/22/09 | ------- | ------- | ------ | No Flow
04/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/23/09 | ------- | ------- | ------ | No Flow
04/24/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/24/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/24/09 | ------- | ------- | ------ | No Flow
04/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/25/09 | ------- | ------- | ------ | No Flow
04/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/26/09 | ------- | ------- | ------ | No Flow
04/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | 3.80 | ------- | ------- | ------- | ------- | 04/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/27/09 | ------- | ------- | ------ | No Flow
04/28/09 | ------- | 6.2 | ------- | 6.62 | ------- | ------- | ------- | ------- | ------- | 68.9 | ------- | 04/28/09 | ------- | 578 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/28/09 | 6.9 | ------- | 0.014 | No Flow
04/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/29/09 | ------- | ------- | ------ | No Flow
04/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 04/30/09 | ------- | ------- | ------ | No Flow
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum |  | 5.5 |  | 6.61 |  |  | 3.00 |  |  | 68.9 |  | Minimum |  | 578 |  | <0.01 |  | 13.00 |  | 0.000500 |  | 86.00 |  | Minimum | 6.9 |  | 0.014
Maximum |  | 6.2 |  | 6.96 |  |  | 4.06 |  |  | 73.2 |  | Maximum |  | 704 |  | <0.01 |  | 13.00 |  | 0.000500 |  | 86.00 |  | Maximum | 13.0 |  | 0.062
Average |  | 5.9 |  | 6.76 |  |  | 3.66 |  |  | 70.8 |  | Average |  | 659 |  | <0.01 |  | 13.00 |  | 0.000500 |  | 86.00 |  | Average | 11.0 |  | 0.039
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized