## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/28/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/28/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/28/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Aug, 2007 | [11 empty] | Aug, 2007 | [10 empty] | Aug, 2007
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
08/01/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/01/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/01/07 | ------- | ------- | ------ | No Flow
08/02/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/02/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/02/07 | ------- | ------- | ------ | No Flow
08/03/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/03/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/03/07 | ------- | ------- | ------ | No Flow
08/04/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/04/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/04/07 | ------- | ------- | ------ | No Flow
08/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/05/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/05/07 | ------- | ------- | ------ | No Flow
08/06/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/06/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/06/07 | ------- | ------- | ------ | No Flow
08/07/07 | ------- | 5.3 | ------- | 6.82 | ------- | ------- | 1.77 | ------- | ------- | 77.9 | ------- | 08/07/07 | ------- | 723 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/07/07 | 13.0 | ------- | 0.061 | No Flow
08/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/08/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/08/07 | ------- | ------- | ------ | No Flow
08/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/09/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/09/07 | ------- | ------- | ------ | Flow
08/10/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/10/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/10/07 | ------- | ------- | ------ | Flow
08/11/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/11/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/11/07 | ------- | ------- | ------ | No Flow
08/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/12/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/12/07 | ------- | ------- | ------ | No Flow
08/13/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/13/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/13/07 | ------- | ------- | ------ | No Flow
08/14/07 | ------- | 5.8 | ------- | 6.73 | ------- | ------- | 1.93 | ------- | ------- | 79.5 | ------- | 08/14/07 | ------- | 727 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/14/07 | 16.0 | ------- | 0.066 | No Flow
08/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/15/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/15/07 | ------- | ------- | ------ | No Flow
08/16/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/16/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/16/07 | ------- | ------- | ------ | No Flow
08/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/17/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/17/07 | ------- | ------- | ------ | No Flow
08/18/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/18/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/18/07 | ------- | ------- | ------ | No Flow
08/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/19/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/19/07 | ------- | ------- | ------ | No Flow
08/20/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/20/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/20/07 | ------- | ------- | ------ | No Flow
08/21/07 | ------- | 5.5 | ------- | 6.94 | ------- | ------- | 2.09 | ------- | ------- | 80.2 | ------- | 08/21/07 | ------- | 682 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/21/07 | 14.0 | ------- | 0.096 | No Flow
08/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/22/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/22/07 | ------- | ------- | ------ | No Flow
08/23/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/23/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/23/07 | ------- | ------- | ------ | No Flow
08/24/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/24/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/24/07 | ------- | ------- | ------ | No Flow
08/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/25/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/25/07 | ------- | ------- | ------ | No Flow
08/26/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/26/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/26/07 | ------- | ------- | ------ | No Flow
08/27/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/27/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/27/07 | ------- | ------- | ------ | No Flow
08/28/07 | ------- | 6.1 | ------- | 7.00 | ------- | ------- | 2.28 | ------- | ------- | 81.7 | ------- | 08/28/07 | ------- | 780 | ------- | <0.01 | ------- | 33.0 | ------- | 0.0003 | ------- | 100.00 | ------- | 08/28/07 | 19.0 | ------- | 0.160 | No Flow
08/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/29/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/29/07 | ------- | ------- | ------ | No Flow
08/30/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/30/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/30/07 | ------- | ------- | ------ | No Flow
08/31/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/31/07 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 08/31/07 | ------- | ------- | ------ | No Flow
Minimum |  | 5.3 |  | 6.73 |  |  | 1.77 |  |  | 77.9 |  | Minimum |  | 682 |  | <0.01 |  | 33.00 |  | 0.000300 |  | 100.00 |  | Minimum | 13.0 |  | 0.061
Maximum |  | 6.1 |  | 7.00 |  |  | 2.28 |  |  | 81.7 |  | Maximum |  | 780 |  | <0.01 |  | 33.00 |  | 0.000300 |  | 100.00 |  | Maximum | 19.0 |  | 0.160
Average |  | 5.7 |  | 6.87 |  |  | 2.02 |  |  | 79.8 |  | Average |  | 728 |  | <0.01 |  | 33.00 |  | 0.000300 |  | 100.00 |  | Average | 15.5 |  | 0.096
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized