## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Sep, 2009 | [11 empty] | Sep, 2009 | [10 empty] | Sep, 2009
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
09/01/09 | ------- | 5.8 | ------- | 6.82 | ------- | ------- | 3.47 | ------- | ------- | 81.7 | ------- | 09/01/09 | ------- | 647 | ------- | <0.01 | ------- | 33.0 | ------- | 0.00024 | ------- | 94.00 | ------- | 09/01/09 | 10.0 | ------- | 0.055 | No Flow
09/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/02/09 | ------- | ------- | ------ | No Flow
09/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/03/09 | ------- | ------- | ------ | No Flow
09/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/04/09 | ------- | ------- | ------ | No Flow
09/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/05/09 | ------- | ------- | ------ | No Flow
09/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/06/09 | ------- | ------- | ------ | No Flow
09/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/07/09 | ------- | ------- | ------ | No Flow
09/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/08/09 | ------- | ------- | ------ | No Flow
09/09/09 | ------- | 5.0 | ------- | 6.75 | ------- | ------- | 1.40 | ------- | ------- | 79.3 | ------- | 09/09/09 | ------- | 701 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/09/09 | 14.0 | ------- | 0.060 | No Flow
09/10/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/10/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/10/09 | ------- | ------- | ------ | No Flow
09/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/11/09 | ------- | ------- | ------ | No Flow
09/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/12/09 | ------- | ------- | ------ | No Flow
09/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/13/09 | ------- | ------- | ------ | No Flow
09/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/14/09 | ------- | ------- | ------ | No Flow
09/15/09 | ------- | 5.1 | ------- | 6.70 | ------- | ------- | 1.88 | ------- | ------- | 77.5 | ------- | 09/15/09 | ------- | 708 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/15/09 | 13.0 | ------- | 0.046 | No Flow
09/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/16/09 | ------- | ------- | ------ | No Flow
09/17/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/17/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/17/09 | ------- | ------- | ------ | No Flow
09/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/18/09 | ------- | ------- | ------ | No Flow
09/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/19/09 | ------- | ------- | ------ | No Flow
09/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/20/09 | ------- | ------- | ------ | No Flow
09/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/21/09 | ------- | ------- | ------ | No Flow
09/22/09 | ------- | 5.2 | ------- | 6.77 | ------- | ------- | 1.47 | ------- | ------- | 80.6 | ------- | 09/22/09 | ------- | 671 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/22/09 | 12.0 | ------- | 0.056 | No Flow
09/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/23/09 | ------- | ------- | ------ | No Flow
09/24/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/24/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/24/09 | ------- | ------- | ------ | No Flow
09/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/25/09 | ------- | ------- | ------ | No Flow
09/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/26/09 | ------- | ------- | ------ | No Flow
09/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/27/09 | ------- | ------- | ------ | No Flow
09/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/28/09 | ------- | ------- | ------ | No Flow
09/29/09 | ------- | 6.1 | ------- | 6.80 | ------- | ------- | 1.24 | ------- | ------- | 78.6 | ------- | 09/29/09 | ------- | 611 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/29/09 | 8.2 | ------- | 0.038 | No Flow
09/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 09/30/09 | ------- | ------- | ------ | No Flow
| ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- |  | ------- | ------- | ------ | -------
Minimum |  | 5.0 |  | 6.70 |  |  | 1.24 |  |  | 77.5 |  | Minimum |  | 611 |  | <0.01 |  | 33.00 |  | 0.000240 |  | 94.00 |  | Minimum | 8.2 |  | 0.038
Maximum |  | 6.1 |  | 6.82 |  |  | 3.47 |  |  | 81.7 |  | Maximum |  | 708 |  | <0.01 |  | 33.00 |  | 0.000240 |  | 94.00 |  | Maximum | 14.0 |  | 0.060
Average |  | 5.4 |  | 6.77 |  |  | 1.89 |  |  | 79.6 |  | Average |  | 668 |  | <0.01 |  | 33.00 |  | 0.000240 |  | 94.00 |  | Average | 11.4 |  | 0.051
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized