## SData
Page 1 of 3 |  |  | City of Visalia Receiving Surface Water Monitoring Report | [7 empty] | 05/27/10 | Page 2 of 3 |  |  |  | City of Visalia Receiving Surface Water Monitoring Report | [6 empty] | 05/27/10 | Page 3 of 3 |  | City of Visalia Receiving Surface Water Monitoring Report |  |  |  | 05/27/10
|  |  |  | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465 | [11 empty] | 7579 Ave 288 Visalia, CA 93277 (559) 713-4465
|  |  |  | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA | [11 empty] | RWQCB Central Valley Region 1685 E Street, Fresno, CA
|  |  |  | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189 | [11 empty] | No. R5-2006-0091 BVV7N1A NPDES No. 0079189
[6 empty] | Mar, 2009 | [11 empty] | Mar, 2009 | [10 empty] | Mar, 2009
| UPS D.O. | DNS D.O. | UPS pH | DNS pH | pH Change | UPS Turbidity | DNS Turbidity | Turb. Change | UPS Temp | DSN Temp | Temp Change |  | UPS EC | DNS EC | UPS Cl2 | DNS Cl2 | U.S Fecal Coliform | D.S. Fecal Coliform | UPS Pb | DNS Pb | UPS Hardness | DNS. Hardness | UPS Ammonia |  | DNS Ammonia | *UPS NH3 | *DNS NH3 | UPS Flow
Date | mg/L | ml/L | SU | SU | mg/L | NTU | NTU | NTU | F | F | F | Date | umhos/cm | umhos/cm | mg/L | mg/L | MPN/100 mL | MPN/100 mL | mg/L | mg/L | CaCO3/L | CaCO3/L | mg/L |  | mg/L | mg/L | mg/L | Discharge
03/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/01/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/01/09 | ------- | ------- | ------ | -------
03/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/02/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/02/09 | ------- | ------- | ------ | -------
03/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/03/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/03/09 | ------- | ------- | ------ | -------
03/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/04/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/04/09 | ------- | ------- | ------ | -------
03/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/05/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/05/09 | ------- | ------- | ------ | -------
03/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/06/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/06/09 | ------- | ------- | ------ | -------
03/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/07/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/07/09 | ------- | ------- | ------ | -------
03/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/08/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/08/09 | ------- | ------- | ------ | -------
03/09/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/09/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/09/09 | ------- | ------- | ------ | -------
03/10/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/10/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/10/09 | ------- | ------- | ------ | -------
03/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/11/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/11/09 | ------- | ------- | ------ | -------
03/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/12/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/12/09 | ------- | ------- | ------ | -------
03/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/13/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/13/09 | ------- | ------- | ------ | -------
03/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/14/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/14/09 | ------- | ------- | ------ | -------
03/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/15/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/15/09 | ------- | ------- | ------ | -------
03/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/16/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/16/09 | ------- | ------- | ------ | No Flow
03/17/09 | ------- | 7.2 | ------- | 6.91 | ------- | ------- | 4.44 | ------- | ------- | 69.1 | ------- | 03/17/09 | ------- | 716 | ------- | <0.01 | ------- | 4.0 | ------- | 0.0005 | ------- | 89.00 | ------- | 03/17/09 | 16.0 | ------- | 0.066 | No Flow
03/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/18/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/18/09 | ------- | ------- | ------ | No Flow
03/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/19/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/19/09 | ------- | ------- | ------ | No Flow
03/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/20/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/20/09 | ------- | ------- | ------ | No Flow
03/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/21/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/21/09 | ------- | ------- | ------ | No Flow
03/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/22/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/22/09 | ------- | ------- | ------ | No Flow
03/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/23/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/23/09 | ------- | ------- | ------ | No Flow
03/24/09 | ------- | 6.0 | ------- | 6.71 | ------- | ------- | 2.77 | ------- | ------- | 65.5 | ------- | 03/24/09 | ------- | 649 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/24/09 | 8.6 | ------- | 0.019 | No Flow
03/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/25/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/25/09 | ------- | ------- | ------ | No Flow
03/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/26/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/26/09 | ------- | ------- | ------ | No Flow
03/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/27/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/27/09 | ------- | ------- | ------ | No Flow
03/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/28/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/28/09 | ------- | ------- | ------ | No Flow
03/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/29/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/29/09 | ------- | ------- | ------ | No Flow
03/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/30/09 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/30/09 | ------- | ------- | ------ | No Flow
03/31/09 | ------- | 7.4 | ------- | 6.83 | ------- | ------- | 2.78 | ------- | ------- | 67.5 | ------- | 03/31/09 | ------- | 619 | ------- | <0.01 | ------- | ------- | ------- | ------- | ------- | ------- | ------- | 03/31/09 | 7.5 | ------- | 0.024 | No Flow
Minimum |  | 6.0 |  | 6.71 |  |  | 2.77 |  |  | 65.5 |  | Minimum |  | 619 |  | <0.01 |  | 4.00 |  | 0.000500 |  | 89.00 |  | Minimum | 7.5 |  | 0.019
Maximum |  | 7.4 |  | 6.91 |  |  | 4.44 |  |  | 69.1 |  | Maximum |  | 716 |  | <0.01 |  | 4.00 |  | 0.000500 |  | 89.00 |  | Maximum | 16.0 |  | 0.066
Average |  | 6.9 |  | 6.82 |  |  | 3.33 |  |  | 67.3 |  | Average |  | 661 |  | <0.01 |  | 4.00 |  | 0.000500 |  | 89.00 |  | Average | 10.7 |  | 0.036
|  | 5.0 > |  | <6.5 - 8.3> | [6 empty] | +5 F
UPS = Upstream | [11 empty] | UPS = Upstream | [11 empty] | UPS = Upstream
DNS = Downstream | [11 empty] | DNS = Downstream | [11 empty] | DNS = Downstream
* Ammonia-Unionized