Ammonia

The neutral, unionized ammonia species (NH3°) is highly toxic to freshwater fish. The fraction of toxic NH3° to total ammonia species (NH4+ + NH3°) is a function of temperature and pH. Table 3-1 to 3-4 were derived from USEPA ammonium criteria for freshwater.  Ammonia concentrations shall not exceed the values listed for the corresponding conditions in these tables. For temperature and pH values not explicitly in the these tables, the most conservative value neighboring the actual value may be used or criteria can be calculated from numerical formulas developed by the USEPA. For one-hour (1h-NH3) and four-day (4d-NH3) unionized ammonia criteria, the following equations apply:

1h-NH3 = 0.052/(FT*FPH*2)

4d-NH3 = 0.80/(FT*FPH*RATIO)

where:	FT = 10(0.03(20-TCAP)					 	TCAP≤T≤30

FT = 10(0.03(20-T)							0≤T≤30

FPH = (1+10(7.4-pH))/1.25					6.5≤pH≤8.0

FPH = 1								8.0≤pH≤9.0

RATIO = 20.25*(10(7.7-pH))/(1+10(7.4-pH))		6.5≤pH≤7.7

RATIO = 13.5							7.7≤pH≤9.0

TCAP = temperature cap in °C

T = Temperature in °C

For interpolation of Total NH3 criteria, the following equations can be used:

pKa = 0.0901821 + (2729.92/(T+273.15))

f = 1/(10(pKa-pH)+1)

n1 = 1h-NH3/f or n4 = 4d-NH3/f

where:	pKa is the negative log of the equilibrium constant for 		the NH4+ <--> NH3° + H+ reaction

f = 1/(10(pKa-pH)+1))

(f is the fraction of ammonia to total ammonia+ammonium)

n1 is the one-hour criteria for total ammonia+ammonium

n4 is the four-day criteria for total ammonia+ammonium

For 1h-NH3, TCAP is 20°C with Salmonids present and 25°C with Salmonids absent. For 4d-NH3, TCAP is 15°C with Salmonids present and 20°C with Salmonids absent.

Values outside of 0-30°C or pH 6.5-9.0 cannot be extrapolated from these relationships. Site-specific objectives must be developed for these conditions. A microcomputer spreadsheet to calculate ammonia criteria was developed by Regional Board staff. An example of output from this program is given in Table 3-5. Contact the Regional Board if a copy is desired.

Table 3-1  One-hour average concentration for ammonia1,2

Waters Designated as COLD, COLD with SPWN, COLD with MIGR (Salmonids or Other Sensitive Coldwater Species Present)

Temperature, °C

pH	0	5	10	15	20	25	30

Un-ionized Ammonia (mg/liter NH3)

6.50	0.0091	0.0129	0.0182	0.026	0.036	0.036	0.036

6.75	0.0149	0.021	0.030	0.042	0.059	0.059	0.059

7.00	0.023	0.033	0.046	0.066	0.093	0.093	0.093

7.25	0.034	0.048	0.068	0.095	0.135	0.135	0.135

7.50	0.045	0.064	0.091	0.128	0.181	0.181	0.181

7.75	0.056	0.080	0.113	0.159	0.22	0.22	0.22

8.00	0.065	0.092	0.130	0.184	0.26	0.26	0.26

8.25	0.065	0.092	0.130	0.184	0.26	0.26	0.26

8.50	0.065	0.092	0.130	0.184	0.26	0.26	0.26

8.75	0.065	0.092	0.130	0.184	0.26	0.26	0.26

9.00	0.065	0.092	0.130	0.184	0.26	0.26	0.26

Total Ammonia  (mg/liter NH3)

6.50	35	33	31	30	29	20	14.3

6.75	32	30	28	27	27	18.6	13.2

7.00	28	26	25	24	23	16.4	11.6

7.25	23	22	20	19.7	19.2	13.4	9.5

7.50	17.4	16.3	15.5	14.9	14.6	10.2	7.3

7.75	12.2	11.4	10.9	10.5	10.3	7.2	5.2

8.00	8.0	7.5	7.1	6.9	6.8	4.8	3.5

8.25	4.5	4.2	4.1	4.0	3.9	2.8	2.1

8.50	2.6	2.4	2.3	2.3	2.3	1.71	1.28

8.75	1.47	1.40	1.37	1.38	1.42	1.07	0.83

9.00	0.86	0.83	0.83	0.86	0.91	0.72	0.58

1	To convert these values to mg/liter N, multiply by 0.822

2	Source:  U. S. Environmental Protection Agency. 1986. Quality criteria for water, 1986. EPA 440/5-86-001.

Table 3-2  One-hour average concentration for ammonia1,2

Waters designated WARM, WARM with SPWN, WARM with MIGR (Salmonids or Other Sensitive Coldwater Species Absent)3

Temperature, °C

pH	0	5	10	15	20	25	30

Un-ionized Ammonia (mg/liter NH3)

6.50	0.0091	0.0129	0.0182	0.026	0.036	0.051	0.051

6.75	0.0149	0.021	0.030	0.042	0.059	0.084	0.084

7.00	0.023	0.033	0.046	0.066	0.093	0.131	0.093

7.25	0.034	0.048	0.068	0.095	0.135	0.190	0.190

7.50	0.045	0.064	0.091	0.128	0.181	0.26	0.26

7.75	0.056	0.080	0.113	0.159	0.22	0.32	0.32

8.00	0.065	0.092	0.130	0.184	0.26	0.37	0.37

8.25	0.065	0.092	0.130	0.184	0.26	0.37	0.37

8.50	0.065	0.092	0.130	0.184	0.26	0.37	0.37

8.75	0.065	0.092	0.130	0.184	0.26	0.37	0.37

9.00	0.065	0.092	0.130	0.184	0.26	0.37	0.37

Total Ammonia  (mg/liter NH3)

6.50	35	33	31	30	29	29	20

6.75	32	30	28	27	27	26	18.6

7.00	28	26	25	24	23	23	16.4

7.25	23	22	20	19.7	19.2	19.0	13.5

7.50	17.4	16.3	15.5	14.9	14.6	14.5	10.3

7.75	12.2	11.4	10.9	10.5	10.3	10.2	7.3

8.00	8.0	7.5	7.1	6.9	6.8	6.8	4.9

8.25	4.5	4.2	4.1	4.0	3.9	4.0	2.9

8.50	2.6	2.4	2.3	2.3	2.3	2.4	1.81

8.75	1.47	1.40	1.37	1.38	1.42	1.52	1.18

9.00	0.86	0.83	0.83	0.86	0.91	1.01	0.82

1	To convert these values to mg/Liter, multiply by 0.822

2	Source:  U. S. Environmental Protection Agency. 1986.  Quality  criteria for water, 1986. EPA 440/5-86-001.

3	Theses values may be conservative, however, if a more refined criterion is desired, USEPA recommends a site-specific criteria modification.

Table 3-3  Four-day average concentration for ammonia1,2

Waters Designated as COLD, COLD with SPWN, COLD with MIGR (Salmonids or Other Sensitive Coldwater Species Present)

Temperature, °C

pH	0	5	10	15	20	25	30

Un-ionized Ammonia (mg/liter NH3)

6.50	0.0008	0.0011	0.0016	0.0022	0.0022	0.0022	0.0022

6.75	0.0014	0.0020	0.0028	0.0039	0.0039	0.0039	0.0039

7.00	0.0025	0.0035	0.0049	0.0070	0.0070	0.0070	0.0070

7.25	0.0044	0.0062	0.0088	0.0124	0.0124	0.0124	0.0124

7.50	0.0078	0.0111	0.0156	0.022	0.022	0.022	0.022

7.75	0.0129	0.0182	0.026	0.036	0.036	0.036	0.036

8.00	0.0149	0.021	0.030	0.042	0.042	0.042	0.042

8.25	0.0149	0.021	0.030	0.042	0.042	0.042	0.042

8.50	0.0149	0.021	0.030	0.042	0.042	0.042	0.042

8.75	0.0149	0.021	0.030	0.042	0.042	0.042	0.042

9.00	0.0149	0.021	0.030	0.042	0.042	0.042	0.042

Total Ammonia  (mg/liter NH3)

6.50	3.0	2.8	2.7	2.5	1.76	1.23	0.87

6.75	3.0	2.8	2.7	2.6	1.76	1.23	0.87

7.00	3.0	2.8	2.7	2.6	1.76	1.23	0.87

7.25	3.0	2.8	2.7	2.6	1.77	1.24	0.88

7.50	3.0	2.8	2.7	2.6	1.78	1.25	0.89

7.75	2.8	2.6	2.5	2.4	1.66	1.17	0.84

8.00	1.82	1.70	1.62	1.57	1.10	0.78	0.56

8.25	1.03	0.97	0.93	0.90	0.64	0.46	0.33

8.50	0.58	0.55	0.53	0.53	0.38	0.28	0.21

8.75	0.34	0.32	0.31	0.31	0.23	0.173	0.135

9.00	0.195	0.189	0.189	0.195	0.148	0.116	0.094

1	To convert these values to mg/liter N, multiply by 0.822.

2	Source:  U. S. Environmental Protection Agency. 1992. Revised tables for determining average freshwater ammonia concentrations. USEPA Office of Water Memorandum, July 30, 1992.

Table 3-4  Four-day average concentration for ammonia1,2

Waters designated WARM, WARM with SPWN, WARM with MIGR (Salmonids or Other Sensitive Coldwater Species Absent)3

Temperature, °C

pH	0	5	10	15	20	25	30

Un-ionized Ammonia (mg/liter NH3)

6.50	0.0008	0.0011	0.0016	0.0022	0.0031	0.0031	0.0031

6.75	0.0014	0.0020	0.0028	0.0039	0.0055	0.0055	0.0055

7.00	0.0025	0.0035	0.0049	0.0070	0.0099	0.0099	0.0099

7.25	0.0044	0.0062	0.0088	0.0124	0.0175	0.0175	0.0175

7.00	0.0078	0.0111	0.0156	0.022	0.031	0031	0.031

7.75	0.0129	0.0182	0.026	0.036	0.051	0.051	0.051

8.00	0.0149	0.021	0.030	0.042	0.059	0.059	0.059

8.25	0.0149	0.021	0.030	0.042	0.059	0.059	0.059

8.50	0.0149	0.021	0.030	0.042	0.059	0.059	0.059

8.75	0.0149	0.021	0.030	0.042	0.059	0.059	0.059

9.00	0.0149	0.021	0.030	0.042	0.059	0.059	0.059

Total Ammonia  (mg/liter NH3)

6.50	3.0	2.8	2.7	2.5	2.5	1.73	1.23

6.75	3.0	2.8	2.7	2.6	2.5	1.74	1.23

7.00	3.0	2.8	2.7	2.6	2.5	1.74	1.23

7.25	3.0	2.8	2.7	2.6	2.5	1.75	1.24

7.50	3.0	2.8	2.7	2.6	2.5	1.76	1.25

7.75	2.8	2.6	2.5	2.4	2.3	1.65	1.18

8.00	1.82	1.70	1.62	1.57	1.55	1.10	0.79

8.25	1.03	0.97	0.93	0.90	0.90	0.64	0.47

8.50	0.58	0.55	0.53	0.53	0.53	0.39	0.29

8.75	0.34	0.32	0.31	0.31	0.32	0.24	0.190

9.00	0.195	0.189	0.189	0.195	0.21	0.163	0.133

1	To convert these values to mg/liter N, multiply by 0.822.

2	Source:  U. S. Environmental Protection Agency. 1992. Revised tables for determining average freshwater ammonia concentrations. USEPA Office of Water Memorandum, July 30, 1992.

3	Theses values may be conservative, however, if a more refined criterion is desired, USEPA recommends a site-specific criteria modification.