## USGSdata Mesquite Spr, nr Scott
# < - Actual value is known to be less than the value shown.
# > - Actual value is known to be greater than the value shown.
# A - Average value
# E - Estimated value
# M - Presence of material verified but not quantified
# N - Presumptive evidence of presence of material
# S - Most probable value
# U - Material specifically analyzed for but not detected
# V - Value affected by contamination
USGS 365746117220301 MESQUITE SPRING NR SCOTTY'S CASTLE
|  |  |  | Latitude | Longitude | NAD
Lahontan Site Tag: |  | 609MSQ001 |  | 36.9639 | -117.3669 | 83
Agency Code | Site Number | Sample Date | Sample Time | Temp (water) OC | Barometric Pressure (mmHg) | Discharge (ft3/s) | Field Specific Conductance (us -cm) | DO (mg/L) | PH (field) | PH (lab) | NO2 (mg/L-N) | TKN (mg/L-N) | NO2+NO3 (mg/L-N) | TP (mg/L) | PO4 (mg/L-P) | Dissolved Ca (mg/L) | Dissolved Mg (mg/L) | Hardness (mg/L-CaCO3) Calculated | Dissolved Na (mg/L) | Dissolved K (mg/L) | Dissolved Cl (mg/L) | Dissolved SO4 (mg/L) | Dissolved F (mg/L) | Dissolved SiO2 (mg/L) | Dissolved As (μg/L) | Dissolved Ba (μg/L) | Dissolved Be (μg/L) | Dissolved B (μg/L) | Dissolved Cd (μg/L) | Dissolved Cr (μg/L) | Dissolved Co (μg/L) | Dissolved Cu (μg/L) | Dissolved Fe (μg/L) | Dissolved Pb (μg/L) | Dissolved Mn (μg/L) | Dissolved Tl (μg/L) | Dissolved Mo (μg/L) | Dissolved Ni (μg/L) | Dissolved Ag (μg/L) | Dissolved Sr (μg/L) | Dissolved V (μg/L) | Dissolved Zn (μg/L) | Dissolved Sb (μg/L) | Dissolved Al (μg/L) | Dissolved Li (μg/L) | Dissolved Se (μg/L) | Dissolved Ti (pC/L) | Dissolved U (μg/L) | Alkalinity (mg/L-CaCO3) | Fecal Coliform (col/100ml) | C -14 (%) | C -14 (count error %) | TDS / Residue (mg/L) | Sr87/Sr86 ratio (filtered/ml) | Tritium 2 (pCi/L) | C -13/C -12 ratio (ml) | Deuterium/Protium ratio (ml) | O18/O16 ratio (ml) | Lab Specific Conductance (us -cm)
agency_cd | site_no | sample_dt | sample_tm | p00010 | p00025 | p00061 | p00095 | p00300 | p00400 | p00403 | p00613 | p00625 | p00631 | p00665 | p00671 | p00915 | p00925 |  | p00930 | p00935 | p00940 | p00945 | p00950 | p00955 | p01000 | p01005 | p01010 | p01020 | p01025 | p01030 | p01035 | p01040 | p01046 | p01049 | p01056 | p01057 | p01060 | p01065 | p01075 | p01080 | p01085 | p01090 | p01095 | p01106 | p01130 | p01145 | p07000 | p22703 | p29801 | p31625 | p49933 | p49934 | p70300 | p75978 | p75985 | p82081 | p82082 | p82085 | p90095
5s | 15s | 10d | 4d | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s |  | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s | 12s
USGS | 365746117220301 | 2002-10-23 | 11:00 | 25 | 716 | E .10 |  | 7.5 | 7.9 | 8.1 | < .002 | E .06 | 0.205 | 0.012 | 0.013 | 26.2 | 14.1 | 123.4852 | 230 | 13.4 | 84.6 | 174 | 3.74 | 69.9 | 42.5 | 22 | < .06 | 1280 | 0.05 | 0.8 | 0.053 | 0.9 | < 10 | < .08 | 0.3 | < .04 | 15.5 | 1.34 | < .2 | 320 | 14.9 | < 1 | 1.1 | E 1 | 219 | 1.5 | -0.2 | 5.62 | E 326 | < 1 | 55.43 | 0.42 | 827 | 0.71112 | 0.64 | -6.15 | -108 | -13.84 | 1240
USGS | 365746117220301 | 2003-03-23 | 15:30 | 22 | 709 | E .10 | 1250 | 8.3 | 7.9 | 7.9 | < .002 | < .10 | 0.272 | 0.018 | 0.018 | 27.1 | 14.2 | 126.1443 | 221 | 7.8 | 82.6 | 172 | 3.46 | 67 | 35.4 | 23 | < .06 | 1460 | 0.04 | 1 | 0.06 | 0.7 | < 10 | < .08 | < .2 | < .04 | 16.6 | 0.6 | < .2 | 344 | 14.3 | M | 0.92 | E 2 | 186 | 1.4 | 0.1 | 6.32 | 353 | < 1 | 55.05 | 0.45 | 820 | 0.71116 | 0.58 | -6.19 | -108 | -13.86 | 1150

## Beneficial Uses
609 | Amargosa Hydrologic Unit
Beneficial Uses - Mesquite Springs
| MUN | Municipal and Domestic Supply
| AGR | Agricultural Supply
| GWR | Groundwater Recharge
| FRSH | Freshwater Replenishment
| REC-1 | Water Contact Recreation
| REC-2 | Non-contact Water Recreation
| WARM | Warm Freshwater Habitat
| COLD | Cold Freshwater Habitat
| WILD | Wildlife Habitat
| RARE | Rare, Threatened, or Endangered Species
| WQE | Water Quality Enhancement

## Exceedances
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Sample Time | Dissolved Na (mg/L) | Dissolved B (μg/L) | TDS / Residue (mg/L) | Dissolved F (mg/L)
2002-10-23 11:00 | 11:00 | 230 | 1280 | 827 | 3.74
2003-03-23 15:30 | 15:30 | 221 | 1460 | 820 | 3.46
Sample Date | Dissolved Na (mg/L) | Lahontan Water Quality Control Plan | California Toxics Rule | California 1° MCL | California 2° MCL | Water Quality for Agriculture 69 (mg/L) | USEPA Drinking Water Advisory 30 - 60 (mg/L) | USEPA Health Advisory (Low Sodium Diet) 20 (mg/L)
2002-10-23 11:00 | 230 | NA | NA | NA | NA | X | X | X
2003-03-23 15:30 | 221 | NA | NA | NA | NA | X | X | X
Sample Date | Dissolved B (μg/L) | Lahontan Water Quality Control Plan | California Toxics Rule | California 1° MCL | California 2° MCL | Water Quality for Agriculture 700 (μg/L) | USEPA IRIS (RfD) Drinking Water 1400 (μg/L) | California DHS Action Level (Drinking Water) 1000 (μg/L) | USEPA Health Advisory 1000 (μg/L)
2002-10-23 11:00 | 1280 | NA | NA | NA | NA | X |  | X | X
2003-03-23 15:30 | 1460 | NA | NA | NA | NA | X | X | X | X
Sample Date | TDS/Residue (mg/L) | Lahontan Water Quality Control Plan | California Toxics Rule | California 1° MCL | California 2° MCL 500 (mg/L) | Water Quality for Agriculture 450 (mg/L) | USEPA National WQ Criteria (Taste & Odor) 250 (mg/L)
2002-10-23 11:00 | 827 | NA | NA | NA | X | X | X
2003-03-23 15:30 | 820 | NA | NA | NA | X | X | X
Sample Date | Dissolved F (mg/L) | Lahontan Water Quality Control Plan | California Toxics Rule | California 1° MCL 2 (mg/L) | California 2° MCL | Water Quality for Agriculture 1 (mg/L) | USEPA 1° MCL 4 (mg/L) | USEPA 2° MCL 2 (mg/L) | USEPA IRIS (RfD) Drinking Water 0.42 (mg/L) | California Public Health Goals 1 (mg/L)
2002-10-23 11:00 | 3.74 | NA | NA | X | NA | X |  | X | X | X
2003-03-23 15:30 | 3.46 | NA | NA | X | NA | X |  | X | X | X
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Sample Time | Specific Conductance (μs -cm) | Dissolved As (μg/L) | Dissolved Mo (μg/L) | Dissolved U (μg/L)
2002-10-23 11:00 | 11:00 | 1240 | 42.5 | 15.5 | 5.62
2003-03-23 15:30 | 15:30 | 1150 | 35.4 | 16.6 | 6.32
Sample Date | Specific Conductance (μs -cm) | Lahontan Water Quality Control Plan | California Toxics Rule | California 1° MCL | California 2° MCL 900 - 1600 (μs -cm) | Water Quality for Agriculture 700 (μs -cm)
2002-10-23 11:00 | 1240 | NA | NA | NA | X | X
2003-03-23 15:30 | 1150 | NA | NA | NA | X | X
Sample Date | Dissolved As (μg/L) | Lahontan Water Quality Control Plan | California Toxics Rule - 4 Day Avg. (Aquatic Life) 150 (μg/L) | California 1° MCL 50 (μg/L) | California 2° MCL | USEPA 1° MCL 10 (μg/L) | Water Quality for Agriculture 100 (μg/L) | California Public Health Goals (Drinking water) .004 (μg/L) | USEPA IRIS (RfD) (Drinking water) 2.1 (μg/L)
2002-10-23 11:00 | 42.5 | NA |  |  | NA | X |  | X | X
2003-03-23 15:30 | 35.4 | NA |  |  | NA | X |  | X | X
Sample Date | Dissolved Mo (μg/L) | Lahontan Water Quality Control Plan | California Toxics Rule | California 1° MCL | California 2° MCL | Water Quality for Agriculture 10 (μg/L) | USEPA IRIS (RfD) Drinking Water 35 (μg/L)
2002-10-23 11:00 | 15.5 | NA | NA | NA | NA | X
2003-03-23 15:30 | 16.6 | NA | NA | NA | NA | X
Sample Date | Dissolved U (μg/L) | Lahontan Water Quality Control Plan 23 (μg/L) | California Toxics Rule | California 1° MCL 20 (μg/L) | California 2° MCL | USEPA 1° MCL 30 (μg/L) | California Public Health Goals 0.5 (μg/L) | USEPA IRIS (RfD) Drinking Water 21 (μg/L)
2002-10-23 11:00 | 5.62 |  | NA |  | NA |  | X
2003-03-23 15:30 | 6.32 |  | NA |  | NA |  | X
Note* Lahontan Water Quality Control Plan criteria for Radionuclides references 22CCR, section 64441 and 64443 - Radioactivity
The CCR criteria for Uranium is 20 pCi/L, which is converted to 23 μg/L, where: (0.5 ppb = 0.43 pCi/L) - per conversation with Region 5, John Marshack
Note on D33: Dissolved fraction was compared to all standards since total was not available.

## B
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Dissolved B (μg/L) | USEPA Health Advisory (μg/L) | USEPA IRIS (RfD) Drinking Water (μg/L) | California DHS Action Level - Drinking Water (μg/L) | Water Quality for Agriculture (μg/L)
|  | 1000 | 1400 | 1000 | 700
2002-10-23 11:00 | 1280 | 1000 | 1400 | 1000 | 700
2003-03-23 15:30 | 1460 | 1000 | 1400 | 1000 | 700
|  | 1000 | 1400 | 1000 | 700
California DHS Action Level - Drinking Water
USEPA Health Advisory
Water Quality for Agriculture
USEPA IRIS (Rfd) Drinking Water

## Na
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Dissolved Na (mg/L) | USEPA Drinking Water Advisory (mg/L) | Water Quality for Agriculture (mg/L) | USEPA Health Advisory - Low Sodium Diet (mg/L)
|  | 30 | 69 | 20
2002-10-23 11:00 | 230 | 30 | 69 | 20
2003-03-23 15:30 | 221 | 30 | 69 | 20
|  | 30 | 69 | 20
Water Quality For Agriculture
USEPA Drinking Water Advisory
USEPA Advisory for People on a Low Sodium Diet

## TDS
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | TDS/Residue (mg/L) | California 2° MCL (mg/L) | Water Quality for Agriculture (mg/L) | USEPA National WQ Criteria-Taste & Odor (mg/L)
|  | 500 | 450 | 250
2002-10-23 11:00 | 827 | 500 | 450 | 250
2003-03-23 15:30 | 820 | 500 | 450 | 250
|  | 500 | 450 | 250
California 2° MCL
Water Quality for Agriculture
USEPA National WQ Criteria- Taste & Odor

## F
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Dissolved F (mg/L) | California 1° MCL (mg/L) | USEPA 2° MCL (mg/L) | USEPA IRIS (RfD) Drinking Water (mg/L) | California Public Health Goals (mg/L) | Water Quality for Agriculture (mg/L)
|  | 2 | 2 | 0.42 | 1 | 1
2002-10-23 11:00 | 3.74 | 2 | 2 | 0.42 | 1 | 1
2003-03-23 15:30 | 3.46 | 2 | 2 | 0.42 | 1 | 1
|  | 2 | 2 | 0.42 | 1 | 1
California 1° MCL
USEPA 2° MCL
California Public Health Goals
Water Quality for Agriculture
USEPA IRIS (RfD) Drinking Water

## SC
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Specific Conductance (μs -cm) | California 2° MCL (μs -cm) | Water Quality for Agriculture (μs -cm)
|  | 900 | 700
2002-10-23 11:00 | 1240 | 900 | 700
2003-03-23 15:30 | 1150 | 900 | 700
|  | 900 | 700
California 2° MCL
Water Quality for Agriculture

## As
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Dissolved As (μg/L) | USEPA 1° MCL (μg/L) | California Public Health Goals-Drinking water (μg/L) | USEPA IRIS (RfD)-Drinking Water (μg/L)
|  | 10 | 0.004 | 2.1
2002-10-23 11:00 | 42.5 | 10 | 0.004 | 2.1
2003-03-23 15:30 | 35.4 | 10 | 0.004 | 2.1
|  | 10 | 0.004 | 2.1
USEPA 1° MCL
USEPA IRIS (RfD)-Drinking Water
California Public Health Goals - Drinking Water

## Mo
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Dissolved Mo (μg/L) | Water Quality for Agriculture (μg/L)
10
2002-10-23 11:00 | 15.5 | 10
2003-03-23 15:30 | 16.6 | 10
10
Water Quality for Agriculture

## U
USGS- Mesquite Springs (Site Tag: 609MSQ001)
Exceedances: Marshack Water Quality Objectives
Sample Date | Dissolved U (μg/L) | California Public Health Goals (μg/L)
0.5
2002-10-23 11:00 | 5.62 | 0.5
2003-03-23 15:30 | 6.32 | 0.5
0.5
California Public Health Goal