## Mammoth Cr trib
# Description of remark_cd column
# < - Actual value is known to be less than the value shown.
# > - Actual value is known to be greater than the value shown.
# A - Average value
# E - Estimated value
# M - Presence of material verified but not quantified
# N - Presumptive evidence of presence of material
# S - Most probable value
# U - Material specifically analyzed for but not detected
# V - Value affected by contamination
# Data for the following sites are included:
USGS 10265127 MAMMOTH CR TRIB
[5 empty] | Latitude | Longitude | NAD
Lahontan Site Tag: |  | 603MAM009 |  |  | 37.6227 | -118.9933 | 83
Sample Date | Sample Time | Discharge (ft3/s) | Turbidity (NTU) | Turbidity (NTRU) | Barometric Pressure (mmHg) | DO (mg/L) | DO % Saturation | PH (field) | Field Specific Conductance (us -cm) | Temp OC | Dissolved Ca (mg/L) | Total Recoverable Ca (mg/L) | Dissolved Mg (mg/L) | Total Recoverable Mg (mg/L) | Hardness (mg/L CaCO3) | Dissolved Cl (mg/L) | TDS/Residue (mg/L) | TKN (mg/L-N) | NO2+NO3 (mg/L-N) | Total N (mg/L-N) | NO2 (mg/L-N) | PO4 (mg/L-P) | PO4 (mg/L) | TP (mg/L) | Fecal coliform (< 0.7 microns) col/100 ml | Dissolved Al (μg/L) | Total Recoverable Al (μg/L) | Dissolved Sb (μg/L) | Total Sb (μg/L) | Dissolved As (μg/L) | Total As (μg/L) | Dissolved Be (μg/L) | Total Recoverable Be (μg/L) | Dissolved B (μg/L) | Dissolved Cd (μg/L) | Total Cd (μg/L) | Dissolved Cr (μg/L) | Total Recoverable Cr (μg/L) | Dissolved Co (μg/L) | Total Recoverable Co (μg/L) | Dissolved Cu (μg/L) | Total Recoverable Cu (μg/L) | Dissolved Fe (μg/L) | Total Recoverable Fe (μg/L) | Dissolved Pb (μg/L) | Total Recoverable Pb (μg/L) | Dissolved Mn (μg/L) | Total Recoverable Mn (μg/L) | Dissolved Hg (μg/L) | Total Recoverable Hg (μg/L) | Dissolved Mo (μg/L) | Total Recoverable Mo (μg/L) | Dissolved Ni (μg/L) | Total Recoverable Ni (μg/L) | Dissolved Se (μg/L) | Total Se(μg/L) | Dissolved Ag (μg/L) | Total Recoverable Ag (μg/L) | Dissolved Tl (μg/L) | Total Tl (μg/L) | Dissolved V (μg/L) | Total V (μg/L) | Dissolved Zn (μg/L) | Total Recoverable Zn (μg/L) | SSC (mg/)L | Suspended sediment discharge, tons/day
DATES | TIMES | P00061 | P99872 |  | P00025 | P00300 | P00301 | P00400 | P00095 | P00010 | P00915 | P00916 | P00925 | P00927 | calculated | P00940 | P70300 | P00625 | P00631 | Calculated | P00613 | P00671 | calculated | P00665 | P31625 | P01106 | P01105 | P01095 | P01097 | P01000 | P01002 | P01010 | P01012 | P01020 | P01025 | P01027 | P01030 | P01034 | P01035 | P01037 | P01040 | P01042 | P01046 | P01045 | P01049 | P01051 | P01056 | P01055 | P71890 | P71900 | P01060 | P01062 | P01065 | P01067 | P01145 | P01147 | P01075 | P01077 | P01057 | P01059 | P01085 | P01087 | P01090 | P01092 | P80154 | P80155
2003-10-29 | 1115 | E.31 | <2.0 |  | 558 | 9.4 | 104 | 7.7 | 123 | 6 | 17.3 | 17.5 | 1.28 | 1.33 | 48.4691 | 0.87 | 86 | 0.07 | 0.019 | 0.089 | 0.001 | 0.022 | 0.067419 | 0.029 |  | 5 | 51 | E.15 | E.1 | 30 | 29 | <.06 | <.06 |  | <.04 | <.04 | <.8 | <.8 | 0.045 | 0.07 | E.3 | 0.6 | <6 | 20 | <.08 | 0.19 | 0.5 | 1 | E.01 | 0.06 | 1.2 | 1.2 | 0.2 | 0.35 | <.4 | E.3 | <.2 | <.16 | <.04 | <.2 | 0.2 | M | 1.4 | E2 | 2 | <.01
2004-01-28 | 1100 | E.20 | 3.1 |  | 559 | 10.7 | 100 | 7.6 | 72 | 0 | 19.8 | 20.2 | 1.42 | 1.44 | 55.2882 | 0.46 | 90 | 0.05 | 0.071 | 0.121 | 0.001 | 0.025 | 0.076613 | 0.032 |  | 4 | 20 | E.18 | E.2 | 34 | 31 | <.06 | <.06 |  | <.04 | <.04 | <.8 | <.8 | 0.047 | 0.073 | E.3 | E.5 | <6 | 20 | <.08 | E.06 | E.1 | 1 | <.02 | 0.04 | 1.2 | 1.2 | 0.25 | 0.38 | E.3 | E.3 | <.2 | <.16 | <.04 | <.2 | 0.4 | M | 1.7 | E2 | 5 | <.01
2004-04-28 | 1025 | 0.8 | 3.4 |  | 558 | 9.6 | 100 | 7.8 | 86 | 4 | 14.3 | 12.5 | 1.07 | 1.11 | 40.1134 | 0.41 | 72 | 0.2 | 0.122 | 0.322 | 0.001 | 0.013 | 0.039839 | 0.033 |  | 12 | 152 | E.14 | E.1 | 15 | 21 | <.06 | <.06 |  | <.04 | 0.04 | <.8 | <.8 | 0.055 | 0.165 | E.4 | E.6 | E5 | 160 | <.08 | 0.42 | 0.4 | 7 | <.02 | 0.3 | 0.8 | 0.8 | 0.3 | 0.32 | E.3 | <.4 | <.2 | <.16 | <.04 | <.2 | 0.4 | M | 1.6 | 3 | 19 | 0.04
2004-07-28 | 1045 | 0.8 | <2.0 |  | 565 | 9.3 | 109 | 7.3 | 115 | 9 | 17.7 | 16.3 | 1.12 | 1.12 | 48.8091 | 0.35 | 87 | 0.07 | 0.051 | 0.121 | 0.001 | 0.029 | 0.088871 | 0.041 | 53 | 7 | 62 | E.17 | E.1 | 29 | 30 | <.06 | <.06 | E4.6 | <.04 | <.04 | <.8 | <.8 | 0.049 | 0.118 | <.4 | 0.7 | <6 | 60 | <.08 | 0.21 | E.1 | 3 | <.02 | 0.17 | 1.3 | 1.3 | 0.3 | 0.55 | E.3 | 0.6 | <.2 | <.16 | <.04 | <.2 | 0.3 | <1.0 | 1 | 2 | 9 | 0.02
2004-10-27 | 1130 | E.20 |  | <2.0 | 548 | 9.8 | 99 | 7.3 | 124 | 2 | 19.9 | 18.7 | 1.3 | 1.29 | 55.0437 | 0.32 | 90 | 0.07 | 0.011 | 0.081 | 0.001 | 0.018 | 0.055161 | 0.024 | <1 | 4 | 21 | E.15 | E.1 | 29 | 27 | <.06 | <.06 |  | <.04 | <.04 | <.8 | <.8 | 0.049 | 0.083 | E.4 | 0.8 | <6 | 20 | <.08 | 0.07 | 0.3 | 1 | E.01 | 0.04 | 1.2 | 1.1 |  | 0.42 | <.4 | E.3 | <.2 | <.16 | <.04 | <.2 | 0.3 | <2 | 1.1 | E2 | 3 | <.01
2005-01-25 | 1010 | E.15 |  | <2.0 | 559 | 9.4 | 98 | 7.2 | 106 | 4 | 20.2 | 20.1 | 1.4 | 1.29 | 56.2046 | 0.36 | 86 | 0.07 | 0.07 | 0.14 | 0.001 | 0.026 | 0.079677 | 0.042 | <1 | 2 | 32 | E.17 | E.1 | 30 | 27 | <.06 | <.06 | E4.3 | E.02 | E.03 | <.8 | E.4 | 0.038 | 0.077 | E.3 | 1.4 | <6 | 40 | <.08 | 0.13 | E.2 | 2 | <.01 | 0.06 | 1.1 | 1.1 | 0.28 | 0.33 | E.3 | 0.7 | <.2 | <.16 | <.04 | <.2 | 0.3 | <2 | 2.9 | 4 | 4 | <.01
2005-04-26 | 1015 | E.20 |  | 2.3 | 558 | 9.6 | 99 | 7.7 | 115 | 3.5 | 17.1 | 18.1 | 1.34 | 1.25 | 48.2168 | 0.29 | 81 | 0.15 | 0.121 | 0.271 | 0.001 | 0.024 | 0.073548 | 0.038 | <1 | 5 | 85 | E.20 | E.2 | 26 | 27 | <.06 | <.06 | E4.0 | <.04 | E.03 | <.8 | <.8 | 0.053 | 0.15 | 0.7 | 0.7 | <6 | 90 | E.07 | 0.35 | E.2 | 5 | 0.01 | 0.16 | 1 | 1 | 0.23 | 0.5 | E.3 | 0.7 | <.2 | <.16 | <.04 | <.2 | 0.4 | <2 | 3.1 | 3 | 6 | <.01
2005-07-21 | 1100 | 0.32 |  | <2.0 | 566 | 9 | 107 | 7.8 | 110 | 9.5 | 15.4 | 15.7 | 1.09 | 1 | 42.9424 | <.20 | 78 | 0.04 | 0.03 | 0.07 | 0.001 | 0.019 | 0.058226 | 0.03 | 56 | 37 | 111 | E.17 | <.2 | 22 | 24 | <.06 | <.06 | E3.9 | E.02 | E.02 | <.8 | <.8 | 0.058 | 0.123 | 0.4 | 0.6 | <6 | 60 | <.08 | 0.2 | 0.3 | 3 | <.01 | 0.07 | 1.2 | 1.1 | 0.88 | 0.74 | E.3 | 0.5 | <.2 | <.16 | <.04 | <.2 | 0.3 | <2 | 2 | 2 | 4 | <.01
Note on U16: Lahontan Region: TN= TKN + NO3 + NO2
Note on X16: Laurent Meillier: Calculated to convert PO4 (mg/L-P) to PO4 (mg/L) PO4 (mg/L) = PO4 (mg/L-P) X (PO4 molecular weight/ P molecular weight)

## Beneficial uses
603 | Owens Hydrologic Unit
Beneficial Uses - Mammoth Creek
| MUN | Municipal and Domestic Supply
| AGR | Agricultural Supply
| GWR | Ground Water Recharge
| FRSH | Fresh Water Replenishment
| REC-1 | Water Contact Recreation
| REC-2 | Non-contact Water Recreation
| COMM | Commercial and Sports Fishing
| COLD | Cold freshwater Habitat
| WILD | Wildlife Habitat
| RARE | Rare, Threatened or Endangered Species
| MIGR | Migration of Aquatic Organisms
| SPWN | Spawning, Reproduction and Development

## BP Exceedances
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Lahontan Water Quality Control Plan
Mammoth Cr at Old Mammoth Rd Basin Plan criteria is applied to this site, per the Tributary Rule
Sample Date | Sample Time | Dissolved Cl (mg/L) | TDS / Residue (mg/L) | fecal coliform (col/100mL)
2003-10-29 | 11:15 | 0.87 | 86 | -
Annual Average |  | 0.87 | 86 | NA
2004-01-28 | 11:00 | 0.46 | 90 | -
2004-04-28 | 10:25 | 0.41 | 72 | -
2004-07-28 | 10:45 | 0.35 | 87 | 53
2004-10-27 | 11:30 | 0.32 | 90 | <1
Annual Average |  | 0.39 | 85 | NA
2005-01-25 | 10:10 | 0.36 | 86 | <1
2005-04-26 | 10:15 | 0.29 | 81 | <1
2005-07-21 | 11:00 | <.20 | 78 | 56
Annual Average |  | 0.25 | 82 | NA
Sample Year | Annual Average Dissolved Cl (mg/L) | Lahontan Water Quality Control Plan* 0.8 / 1.4 (mg/L) | California Toxics Rule | California 1° MCL | California 2° MCL 250 (mg/L) | Water Quality for Agriculture 106 (mg/L) | USEPA National WQ Criteria (Aquatic Life) 4-day Avg 230 (mg/L)
2003 | 0.87 | X | NA | NA
2004 | 0.39 |  | NA | NA
2005 | 0.25 |  | NA | NA
Sample Year | Annual Average TDS / Residue (mg/L) | Lahontan Water Quality Control Plan * 85 / 115 (mg/L) | California Toxics Rule | California 1° MCL | California 2° MCL 500 (mg/L) | Water Quality for Agriculture 450 (mg/L) | USEPA National WQ Criteria (Taste & Odor) 250 (mg/L)
2003 | 86 | X | NA | NA
2004 | 85 |  | NA | NA
2005 | 82 |  | NA | NA
Note* Lahontan Water Quality Control Plan; first value represents the Annual Average criteria, and the second value represents the 90th Percentile criteria
Sample Date | fecal coliform (col/100mL) | Lahontan Water Quality Control Plan 20 (col/100ml) | California Toxics Rule | California 1° MCL | California 2° MCL
2004-07-28 | 53 | X | NA | NA | NA
2004-10-27 | <1 |  | NA | NA | NA
2005-01-25 | <1 |  | NA | NA | NA
2005-04-26 | <1 |  | NA | NA | NA
2005-07-21 | 56 | X | NA | NA | NA
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | Sample Time | DO (mg/L) | 1 Day Minimum 8.0 (mg/L)
2003-10-29 | 11:15 | 9.4
2004-01-28 | 11:00 | 10.7
2004-04-28 | 10:25 | 9.6
2004-07-28 | 10:45 | 9.3
2004-10-27 | 11:30 | 9.8
2005-01-25 | 10:10 | 9.4
2005-04-26 | 10:15 | 9.6
2005-07-21 | 11:00 | 9

## Cl
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Lahontan Water Quality Control Plan
Sample Year | Annual Average Dissolved Cl (mg/L) | Annual Average Lahontan Water Quality Control Plan (mg/L)
0.8
2003 | 0.87 | 0.8
2004 | 0.39 | 0.8
2005 | 0.25 | 0.8
0.8
Lahontan Water Quality Control Plan

## TDS
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Lahontan Water Quality Control Plan
Sample Year | Annual Average TDS / Residue (mg/L) | Annual Average Lahontan Water Quality Control Plan (mg/L)
85
2003 | 86 | 85
2004 | 85 | 85
2005 | 82 | 85
85
Lahontan Water Quality Control Plan

## FC
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | Data Qualifier | fecal coliform (col/100mL) | Lahontan Water Quality Control Plan (col/100ml)
20
2004-07-28 |  | 53 | 20
2004-10-27 | < 1 | ND | 20
2005-01-25 | < 1 | ND | 20
2005-04-26 | < 1 | ND | 20
2005-07-21 |  | 56 | 20
20
Lahontan Water Quality Control Plan
ND
ND
ND

## DO
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Lahontan Water Quality Control Plan
Sample Date | DO (mg/L) | 1 Day Minimum (mg/L)
8
2003-10-29 | 9.4 | 8
2004-01-28 | 10.7 | 8
2004-04-28 | 9.6 | 8
2004-07-28 | 9.3 | 8
2004-10-27 | 9.8 | 8
2005-01-25 | 9.4 | 8
2005-04-26 | 9.6 | 8
2005-07-21 | 9 | 8
8
1 Day Minimum

## Marshack Exceedances
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Marshack Water Quality Objectives
Sample Date | Sample Time | Total Recoverable Al (μg/L) | Dissolved As (μg/L)
2003-10-29 | 11:15 | 51 | 30
2004-01-28 | 11:00 | 20 | 34
2004-04-28 | 10:25 | 152 | 15
2004-07-28 | 10:45 | 62 | 29
2004-10-27 | 11:30 | 21 | 29
2005-01-25 | 10:10 | 32 | 30
2005-04-26 | 10:15 | 85 | 26
2005-07-21 | 11:00 | 111 | 22
Sample Date | Total Recoverable Al (μg/L) | Lahontan Water Quality Control Plan | California Toxics Rule | California 1° MCL 1000 (μg/L) | California 2° MCL 200 (μg/L) | USEPA 2° MCL 50 -200 (μg/L) | California Public Health Goals 600 (μg/L) | Water Quality for Agriculture 5000 (μg/L) | USEPA National WQ Criteria (Aquatic Life) 4-day Avg. 87 (μg/L)
2003-10-29 | 51 | NA | NA |  |  | X
2004-01-28 | 20 | NA | NA
2004-04-28 | 152 | NA | NA |  |  | X |  |  | X
2004-07-28 | 62 | NA | NA |  |  | X
2004-10-27 | 21 | NA | NA
2005-01-25 | 32 | NA | NA
2005-04-26 | 85 | NA | NA |  |  | X
2005-07-21 | 111 | NA | NA |  |  | X |  |  | X
Sample Date | Dissolved As (μg/L) | Lahontan Water Quality Control Plan | California Toxics Rule - 4 Day Avg. (Aquatic Life) 150 (μg/L) | California 1° MCL | California 2° MCL | USEPA 1° MCL | California Public Health Goals (Drinking water) | USEPA IRIS (RfD) Drinking water | Water Quality for Agriculture
2003-10-29 | 30 | NA |  | NA | NA | NA | NA | NA | NA
2004-01-28 | 34 | NA |  | NA | NA | NA | NA | NA | NA
2004-04-28 | 15 | NA |  | NA | NA | NA | NA | NA | NA
2004-07-28 | 29 | NA |  | NA | NA | NA | NA | NA | NA
2004-10-27 | 29 | NA |  | NA | NA | NA | NA | NA | NA
2005-01-25 | 30 | NA |  | NA | NA | NA | NA | NA | NA
2005-04-26 | 26 | NA |  | NA | NA | NA | NA | NA | NA
2005-07-21 | 22 | NA |  | NA | NA | NA | NA | NA | NA
USGS - MAMMOTH CREEK TRIB, MAMMOTH LAKES CA (Site Tag: 603MAM009)
Exceedances: Marshack Water Quality Objectives
Sample Date | Sample Time | Total Recoverable As (μg/L) | Total Recoverable Hg (μg/L)
2003-10-29 | 11:15 | 29 | 0.06
2004-01-28 | 11:00 | 31 | 0.04
2004-04-28 | 10:25 | 21 | 0.3
2004-07-28 | 10:45 | 30 | 0.17
2004-10-27 | 11:30 | 27 | 0.04
2005-01-25 | 10:10 | 27 | 0.06
2005-04-26 | 10:15 | 27 | 0.16
2005-07-21 | 11:00 | 24 | 0.07
Sample Date | Total Recoverable As (μg/L) | Lahontan Water Quality Control Plan | California Toxics Rule | California 1° MCL 50 (μg/L) | California 2° MCL | USEPA 1° MCL 10 (μg/L) | California Public Health Goals (Drinking water) .004 (μg/L) | USEPA IRIS (RfD) Drinking water 2.1 (μg/L) | Water Quality for Agriculture 100 (μg/L) | USEPA National WQ Criteria (Water & Fish Consumption) .018(μg/L)
2003-10-29 | 29 | NA | NA |  | NA | X | X | X |  | X
2004-01-28 | 31 | NA | NA |  | NA | X | X | X |  | X
2004-04-28 | 21 | NA | NA |  | NA | X | X | X |  | X
2004-07-28 | 30 | NA | NA |  | NA | X | X | X |  | X
2004-10-27 | 27 | NA | NA |  | NA | X | X | X |  | X
2005-01-25 | 27 | NA | NA |  | NA | X | X | X |  | X
2005-04-26 | 27 | NA | NA |  | NA | X | X | X |  | X
2005-07-21 | 24 | NA | NA |  | NA | X | X | X |  | X
Sample Date | Total Recoverable Hg (μg/L) | Lahontan - Water Quality Control Plan | California Toxics Rule - Human .05 (μg/L) | California 1° MCL 2 (μg/L) | California 1° MCL | USEPA National WQ Criteria (Aquatic Life) 4-day Avg. .77 (μg/L)
2003-10-29 | 0.06 | NA | X |  | NA
2004-01-28 | 0.04 | NA |  |  | NA
2004-04-28 | 0.3 | NA | X |  | NA
2004-07-28 | 0.17 | NA | X |  | NA
2004-10-27 | 0.04 | NA |  |  | NA
2005-01-25 | 0.06 | NA | X |  | NA
2005-04-26 | 0.16 | NA | X |  | NA
2005-07-21 | 0.07 | NA | X |  | NA

## Al
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Marshack Water Quality Objectives
Sample Date | Total Recoverable Al (μg/L) | USEPA 2° MCL (μg/L) | USEPA National WQ Criteria (Aquatic Life) 4-day Avg. (μg/L)
|  | 50 | 87
2003-10-29 | 51 | 50 | 87
2004-01-28 | 20 | 50 | 87
2004-04-28 | 152 | 50 | 87
2004-07-28 | 62 | 50 | 87
2004-10-27 | 21 | 50 | 87
2005-01-25 | 32 | 50 | 87
2005-04-26 | 85 | 50 | 87
2005-07-21 | 111 | 50 | 87
|  | 50 | 87
USEPA National WQ Criteria (Aquatic Life) 4-day Average
USEPA 2° MCL

## As
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Marshack Water Quality Objectives
Sample Date | Total Recoverable As (μg/L) | USEPA 1° MCL (μg/L) | California Public Health Goals-Drinking water (μg/L) | USEPA IRIS (RfD) Drinking water (μg/L) | USEPA National WQ Criteria (water and fish consumption) (μg/L)
|  | 10 | 0.004 | 2.1 | 0.018
2003-10-29 | 29 | 10 | 0.004 | 2.1 | 0.018
2004-01-28 | 31 | 10 | 0.004 | 2.1 | 0.018
2004-04-28 | 21 | 10 | 0.004 | 2.1 | 0.018
2004-07-28 | 30 | 10 | 0.004 | 2.1 | 0.018
2004-10-27 | 27 | 10 | 0.004 | 2.1 | 0.018
2005-01-25 | 27 | 10 | 0.004 | 2.1 | 0.018
2005-04-26 | 27 | 10 | 0.004 | 2.1 | 0.018
2005-07-21 | 24 | 10 | 0.004 | 2.1 | 0.018
|  | 10 | 0.004 | 2.1 | 0.018
USEPA 1° MCL
USEPA IRIS (RfD) Drinking water
USEPA National WQ Criteria (water & Fish Consumption)
California Public Health Goals-(Drinking water)

## Hg
USGS - Mammoth Cr Trib (Site Tag: 603MAM009)
Exceedances: Marshack Water Quality Objectives
Sample Date | Total Recoverable Hg (μg/L) | California Toxics Rule - Drinking Water (μg/L)
0.05
2003-10-29 | 0.06 | 0.05
2004-01-28 | 0.04 | 0.05
2004-04-28 | 0.3 | 0.05
2004-07-28 | 0.17 | 0.05
2004-10-27 | 0.04 | 0.05
2005-01-25 | 0.06 | 0.05
2005-04-26 | 0.16 | 0.05
2005-07-21 | 0.07 | 0.05
0.05
California Toxics Rule (Drinking Water)