Mammoth Ck (Headwaters to Twin Lakes)

(SWRCB decision:  Total Dissolved Solids – Do Not List for Total Dissolved Solids)

EPA decision: List for Total Dissolved Solids:

Annual Average Objective is 60 mg/L (see Basin plan, Table 3-17):

Of 5 annual averages, 5 of them exceed the objective.

The 90th percentile objective is 90 mg/L (see Basin plan, Table 3-17):

The 90th percentile of these samples is 113, exceeding 90 mg/L.

15 Samples:  8/15/01; 11/28/01; 3/6/02; 6/26/02; 8/22/02; 1/8/03; 4/22/03; 7/23/03; 10/29/03; 1/28/04; 4/28/04; 7/28/04; 10/27/04; 1/25/05; 4/26/05; 7/21/05 from USGS - Mammoth Cr, at Twin Lakes (Site Tag: 603MAM008).

================================================================================

East Fork Carson River

(SWRCB decision:  Total Dissolved Solids – Do Not List)

EPA decision: List for Total Dissolved Solids:

Annual Average Objective is 80 mg/L (see Basin plan, Table 3-14):

Of 5 annual averages, 5 of them exceed the objective

The 90th percentile objective is 100 mg/L(see Basin plan, Table 3-14):
The 90th percentile of these samples is 115, exceeding 100 mg/L.

16 Samples:  10/16/01; 1/16/02; 4/23/02; 7/10/02; 9/10/02; 12/12/02; 4/7/03; 8/11/03; 11/18/03; 2/20/04; 5/19/04; 8/19/04; 11/24/04; 2/25/05; 5/26/05; 8/25/05 from USGS-East Fork Carson River, at USGS gage below Markleeville (Site Tag: 632ECR005).

*SWRCB List Policy (binomial): List if the number of exceedances equal or is greater than 5 for sample sizes from 5 to 30.