Prima Deshecha Channel (901.310) – 303(d) Fact Sheet

County of Orange NPDES Annual Progress Report

Prima Deshecha Channel should be 303(d) listed due to the presence of elevated turbidity, ammonia and phosphate in water samples.  Cadmium, chromium and nickel should be listed as threatened.

# Watershed Characteristics

Prima Deshecha Channel is an approximately 6.20 mile waterway in the San Juan Watershed of Region 9.  It is classified inland surface water with the following beneficial uses: AGR, REC1, REC2, WARM and WILD1.

# Water Quality Objectives not Obtained

Region 9 Basin Plan1 standards for turbidity, ammonia (NH3), phosphate (PO4) were exceeded.  Drinking water Secondary Maximum Contaminant Levels (MCLs)6 for cadmium (Cd), chromium (Cr) and nickel (Ni) were exceeded.  Very strong2 total suspended solids (TSS) and volatile suspended solids (VSS) were measured in the water body.  Very hard water3 was also measured.  The secondary maximum contaminant level6 of 900hmos for electrical conductivity was also exceeded. California Ocean Plan4 limits were exceeded for several metals.

# Evidence of Impairment

Thirty-nine out of fifty-four measurements of turbidity exceeded the Region 9 Basin Plan1 standard of 20 NTU.  Thirty-six of these were at least twice the standard, and sixteen of these were ten times the standard.  Basin plan standards for PO4 and NH3 were also exceeded for at least 59% of the samples. Metal concentrations of Cd, Cr and Ni exceeded Maximum Contaminant Levels6 (MCLs) in at least 17% of the samples.  Very strong2 TSS and VSS values were measured in 52% and 17% of the samples.  Very hard water levels were exceeded in 88% of the samples.  The electrical conductivity standard of 900hmos6 was exceeded for 52 of 54 samples. Cal Ocean Plan4 limits for cadmium, copper, chromium, lead, nickel and zinc were exceeded.  Since Prima Deshecha drains into the ocean, this is a problem.  See Table 1 for standards and number of exceedances.

# Extent of Impairment

Site PDCM01 is near the mouth of the creek.  The specific standards exceeded are most likely due to cumulative effects throughout the waterbody, but the data is for only one site.  The extent of impairment is estimated to be approximately from one mile upstream of the station, down to the mouth of the Creek.

# Potential Sources

Most of Prima Deshecha runs through highly urbanized areas and that has seen tremendous growth in recent years.  Channalization of the stream has probably increased water velocity that could be causing the undercutting of banks and increasing turbidity.  Metal pollution is most likely coming from roads and highways.

# TMDL Priority

A medium TMDL priority is suggested because turbidity may be hiding other problems.

# Notes

Other constituents in the water are in excess of known standards, but are not being suggested for 303(d) listing.  It is believed that practices that will eliminate turbidity problems may also help to reduce TSS and VSS.  No standards are set for hardness.  Prima Deshecha Creek waters are very hard and may be buffering the system from pollution by metals.  Cadmium, Cr and Ni exceeded known standards and this occurred in up to 55 of 78 samples. Several of the metal samples were twice the numeric standard.  National Toxics Rules5 for the protection of aquatic life could not be applied as they are applicable to 1-hour averages and the data in this report are only a single point in time.  The system may be loaded with metals that are being buffered by the high concentration of cations in the water.  This would also explain the high electrical conductivity values.  The metal pollution has already exceeded the high buffering capacity of the water.  This impairment of water quality has no known remediations.  Until further investigation, it may be detrimental to aquatic life in Oso Creek if Total Hardness and Electrical Conductivity values are lowered.  Metals, nutrients and turbidity should be addressed first.

No 303(d) listing is recommended for metals at this time.  Since there is no MUN beneficial use for this creek, drinking water standards cannot be applied.  It should be noted that this creek does drain into the Pacific Ocean and the concentrations of Cd, Cr, Cu, Pb, Ni and Zn were frequently in excess of Ocean Plan Standards.

Turbidity concentrations consistently exceeded the Basin Plan Standard of 20 NTU.  High turbidity can decrease the penetration of light into the water column and adversely affect photosynthesis which aquatic organisms depend upon for survival.  High concentrations of particulate matter that produce turbidity can be directly lethal to aquatic life.  This would impair the WARM and WILD beneficial uses of this water body.

High concentrations of ammonia are toxic to fish and other aquatic organisms.  This would directly impair the WARM and WILD beneficial uses of this creek.

Concentrations of phosphate over the Basin Plan Standard are expected to contribute to excess algae growth. Excess algae growth would impair REC1, REC2, WARM and WILD beneficial uses through the creation of odors, colors, increased turbidity and low dissolved oxygen environments.

# Information Sources

1 Water Quality Control Plan for the San Diego Basin (9), 1994

2 Metcalf and Eddy, Wastewater Engineering, Third Edition

3 Boulder Area Sustainability Information Network. Water Quality (Advanced),

http://bcn.boulder.co.us/basin/learning/wq2teacher.html

4 California Ocean Plan, 1997.  State Water Resources Control Board.

California Environmental Protection Agency.

5 U.S. Environmental Protection Agency, 2000, Federal Register, Vol 65, No. 97,

California Toxics Rule

6 State of California, 2001. California Code of Regulations, TITLE 22. Social

Security  Division 4. Environmental Health Chapter 15. Domestic Water Quality and Monitoring Regulations, Articles 4 and 16.